## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112525 | 2021-04-30 11:23 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 264.3749 | μmol/L | 13.472 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.836 | 139144.0963 | 302095.7051 | 33.25 | 68.6
112535 | 2021-04-30 11:23 | 0.33862 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.5102 | μmol/L | 13.4112 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.808 | 138958.2636 | 302111.6172 | 33.25 | 68.6
112545 | 2021-04-30 11:23 | 0.67263 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.3795 | μmol/L | 13.3869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.778 | 138789.0316 | 302088.9671 | 33.25 | 68.6
112555 | 2021-04-30 11:24 | 1.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8288 | μmol/L | 13.3808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.76 | 138680.9259 | 302089.9051 | 33.25 | 68.6
112565 | 2021-04-30 11:24 | 1.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2127 | μmol/L | 13.3748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.745 | 138566.7495 | 302076.4401 | 33.25 | 68.6
112575 | 2021-04-30 11:24 | 1.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.558 | μmol/L | 13.3808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.727 | 138464.6838 | 302062.5672 | 33.25 | 68.6
112585 | 2021-04-30 11:25 | 2.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8988 | μmol/L | 13.3748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.714 | 138367.0119 | 302052.3786 | 33.25 | 68.6
112595 | 2021-04-30 11:25 | 2.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.054 | μmol/L | 13.3748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.707 | 138270.1257 | 302050.1012 | 33.25 | 68.6
112605 | 2021-04-30 11:25 | 2.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.387 | μmol/L | 13.3748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.692 | 138137.8304 | 302023.8722 | 33.25 | 68.6
112615 | 2021-04-30 11:26 | 3.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6179 | μmol/L | 13.3687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.684 | 138078.2736 | 302029.6212 | 33.25 | 68.6
112625 | 2021-04-30 11:26 | 3.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8712 | μmol/L | 13.3626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.675 | 138019.9886 | 302005.3692 | 33.25 | 68.6
112635 | 2021-04-30 11:26 | 3.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1334 | μmol/L | 13.3505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.668 | 137972.2282 | 301996.5567 | 33.25 | 68.6
112645 | 2021-04-30 11:27 | 4.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2139 | μmol/L | 13.3565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137940.3018 | 301992.11 | 33.25 | 68.6
112655 | 2021-04-30 11:27 | 4.3386 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3872 | μmol/L | 13.3444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.659 | 137896.4197 | 301975.1979 | 33.25 | 68.6
112665 | 2021-04-30 11:27 | 4.6722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4765 | μmol/L | 13.3444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.655 | 137878.2289 | 301972.7022 | 33.25 | 68.6
112675 | 2021-04-30 11:28 | 5.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4851 | μmol/L | 13.3383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.657 | 137848.7975 | 301952.7765 | 33.25 | 68.6
112685 | 2021-04-30 11:28 | 5.3386 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6723 | μmol/L | 13.3322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.651 | 137824.5252 | 301947.6394 | 33.25 | 68.6
112695 | 2021-04-30 11:28 | 5.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6947 | μmol/L | 13.3322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.65 | 137806.3883 | 301921.7058 | 33.25 | 68.6
112705 | 2021-04-30 11:29 | 6.0058 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8374 | μmol/L | 13.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.646 | 137782.4623 | 301914.9862 | 33.25 | 68.6
112715 | 2021-04-30 11:29 | 6.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.913 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.645 | 137762.3832 | 301900.5849 | 33.25 | 68.6
112725 | 2021-04-30 11:29 | 6.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8907 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.646 | 137764.1517 | 301923.015 | 33.25 | 68.6
112735 | 2021-04-30 11:30 | 7.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0421 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.644 | 137745.0695 | 301888.7018 | 33.25 | 68.6
112745 | 2021-04-30 11:30 | 7.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0559 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.641 | 137737.328 | 301880.7277 | 33.25 | 68.6
112755 | 2021-04-30 11:30 | 7.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9578 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.643 | 137730.8439 | 301866.9389 | 33.25 | 68.6
112765 | 2021-04-30 11:31 | 8.0057 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.944 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.646 | 137734.4937 | 301851.0124 | 33.25 | 68.6
112775 | 2021-04-30 11:31 | 8.3388 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0197 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.645 | 137721.4652 | 301840.0337 | 33.25 | 68.6
112785 | 2021-04-30 11:31 | 8.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 270.0197 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.645 | 137721.1293 | 301838.358 | 33.25 | 68.6
112795 | 2021-04-30 11:32 | 9.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9887 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.644 | 137723.7933 | 301835.2172 | 33.25 | 68.6
112805 | 2021-04-30 11:32 | 9.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9974 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.646 | 137716.8461 | 301821.3552 | 33.25 | 68.6
112815 | 2021-04-30 11:32 | 9.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8993 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.648 | 137709.1837 | 301817.3753 | 33.25 | 68.6
112825 | 2021-04-30 11:33 | 10.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9836 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.649 | 137712.6948 | 301808.0263 | 33.25 | 68.6
112835 | 2021-04-30 11:33 | 10.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8856 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.651 | 137705.9209 | 301794.0696 | 33.25 | 68.6
112845 | 2021-04-30 11:33 | 10.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9836 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.649 | 137707.7201 | 301795.1552 | 33.25 | 68.6
112855 | 2021-04-30 11:34 | 11.0054 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9166 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.652 | 137699.2009 | 301780.1669 | 33.25 | 68.6
112865 | 2021-04-30 11:34 | 11.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9389 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.651 | 137701.0706 | 301768.688 | 33.25 | 68.6
112875 | 2021-04-30 11:34 | 11.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8632 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.652 | 137692.4484 | 301770.1446 | 33.25 | 68.6
112885 | 2021-04-30 11:35 | 12.0052 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.9252 | μmol/L | 13.2958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.654 | 137686.7876 | 301755.2588 | 33.25 | 68.6
112895 | 2021-04-30 11:35 | 12.3391 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8185 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.654 | 137679.6364 | 301739.9727 | 33.25 | 68.6
112905 | 2021-04-30 11:35 | 12.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8495 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.655 | 137690.7739 | 301754.4441 | 33.25 | 68.6
112915 | 2021-04-30 11:36 | 13.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.7962 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.655 | 137683.6805 | 301734.1295 | 33.25 | 68.6
112925 | 2021-04-30 11:36 | 13.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.8495 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.655 | 137678.3519 | 301734.3967 | 33.25 | 68.6
112935 | 2021-04-30 11:36 | 13.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6982 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.657 | 137681.9656 | 301712.0041 | 33.25 | 68.6
112945 | 2021-04-30 11:37 | 14.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.7428 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.655 | 137666.8325 | 301709.1952 | 33.25 | 68.6
112955 | 2021-04-30 11:37 | 14.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6758 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.658 | 137662.0944 | 301701.6198 | 33.25 | 68.6
112965 | 2021-04-30 11:37 | 14.6719 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6845 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.66 | 137666.3722 | 301682.776 | 33.25 | 68.6
112975 | 2021-04-30 11:38 | 15.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6398 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137661.2767 | 301676.206 | 33.25 | 68.6
112985 | 2021-04-30 11:38 | 15.3389 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.7291 | μmol/L | 13.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.658 | 137653.459 | 301668.707 | 33.25 | 68.6
112995 | 2021-04-30 11:38 | 15.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6002 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.659 | 137645.3757 | 301667.5052 | 33.25 | 68.6
113005 | 2021-04-30 11:39 | 16.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6982 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.657 | 137640.1689 | 301658.3947 | 33.25 | 68.6
113015 | 2021-04-30 11:39 | 16.3386 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6982 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.657 | 137636.1535 | 301660.2328 | 33.25 | 68.6
113025 | 2021-04-30 11:39 | 16.6725 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.6535 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.659 | 137638.8535 | 301641.9342 | 33.25 | 68.6
113035 | 2021-04-30 11:40 | 17.0054 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4044 | μmol/L | 13.3322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.663 | 137620.446 | 301640.8967 | 33.25 | 68.6
113045 | 2021-04-30 11:40 | 17.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5556 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.661 | 137628.6089 | 301648.7275 | 33.25 | 68.6
113055 | 2021-04-30 11:40 | 17.6724 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5332 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137631.3267 | 301633.4787 | 33.25 | 68.6
113065 | 2021-04-30 11:41 | 18.0058 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.48 | μmol/L | 13.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137616.2307 | 301630.5828 | 33.25 | 68.6
113075 | 2021-04-30 11:41 | 18.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4353 | μmol/L | 13.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.664 | 137610.91 | 301614.0877 | 33.25 | 68.6
113085 | 2021-04-30 11:41 | 18.6727 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3426 | μmol/L | 13.3444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.661 | 137600.8784 | 301606.7731 | 33.25 | 68.6
113095 | 2021-04-30 11:42 | 19.0058 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.5419 | μmol/L | 13.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.664 | 137610.011 | 301613.4401 | 33.25 | 68.6
113105 | 2021-04-30 11:42 | 19.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4886 | μmol/L | 13.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.664 | 137604.119 | 301616.1239 | 33.25 | 68.6
113115 | 2021-04-30 11:42 | 19.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3512 | μmol/L | 13.3383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.663 | 137587.0356 | 301591.719 | 33.25 | 68.6
113125 | 2021-04-30 11:43 | 20.0058 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.298 | μmol/L | 13.3444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.663 | 137582.243 | 301588.4132 | 33.25 | 68.6
113135 | 2021-04-30 11:43 | 20.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3735 | μmol/L | 13.3383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137573.9028 | 301578.579 | 33.25 | 68.6
113145 | 2021-04-30 11:43 | 20.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.4267 | μmol/L | 13.3322 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137583.6811 | 301576.8776 | 33.25 | 68.6
113155 | 2021-04-30 11:44 | 21.006 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2534 | μmol/L | 13.3444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.665 | 137564.1079 | 301559.2896 | 33.25 | 68.6
113165 | 2021-04-30 11:44 | 21.3387 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2585 | μmol/L | 13.3565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.66 | 137565.3476 | 301555.6631 | 33.25 | 68.6
113175 | 2021-04-30 11:44 | 21.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.3117 | μmol/L | 13.3505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.66 | 137550.3181 | 301545.8745 | 33.25 | 68.6
113185 | 2021-04-30 11:45 | 22.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1916 | μmol/L | 13.3565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.663 | 137547.9617 | 301544.3599 | 33.25 | 68.6
113195 | 2021-04-30 11:45 | 22.3392 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.2671 | μmol/L | 13.3505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137543.8806 | 301540.2863 | 33.25 | 68.6
113205 | 2021-04-30 11:45 | 22.6721 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1608 | μmol/L | 13.3626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137535.9931 | 301517.907 | 33.25 | 68.6
113215 | 2021-04-30 11:46 | 23.0059 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1745 | μmol/L | 13.3687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.659 | 137532.5439 | 301523.7753 | 33.25 | 68.6
113225 | 2021-04-30 11:46 | 23.3394 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.1608 | μmol/L | 13.3626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137524.6935 | 301522.8669 | 33.25 | 68.6
113235 | 2021-04-30 11:46 | 23.6722 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.0631 | μmol/L | 13.3687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.664 | 137521.0257 | 301513.8053 | 33.25 | 68.6
113245 | 2021-04-30 11:47 | 24.0053 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.0716 | μmol/L | 13.3626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.666 | 137522.5137 | 301501.5758 | 33.25 | 68.6
113255 | 2021-04-30 11:47 | 24.3393 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9877 | μmol/L | 13.3748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.665 | 137520.0837 | 301502.2014 | 33.25 | 68.6
113265 | 2021-04-30 11:47 | 24.6726 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9568 | μmol/L | 13.3808 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.664 | 137509.8667 | 301489.9778 | 33.25 | 68.6
113275 | 2021-04-30 11:48 | 25.0055 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.926 | μmol/L | 13.3869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.663 | 137506.2509 | 301483.2126 | 33.25 | 68.6
113285 | 2021-04-30 11:48 | 25.339 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8952 | μmol/L | 13.393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.662 | 137493.069 | 301484.9702 | 33.25 | 68.6
113295 | 2021-04-30 11:48 | 25.672 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9706 | μmol/L | 13.3869 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.661 | 137490.9918 | 301480.5322 | 33.25 | 68.6
113305 | 2021-04-30 11:49 | 26.0056 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9175 | μmol/L | 13.393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.661 | 137489.8729 | 301473.1961 | 33.25 | 68.6