## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112526 | 2021-04-30 11:23 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.8179 | μmol/L | 13.3849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.101 | 128908.7871 | 266074.2449 | 26.25 | 74
112536 | 2021-04-30 11:23 | 0.32901 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 266.801 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.064 | 128632.645 | 266068.7983 | 26.25 | 74
112546 | 2021-04-30 11:24 | 0.66217 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.7207 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.03 | 128392.5911 | 266057.7488 | 26.25 | 74
112556 | 2021-04-30 11:24 | 0.99511 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.3982 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23 | 128177.8757 | 266068.2913 | 26.25 | 74
112566 | 2021-04-30 11:24 | 1.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.0617 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.973 | 127961.8174 | 266054.4024 | 26.25 | 74
112576 | 2021-04-30 11:25 | 1.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.7597 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.94 | 127756.2329 | 266044.41 | 26.25 | 74
112586 | 2021-04-30 11:25 | 1.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.2839 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.917 | 127568.6688 | 266032.7258 | 26.25 | 74
112596 | 2021-04-30 11:25 | 2.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.8616 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.894 | 127407.6537 | 266010.0949 | 26.25 | 74
112606 | 2021-04-30 11:26 | 2.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.3131 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.872 | 127218.6919 | 266007.0102 | 26.25 | 74
112616 | 2021-04-30 11:26 | 2.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8016 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.853 | 127095.2757 | 266010.3958 | 26.25 | 74
112626 | 2021-04-30 11:26 | 3.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.1235 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.839 | 126969.9969 | 265978.9078 | 26.25 | 74
112636 | 2021-04-30 11:27 | 3.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.515 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.822 | 126858.7267 | 265980.6841 | 26.25 | 74
112646 | 2021-04-30 11:27 | 3.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8906 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.808 | 126763.0724 | 265972.8748 | 26.25 | 74
112656 | 2021-04-30 11:27 | 4.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1679 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.796 | 126680.076 | 265954.37 | 26.25 | 74
112666 | 2021-04-30 11:28 | 4.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3992 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.786 | 126593.8848 | 265954.3642 | 26.25 | 74
112676 | 2021-04-30 11:28 | 4.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4853 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.78 | 126469.8426 | 265939.2341 | 26.25 | 74
112686 | 2021-04-30 11:28 | 5.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.717 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.77 | 126403.9253 | 265926.8932 | 26.25 | 74
112696 | 2021-04-30 11:29 | 5.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.9321 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.763 | 126342.7738 | 265922.4518 | 26.25 | 74
112706 | 2021-04-30 11:29 | 5.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.1643 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.753 | 126299.8448 | 265916.5058 | 26.25 | 74
112716 | 2021-04-30 11:29 | 6.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.2636 | μmol/L | 13.3301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.751 | 126251.7962 | 265908.4559 | 26.25 | 74
112726 | 2021-04-30 11:30 | 6.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.4263 | μmol/L | 13.3301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.744 | 126207.944 | 265891.8145 | 26.25 | 74
112736 | 2021-04-30 11:30 | 6.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.549 | μmol/L | 13.3241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.741 | 126162.8442 | 265882.6182 | 26.25 | 74
112746 | 2021-04-30 11:30 | 7.3283 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.659 | μmol/L | 13.3301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.734 | 126137.4558 | 265876.4829 | 26.25 | 74
112756 | 2021-04-30 11:31 | 7.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.6758 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.731 | 126095.9278 | 265858.0317 | 26.25 | 74
112766 | 2021-04-30 11:31 | 7.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8452 | μmol/L | 13.3301 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.726 | 126066.8297 | 265841.7836 | 26.25 | 74
112776 | 2021-04-30 11:31 | 8.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8155 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.725 | 126043.6095 | 265852.1655 | 26.25 | 74
112786 | 2021-04-30 11:32 | 8.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8854 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.722 | 126017.8333 | 265839.6913 | 26.25 | 74
112796 | 2021-04-30 11:32 | 8.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9786 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.718 | 125997.7226 | 265827.2306 | 26.25 | 74
112806 | 2021-04-30 11:32 | 9.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9786 | μmol/L | 13.3362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.718 | 125971.5252 | 265822.9981 | 26.25 | 74
112816 | 2021-04-30 11:33 | 9.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8493 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.719 | 125958.599 | 265818.725 | 26.25 | 74
112826 | 2021-04-30 11:33 | 9.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9955 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.715 | 125940.5336 | 265808.4708 | 26.25 | 74
112836 | 2021-04-30 11:33 | 10.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0189 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.714 | 125916.1007 | 265810.6573 | 26.25 | 74
112846 | 2021-04-30 11:34 | 10.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1588 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.708 | 125906.9409 | 265797.2951 | 26.25 | 74
112856 | 2021-04-30 11:34 | 10.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1121 | μmol/L | 13.3423 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.71 | 125887.0723 | 265789.1871 | 26.25 | 74
112866 | 2021-04-30 11:34 | 11.3288 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1524 | μmol/L | 13.3484 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.706 | 125869.4998 | 265788.8866 | 26.25 | 74
112876 | 2021-04-30 11:35 | 11.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.216 | μmol/L | 13.3545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.701 | 125855.8069 | 265774.1245 | 26.25 | 74
112886 | 2021-04-30 11:35 | 11.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0993 | μmol/L | 13.3545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.706 | 125846.2695 | 265761.0537 | 26.25 | 74
112896 | 2021-04-30 11:35 | 12.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1693 | μmol/L | 13.3545 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.703 | 125834.5027 | 265771.0038 | 26.25 | 74
112906 | 2021-04-30 11:36 | 12.6621 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0632 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.703 | 125825.024 | 265763.6041 | 26.25 | 74
112916 | 2021-04-30 11:36 | 12.9952 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1163 | μmol/L | 13.3605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.703 | 125813.4284 | 265754.5524 | 26.25 | 74
112926 | 2021-04-30 11:36 | 13.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1332 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.7 | 125790.0102 | 265740.4751 | 26.25 | 74
112936 | 2021-04-30 11:37 | 13.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1565 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.699 | 125793.0187 | 265730.2718 | 26.25 | 74
112946 | 2021-04-30 11:37 | 13.9951 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1332 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.7 | 125782.4959 | 265724.9883 | 26.25 | 74
112956 | 2021-04-30 11:37 | 14.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.2032 | μmol/L | 13.3666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.697 | 125771.4567 | 265737.9014 | 26.25 | 74
112966 | 2021-04-30 11:38 | 14.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0038 | μmol/L | 13.3788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.701 | 125764.3449 | 265718.8155 | 26.25 | 74
112976 | 2021-04-30 11:38 | 14.995 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1035 | μmol/L | 13.3727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.699 | 125747.0555 | 265727.5347 | 26.25 | 74
112986 | 2021-04-30 11:38 | 15.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1205 | μmol/L | 13.3788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.696 | 125744.2502 | 265710.9754 | 26.25 | 74
112996 | 2021-04-30 11:39 | 15.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1438 | μmol/L | 13.3788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.695 | 125733.3054 | 265699.9618 | 26.25 | 74
113006 | 2021-04-30 11:39 | 15.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.1141 | μmol/L | 13.3849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.694 | 125725.6966 | 265689.1626 | 26.25 | 74
113016 | 2021-04-30 11:39 | 16.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0844 | μmol/L | 13.391 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.693 | 125716.5841 | 265695.1485 | 26.25 | 74
113026 | 2021-04-30 11:40 | 16.6618 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.078 | μmol/L | 13.397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.691 | 125712.2059 | 265697.8345 | 26.25 | 74
113036 | 2021-04-30 11:40 | 16.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0081 | μmol/L | 13.397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.694 | 125693.3303 | 265672.5914 | 26.25 | 74
113046 | 2021-04-30 11:40 | 17.3289 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0081 | μmol/L | 13.397 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.694 | 125697.9897 | 265669.9183 | 26.25 | 74
113056 | 2021-04-30 11:41 | 17.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9551 | μmol/L | 13.4031 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.694 | 125673.7498 | 265663.5053 | 26.25 | 74
113066 | 2021-04-30 11:41 | 17.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0017 | μmol/L | 13.4031 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.692 | 125672.686 | 265673.2797 | 26.25 | 74
113076 | 2021-04-30 11:41 | 18.3291 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9954 | μmol/L | 13.4092 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.69 | 125660.8949 | 265666.2694 | 26.25 | 74
113086 | 2021-04-30 11:42 | 18.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.042 | μmol/L | 13.4092 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 125651.7354 | 265653.4551 | 26.25 | 74
113096 | 2021-04-30 11:42 | 18.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0124 | μmol/L | 13.4153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.687 | 125636.5365 | 265642.6001 | 26.25 | 74
113106 | 2021-04-30 11:42 | 19.329 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8831 | μmol/L | 13.4275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 125627.4271 | 265629.4134 | 26.25 | 74
113116 | 2021-04-30 11:43 | 19.6622 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8831 | μmol/L | 13.4275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 125630.123 | 265631.0153 | 26.25 | 74
113126 | 2021-04-30 11:43 | 19.9953 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9297 | μmol/L | 13.4275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.686 | 125609.0181 | 265624.9658 | 26.25 | 74
113136 | 2021-04-30 11:43 | 20.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9701 | μmol/L | 13.4335 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.682 | 125598.7545 | 265630.9939 | 26.25 | 74
113146 | 2021-04-30 11:44 | 20.6616 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9171 | μmol/L | 13.4396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.682 | 125595.8173 | 265622.5302 | 26.25 | 74
113156 | 2021-04-30 11:44 | 20.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9404 | μmol/L | 13.4396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.681 | 125586.0803 | 265613.0429 | 26.25 | 74
113166 | 2021-04-30 11:44 | 21.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9341 | μmol/L | 13.4457 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.679 | 125574.3792 | 265600.1331 | 26.25 | 74
113176 | 2021-04-30 11:45 | 21.6619 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0338 | μmol/L | 13.4396 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125561.4093 | 265598.4151 | 26.25 | 74
113186 | 2021-04-30 11:45 | 21.9957 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8579 | μmol/L | 13.4518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.68 | 125551.1612 | 265587.8702 | 26.25 | 74
113196 | 2021-04-30 11:45 | 22.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9278 | μmol/L | 13.4518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125540.6397 | 265591.4094 | 26.25 | 74
113206 | 2021-04-30 11:46 | 22.6617 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9916 | μmol/L | 13.4579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.672 | 125529.5138 | 265582.9215 | 26.25 | 74
113216 | 2021-04-30 11:46 | 22.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8749 | μmol/L | 13.4579 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 125518.6326 | 265570.5703 | 26.25 | 74
113226 | 2021-04-30 11:46 | 23.3287 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9153 | μmol/L | 13.4639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125505.7222 | 265570.0352 | 26.25 | 74
113236 | 2021-04-30 11:47 | 23.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8094 | μmol/L | 13.4761 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.673 | 125493.2237 | 265566.6846 | 26.25 | 74
113246 | 2021-04-30 11:47 | 23.9956 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.9027 | μmol/L | 13.4761 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.669 | 125482.4028 | 265563.4014 | 26.25 | 74
113256 | 2021-04-30 11:47 | 24.3286 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8965 | μmol/L | 13.4822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 125472.141 | 265550.7961 | 26.25 | 74
113266 | 2021-04-30 11:48 | 24.6624 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8436 | μmol/L | 13.4883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.667 | 125463.3561 | 265556.3196 | 26.25 | 74
113276 | 2021-04-30 11:48 | 24.9954 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8373 | μmol/L | 13.4944 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.665 | 125453.7504 | 265541.227 | 26.25 | 74
113286 | 2021-04-30 11:48 | 25.3285 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 275.0069 | μmol/L | 13.4883 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 125438.4934 | 265538.3083 | 26.25 | 74
113296 | 2021-04-30 11:49 | 25.662 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8544 | μmol/L | 13.5004 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.662 | 125431.5773 | 265535.1079 | 26.25 | 74
113306 | 2021-04-30 11:49 | 25.9955 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 274.8015 | μmol/L | 13.5065 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.662 | 125419.7312 | 265523.588 | 26.25 | 74