## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 11:50

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
112527 | 2021-04-30 11:23 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0189 | μmol/L | 13.4728 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.951 | 125548.3937 | 269289.7544 | 32.55 | 27.7
112537 | 2021-04-30 11:23 | 0.33554 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.0983 | μmol/L | 13.3996 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.93 | 125345.9647 | 269277.4892 | 32.55 | 27.7
112547 | 2021-04-30 11:24 | 0.66845 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6898 | μmol/L | 13.369 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.915 | 125206.1895 | 269262.3638 | 32.55 | 27.7
112557 | 2021-04-30 11:24 | 1.0023 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.2189 | μmol/L | 13.3568 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.896 | 125069.1249 | 269257.2815 | 32.55 | 27.7
112567 | 2021-04-30 11:24 | 1.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.6591 | μmol/L | 13.3446 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.881 | 124952.4869 | 269229.8399 | 32.55 | 27.7
112577 | 2021-04-30 11:25 | 1.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.8845 | μmol/L | 13.3446 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.871 | 124844.9296 | 269217.1664 | 32.55 | 27.7
112587 | 2021-04-30 11:25 | 2.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.2004 | μmol/L | 13.3446 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.857 | 124747.5061 | 269210.1991 | 32.55 | 27.7
112597 | 2021-04-30 11:25 | 2.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.5521 | μmol/L | 13.3324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.846 | 124671.8124 | 269206.2073 | 32.55 | 27.7
112607 | 2021-04-30 11:26 | 2.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.6878 | μmol/L | 13.3324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.84 | 124719.4417 | 269182.9789 | 32.55 | 27.7
112617 | 2021-04-30 11:26 | 3.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.0793 | μmol/L | 13.3263 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.825 | 124656.469 | 269178.5968 | 32.55 | 27.7
112627 | 2021-04-30 11:26 | 3.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.267 | μmol/L | 13.3202 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.819 | 124592.7366 | 269159.7005 | 32.55 | 27.7
112637 | 2021-04-30 11:27 | 3.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.5521 | μmol/L | 13.308 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.811 | 124522.5684 | 269147.4809 | 32.55 | 27.7
112647 | 2021-04-30 11:27 | 4.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.8767 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.799 | 124469.1779 | 269130.5294 | 32.55 | 27.7
112657 | 2021-04-30 11:27 | 4.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.9286 | μmol/L | 13.2958 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.799 | 124408.0111 | 269129.0527 | 32.55 | 27.7
112667 | 2021-04-30 11:28 | 4.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.1398 | μmol/L | 13.2897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.792 | 124363.3887 | 269120.3313 | 32.55 | 27.7
112677 | 2021-04-30 11:28 | 5.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.426 | μmol/L | 13.2775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.784 | 124315.391 | 269110.7613 | 32.55 | 27.7
112687 | 2021-04-30 11:28 | 5.3357 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.54 | μmol/L | 13.2775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.779 | 124272.795 | 269097.6017 | 32.55 | 27.7
112697 | 2021-04-30 11:29 | 5.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6085 | μmol/L | 13.2775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.776 | 124227.9948 | 269092.4638 | 32.55 | 27.7
112707 | 2021-04-30 11:29 | 6.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.729 | μmol/L | 13.2713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.773 | 124193.3466 | 269071.5749 | 32.55 | 27.7
112717 | 2021-04-30 11:29 | 6.3358 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7747 | μmol/L | 13.2713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.771 | 124157.5577 | 269074.0532 | 32.55 | 27.7
112727 | 2021-04-30 11:30 | 6.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.8952 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.768 | 124124.6329 | 269060.4664 | 32.55 | 27.7
112737 | 2021-04-30 11:30 | 7.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.941 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.766 | 124089.8827 | 269052.552 | 32.55 | 27.7
112747 | 2021-04-30 11:30 | 7.3359 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.176 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.758 | 124063.3991 | 269036.9951 | 32.55 | 27.7
112757 | 2021-04-30 11:31 | 7.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.101 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.759 | 124034.5617 | 269041.8735 | 32.55 | 27.7
112767 | 2021-04-30 11:31 | 8.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.2218 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.756 | 124018.5691 | 269047.7239 | 32.55 | 27.7
112777 | 2021-04-30 11:31 | 8.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.4113 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.75 | 123983.085 | 269027.138 | 32.55 | 27.7
112787 | 2021-04-30 11:32 | 8.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.4279 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.747 | 123966.1866 | 269015.6619 | 32.55 | 27.7
112797 | 2021-04-30 11:32 | 9.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.4571 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.748 | 123948.8384 | 269021.7978 | 32.55 | 27.7
112807 | 2021-04-30 11:32 | 9.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.48 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.747 | 123928.4638 | 268998.3805 | 32.55 | 27.7
112817 | 2021-04-30 11:33 | 9.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.6697 | μmol/L | 13.2469 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.741 | 123906.1565 | 269001.2438 | 32.55 | 27.7
112827 | 2021-04-30 11:33 | 10.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.5946 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.742 | 123889.4367 | 269005.6822 | 32.55 | 27.7
112837 | 2021-04-30 11:33 | 10.3352 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.5946 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.742 | 123864.4848 | 268991.8611 | 32.55 | 27.7
112847 | 2021-04-30 11:34 | 10.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.7781 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.734 | 123842.1889 | 268975.9869 | 32.55 | 27.7
112857 | 2021-04-30 11:34 | 11.0019 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.7093 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.737 | 123823.8056 | 268968.893 | 32.55 | 27.7
112867 | 2021-04-30 11:34 | 11.3357 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.824 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.732 | 123799.8838 | 268948.1785 | 32.55 | 27.7
112877 | 2021-04-30 11:35 | 11.6687 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9222 | μmol/L | 13.2469 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.73 | 123788.1304 | 268951.2392 | 32.55 | 27.7
112887 | 2021-04-30 11:35 | 12.0023 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.847 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.731 | 123776.1292 | 268947.0519 | 32.55 | 27.7
112897 | 2021-04-30 11:35 | 12.3353 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8929 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.729 | 123761.7221 | 268954.1016 | 32.55 | 27.7
112907 | 2021-04-30 11:36 | 12.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8011 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.733 | 123747.8792 | 268949.0429 | 32.55 | 27.7
112917 | 2021-04-30 11:36 | 13.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8407 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.729 | 123730.1752 | 268936.4058 | 32.55 | 27.7
112927 | 2021-04-30 11:36 | 13.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9158 | μmol/L | 13.253 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.728 | 123710.4435 | 268932.4262 | 32.55 | 27.7
112937 | 2021-04-30 11:37 | 13.6684 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.7655 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.73 | 123710.4662 | 268922.0456 | 32.55 | 27.7
112947 | 2021-04-30 11:37 | 14.0024 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8866 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.727 | 123698.6354 | 268921.8123 | 32.55 | 27.7
112957 | 2021-04-30 11:37 | 14.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9262 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.723 | 123693.5568 | 268923.5149 | 32.55 | 27.7
112967 | 2021-04-30 11:38 | 14.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.0014 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.722 | 123686.1633 | 268914.4073 | 32.55 | 27.7
112977 | 2021-04-30 11:38 | 15.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.0244 | μmol/L | 13.2591 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.721 | 123677.6513 | 268909.6345 | 32.55 | 27.7
112987 | 2021-04-30 11:38 | 15.335 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9721 | μmol/L | 13.2652 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.721 | 123661.0871 | 268903.8033 | 32.55 | 27.7
112997 | 2021-04-30 11:39 | 15.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.0118 | μmol/L | 13.2713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.717 | 123649.2907 | 268895.0056 | 32.55 | 27.7
113007 | 2021-04-30 11:39 | 16.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9429 | μmol/L | 13.2713 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.72 | 123635.4857 | 268895.1525 | 32.55 | 27.7
113017 | 2021-04-30 11:39 | 16.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9136 | μmol/L | 13.2775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.719 | 123634.0929 | 268882.7096 | 32.55 | 27.7
113027 | 2021-04-30 11:40 | 16.6688 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9825 | μmol/L | 13.2775 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.716 | 123622.6686 | 268867.6174 | 32.55 | 27.7
113037 | 2021-04-30 11:40 | 17.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9073 | μmol/L | 13.2836 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.717 | 123619.0611 | 268881.5241 | 32.55 | 27.7
113047 | 2021-04-30 11:40 | 17.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.947 | μmol/L | 13.2897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.713 | 123603.3664 | 268873.7067 | 32.55 | 27.7
113057 | 2021-04-30 11:41 | 17.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8092 | μmol/L | 13.2897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.719 | 123594.9327 | 268862.9541 | 32.55 | 27.7
113067 | 2021-04-30 11:41 | 18.0018 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.924 | μmol/L | 13.2897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.714 | 123586.6332 | 268863.6443 | 32.55 | 27.7
113077 | 2021-04-30 11:41 | 18.3356 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.901 | μmol/L | 13.2897 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.715 | 123575.807 | 268879.1158 | 32.55 | 27.7
113087 | 2021-04-30 11:42 | 18.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8426 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.713 | 123568.0724 | 268854.3574 | 32.55 | 27.7
113097 | 2021-04-30 11:42 | 19.0025 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8196 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.714 | 123565.4862 | 268860.2897 | 32.55 | 27.7
113107 | 2021-04-30 11:42 | 19.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8363 | μmol/L | 13.308 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.711 | 123558.5411 | 268867.6566 | 32.55 | 27.7
113117 | 2021-04-30 11:43 | 19.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9574 | μmol/L | 13.3019 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.708 | 123545.065 | 268848.3388 | 32.55 | 27.7
113127 | 2021-04-30 11:43 | 20.0024 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8593 | μmol/L | 13.308 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.71 | 123537.3405 | 268834.7883 | 32.55 | 27.7
113137 | 2021-04-30 11:43 | 20.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8593 | μmol/L | 13.308 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.71 | 123526.4313 | 268852.959 | 32.55 | 27.7
113147 | 2021-04-30 11:44 | 20.6686 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.853 | μmol/L | 13.3141 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.708 | 123510.0667 | 268838.4123 | 32.55 | 27.7
113157 | 2021-04-30 11:44 | 21.0017 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8176 | μmol/L | 13.3263 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.705 | 123490.5881 | 268825.525 | 32.55 | 27.7
113167 | 2021-04-30 11:44 | 21.3355 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8635 | μmol/L | 13.3263 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.703 | 123482.8958 | 268821.6396 | 32.55 | 27.7
113177 | 2021-04-30 11:45 | 21.6685 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8343 | μmol/L | 13.3324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.702 | 123470.85 | 268804.3131 | 32.55 | 27.7
113187 | 2021-04-30 11:45 | 22.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.7654 | μmol/L | 13.3324 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.705 | 123466.7287 | 268795.5203 | 32.55 | 27.7
113197 | 2021-04-30 11:45 | 22.3351 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8051 | μmol/L | 13.3385 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.701 | 123452.0352 | 268803.7265 | 32.55 | 27.7
113207 | 2021-04-30 11:46 | 22.6689 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.7822 | μmol/L | 13.3385 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.702 | 123436.5846 | 268810.1531 | 32.55 | 27.7
113217 | 2021-04-30 11:46 | 23.002 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.8616 | μmol/L | 13.3507 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.694 | 123411.7882 | 268790.2276 | 32.55 | 27.7
113227 | 2021-04-30 11:46 | 23.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.0287 | μmol/L | 13.3446 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.689 | 123381.4548 | 268781.9283 | 32.55 | 27.7
113237 | 2021-04-30 11:47 | 23.669 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 270.9474 | μmol/L | 13.3568 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.688 | 123343.6226 | 268777.3152 | 32.55 | 27.7
113247 | 2021-04-30 11:47 | 24.0023 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.0393 | μmol/L | 13.3568 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.684 | 123311.8183 | 268769.9412 | 32.55 | 27.7
113257 | 2021-04-30 11:47 | 24.3354 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.1543 | μmol/L | 13.3568 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.679 | 123275.117 | 268765.3636 | 32.55 | 27.7
113267 | 2021-04-30 11:48 | 24.6692 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.1941 | μmol/L | 13.3629 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.675 | 123237.0006 | 268769.9458 | 32.55 | 27.7
113277 | 2021-04-30 11:48 | 25.0022 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.3031 | μmol/L | 13.369 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.668 | 123211.6473 | 268761.6938 | 32.55 | 27.7
113287 | 2021-04-30 11:48 | 25.3357 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.4935 | μmol/L | 13.3629 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.662 | 123167.7322 | 268757.8266 | 32.55 | 27.7
113297 | 2021-04-30 11:49 | 25.6692 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.5334 | μmol/L | 13.369 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.658 | 123130.6769 | 268764.4648 | 32.55 | 27.7
113307 | 2021-04-30 11:49 | 26.0021 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 271.6425 | μmol/L | 13.3751 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.651 | 123084.1711 | 268754.2086 | 32.55 | 27.7