## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113310 | 2021-04-30 11:59 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 299.2164 | μmol/L | 13.7647 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.982 | 105439.246 | 211969.1534 | 27.3 | 43.4
113320 | 2021-04-30 11:59 | 0.33853 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.2912 | μmol/L | 13.7464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.947 | 105255.1878 | 211972.637 | 27.3 | 43.4
113330 | 2021-04-30 11:59 | 0.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 300.7663 | μmol/L | 13.7586 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.924 | 105083.3392 | 211954.1897 | 27.3 | 43.4
113340 | 2021-04-30 12:00 | 1.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 301.5817 | μmol/L | 13.7464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.897 | 104940.421 | 211959.6345 | 27.3 | 43.4
113350 | 2021-04-30 12:00 | 1.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.0667 | μmol/L | 13.7525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.876 | 104806.1773 | 211960.2283 | 27.3 | 43.4
113360 | 2021-04-30 12:00 | 1.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.6307 | μmol/L | 13.7586 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.852 | 104689.6657 | 211952.895 | 27.3 | 43.4
113370 | 2021-04-30 12:01 | 2.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 302.9357 | μmol/L | 13.7647 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.838 | 104581.7506 | 211940.1589 | 27.3 | 43.4
113380 | 2021-04-30 12:01 | 2.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.4569 | μmol/L | 13.7647 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.818 | 104491.6931 | 211938.2797 | 27.3 | 43.4
113390 | 2021-04-30 12:01 | 2.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 303.8486 | μmol/L | 13.7647 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.803 | 104403.7146 | 211942.9555 | 27.3 | 43.4
113400 | 2021-04-30 12:02 | 3.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.0506 | μmol/L | 13.7708 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.793 | 104333.4922 | 211938.0061 | 27.3 | 43.4
113410 | 2021-04-30 12:02 | 3.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.3384 | μmol/L | 13.7708 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.782 | 104259.8611 | 211931.2699 | 27.3 | 43.4
113420 | 2021-04-30 12:02 | 3.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.4814 | μmol/L | 13.783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.772 | 104202.0388 | 211940.3416 | 27.3 | 43.4
113430 | 2021-04-30 12:03 | 4.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 304.8031 | μmol/L | 13.7769 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.762 | 104143.4914 | 211941.8186 | 27.3 | 43.4
113440 | 2021-04-30 12:03 | 4.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.1111 | μmol/L | 13.783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.748 | 104081.8614 | 211925.8932 | 27.3 | 43.4
113450 | 2021-04-30 12:03 | 4.6719 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.0969 | μmol/L | 13.7952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.744 | 104032.0781 | 211924.5604 | 27.3 | 43.4
113460 | 2021-04-30 12:04 | 5.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.4984 | μmol/L | 13.7891 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.731 | 103988.2239 | 211926.3198 | 27.3 | 43.4
113470 | 2021-04-30 12:04 | 5.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.5177 | μmol/L | 13.7952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.728 | 103951.105 | 211933.8421 | 27.3 | 43.4
113480 | 2021-04-30 12:04 | 5.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.6422 | μmol/L | 13.8013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.721 | 103897.6508 | 211923.1233 | 27.3 | 43.4
113490 | 2021-04-30 12:05 | 6.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.8073 | μmol/L | 13.7952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.717 | 103864.8003 | 211910.6414 | 27.3 | 43.4
113500 | 2021-04-30 12:05 | 6.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9514 | μmol/L | 13.8074 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.707 | 103828.6117 | 211918.3572 | 27.3 | 43.4
113510 | 2021-04-30 12:05 | 6.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1431 | μmol/L | 13.8013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.702 | 103797.4851 | 211923.1456 | 27.3 | 43.4
113520 | 2021-04-30 12:06 | 7.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1554 | μmol/L | 13.8135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.697 | 103765.1215 | 211926.998 | 27.3 | 43.4
113530 | 2021-04-30 12:06 | 7.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3333 | μmol/L | 13.8196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.688 | 103737.5498 | 211918.7536 | 27.3 | 43.4
113540 | 2021-04-30 12:06 | 7.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2804 | μmol/L | 13.8196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.69 | 103702.8217 | 211917.7721 | 27.3 | 43.4
113550 | 2021-04-30 12:07 | 8.0053 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4319 | μmol/L | 13.8257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.682 | 103676.316 | 211908.8555 | 27.3 | 43.4
113560 | 2021-04-30 12:07 | 8.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4514 | μmol/L | 13.8318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.679 | 103655.6185 | 211903.2546 | 27.3 | 43.4
113570 | 2021-04-30 12:07 | 8.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5237 | μmol/L | 13.8379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.674 | 103625.0626 | 211899.9061 | 27.3 | 43.4
113580 | 2021-04-30 12:08 | 9.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.603 | μmol/L | 13.8379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.671 | 103614.5502 | 211904.8819 | 27.3 | 43.4
113590 | 2021-04-30 12:08 | 9.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.7618 | μmol/L | 13.8379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.665 | 103582.28 | 211892.3518 | 27.3 | 43.4
113600 | 2021-04-30 12:08 | 9.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.7882 | μmol/L | 13.8379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.664 | 103571.6542 | 211899.9354 | 27.3 | 43.4
113610 | 2021-04-30 12:09 | 10.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.7214 | μmol/L | 13.8501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.662 | 103551.2503 | 211889.8089 | 27.3 | 43.4
113620 | 2021-04-30 12:09 | 10.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8537 | μmol/L | 13.8501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.657 | 103530.8879 | 211879.5598 | 27.3 | 43.4
113630 | 2021-04-30 12:09 | 10.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8733 | μmol/L | 13.8562 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.654 | 103514.781 | 211870.8622 | 27.3 | 43.4
113640 | 2021-04-30 12:10 | 11.0055 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.7869 | μmol/L | 13.8623 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.655 | 103491.9031 | 211881.4369 | 27.3 | 43.4
113650 | 2021-04-30 12:10 | 11.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.6937 | μmol/L | 13.8745 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.654 | 103475.96 | 211885.8202 | 27.3 | 43.4
113660 | 2021-04-30 12:10 | 11.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9389 | μmol/L | 13.8684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.647 | 103462.912 | 211879.9942 | 27.3 | 43.4
113670 | 2021-04-30 12:11 | 12.0051 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.0184 | μmol/L | 13.8684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 103435.8126 | 211878.8166 | 27.3 | 43.4
113680 | 2021-04-30 12:11 | 12.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8986 | μmol/L | 13.8806 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.644 | 103433.5005 | 211881.7736 | 27.3 | 43.4
113690 | 2021-04-30 12:11 | 12.6717 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.0045 | μmol/L | 13.8806 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.64 | 103417.7074 | 211872.8995 | 27.3 | 43.4
113700 | 2021-04-30 12:12 | 13.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9711 | μmol/L | 13.8867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.639 | 103405.5731 | 211862.0601 | 27.3 | 43.4
113710 | 2021-04-30 12:12 | 13.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9711 | μmol/L | 13.8867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.639 | 103391.3804 | 211870.64 | 27.3 | 43.4
113720 | 2021-04-30 12:12 | 13.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9642 | μmol/L | 13.8928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.637 | 103382.6704 | 211868.0221 | 27.3 | 43.4
113730 | 2021-04-30 12:13 | 14.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9839 | μmol/L | 13.8989 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.634 | 103371.5535 | 211867.9945 | 27.3 | 43.4
113740 | 2021-04-30 12:13 | 14.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9505 | μmol/L | 13.905 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.633 | 103359.9131 | 211870.9126 | 27.3 | 43.4
113750 | 2021-04-30 12:13 | 14.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9171 | μmol/L | 13.9111 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.632 | 103345.4603 | 211860.3536 | 27.3 | 43.4
113760 | 2021-04-30 12:14 | 15.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.03 | μmol/L | 13.905 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.63 | 103339.2423 | 211856.9676 | 27.3 | 43.4
113770 | 2021-04-30 12:14 | 15.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8573 | μmol/L | 13.9172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.632 | 103333.96 | 211859.4869 | 27.3 | 43.4
113780 | 2021-04-30 12:14 | 15.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9966 | μmol/L | 13.9111 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.629 | 103325.4921 | 211871.5731 | 27.3 | 43.4
113790 | 2021-04-30 12:15 | 16.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.1223 | μmol/L | 13.9172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.622 | 103310.9319 | 211861.0587 | 27.3 | 43.4
113800 | 2021-04-30 12:15 | 16.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.0291 | μmol/L | 13.9294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.621 | 103308.8548 | 211856.7642 | 27.3 | 43.4
113810 | 2021-04-30 12:15 | 16.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9564 | μmol/L | 13.9233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 103296.7843 | 211858.2284 | 27.3 | 43.4
113820 | 2021-04-30 12:16 | 17.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 307.0821 | μmol/L | 13.9294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 103285.2095 | 211858.5926 | 27.3 | 43.4
113830 | 2021-04-30 12:16 | 17.3384 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8829 | μmol/L | 13.9416 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.622 | 103278.0746 | 211848.8441 | 27.3 | 43.4
113840 | 2021-04-30 12:16 | 17.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8496 | μmol/L | 13.9477 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.621 | 103275.8018 | 211840.1634 | 27.3 | 43.4
113850 | 2021-04-30 12:17 | 18.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8427 | μmol/L | 13.9538 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.619 | 103269.2577 | 211848.9033 | 27.3 | 43.4
113860 | 2021-04-30 12:17 | 18.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9488 | μmol/L | 13.9538 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.615 | 103255.6122 | 211830.8767 | 27.3 | 43.4
113870 | 2021-04-30 12:17 | 18.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8958 | μmol/L | 13.9538 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.617 | 103246.7893 | 211839.7955 | 27.3 | 43.4
113880 | 2021-04-30 12:18 | 19.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9685 | μmol/L | 13.9599 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.612 | 103241.2235 | 211825.9797 | 27.3 | 43.4
113890 | 2021-04-30 12:18 | 19.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9087 | μmol/L | 13.966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.612 | 103234.919 | 211827.3621 | 27.3 | 43.4
113900 | 2021-04-30 12:18 | 19.6722 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8489 | μmol/L | 13.9721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.612 | 103224.8629 | 211831.8642 | 27.3 | 43.4
113910 | 2021-04-30 12:19 | 20.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8556 | μmol/L | 13.966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.614 | 103221.5488 | 211837.1578 | 27.3 | 43.4
113920 | 2021-04-30 12:19 | 20.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.9549 | μmol/L | 13.9721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.608 | 103219.1365 | 211823.0385 | 27.3 | 43.4
113930 | 2021-04-30 12:19 | 20.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.8421 | μmol/L | 13.9782 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.61 | 103215.2195 | 211817.7413 | 27.3 | 43.4
113940 | 2021-04-30 12:20 | 21.0057 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.749 | μmol/L | 13.9904 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.609 | 103203.2842 | 211820.727 | 27.3 | 43.4
113950 | 2021-04-30 12:20 | 21.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.802 | μmol/L | 13.9904 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.607 | 103194.505 | 211822.0503 | 27.3 | 43.4
113960 | 2021-04-30 12:20 | 21.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.749 | μmol/L | 13.9904 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.609 | 103194.6975 | 211825.4824 | 27.3 | 43.4
113970 | 2021-04-30 12:21 | 22.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.7158 | μmol/L | 13.9965 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.608 | 103191.0533 | 211824.2626 | 27.3 | 43.4
113980 | 2021-04-30 12:21 | 22.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.6493 | μmol/L | 14.0087 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.606 | 103184.2929 | 211817.0789 | 27.3 | 43.4
113990 | 2021-04-30 12:21 | 22.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5631 | μmol/L | 14.0148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.607 | 103176.9444 | 211813.2083 | 27.3 | 43.4
114000 | 2021-04-30 12:22 | 23.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5963 | μmol/L | 14.0087 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.608 | 103164.9003 | 211811.9382 | 27.3 | 43.4
114010 | 2021-04-30 12:22 | 23.3385 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.722 | μmol/L | 14.0148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.601 | 103174.2877 | 211809.8161 | 27.3 | 43.4
114020 | 2021-04-30 12:22 | 23.6723 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.6093 | μmol/L | 14.0209 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.603 | 103158.7179 | 211796.6182 | 27.3 | 43.4
114030 | 2021-04-30 12:23 | 24.0054 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.6888 | μmol/L | 14.0209 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.6 | 103149.6026 | 211800.0205 | 27.3 | 43.4
114040 | 2021-04-30 12:23 | 24.3386 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.5761 | μmol/L | 14.027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.602 | 103145.4147 | 211797.7791 | 27.3 | 43.4
114050 | 2021-04-30 12:23 | 24.6724 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4832 | μmol/L | 14.0392 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.601 | 103146.3098 | 211791.3974 | 27.3 | 43.4
114060 | 2021-04-30 12:24 | 25.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3971 | μmol/L | 14.0453 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.602 | 103139.5747 | 211780.9417 | 27.3 | 43.4
114070 | 2021-04-30 12:24 | 25.3387 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.45 | μmol/L | 14.0453 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.6 | 103131.7753 | 211782.7873 | 27.3 | 43.4
114080 | 2021-04-30 12:24 | 25.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3706 | μmol/L | 14.0453 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.603 | 103124.6053 | 211785.4522 | 27.3 | 43.4
114090 | 2021-04-30 12:25 | 26.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3374 | μmol/L | 14.0514 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.602 | 103121.502 | 211788.0894 | 27.3 | 43.4
114100 | 2021-04-30 12:25 | 26.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.4168 | μmol/L | 14.0514 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.599 | 103117.3009 | 211792.6233 | 27.3 | 43.4
114110 | 2021-04-30 12:25 | 26.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.324 | μmol/L | 14.0636 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.598 | 103110.4593 | 211786.725 | 27.3 | 43.4
114120 | 2021-04-30 12:26 | 27.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1851 | μmol/L | 14.0697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.601 | 103113.825 | 211782.4666 | 27.3 | 43.4
114130 | 2021-04-30 12:26 | 27.3388 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1586 | μmol/L | 14.0697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.602 | 103102.7165 | 211783.361 | 27.3 | 43.4
114140 | 2021-04-30 12:26 | 27.6718 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2115 | μmol/L | 14.0697 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.6 | 103093.4528 | 211772.5732 | 27.3 | 43.4
114150 | 2021-04-30 12:27 | 28.0059 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2313 | μmol/L | 14.0758 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.597 | 103098.491 | 211777.8767 | 27.3 | 43.4
114160 | 2021-04-30 12:27 | 28.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1121 | μmol/L | 14.088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.597 | 103096.8004 | 211773.6769 | 27.3 | 43.4
114170 | 2021-04-30 12:27 | 28.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1915 | μmol/L | 14.088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.594 | 103078.0058 | 211769.9949 | 27.3 | 43.4
114180 | 2021-04-30 12:28 | 29.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3503 | μmol/L | 14.088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.588 | 103061.0947 | 211768.9919 | 27.3 | 43.4
114190 | 2021-04-30 12:28 | 29.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2643 | μmol/L | 14.0941 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.589 | 103053.3717 | 211766.2702 | 27.3 | 43.4
114200 | 2021-04-30 12:28 | 29.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2776 | μmol/L | 14.0819 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.593 | 103044.5901 | 211767.7851 | 27.3 | 43.4
114210 | 2021-04-30 12:29 | 30.0056 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.3503 | μmol/L | 14.088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.588 | 103038.409 | 211768.6154 | 27.3 | 43.4
114220 | 2021-04-30 12:29 | 30.3389 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1782 | μmol/L | 14.1002 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.59 | 103032.5442 | 211772.6077 | 27.3 | 43.4
114230 | 2021-04-30 12:29 | 30.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2576 | μmol/L | 14.1002 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.587 | 103028.0566 | 211753.1315 | 27.3 | 43.4
114240 | 2021-04-30 12:30 | 31.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.0856 | μmol/L | 14.1124 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.589 | 103022.4823 | 211762.9271 | 27.3 | 43.4
114250 | 2021-04-30 12:30 | 31.3391 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1583 | μmol/L | 14.1185 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.584 | 103006.3065 | 211760.6909 | 27.3 | 43.4
114260 | 2021-04-30 12:30 | 31.6725 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1914 | μmol/L | 14.1124 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.585 | 103004.9647 | 211752.576 | 27.3 | 43.4
114270 | 2021-04-30 12:31 | 32.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.2179 | μmol/L | 14.1124 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.584 | 103003.4405 | 211746.6045 | 27.3 | 43.4
114280 | 2021-04-30 12:31 | 32.3392 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.0393 | μmol/L | 14.1307 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.584 | 103002.5117 | 211742.6536 | 27.3 | 43.4
114290 | 2021-04-30 12:31 | 32.6721 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.1451 | μmol/L | 14.1307 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.58 | 102986.9614 | 211752.2498 | 27.3 | 43.4
114300 | 2021-04-30 12:32 | 33.0058 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9798 | μmol/L | 14.1368 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.584 | 102988.4818 | 211747.6355 | 27.3 | 43.4
114310 | 2021-04-30 12:32 | 33.339 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.0327 | μmol/L | 14.1368 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.582 | 102978.4883 | 211749.2636 | 27.3 | 43.4
114320 | 2021-04-30 12:32 | 33.672 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 306.079 | μmol/L | 14.1429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.578 | 102970.2591 | 211747.1141 | 27.3 | 43.4
114330 | 2021-04-30 12:33 | 34.0052 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 305.9997 | μmol/L | 14.1429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 102962.6758 | 211739.0796 | 27.3 | 43.4