## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113311 | 2021-04-30 11:59 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 264.3019 | μmol/L | 13.7408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.807 | 89923.4667 | 289798.5153 | 28.7 | 67.6
113321 | 2021-04-30 11:59 | 0.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.2193 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.771 | 89780.927 | 289813.494 | 28.7 | 67.6
113331 | 2021-04-30 11:59 | 0.66238 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 265.8565 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.743 | 89640.5995 | 289796.9258 | 28.7 | 67.6
113341 | 2021-04-30 12:00 | 0.99546 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.4271 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.718 | 89530.8063 | 289797.2499 | 28.7 | 67.6
113351 | 2021-04-30 12:00 | 1.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 266.9074 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.697 | 89418.4637 | 289784.0068 | 28.7 | 67.6
113361 | 2021-04-30 12:00 | 1.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.4578 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.673 | 89328.975 | 289796.6842 | 28.7 | 67.6
113371 | 2021-04-30 12:01 | 1.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 267.8024 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.658 | 89239.5766 | 289784.0667 | 28.7 | 67.6
113381 | 2021-04-30 12:01 | 2.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.0504 | μmol/L | 13.7347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.645 | 89165.6082 | 289764.9795 | 28.7 | 67.6
113391 | 2021-04-30 12:01 | 2.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.4702 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.629 | 89100.0748 | 289781.4003 | 28.7 | 67.6
113401 | 2021-04-30 12:02 | 2.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 268.6497 | μmol/L | 13.7347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.619 | 89046.3815 | 289786.9182 | 28.7 | 67.6
113411 | 2021-04-30 12:02 | 3.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0014 | μmol/L | 13.7287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.606 | 88989.6429 | 289765.5506 | 28.7 | 67.6
113421 | 2021-04-30 12:02 | 3.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.0143 | μmol/L | 13.7408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.601 | 88953.8661 | 289758.8945 | 28.7 | 67.6
113431 | 2021-04-30 12:03 | 3.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.2276 | μmol/L | 13.7347 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.594 | 88919.931 | 289770.0632 | 28.7 | 67.6
113441 | 2021-04-30 12:03 | 4.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.3846 | μmol/L | 13.7408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.585 | 88890.6093 | 289753.0162 | 28.7 | 67.6
113451 | 2021-04-30 12:03 | 4.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.4491 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.58 | 88856.1454 | 289748.1594 | 28.7 | 67.6
113461 | 2021-04-30 12:04 | 4.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.5649 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.575 | 88834.8227 | 289757.9959 | 28.7 | 67.6
113471 | 2021-04-30 12:04 | 5.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.7273 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.568 | 88802.4436 | 289741.5274 | 28.7 | 67.6
113481 | 2021-04-30 12:04 | 5.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.8897 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.561 | 88772.8486 | 289753.395 | 28.7 | 67.6
113491 | 2021-04-30 12:05 | 5.9959 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 269.9362 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.559 | 88759.6906 | 289752.72 | 28.7 | 67.6
113501 | 2021-04-30 12:05 | 6.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.0291 | μmol/L | 13.7469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 88727.863 | 289749.3872 | 28.7 | 67.6
113511 | 2021-04-30 12:05 | 6.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.21 | μmol/L | 13.753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.545 | 88704.1367 | 289731.2605 | 28.7 | 67.6
113521 | 2021-04-30 12:06 | 6.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2514 | μmol/L | 13.759 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.541 | 88677.9997 | 289735.6494 | 28.7 | 67.6
113531 | 2021-04-30 12:06 | 7.3293 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.3262 | μmol/L | 13.753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.54 | 88654.9786 | 289735.2347 | 28.7 | 67.6
113541 | 2021-04-30 12:06 | 7.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.2929 | μmol/L | 13.7651 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.537 | 88635.0405 | 289723.1813 | 28.7 | 67.6
113551 | 2021-04-30 12:07 | 7.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.4891 | μmol/L | 13.753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.533 | 88612.6403 | 289717.5426 | 28.7 | 67.6
113561 | 2021-04-30 12:07 | 8.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6006 | μmol/L | 13.759 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.526 | 88597.5077 | 289726.3347 | 28.7 | 67.6
113571 | 2021-04-30 12:07 | 8.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.5673 | μmol/L | 13.7712 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 88583.0399 | 289724.6411 | 28.7 | 67.6
113581 | 2021-04-30 12:08 | 8.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6088 | μmol/L | 13.7773 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.519 | 88561.5013 | 289717.6001 | 28.7 | 67.6
113591 | 2021-04-30 12:08 | 9.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7537 | μmol/L | 13.7712 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.515 | 88550.7312 | 289709.6398 | 28.7 | 67.6
113601 | 2021-04-30 12:08 | 9.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6738 | μmol/L | 13.7833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.514 | 88541.7262 | 289707.6508 | 28.7 | 67.6
113611 | 2021-04-30 12:09 | 9.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7903 | μmol/L | 13.7833 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 88526.3709 | 289717.2725 | 28.7 | 67.6
113621 | 2021-04-30 12:09 | 10.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8419 | μmol/L | 13.7773 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.509 | 88513.7411 | 289714.6287 | 28.7 | 67.6
113631 | 2021-04-30 12:09 | 10.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.6638 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.51 | 88505.5226 | 289695.7182 | 28.7 | 67.6
113641 | 2021-04-30 12:10 | 10.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.762 | μmol/L | 13.7894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.508 | 88491.4108 | 289694.2297 | 28.7 | 67.6
113651 | 2021-04-30 12:10 | 11.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7804 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.505 | 88484.5269 | 289682.556 | 28.7 | 67.6
113661 | 2021-04-30 12:10 | 11.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9719 | μmol/L | 13.7894 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.499 | 88473.8108 | 289679.3346 | 28.7 | 67.6
113671 | 2021-04-30 12:11 | 11.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7337 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.507 | 88477.7621 | 289684.7803 | 28.7 | 67.6
113681 | 2021-04-30 12:11 | 12.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9436 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.498 | 88465.271 | 289686.3793 | 28.7 | 67.6
113691 | 2021-04-30 12:11 | 12.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.967 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.497 | 88456.2624 | 289681.2703 | 28.7 | 67.6
113701 | 2021-04-30 12:12 | 12.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9387 | μmol/L | 13.8015 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.496 | 88447.5884 | 289672.9955 | 28.7 | 67.6
113711 | 2021-04-30 12:12 | 13.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.897 | μmol/L | 13.7955 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.5 | 88444.5043 | 289677.2178 | 28.7 | 67.6
113721 | 2021-04-30 12:12 | 13.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9804 | μmol/L | 13.8076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.492 | 88433.0033 | 289665.9504 | 28.7 | 67.6
113731 | 2021-04-30 12:13 | 13.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9054 | μmol/L | 13.8137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.493 | 88424.0177 | 289667.6482 | 28.7 | 67.6
113741 | 2021-04-30 12:13 | 14.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9054 | μmol/L | 13.8137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.493 | 88417.6441 | 289672.9911 | 28.7 | 67.6
113751 | 2021-04-30 12:13 | 14.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9988 | μmol/L | 13.8137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.489 | 88400.1885 | 289659.9604 | 28.7 | 67.6
113761 | 2021-04-30 12:14 | 14.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9754 | μmol/L | 13.8137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.49 | 88405.4322 | 289646.4139 | 28.7 | 67.6
113771 | 2021-04-30 12:14 | 15.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0172 | μmol/L | 13.8198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.486 | 88399.968 | 289662.1605 | 28.7 | 67.6
113781 | 2021-04-30 12:14 | 15.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1155 | μmol/L | 13.8137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 88385.3326 | 289642.7848 | 28.7 | 67.6
113791 | 2021-04-30 12:15 | 15.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.059 | μmol/L | 13.8258 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.482 | 88381.0212 | 289661.2816 | 28.7 | 67.6
113801 | 2021-04-30 12:15 | 16.3289 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0639 | μmol/L | 13.8198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.484 | 88380.439 | 289652.4319 | 28.7 | 67.6
113811 | 2021-04-30 12:15 | 16.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9373 | μmol/L | 13.8319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.485 | 88376.9428 | 289645.8817 | 28.7 | 67.6
113821 | 2021-04-30 12:16 | 16.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0258 | μmol/L | 13.838 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.479 | 88363.5569 | 289644.992 | 28.7 | 67.6
113831 | 2021-04-30 12:16 | 17.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0774 | μmol/L | 13.8319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.479 | 88357.4264 | 289637.0217 | 28.7 | 67.6
113841 | 2021-04-30 12:16 | 17.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0675 | μmol/L | 13.8441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.475 | 88356.7499 | 289632.8952 | 28.7 | 67.6
113851 | 2021-04-30 12:17 | 17.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0675 | μmol/L | 13.8441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.475 | 88343.234 | 289642.1827 | 28.7 | 67.6
113861 | 2021-04-30 12:17 | 18.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0442 | μmol/L | 13.8441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.476 | 88346.3993 | 289629.1127 | 28.7 | 67.6
113871 | 2021-04-30 12:17 | 18.6627 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0393 | μmol/L | 13.8501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.474 | 88339.5226 | 289620.9797 | 28.7 | 67.6
113881 | 2021-04-30 12:18 | 18.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0393 | μmol/L | 13.8501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.474 | 88333.7742 | 289629.1065 | 28.7 | 67.6
113891 | 2021-04-30 12:18 | 19.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1561 | μmol/L | 13.8501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.469 | 88327.4013 | 289620.5443 | 28.7 | 67.6
113901 | 2021-04-30 12:18 | 19.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9361 | μmol/L | 13.8623 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.474 | 88327.0514 | 289610.0352 | 28.7 | 67.6
113911 | 2021-04-30 12:19 | 19.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0061 | μmol/L | 13.8623 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.471 | 88308.7062 | 289611.986 | 28.7 | 67.6
113921 | 2021-04-30 12:19 | 20.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1414 | μmol/L | 13.8684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.463 | 88308.1378 | 289593.4256 | 28.7 | 67.6
113931 | 2021-04-30 12:19 | 20.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0947 | μmol/L | 13.8684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88302.7097 | 289602.5236 | 28.7 | 67.6
113941 | 2021-04-30 12:20 | 20.9956 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1648 | μmol/L | 13.8684 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.462 | 88300.346 | 289596.309 | 28.7 | 67.6
113951 | 2021-04-30 12:20 | 21.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.973 | μmol/L | 13.8744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.468 | 88302.3894 | 289596.9295 | 28.7 | 67.6
113961 | 2021-04-30 12:20 | 21.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9915 | μmol/L | 13.8805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88296.8372 | 289581.6674 | 28.7 | 67.6
113971 | 2021-04-30 12:21 | 21.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1131 | μmol/L | 13.8744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.462 | 88274.2855 | 289585.5467 | 28.7 | 67.6
113981 | 2021-04-30 12:21 | 22.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8883 | μmol/L | 13.8927 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88268.1113 | 289564.6952 | 28.7 | 67.6
113991 | 2021-04-30 12:21 | 22.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9915 | μmol/L | 13.8805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88275.5931 | 289577.9981 | 28.7 | 67.6
114001 | 2021-04-30 12:22 | 22.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.1034 | μmol/L | 13.8866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.458 | 88259.7515 | 289560.4109 | 28.7 | 67.6
114011 | 2021-04-30 12:22 | 23.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0284 | μmol/L | 13.8927 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.459 | 88259.3594 | 289554.1186 | 28.7 | 67.6
114021 | 2021-04-30 12:22 | 23.6621 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9253 | μmol/L | 13.9048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.459 | 88259.8662 | 289554.8546 | 28.7 | 67.6
114031 | 2021-04-30 12:23 | 23.996 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8368 | μmol/L | 13.8987 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.465 | 88262.1066 | 289545.952 | 28.7 | 67.6
114041 | 2021-04-30 12:23 | 24.329 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.972 | μmol/L | 13.9048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 88245.8289 | 289536.2585 | 28.7 | 67.6
114051 | 2021-04-30 12:23 | 24.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9205 | μmol/L | 13.9109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 88239.298 | 289544.6674 | 28.7 | 67.6
114061 | 2021-04-30 12:24 | 24.9952 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8271 | μmol/L | 13.9109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.461 | 88240.3218 | 289533.3708 | 28.7 | 67.6
114071 | 2021-04-30 12:24 | 25.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9253 | μmol/L | 13.9048 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.459 | 88240.4032 | 289555.412 | 28.7 | 67.6
114081 | 2021-04-30 12:24 | 25.6624 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8971 | μmol/L | 13.9109 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.458 | 88236.7731 | 289521.9896 | 28.7 | 67.6
114091 | 2021-04-30 12:25 | 25.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8689 | μmol/L | 13.9169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.457 | 88232.5219 | 289526.0359 | 28.7 | 67.6
114101 | 2021-04-30 12:25 | 26.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9857 | μmol/L | 13.9169 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 88220.4496 | 289520.5159 | 28.7 | 67.6
114111 | 2021-04-30 12:25 | 26.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9293 | μmol/L | 13.9291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.45 | 88210.1164 | 289524.8589 | 28.7 | 67.6
114121 | 2021-04-30 12:26 | 26.9957 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9245 | μmol/L | 13.9352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.448 | 88215.7284 | 289519.5572 | 28.7 | 67.6
114131 | 2021-04-30 12:26 | 27.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8311 | μmol/L | 13.9352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.452 | 88212.579 | 289503.1618 | 28.7 | 67.6
114141 | 2021-04-30 12:26 | 27.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8359 | μmol/L | 13.9291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.454 | 88204.713 | 289503.7975 | 28.7 | 67.6
114151 | 2021-04-30 12:27 | 27.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9527 | μmol/L | 13.9291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 88192.614 | 289496.8317 | 28.7 | 67.6
114161 | 2021-04-30 12:27 | 28.3288 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9011 | μmol/L | 13.9352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.449 | 88183.0733 | 289481.1667 | 28.7 | 67.6
114171 | 2021-04-30 12:27 | 28.6625 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0228 | μmol/L | 13.9291 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.446 | 88187.0293 | 289494.639 | 28.7 | 67.6
114181 | 2021-04-30 12:28 | 28.9954 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0179 | μmol/L | 13.9352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88177.1995 | 289507.0968 | 28.7 | 67.6
114191 | 2021-04-30 12:28 | 29.3292 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0083 | μmol/L | 13.9473 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.44 | 88163.8701 | 289479.2705 | 28.7 | 67.6
114201 | 2021-04-30 12:28 | 29.662 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8448 | μmol/L | 13.9473 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.447 | 88185.082 | 289477.6317 | 28.7 | 67.6
114211 | 2021-04-30 12:29 | 29.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 271.0365 | μmol/L | 13.9412 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88166.0738 | 289462.6024 | 28.7 | 67.6
114221 | 2021-04-30 12:29 | 30.3287 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9334 | μmol/L | 13.9534 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.441 | 88148.8544 | 289459.6775 | 28.7 | 67.6
114231 | 2021-04-30 12:29 | 30.6626 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7604 | μmol/L | 13.9655 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.444 | 88156.336 | 289472.1855 | 28.7 | 67.6
114241 | 2021-04-30 12:30 | 30.9955 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.9568 | μmol/L | 13.9534 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.44 | 88157.1833 | 289453.1648 | 28.7 | 67.6
114251 | 2021-04-30 12:30 | 31.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8723 | μmol/L | 13.9716 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 88144.3414 | 289455.25 | 28.7 | 67.6
114261 | 2021-04-30 12:30 | 31.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8957 | μmol/L | 13.9716 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.436 | 88129.2867 | 289469.0619 | 28.7 | 67.6
114271 | 2021-04-30 12:31 | 31.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8208 | μmol/L | 13.9777 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 88135.8761 | 289456.6986 | 28.7 | 67.6
114281 | 2021-04-30 12:31 | 32.3286 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8023 | μmol/L | 13.9716 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.44 | 88133.1407 | 289449.318 | 28.7 | 67.6
114291 | 2021-04-30 12:31 | 32.6623 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7694 | μmol/L | 13.9838 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 88120.012 | 289434.853 | 28.7 | 67.6
114301 | 2021-04-30 12:32 | 32.9953 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8346 | μmol/L | 13.9898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.432 | 88123.719 | 289440.5553 | 28.7 | 67.6
114311 | 2021-04-30 12:32 | 33.3291 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7646 | μmol/L | 13.9898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.435 | 88123.0163 | 289426.8939 | 28.7 | 67.6
114321 | 2021-04-30 12:32 | 33.6619 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.7179 | μmol/L | 13.9898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 88112.0649 | 289428.0954 | 28.7 | 67.6
114331 | 2021-04-30 12:33 | 33.9958 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 270.8766 | μmol/L | 13.9959 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.428 | 88102.4622 | 289431.025 | 28.7 | 67.6