## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113312 | 2021-04-30 11:59 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5654 | μmol/L | 13.842 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.453 | 130930.2989 | 267560.5599 | 36.4 | 83.1
113322 | 2021-04-30 11:59 | 0.33396 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1312 | μmol/L | 13.8236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.437 | 130824.2528 | 267572.481 | 36.4 | 83.1
113332 | 2021-04-30 11:59 | 0.66698 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3041 | μmol/L | 13.8236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.43 | 130733.0355 | 267537.3949 | 36.4 | 83.1
113342 | 2021-04-30 12:00 | 1.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6579 | μmol/L | 13.8175 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.418 | 130662.9035 | 267553.5559 | 36.4 | 83.1
113352 | 2021-04-30 12:00 | 1.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8728 | μmol/L | 13.8236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.407 | 130593.0713 | 267548.5576 | 36.4 | 83.1
113362 | 2021-04-30 12:00 | 1.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.1453 | μmol/L | 13.8236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.396 | 130518.4261 | 267541.3802 | 36.4 | 83.1
113372 | 2021-04-30 12:01 | 2.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3358 | μmol/L | 13.8297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.386 | 130452.8337 | 267529.0659 | 36.4 | 83.1
113382 | 2021-04-30 12:01 | 2.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4272 | μmol/L | 13.8359 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.38 | 130416.6559 | 267530.9157 | 36.4 | 83.1
113392 | 2021-04-30 12:01 | 2.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3946 | μmol/L | 13.842 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.379 | 130404.0344 | 267517.1219 | 36.4 | 83.1
113402 | 2021-04-30 12:02 | 3.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.4939 | μmol/L | 13.842 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.375 | 130408.7135 | 267508.0946 | 36.4 | 83.1
113412 | 2021-04-30 12:02 | 3.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.3124 | μmol/L | 13.8481 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.38 | 130416.2172 | 267506.1449 | 36.4 | 83.1
113422 | 2021-04-30 12:02 | 3.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.255 | μmol/L | 13.8542 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.38 | 130424.3568 | 267501.2393 | 36.4 | 83.1
113432 | 2021-04-30 12:03 | 4.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.2302 | μmol/L | 13.8542 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.381 | 130423.5193 | 267499.1118 | 36.4 | 83.1
113442 | 2021-04-30 12:03 | 4.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 292.0163 | μmol/L | 13.8664 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 130425.4951 | 267499.881 | 36.4 | 83.1
113452 | 2021-04-30 12:03 | 4.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.9341 | μmol/L | 13.8726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.386 | 130432.2202 | 267496.7647 | 36.4 | 83.1
113462 | 2021-04-30 12:04 | 5.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.9341 | μmol/L | 13.8726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.386 | 130428.2213 | 267494.2123 | 36.4 | 83.1
113472 | 2021-04-30 12:04 | 5.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8846 | μmol/L | 13.8726 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.388 | 130431.2759 | 267488.1506 | 36.4 | 83.1
113482 | 2021-04-30 12:04 | 5.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7127 | μmol/L | 13.8909 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.388 | 130429.8637 | 267484.6702 | 36.4 | 83.1
113492 | 2021-04-30 12:05 | 6.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.787 | μmol/L | 13.8909 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 130424.7397 | 267477.2075 | 36.4 | 83.1
113502 | 2021-04-30 12:05 | 6.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7792 | μmol/L | 13.897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.383 | 130417.0574 | 267478.0447 | 36.4 | 83.1
113512 | 2021-04-30 12:05 | 6.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6972 | μmol/L | 13.9031 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.384 | 130422.7779 | 267481.7788 | 36.4 | 83.1
113522 | 2021-04-30 12:06 | 7.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6725 | μmol/L | 13.9031 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.385 | 130412.6474 | 267486.5799 | 36.4 | 83.1
113532 | 2021-04-30 12:06 | 7.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7638 | μmol/L | 13.9093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.379 | 130402.7522 | 267473.1279 | 36.4 | 83.1
113542 | 2021-04-30 12:06 | 7.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.657 | μmol/L | 13.9154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.381 | 130377.9795 | 267460.2785 | 36.4 | 83.1
113552 | 2021-04-30 12:07 | 8.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8056 | μmol/L | 13.9154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.375 | 130373.3318 | 267452.1813 | 36.4 | 83.1
113562 | 2021-04-30 12:07 | 8.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7158 | μmol/L | 13.9276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.374 | 130362.8781 | 267465.0716 | 36.4 | 83.1
113572 | 2021-04-30 12:07 | 8.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.8397 | μmol/L | 13.9276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.369 | 130352.9061 | 267463.0845 | 36.4 | 83.1
113582 | 2021-04-30 12:08 | 9.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6757 | μmol/L | 13.9398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.371 | 130348.284 | 267449.3052 | 36.4 | 83.1
113592 | 2021-04-30 12:08 | 9.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.7499 | μmol/L | 13.9398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.368 | 130330.5763 | 267441.6903 | 36.4 | 83.1
113602 | 2021-04-30 12:08 | 9.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.668 | μmol/L | 13.9459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.369 | 130318.037 | 267444.5156 | 36.4 | 83.1
113612 | 2021-04-30 12:09 | 10.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6031 | μmol/L | 13.9582 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.367 | 130303.2618 | 267443.4421 | 36.4 | 83.1
113622 | 2021-04-30 12:09 | 10.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6449 | μmol/L | 13.9643 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.363 | 130288.442 | 267433.0474 | 36.4 | 83.1
113632 | 2021-04-30 12:09 | 10.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.662 | μmol/L | 13.9704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.36 | 130287.4765 | 267430.613 | 36.4 | 83.1
113642 | 2021-04-30 12:10 | 11.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.6125 | μmol/L | 13.9704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.362 | 130276.3994 | 267436.6511 | 36.4 | 83.1
113652 | 2021-04-30 12:10 | 11.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.4734 | μmol/L | 13.9826 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.363 | 130262.1647 | 267427.8267 | 36.4 | 83.1
113662 | 2021-04-30 12:10 | 11.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5801 | μmol/L | 13.9765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 130255.375 | 267436.0918 | 36.4 | 83.1
113672 | 2021-04-30 12:11 | 12.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.4658 | μmol/L | 13.9888 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.361 | 130253.3946 | 267426.7665 | 36.4 | 83.1
113682 | 2021-04-30 12:11 | 12.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5076 | μmol/L | 13.9949 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.357 | 130241.4709 | 267424.8802 | 36.4 | 83.1
113692 | 2021-04-30 12:11 | 12.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5819 | μmol/L | 13.9949 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 130236.5852 | 267416.644 | 36.4 | 83.1
113702 | 2021-04-30 12:12 | 13.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5247 | μmol/L | 14.001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 130221.5428 | 267419.0025 | 36.4 | 83.1
113712 | 2021-04-30 12:12 | 13.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.5495 | μmol/L | 14.001 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.353 | 130218.1664 | 267419.8996 | 36.4 | 83.1
113722 | 2021-04-30 12:12 | 13.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.4105 | μmol/L | 14.0132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.354 | 130205.8243 | 267410.4425 | 36.4 | 83.1
113732 | 2021-04-30 12:13 | 14.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.3781 | μmol/L | 14.0193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.353 | 130204.4024 | 267401.8405 | 36.4 | 83.1
113742 | 2021-04-30 12:13 | 14.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.42 | μmol/L | 14.0255 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.349 | 130197.5183 | 267408.0908 | 36.4 | 83.1
113752 | 2021-04-30 12:13 | 14.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2811 | μmol/L | 14.0377 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.35 | 130186.1105 | 267390.6634 | 36.4 | 83.1
113762 | 2021-04-30 12:14 | 15.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2887 | μmol/L | 14.0316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.352 | 130179.0792 | 267383.8865 | 36.4 | 83.1
113772 | 2021-04-30 12:14 | 15.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2488 | μmol/L | 14.0438 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.349 | 130178.0277 | 267395.8687 | 36.4 | 83.1
113782 | 2021-04-30 12:14 | 15.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.266 | μmol/L | 14.0499 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.346 | 130177.6532 | 267408.7085 | 36.4 | 83.1
113792 | 2021-04-30 12:15 | 16.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1594 | μmol/L | 14.056 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.348 | 130169.8308 | 267388.2516 | 36.4 | 83.1
113802 | 2021-04-30 12:15 | 16.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0207 | μmol/L | 14.0683 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.349 | 130157.6982 | 267381.901 | 36.4 | 83.1
113812 | 2021-04-30 12:15 | 16.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2261 | μmol/L | 14.0622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.343 | 130151.1001 | 267377.5593 | 36.4 | 83.1
113822 | 2021-04-30 12:16 | 17.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.2013 | μmol/L | 14.0622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.344 | 130157.9163 | 267394.9214 | 36.4 | 83.1
113832 | 2021-04-30 12:16 | 17.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1368 | μmol/L | 14.0744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 130143.3818 | 267368.4742 | 36.4 | 83.1
113842 | 2021-04-30 12:16 | 17.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.1368 | μmol/L | 14.0744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 130130.4723 | 267374.2296 | 36.4 | 83.1
113852 | 2021-04-30 12:17 | 18.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0475 | μmol/L | 14.0866 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.341 | 130123.9156 | 267365.7273 | 36.4 | 83.1
113862 | 2021-04-30 12:17 | 18.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0153 | μmol/L | 14.0927 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.34 | 130127.943 | 267364.37 | 36.4 | 83.1
113872 | 2021-04-30 12:17 | 18.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9658 | μmol/L | 14.0927 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.342 | 130114.9987 | 267353.0818 | 36.4 | 83.1
113882 | 2021-04-30 12:18 | 19.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 291.0077 | μmol/L | 14.0988 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.338 | 130115.8116 | 267357.3271 | 36.4 | 83.1
113892 | 2021-04-30 12:18 | 19.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.9508 | μmol/L | 14.105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.338 | 130096.9307 | 267346.2506 | 36.4 | 83.1
113902 | 2021-04-30 12:18 | 19.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8863 | μmol/L | 14.1172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.336 | 130093.8314 | 267340.8039 | 36.4 | 83.1
113912 | 2021-04-30 12:19 | 20.0007 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8616 | μmol/L | 14.1172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 130091.5663 | 267338.8014 | 36.4 | 83.1
113922 | 2021-04-30 12:19 | 20.334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8047 | μmol/L | 14.1233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 130085.5 | 267332.5986 | 36.4 | 83.1
113932 | 2021-04-30 12:19 | 20.6674 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8047 | μmol/L | 14.1233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.337 | 130078.5754 | 267338.1444 | 36.4 | 83.1
113942 | 2021-04-30 12:20 | 21.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8639 | μmol/L | 14.1355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 130072.2151 | 267324.4198 | 36.4 | 83.1
113952 | 2021-04-30 12:20 | 21.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7898 | μmol/L | 14.1355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.333 | 130070.3152 | 267321.3968 | 36.4 | 83.1
113962 | 2021-04-30 12:20 | 21.6668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7576 | μmol/L | 14.1417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.332 | 130060.6732 | 267322.2326 | 36.4 | 83.1
113972 | 2021-04-30 12:21 | 22.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6438 | μmol/L | 14.1539 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.332 | 130045.095 | 267313.2074 | 36.4 | 83.1
113982 | 2021-04-30 12:21 | 22.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7673 | μmol/L | 14.1539 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.327 | 130060.0064 | 267319.1614 | 36.4 | 83.1
113992 | 2021-04-30 12:21 | 22.6669 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5376 | μmol/L | 14.16 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.334 | 130042.7865 | 267310.3452 | 36.4 | 83.1
114002 | 2021-04-30 12:22 | 23.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7105 | μmol/L | 14.16 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.327 | 130041.6442 | 267308.5899 | 36.4 | 83.1
114012 | 2021-04-30 12:22 | 23.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5153 | μmol/L | 14.1784 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.328 | 130040.22 | 267304.3661 | 36.4 | 83.1
114022 | 2021-04-30 12:22 | 23.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5968 | μmol/L | 14.1722 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.327 | 130036.0429 | 267295.3474 | 36.4 | 83.1
114032 | 2021-04-30 12:23 | 24.0008 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5079 | μmol/L | 14.1845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.326 | 130020.7356 | 267292.5169 | 36.4 | 83.1
114042 | 2021-04-30 12:23 | 24.3337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4832 | μmol/L | 14.1845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.327 | 130031.6281 | 267300.0897 | 36.4 | 83.1
114052 | 2021-04-30 12:23 | 24.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3524 | μmol/L | 14.1906 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.33 | 130028.9674 | 267279.2902 | 36.4 | 83.1
114062 | 2021-04-30 12:24 | 25.0003 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.419 | μmol/L | 14.1967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.325 | 130017.9178 | 267293.2328 | 36.4 | 83.1
114072 | 2021-04-30 12:24 | 25.3334 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3869 | μmol/L | 14.2028 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.324 | 129995.1095 | 267279.7864 | 36.4 | 83.1
114082 | 2021-04-30 12:24 | 25.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4535 | μmol/L | 14.2089 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.319 | 129979.3062 | 267291.4035 | 36.4 | 83.1
114092 | 2021-04-30 12:25 | 26.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4708 | μmol/L | 14.2151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.316 | 129953.1811 | 267278.0614 | 36.4 | 83.1
114102 | 2021-04-30 12:25 | 26.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5943 | μmol/L | 14.2151 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.311 | 129929.9641 | 267275.5762 | 36.4 | 83.1
114112 | 2021-04-30 12:25 | 26.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6363 | μmol/L | 14.2212 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.307 | 129892.6011 | 267273.4578 | 36.4 | 83.1
114122 | 2021-04-30 12:26 | 27.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7105 | μmol/L | 14.2212 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.304 | 129862.2206 | 267262.0331 | 36.4 | 83.1
114132 | 2021-04-30 12:26 | 27.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7131 | μmol/L | 14.2395 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.297 | 129846.5061 | 267256.3482 | 36.4 | 83.1
114142 | 2021-04-30 12:26 | 27.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7946 | μmol/L | 14.2334 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.296 | 129817.7425 | 267266.1446 | 36.4 | 83.1
114152 | 2021-04-30 12:27 | 28.0006 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7552 | μmol/L | 14.2456 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.293 | 129795.3858 | 267259.446 | 36.4 | 83.1
114162 | 2021-04-30 12:27 | 28.3335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.822 | μmol/L | 14.2518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.288 | 129778.4079 | 267270.5202 | 36.4 | 83.1
114172 | 2021-04-30 12:27 | 28.6673 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8715 | μmol/L | 14.2518 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 129762.9328 | 267261.0992 | 36.4 | 83.1
114182 | 2021-04-30 12:28 | 29.0001 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7011 | μmol/L | 14.2701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.286 | 129753.6734 | 267257.0749 | 36.4 | 83.1
114192 | 2021-04-30 12:28 | 29.3339 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.7826 | μmol/L | 14.264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.285 | 129736.3256 | 267241.3214 | 36.4 | 83.1
114202 | 2021-04-30 12:28 | 29.6672 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.8 | μmol/L | 14.2701 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.282 | 129730.612 | 267258.7705 | 36.4 | 83.1
114212 | 2021-04-30 12:29 | 30.0004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.768 | μmol/L | 14.2762 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 129719.1017 | 267235.5169 | 36.4 | 83.1
114222 | 2021-04-30 12:29 | 30.3341 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.736 | μmol/L | 14.2823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 129720.7904 | 267255.979 | 36.4 | 83.1
114232 | 2021-04-30 12:29 | 30.6671 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6618 | μmol/L | 14.2823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.283 | 129709.9471 | 267226.8345 | 36.4 | 83.1
114242 | 2021-04-30 12:30 | 31.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.6545 | μmol/L | 14.2885 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 129712.4354 | 267242.1866 | 36.4 | 83.1
114252 | 2021-04-30 12:30 | 31.3338 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5977 | μmol/L | 14.2946 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.281 | 129710.6538 | 267231.1809 | 36.4 | 83.1
114262 | 2021-04-30 12:30 | 31.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5657 | μmol/L | 14.3007 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 129713.0584 | 267224.2243 | 36.4 | 83.1
114272 | 2021-04-30 12:31 | 32.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.477 | μmol/L | 14.3129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.279 | 129716.0109 | 267225.2379 | 36.4 | 83.1
114282 | 2021-04-30 12:31 | 32.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.3957 | μmol/L | 14.319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.28 | 129702.2537 | 267214.3741 | 36.4 | 83.1
114292 | 2021-04-30 12:31 | 32.667 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4451 | μmol/L | 14.319 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.278 | 129694.5106 | 267215.4332 | 36.4 | 83.1
114302 | 2021-04-30 12:32 | 33.0005 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.4553 | μmol/L | 14.3313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.273 | 129677.175 | 267208.7254 | 36.4 | 83.1
114312 | 2021-04-30 12:32 | 33.3336 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.48 | μmol/L | 14.3313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.272 | 129656.53 | 267209.908 | 36.4 | 83.1
114322 | 2021-04-30 12:32 | 33.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5788 | μmol/L | 14.3313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.268 | 129646.6862 | 267205.727 | 36.4 | 83.1
114332 | 2021-04-30 12:33 | 34.0002 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 290.5571 | μmol/L | 14.3496 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.262 | 129605.1852 | 267199.3002 | 36.4 | 83.1