## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113313 | 2021-04-30 11:59 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 254.8624 | μmol/L | 13.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.182 | 100377.2947 | 293127.643 | 30.45 | 114.2
113323 | 2021-04-30 11:59 | 0.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 256.6717 | μmol/L | 13.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.144 | 100106.5445 | 293121.9852 | 30.45 | 114.2
113333 | 2021-04-30 11:59 | 0.67265 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 257.6189 | μmol/L | 13.7184 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.112 | 99932.2609 | 293106.1767 | 30.45 | 114.2
113343 | 2021-04-30 12:00 | 1.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.1789 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.091 | 99786.0787 | 293104.6258 | 30.45 | 114.2
113353 | 2021-04-30 12:00 | 1.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 258.7567 | μmol/L | 13.7 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.067 | 99650.4085 | 293107.2093 | 30.45 | 114.2
113363 | 2021-04-30 12:00 | 1.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.2419 | μmol/L | 13.7 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.045 | 99523.485 | 293102.1791 | 30.45 | 114.2
113373 | 2021-04-30 12:01 | 2.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 259.5292 | μmol/L | 13.7 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.032 | 99410.7066 | 293081.106 | 30.45 | 114.2
113383 | 2021-04-30 12:01 | 2.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.0104 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 23.008 | 99321.6778 | 293085.0399 | 30.45 | 114.2
113393 | 2021-04-30 12:01 | 2.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.4376 | μmol/L | 13.7 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.991 | 99226.4723 | 293074.4313 | 30.45 | 114.2
113403 | 2021-04-30 12:02 | 3.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.6985 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.977 | 99150.5148 | 293068.1901 | 30.45 | 114.2
113413 | 2021-04-30 12:02 | 3.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 260.9432 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.966 | 99064.1047 | 293065.0481 | 30.45 | 114.2
113423 | 2021-04-30 12:02 | 3.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.2104 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.954 | 98997.3549 | 293061.9964 | 30.45 | 114.2
113433 | 2021-04-30 12:03 | 4.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.5226 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.94 | 98927.8729 | 293055.6729 | 30.45 | 114.2
113443 | 2021-04-30 12:03 | 4.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.6342 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.935 | 98885.2019 | 293050.6731 | 30.45 | 114.2
113453 | 2021-04-30 12:03 | 4.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 261.88 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.924 | 98836.6552 | 293055.753 | 30.45 | 114.2
113463 | 2021-04-30 12:04 | 5.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.0813 | μmol/L | 13.7061 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.915 | 98787.6158 | 293041.1757 | 30.45 | 114.2
113473 | 2021-04-30 12:04 | 5.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.1818 | μmol/L | 13.7184 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.906 | 98732.8881 | 293040.2311 | 30.45 | 114.2
113483 | 2021-04-30 12:04 | 5.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.4339 | μmol/L | 13.7123 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.897 | 98673.1905 | 293039.6696 | 30.45 | 114.2
113493 | 2021-04-30 12:05 | 6.006 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6132 | μmol/L | 13.7123 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.889 | 98639.5451 | 293045.2555 | 30.45 | 114.2
113503 | 2021-04-30 12:05 | 6.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6524 | μmol/L | 13.7184 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.885 | 98602.2692 | 293029.9676 | 30.45 | 114.2
113513 | 2021-04-30 12:05 | 6.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.6917 | μmol/L | 13.7245 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.881 | 98565.7148 | 293035.6235 | 30.45 | 114.2
113523 | 2021-04-30 12:06 | 7.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 262.8937 | μmol/L | 13.7245 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.872 | 98533.7674 | 293017.5139 | 30.45 | 114.2
113533 | 2021-04-30 12:06 | 7.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.051 | μmol/L | 13.7245 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.865 | 98505.4333 | 293021.0531 | 30.45 | 114.2
113543 | 2021-04-30 12:06 | 7.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1634 | μmol/L | 13.7245 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.86 | 98474.1455 | 293012.4781 | 30.45 | 114.2
113553 | 2021-04-30 12:07 | 8.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2534 | μmol/L | 13.7245 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.856 | 98446.0359 | 293020.5111 | 30.45 | 114.2
113563 | 2021-04-30 12:07 | 8.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2928 | μmol/L | 13.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.852 | 98422.84 | 293006.626 | 30.45 | 114.2
113573 | 2021-04-30 12:07 | 8.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4954 | μmol/L | 13.7307 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.843 | 98395.5528 | 293003.5493 | 30.45 | 114.2
113583 | 2021-04-30 12:08 | 9.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5123 | μmol/L | 13.7368 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.84 | 98373.5989 | 293003.4682 | 30.45 | 114.2
113593 | 2021-04-30 12:08 | 9.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5517 | μmol/L | 13.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.836 | 98347.2697 | 292992.3809 | 30.45 | 114.2
113603 | 2021-04-30 12:08 | 9.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5968 | μmol/L | 13.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.834 | 98333.5453 | 292991.726 | 30.45 | 114.2
113613 | 2021-04-30 12:09 | 10.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7305 | μmol/L | 13.7491 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.826 | 98303.6489 | 292981.8889 | 30.45 | 114.2
113623 | 2021-04-30 12:09 | 10.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7715 | μmol/L | 13.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.824 | 98290.9972 | 292972.1324 | 30.45 | 114.2
113633 | 2021-04-30 12:09 | 10.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8618 | μmol/L | 13.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.82 | 98268.2954 | 292971.0411 | 30.45 | 114.2
113643 | 2021-04-30 12:10 | 11.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7756 | μmol/L | 13.7491 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 22.824 | 98256.9356 | 292970.6169 | 30.45 | 114.2
113653 | 2021-04-30 12:10 | 11.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9803 | μmol/L | 13.743 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.817 | 98233.9855 | 292971.2525 | 30.45 | 114.2
113663 | 2021-04-30 12:10 | 11.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9295 | μmol/L | 13.7491 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.817 | 98221.1412 | 292969.7074 | 30.45 | 114.2
113673 | 2021-04-30 12:11 | 12.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9916 | μmol/L | 13.7552 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.812 | 98209.5753 | 292957.2146 | 30.45 | 114.2
113683 | 2021-04-30 12:11 | 12.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1271 | μmol/L | 13.7552 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.806 | 98191.9099 | 292957.2208 | 30.45 | 114.2
113693 | 2021-04-30 12:11 | 12.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0538 | μmol/L | 13.7614 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.807 | 98172.2627 | 292941.3196 | 30.45 | 114.2
113703 | 2021-04-30 12:12 | 13.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1441 | μmol/L | 13.7614 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.803 | 98164.9764 | 292942.1674 | 30.45 | 114.2
113713 | 2021-04-30 12:12 | 13.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0763 | μmol/L | 13.7614 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.806 | 98152.9822 | 292941.3817 | 30.45 | 114.2
113723 | 2021-04-30 12:12 | 13.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1837 | μmol/L | 13.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.799 | 98137.7547 | 292933.3775 | 30.45 | 114.2
113733 | 2021-04-30 12:13 | 14.0065 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1103 | μmol/L | 13.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.8 | 98135.4107 | 292941.5721 | 30.45 | 114.2
113743 | 2021-04-30 12:13 | 14.3396 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2289 | μmol/L | 13.7675 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.797 | 98124.6638 | 292927.1267 | 30.45 | 114.2
113753 | 2021-04-30 12:13 | 14.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1781 | μmol/L | 13.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.797 | 98113.8833 | 292930.1276 | 30.45 | 114.2
113763 | 2021-04-30 12:14 | 15.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1726 | μmol/L | 13.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.795 | 98094.3934 | 292930.1954 | 30.45 | 114.2
113773 | 2021-04-30 12:14 | 15.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2686 | μmol/L | 13.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.793 | 98088.5763 | 292926.1095 | 30.45 | 114.2
113783 | 2021-04-30 12:14 | 15.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2686 | μmol/L | 13.7736 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.793 | 98084.5907 | 292938.4384 | 30.45 | 114.2
113793 | 2021-04-30 12:15 | 16.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.263 | μmol/L | 13.7798 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98074.9788 | 292935.4736 | 30.45 | 114.2
113803 | 2021-04-30 12:15 | 16.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2348 | μmol/L | 13.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.79 | 98067.1077 | 292923.1428 | 30.45 | 114.2
113813 | 2021-04-30 12:15 | 16.6733 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2348 | μmol/L | 13.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.79 | 98077.3711 | 292914.3082 | 30.45 | 114.2
113823 | 2021-04-30 12:16 | 17.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.28 | μmol/L | 13.7859 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98060.2874 | 292916.2292 | 30.45 | 114.2
113833 | 2021-04-30 12:16 | 17.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1388 | μmol/L | 13.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98057.9032 | 292902.7729 | 30.45 | 114.2
113843 | 2021-04-30 12:16 | 17.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1277 | μmol/L | 13.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98054.7278 | 292891.2618 | 30.45 | 114.2
113853 | 2021-04-30 12:17 | 18.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.2519 | μmol/L | 13.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 98054.7877 | 292890.4209 | 30.45 | 114.2
113863 | 2021-04-30 12:17 | 18.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.184 | μmol/L | 13.792 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.79 | 98044.3215 | 292884.2734 | 30.45 | 114.2
113873 | 2021-04-30 12:17 | 18.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1051 | μmol/L | 13.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98053.3464 | 292889.6125 | 30.45 | 114.2
113883 | 2021-04-30 12:18 | 19.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0769 | μmol/L | 13.8104 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98038.3117 | 292887.9042 | 30.45 | 114.2
113893 | 2021-04-30 12:18 | 19.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1503 | μmol/L | 13.8043 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 98040.4379 | 292875.3873 | 30.45 | 114.2
113903 | 2021-04-30 12:18 | 19.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.1221 | μmol/L | 13.8104 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98041.2519 | 292886.7097 | 30.45 | 114.2
113913 | 2021-04-30 12:19 | 20.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0543 | μmol/L | 13.8104 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98043.9909 | 292880.3263 | 30.45 | 114.2
113923 | 2021-04-30 12:19 | 20.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0092 | μmol/L | 13.8104 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98040.9268 | 292871.6961 | 30.45 | 114.2
113933 | 2021-04-30 12:19 | 20.6727 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0543 | μmol/L | 13.8104 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98034.4163 | 292876.4324 | 30.45 | 114.2
113943 | 2021-04-30 12:20 | 21.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9755 | μmol/L | 13.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98036.0544 | 292866.6951 | 30.45 | 114.2
113953 | 2021-04-30 12:20 | 21.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9755 | μmol/L | 13.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98032.2054 | 292865.0051 | 30.45 | 114.2
113963 | 2021-04-30 12:20 | 21.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0207 | μmol/L | 13.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98034.7479 | 292848.1663 | 30.45 | 114.2
113973 | 2021-04-30 12:21 | 22.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9529 | μmol/L | 13.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98028.698 | 292847.113 | 30.45 | 114.2
113983 | 2021-04-30 12:21 | 22.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 264.0659 | μmol/L | 13.8227 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.784 | 98031.2931 | 292857.9205 | 30.45 | 114.2
113993 | 2021-04-30 12:21 | 22.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8967 | μmol/L | 13.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 98027.8066 | 292842.7887 | 30.45 | 114.2
114003 | 2021-04-30 12:22 | 23.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9192 | μmol/L | 13.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98023.3409 | 292823.2972 | 30.45 | 114.2
114013 | 2021-04-30 12:22 | 23.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9192 | μmol/L | 13.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98026.6509 | 292843.2055 | 30.45 | 114.2
114023 | 2021-04-30 12:22 | 23.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9192 | μmol/L | 13.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98026.7448 | 292836.173 | 30.45 | 114.2
114033 | 2021-04-30 12:23 | 24.0061 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8008 | μmol/L | 13.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98024.1418 | 292825.8177 | 30.45 | 114.2
114043 | 2021-04-30 12:23 | 24.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.9418 | μmol/L | 13.835 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.785 | 98022.8347 | 292816.0652 | 30.45 | 114.2
114053 | 2021-04-30 12:23 | 24.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8686 | μmol/L | 13.8411 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98029.9802 | 292805.742 | 30.45 | 114.2
114063 | 2021-04-30 12:24 | 25.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.8405 | μmol/L | 13.8472 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.785 | 98029.9838 | 292819.8017 | 30.45 | 114.2
114073 | 2021-04-30 12:24 | 25.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7276 | μmol/L | 13.8472 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.79 | 98027.891 | 292825.0677 | 30.45 | 114.2
114083 | 2021-04-30 12:24 | 25.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.7672 | μmol/L | 13.8534 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.786 | 98031.9996 | 292811.7622 | 30.45 | 114.2
114093 | 2021-04-30 12:25 | 26.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.694 | μmol/L | 13.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.787 | 98023.2577 | 292793.2735 | 30.45 | 114.2
114103 | 2021-04-30 12:25 | 26.34 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6489 | μmol/L | 13.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.789 | 98025.7726 | 292779.7563 | 30.45 | 114.2
114113 | 2021-04-30 12:25 | 26.6729 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6263 | μmol/L | 13.8595 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.79 | 98026.0253 | 292780.0099 | 30.45 | 114.2
114123 | 2021-04-30 12:26 | 27.0066 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.6208 | μmol/L | 13.8656 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98023.5392 | 292786.5468 | 30.45 | 114.2
114133 | 2021-04-30 12:26 | 27.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5702 | μmol/L | 13.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98016.3035 | 292780.5847 | 30.45 | 114.2
114143 | 2021-04-30 12:26 | 27.673 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5306 | μmol/L | 13.8656 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98023.4868 | 292758.5537 | 30.45 | 114.2
114153 | 2021-04-30 12:27 | 28.0062 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4349 | μmol/L | 13.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.794 | 98021.5323 | 292769.0503 | 30.45 | 114.2
114163 | 2021-04-30 12:27 | 28.3395 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5026 | μmol/L | 13.8718 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98022.4778 | 292763.9474 | 30.45 | 114.2
114173 | 2021-04-30 12:27 | 28.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3338 | μmol/L | 13.884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.794 | 98027.2001 | 292764.818 | 30.45 | 114.2
114183 | 2021-04-30 12:28 | 29.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3789 | μmol/L | 13.884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98019.3862 | 292759.0031 | 30.45 | 114.2
114193 | 2021-04-30 12:28 | 29.3394 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.5196 | μmol/L | 13.8779 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98015.84 | 292753.9454 | 30.45 | 114.2
114203 | 2021-04-30 12:28 | 29.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.4014 | μmol/L | 13.884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98017.5999 | 292751.7056 | 30.45 | 114.2
114213 | 2021-04-30 12:29 | 30.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3338 | μmol/L | 13.884 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.794 | 98023.4416 | 292751.2784 | 30.45 | 114.2
114223 | 2021-04-30 12:29 | 30.3397 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2778 | μmol/L | 13.8963 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98019.8633 | 292736.6262 | 30.45 | 114.2
114233 | 2021-04-30 12:29 | 30.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2778 | μmol/L | 13.8963 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98022.7801 | 292734.3263 | 30.45 | 114.2
114243 | 2021-04-30 12:30 | 31.0063 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3003 | μmol/L | 13.8963 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98022.5591 | 292730.3689 | 30.45 | 114.2
114253 | 2021-04-30 12:30 | 31.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.2498 | μmol/L | 13.9024 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.791 | 98017.1428 | 292732.7085 | 30.45 | 114.2
114263 | 2021-04-30 12:30 | 31.6732 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.3679 | μmol/L | 13.8963 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.788 | 98012.1414 | 292734.4808 | 30.45 | 114.2
114273 | 2021-04-30 12:31 | 32.0064 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0867 | μmol/L | 13.9086 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.796 | 98016.5227 | 292716.3077 | 30.45 | 114.2
114283 | 2021-04-30 12:31 | 32.3399 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1767 | μmol/L | 13.9086 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98017.116 | 292707.0888 | 30.45 | 114.2
114293 | 2021-04-30 12:31 | 32.6731 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1767 | μmol/L | 13.9086 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.792 | 98013.0619 | 292701.4663 | 30.45 | 114.2
114303 | 2021-04-30 12:32 | 33.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1542 | μmol/L | 13.9086 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.793 | 98017.5353 | 292689.6701 | 30.45 | 114.2
114313 | 2021-04-30 12:32 | 33.3398 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.1037 | μmol/L | 13.9147 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.793 | 98019.1386 | 292692.5798 | 30.45 | 114.2
114323 | 2021-04-30 12:32 | 33.6728 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0082 | μmol/L | 13.9208 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.795 | 98012.241 | 292693.7651 | 30.45 | 114.2
114333 | 2021-04-30 12:33 | 34.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 263.0307 | μmol/L | 13.9208 | °C | 1020 | hPa | Humid | 28 | 0 | 0 | 22.794 | 98018.6585 | 292685.5712 | 30.45 | 114.2