## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113314 | 2021-04-30 11:59 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 262.4403 | μmol/L | 13.7246 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.933 | 136234.1263 | 290658.3525 | 59.9307 | 49.4
113324 | 2021-04-30 11:59 | 0.32783 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 263.4675 | μmol/L | 13.7061 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.894 | 135948.7213 | 290636.9809 | 59.9307 | 49.4
113334 | 2021-04-30 11:59 | 0.66169 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 264.4031 | μmol/L | 13.6938 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.857 | 135701.6382 | 290625.58 | 59.9307 | 49.4
113344 | 2021-04-30 12:00 | 0.99463 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.0136 | μmol/L | 13.6938 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.83 | 135491.5557 | 290642.4328 | 59.9307 | 49.4
113354 | 2021-04-30 12:00 | 1.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.5576 | μmol/L | 13.6938 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.806 | 135309.9463 | 290625.1653 | 59.9307 | 49.4
113364 | 2021-04-30 12:00 | 1.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 265.9775 | μmol/L | 13.7061 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.783 | 135140.0725 | 290613.3038 | 59.9307 | 49.4
113374 | 2021-04-30 12:01 | 1.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.4328 | μmol/L | 13.7061 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.763 | 134992.3229 | 290600.6861 | 59.9307 | 49.4
113384 | 2021-04-30 12:01 | 2.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 266.8375 | μmol/L | 13.7123 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.743 | 134859.6524 | 290610.3843 | 59.9307 | 49.4
113394 | 2021-04-30 12:01 | 2.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.0771 | μmol/L | 13.7246 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.728 | 134739.8779 | 290590.4096 | 59.9307 | 49.4
113404 | 2021-04-30 12:02 | 2.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.4719 | μmol/L | 13.7185 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.713 | 134628.6249 | 290596.7255 | 59.9307 | 49.4
113414 | 2021-04-30 12:02 | 3.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.764 | μmol/L | 13.7246 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.698 | 134519.2163 | 290598.1898 | 59.9307 | 49.4
113424 | 2021-04-30 12:02 | 3.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 267.9646 | μmol/L | 13.7308 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.687 | 134416.7433 | 290587.7819 | 59.9307 | 49.4
113434 | 2021-04-30 12:03 | 3.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.2574 | μmol/L | 13.7369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.672 | 134335.1555 | 290592.9066 | 59.9307 | 49.4
113444 | 2021-04-30 12:03 | 4.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.5334 | μmol/L | 13.7369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.66 | 134243.6025 | 290581.2637 | 59.9307 | 49.4
113454 | 2021-04-30 12:03 | 4.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.6657 | μmol/L | 13.7431 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.652 | 134165.0358 | 290574.3469 | 59.9307 | 49.4
113464 | 2021-04-30 12:04 | 4.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 268.9537 | μmol/L | 13.7554 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.635 | 134073.0614 | 290584.2888 | 59.9307 | 49.4
113474 | 2021-04-30 12:04 | 5.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.1613 | μmol/L | 13.7554 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.626 | 133995.0198 | 290562.7486 | 59.9307 | 49.4
113484 | 2021-04-30 12:04 | 5.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.271 | μmol/L | 13.7616 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.619 | 133925.3778 | 290564.2546 | 59.9307 | 49.4
113494 | 2021-04-30 12:05 | 5.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.4212 | μmol/L | 13.7739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.608 | 133860.4369 | 290554.4596 | 59.9307 | 49.4
113504 | 2021-04-30 12:05 | 6.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.6756 | μmol/L | 13.7739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.597 | 133787.1244 | 290548.1962 | 59.9307 | 49.4
113514 | 2021-04-30 12:05 | 6.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.8839 | μmol/L | 13.7739 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.588 | 133728.0384 | 290549.9802 | 59.9307 | 49.4
113524 | 2021-04-30 12:06 | 6.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 269.9419 | μmol/L | 13.7862 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.581 | 133669.5265 | 290558.7537 | 59.9307 | 49.4
113534 | 2021-04-30 12:06 | 7.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.052 | μmol/L | 13.7924 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.574 | 133606.6282 | 290548.8258 | 59.9307 | 49.4
113544 | 2021-04-30 12:06 | 7.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.284 | μmol/L | 13.7924 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.564 | 133545.0961 | 290550.7957 | 59.9307 | 49.4
113554 | 2021-04-30 12:07 | 7.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.3711 | μmol/L | 13.7986 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.558 | 133497.4796 | 290558.4569 | 59.9307 | 49.4
113564 | 2021-04-30 12:07 | 8.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.5047 | μmol/L | 13.8047 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.55 | 133452.3532 | 290557.6396 | 59.9307 | 49.4
113574 | 2021-04-30 12:07 | 8.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.7139 | μmol/L | 13.8047 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.541 | 133402.6221 | 290556.0268 | 59.9307 | 49.4
113584 | 2021-04-30 12:08 | 8.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.749 | μmol/L | 13.817 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.535 | 133355.8589 | 290544.1432 | 59.9307 | 49.4
113594 | 2021-04-30 12:08 | 9.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.7433 | μmol/L | 13.8232 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.533 | 133311.6802 | 290547.1923 | 59.9307 | 49.4
113604 | 2021-04-30 12:08 | 9.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 270.9817 | μmol/L | 13.817 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.525 | 133262.204 | 290525.7604 | 59.9307 | 49.4
113614 | 2021-04-30 12:09 | 9.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.0402 | μmol/L | 13.8294 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.518 | 133211.8967 | 290518.6487 | 59.9307 | 49.4
113624 | 2021-04-30 12:09 | 10.3282 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.1277 | μmol/L | 13.8355 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.512 | 133188.753 | 290547.2933 | 59.9307 | 49.4
113634 | 2021-04-30 12:09 | 10.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.2443 | μmol/L | 13.8355 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.507 | 133154.4001 | 290526.745 | 59.9307 | 49.4
113644 | 2021-04-30 12:10 | 10.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.2329 | μmol/L | 13.8478 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.503 | 133110.4017 | 290522.1111 | 59.9307 | 49.4
113654 | 2021-04-30 12:10 | 11.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.2506 | μmol/L | 13.854 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.5 | 133073.5333 | 290502.4998 | 59.9307 | 49.4
113664 | 2021-04-30 12:10 | 11.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.3206 | μmol/L | 13.854 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.497 | 133045.3104 | 290504.2661 | 59.9307 | 49.4
113674 | 2021-04-30 12:11 | 11.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.3326 | μmol/L | 13.8663 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.492 | 133009.5009 | 290500.1496 | 59.9307 | 49.4
113684 | 2021-04-30 12:11 | 12.3284 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.4493 | μmol/L | 13.8663 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.487 | 132984.0804 | 290496.045 | 59.9307 | 49.4
113694 | 2021-04-30 12:11 | 12.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.6127 | μmol/L | 13.8663 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.48 | 132952.3768 | 290499.1925 | 59.9307 | 49.4
113704 | 2021-04-30 12:12 | 12.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.5491 | μmol/L | 13.8848 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.476 | 132923.7301 | 290502.3552 | 59.9307 | 49.4
113714 | 2021-04-30 12:12 | 13.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.5725 | μmol/L | 13.8848 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.475 | 132901.7908 | 290508.3179 | 59.9307 | 49.4
113724 | 2021-04-30 12:12 | 13.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.6893 | μmol/L | 13.8848 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.47 | 132858.5303 | 290490.5423 | 59.9307 | 49.4
113734 | 2021-04-30 12:13 | 13.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.6547 | μmol/L | 13.8971 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.467 | 132831.1468 | 290486.024 | 59.9307 | 49.4
113744 | 2021-04-30 12:13 | 14.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.6725 | μmol/L | 13.9033 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.464 | 132812.181 | 290492.2832 | 59.9307 | 49.4
113754 | 2021-04-30 12:13 | 14.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.766 | μmol/L | 13.9033 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.46 | 132790.4335 | 290496.061 | 59.9307 | 49.4
113764 | 2021-04-30 12:14 | 14.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9063 | μmol/L | 13.9033 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.454 | 132765.7188 | 290483.1136 | 59.9307 | 49.4
113774 | 2021-04-30 12:14 | 15.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7548 | μmol/L | 13.9156 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.456 | 132755.9515 | 290479.9255 | 59.9307 | 49.4
113784 | 2021-04-30 12:14 | 15.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8428 | μmol/L | 13.9218 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.45 | 132721.428 | 290472.418 | 59.9307 | 49.4
113794 | 2021-04-30 12:15 | 15.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8138 | μmol/L | 13.928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.449 | 132703.2353 | 290482.6225 | 59.9307 | 49.4
113804 | 2021-04-30 12:15 | 16.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0066 | μmol/L | 13.9218 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.443 | 132683.7378 | 290481.9935 | 59.9307 | 49.4
113814 | 2021-04-30 12:15 | 16.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0479 | μmol/L | 13.928 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.439 | 132661.3957 | 290463.9831 | 59.9307 | 49.4
113824 | 2021-04-30 12:16 | 16.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9665 | μmol/L | 13.9403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.438 | 132642.2116 | 290452.9675 | 59.9307 | 49.4
113834 | 2021-04-30 12:16 | 17.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0602 | μmol/L | 13.9403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 132630.8509 | 290466.1266 | 59.9307 | 49.4
113844 | 2021-04-30 12:16 | 17.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9554 | μmol/L | 13.9526 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 132611.3117 | 290476.7044 | 59.9307 | 49.4
113854 | 2021-04-30 12:17 | 17.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8508 | μmol/L | 13.9649 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.434 | 132585.2907 | 290468.016 | 59.9307 | 49.4
113864 | 2021-04-30 12:17 | 18.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0146 | μmol/L | 13.9649 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.427 | 132568.9021 | 290441.5591 | 59.9307 | 49.4
113874 | 2021-04-30 12:17 | 18.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9389 | μmol/L | 13.9711 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.428 | 132549.7231 | 290438.1325 | 59.9307 | 49.4
113884 | 2021-04-30 12:18 | 18.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9333 | μmol/L | 13.9772 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.426 | 132530.335 | 290430.5697 | 59.9307 | 49.4
113894 | 2021-04-30 12:18 | 19.328 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9981 | μmol/L | 13.9834 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.421 | 132518.8646 | 290449.2302 | 59.9307 | 49.4
113904 | 2021-04-30 12:18 | 19.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0215 | μmol/L | 13.9834 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.42 | 132505.8418 | 290435.3774 | 59.9307 | 49.4
113914 | 2021-04-30 12:19 | 19.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8879 | μmol/L | 14.0019 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.419 | 132491.9614 | 290453.3483 | 59.9307 | 49.4
113924 | 2021-04-30 12:19 | 20.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9871 | μmol/L | 13.9957 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.417 | 132479.4348 | 290445.0577 | 59.9307 | 49.4
113934 | 2021-04-30 12:19 | 20.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9059 | μmol/L | 14.0081 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.416 | 132453.6018 | 290437.4399 | 59.9307 | 49.4
113944 | 2021-04-30 12:20 | 20.9947 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0987 | μmol/L | 14.0019 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.41 | 132447.6898 | 290430.2832 | 59.9307 | 49.4
113954 | 2021-04-30 12:20 | 21.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9652 | μmol/L | 14.0204 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.409 | 132417.5339 | 290416.7903 | 59.9307 | 49.4
113964 | 2021-04-30 12:20 | 21.6614 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0066 | μmol/L | 14.0265 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.405 | 132402.6775 | 290425.2719 | 59.9307 | 49.4
113974 | 2021-04-30 12:21 | 21.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9543 | μmol/L | 14.0327 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.405 | 132401.5931 | 290425.9215 | 59.9307 | 49.4
113984 | 2021-04-30 12:21 | 22.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9777 | μmol/L | 14.0327 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.404 | 132374.194 | 290410.3054 | 59.9307 | 49.4
113994 | 2021-04-30 12:21 | 22.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0011 | μmol/L | 14.0327 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.403 | 132358.6422 | 290411.2794 | 59.9307 | 49.4
114004 | 2021-04-30 12:22 | 22.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0371 | μmol/L | 14.045 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.397 | 132352.3043 | 290402.8718 | 59.9307 | 49.4
114014 | 2021-04-30 12:22 | 23.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9091 | μmol/L | 14.0574 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.398 | 132337.1894 | 290413.0391 | 59.9307 | 49.4
114024 | 2021-04-30 12:22 | 23.6617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9794 | μmol/L | 14.0574 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.395 | 132322.0411 | 290408.5651 | 59.9307 | 49.4
114034 | 2021-04-30 12:23 | 23.9949 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0731 | μmol/L | 14.0574 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.391 | 132308.3585 | 290398.9905 | 59.9307 | 49.4
114044 | 2021-04-30 12:23 | 24.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8982 | μmol/L | 14.0697 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.394 | 132301.1522 | 290406.2817 | 59.9307 | 49.4
114054 | 2021-04-30 12:23 | 24.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0731 | μmol/L | 14.0574 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.391 | 132263.963 | 290383.2959 | 59.9307 | 49.4
114064 | 2021-04-30 12:24 | 24.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0046 | μmol/L | 14.082 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.385 | 132267.5128 | 290407.6511 | 59.9307 | 49.4
114074 | 2021-04-30 12:24 | 25.3275 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9577 | μmol/L | 14.082 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.387 | 132245.5652 | 290397.3951 | 59.9307 | 49.4
114084 | 2021-04-30 12:24 | 25.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0695 | μmol/L | 14.0882 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.38 | 132230.4431 | 290388.8947 | 59.9307 | 49.4
114094 | 2021-04-30 12:25 | 25.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9704 | μmol/L | 14.0943 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.382 | 132213.1287 | 290400.6553 | 59.9307 | 49.4
114104 | 2021-04-30 12:25 | 26.3277 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.0641 | μmol/L | 14.0943 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.378 | 132203.2327 | 290377.8709 | 59.9307 | 49.4
114114 | 2021-04-30 12:25 | 26.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9362 | μmol/L | 14.1067 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.379 | 132191.2392 | 290382.764 | 59.9307 | 49.4
114124 | 2021-04-30 12:26 | 26.9948 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9127 | μmol/L | 14.1067 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.38 | 132183.0554 | 290377.8142 | 59.9307 | 49.4
114134 | 2021-04-30 12:26 | 27.3278 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 272.048 | μmol/L | 14.1128 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.372 | 132165.8872 | 290372.9254 | 59.9307 | 49.4
114144 | 2021-04-30 12:26 | 27.661 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9201 | μmol/L | 14.1251 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.373 | 132157.1426 | 290374.6556 | 59.9307 | 49.4
114154 | 2021-04-30 12:27 | 27.9945 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8913 | μmol/L | 14.1313 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.372 | 132137.1433 | 290369.5079 | 59.9307 | 49.4
114164 | 2021-04-30 12:27 | 28.3283 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9094 | μmol/L | 14.1375 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.369 | 132126.2623 | 290358.8233 | 59.9307 | 49.4
114174 | 2021-04-30 12:27 | 28.6613 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9328 | μmol/L | 14.1375 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.368 | 132114.487 | 290348.1114 | 59.9307 | 49.4
114184 | 2021-04-30 12:28 | 28.9942 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9563 | μmol/L | 14.1375 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.367 | 132104.7145 | 290359.856 | 59.9307 | 49.4
114194 | 2021-04-30 12:28 | 29.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9744 | μmol/L | 14.1436 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.364 | 132090.8418 | 290337.986 | 59.9307 | 49.4
114204 | 2021-04-30 12:28 | 29.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.969 | μmol/L | 14.1498 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.362 | 132078.2543 | 290329.4875 | 59.9307 | 49.4
114214 | 2021-04-30 12:29 | 29.9943 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8231 | μmol/L | 14.156 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.366 | 132067.0169 | 290341.1187 | 59.9307 | 49.4
114224 | 2021-04-30 12:29 | 30.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.9637 | μmol/L | 14.156 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.36 | 132044.4787 | 290323.8909 | 59.9307 | 49.4
114234 | 2021-04-30 12:29 | 30.6609 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8306 | μmol/L | 14.1744 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.359 | 132036.2484 | 290331.1571 | 59.9307 | 49.4
114244 | 2021-04-30 12:30 | 30.995 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8019 | μmol/L | 14.1806 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.358 | 132026.4959 | 290313.4663 | 59.9307 | 49.4
114254 | 2021-04-30 12:30 | 31.3276 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7966 | μmol/L | 14.1868 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.356 | 132016.413 | 290323.4817 | 59.9307 | 49.4
114264 | 2021-04-30 12:30 | 31.6611 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7678 | μmol/L | 14.1929 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.355 | 131998.2577 | 290316.2042 | 59.9307 | 49.4
114274 | 2021-04-30 12:31 | 31.9946 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.786 | μmol/L | 14.1991 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.352 | 131991.3985 | 290337.7143 | 59.9307 | 49.4
114284 | 2021-04-30 12:31 | 32.3279 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8329 | μmol/L | 14.1991 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.35 | 131975.0035 | 290306.4247 | 59.9307 | 49.4
114294 | 2021-04-30 12:31 | 32.6616 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7807 | μmol/L | 14.2053 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.35 | 131972.6818 | 290305.0946 | 59.9307 | 49.4
114304 | 2021-04-30 12:32 | 32.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7936 | μmol/L | 14.2176 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.345 | 131960.4098 | 290303.8535 | 59.9307 | 49.4
114314 | 2021-04-30 12:32 | 33.3281 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7936 | μmol/L | 14.2176 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.345 | 131946.4238 | 290320.0805 | 59.9307 | 49.4
114324 | 2021-04-30 12:32 | 33.6612 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.7181 | μmol/L | 14.2237 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.346 | 131933.1117 | 290323.0842 | 59.9307 | 49.4
114334 | 2021-04-30 12:33 | 33.9944 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 271.8118 | μmol/L | 14.2237 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.342 | 131923.6073 | 290318.7562 | 59.9307 | 49.4