## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113315 | 2021-04-30 11:59 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 263.9491 | μmol/L | 13.8487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.708 | 139982.9148 | 301357.0251 | 33.25 | 68.6
113325 | 2021-04-30 11:59 | 0.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.1227 | μmol/L | 13.8061 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.671 | 139682.2462 | 301352.3462 | 33.25 | 68.6
113335 | 2021-04-30 11:59 | 0.66098 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.0131 | μmol/L | 13.7818 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.64 | 139461.2753 | 301359.9325 | 33.25 | 68.6
113345 | 2021-04-30 12:00 | 0.99463 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.4242 | μmol/L | 13.7879 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.619 | 139289.215 | 301346.438 | 33.25 | 68.6
113355 | 2021-04-30 12:00 | 1.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9549 | μmol/L | 13.7879 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.595 | 139130.4499 | 301336.5955 | 33.25 | 68.6
113365 | 2021-04-30 12:00 | 1.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.271 | μmol/L | 13.8 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.576 | 139010.4337 | 301352.4666 | 33.25 | 68.6
113375 | 2021-04-30 12:01 | 1.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6038 | μmol/L | 13.8 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.561 | 138904.134 | 301341.3564 | 33.25 | 68.6
113385 | 2021-04-30 12:01 | 2.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7653 | μmol/L | 13.8122 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.549 | 138801.9764 | 301320.3157 | 33.25 | 68.6
113395 | 2021-04-30 12:01 | 2.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.0018 | μmol/L | 13.8183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.536 | 138721.4988 | 301315.3056 | 33.25 | 68.6
113405 | 2021-04-30 12:02 | 2.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2244 | μmol/L | 13.8183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.526 | 138632.5957 | 301302.9046 | 33.25 | 68.6
113415 | 2021-04-30 12:02 | 3.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.35 | μmol/L | 13.8244 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.518 | 138565.7906 | 301299.712 | 33.25 | 68.6
113425 | 2021-04-30 12:02 | 3.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.498 | μmol/L | 13.8304 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.509 | 138502.4778 | 301295.0782 | 33.25 | 68.6
113435 | 2021-04-30 12:03 | 3.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4899 | μmol/L | 13.8365 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.507 | 138462.4882 | 301287.6164 | 33.25 | 68.6
113445 | 2021-04-30 12:03 | 4.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6988 | μmol/L | 13.8304 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.5 | 138408.847 | 301300.5235 | 33.25 | 68.6
113455 | 2021-04-30 12:03 | 4.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.7496 | μmol/L | 13.8426 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.493 | 138369.5976 | 301294.6308 | 33.25 | 68.6
113465 | 2021-04-30 12:04 | 4.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8086 | μmol/L | 13.8487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.488 | 138327.6274 | 301276.9356 | 33.25 | 68.6
113475 | 2021-04-30 12:04 | 5.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8532 | μmol/L | 13.8487 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.486 | 138295.6835 | 301264.1906 | 33.25 | 68.6
113485 | 2021-04-30 12:04 | 5.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8595 | μmol/L | 13.8608 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.481 | 138236.0323 | 301270.3684 | 33.25 | 68.6
113495 | 2021-04-30 12:05 | 5.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9185 | μmol/L | 13.8669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.476 | 138215.6757 | 301273.5507 | 33.25 | 68.6
113505 | 2021-04-30 12:05 | 6.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9632 | μmol/L | 13.8669 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.474 | 138183.7971 | 301271.7621 | 33.25 | 68.6
113515 | 2021-04-30 12:05 | 6.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.0446 | μmol/L | 13.873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.468 | 138158.5577 | 301260.4889 | 33.25 | 68.6
113525 | 2021-04-30 12:06 | 6.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8945 | μmol/L | 13.8851 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.47 | 138138.1479 | 301264.6767 | 33.25 | 68.6
113535 | 2021-04-30 12:06 | 7.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9759 | μmol/L | 13.8912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.464 | 138113.0909 | 301258.1108 | 33.25 | 68.6
113545 | 2021-04-30 12:06 | 7.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9679 | μmol/L | 13.8973 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.462 | 138104.3142 | 301252.4905 | 33.25 | 68.6
113555 | 2021-04-30 12:07 | 7.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.0206 | μmol/L | 13.8912 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.462 | 138080.0985 | 301244.8884 | 33.25 | 68.6
113565 | 2021-04-30 12:07 | 8.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.0046 | μmol/L | 13.9033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.458 | 138067.5218 | 301235.249 | 33.25 | 68.6
113575 | 2021-04-30 12:07 | 8.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9823 | μmol/L | 13.9033 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.459 | 138047.0274 | 301240.4511 | 33.25 | 68.6
113585 | 2021-04-30 12:08 | 8.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8992 | μmol/L | 13.9155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.458 | 138040.5425 | 301231.5401 | 33.25 | 68.6
113595 | 2021-04-30 12:08 | 9.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8913 | μmol/L | 13.9216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.456 | 138019.6333 | 301212.345 | 33.25 | 68.6
113605 | 2021-04-30 12:08 | 9.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 269.011 | μmol/L | 13.9155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.453 | 138011.6494 | 301228.5616 | 33.25 | 68.6
113615 | 2021-04-30 12:09 | 9.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.9057 | μmol/L | 13.9276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.453 | 137996.5558 | 301218.9527 | 33.25 | 68.6
113625 | 2021-04-30 12:09 | 10.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8306 | μmol/L | 13.9337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.454 | 137982.7394 | 301211.5502 | 33.25 | 68.6
113635 | 2021-04-30 12:09 | 10.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.8227 | μmol/L | 13.9398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.452 | 137986.4805 | 301215.9904 | 33.25 | 68.6
113645 | 2021-04-30 12:10 | 10.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.77 | μmol/L | 13.9459 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.452 | 137972.6432 | 301198.1823 | 33.25 | 68.6
113655 | 2021-04-30 12:10 | 11.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6951 | μmol/L | 13.9519 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.453 | 137971.5376 | 301205.4628 | 33.25 | 68.6
113665 | 2021-04-30 12:10 | 11.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6648 | μmol/L | 13.958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.452 | 137946.645 | 301202.758 | 33.25 | 68.6
113675 | 2021-04-30 12:11 | 11.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6792 | μmol/L | 13.9641 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.449 | 137941.2411 | 301180.5629 | 33.25 | 68.6
113685 | 2021-04-30 12:11 | 12.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.574 | μmol/L | 13.9763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.449 | 137928.7431 | 301179.5545 | 33.25 | 68.6
113695 | 2021-04-30 12:11 | 12.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5438 | μmol/L | 13.9823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.448 | 137929.436 | 301169.7579 | 33.25 | 68.6
113705 | 2021-04-30 12:12 | 12.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.6187 | μmol/L | 13.9763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.447 | 137919.0113 | 301165.9063 | 33.25 | 68.6
113715 | 2021-04-30 12:12 | 13.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5215 | μmol/L | 13.9823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.449 | 137911.7834 | 301158.0777 | 33.25 | 68.6
113725 | 2021-04-30 12:12 | 13.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.5359 | μmol/L | 13.9884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 137914.3523 | 301171.071 | 33.25 | 68.6
113735 | 2021-04-30 12:13 | 13.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4229 | μmol/L | 14.0066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.444 | 137896.8697 | 301157.6892 | 33.25 | 68.6
113745 | 2021-04-30 12:13 | 14.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4308 | μmol/L | 14.0006 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 137893.0566 | 301158.0217 | 33.25 | 68.6
113755 | 2021-04-30 12:13 | 14.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.4006 | μmol/L | 14.0066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.445 | 137891.4898 | 301144.6339 | 33.25 | 68.6
113765 | 2021-04-30 12:14 | 14.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3783 | μmol/L | 14.0066 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.446 | 137876.7272 | 301160.0349 | 33.25 | 68.6
113775 | 2021-04-30 12:14 | 15.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.3324 | μmol/L | 14.0249 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 137868.3308 | 301150.6042 | 33.25 | 68.6
113785 | 2021-04-30 12:14 | 15.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2576 | μmol/L | 14.0309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 137864.0715 | 301162.9577 | 33.25 | 68.6
113795 | 2021-04-30 12:15 | 15.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2576 | μmol/L | 14.0309 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 137854.0412 | 301161.536 | 33.25 | 68.6
113805 | 2021-04-30 12:15 | 16.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.2497 | μmol/L | 14.037 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 137854.0269 | 301150.4696 | 33.25 | 68.6
113815 | 2021-04-30 12:15 | 16.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.175 | μmol/L | 14.0431 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.441 | 137835.4669 | 301136.319 | 33.25 | 68.6
113825 | 2021-04-30 12:16 | 16.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1894 | μmol/L | 14.0492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.438 | 137843.8235 | 301145.5581 | 33.25 | 68.6
113835 | 2021-04-30 12:16 | 17.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.1147 | μmol/L | 14.0552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 137837.0394 | 301150.1173 | 33.25 | 68.6
113845 | 2021-04-30 12:16 | 17.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 268.137 | μmol/L | 14.0552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.438 | 137818.433 | 301133.7774 | 33.25 | 68.6
113855 | 2021-04-30 12:17 | 17.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9798 | μmol/L | 14.0735 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.438 | 137808.5932 | 301108.0624 | 33.25 | 68.6
113865 | 2021-04-30 12:17 | 18.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.943 | μmol/L | 14.0674 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 137803.662 | 301114.5766 | 33.25 | 68.6
113875 | 2021-04-30 12:17 | 18.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.9942 | μmol/L | 14.0795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.435 | 137801.461 | 301116.2608 | 33.25 | 68.6
113885 | 2021-04-30 12:18 | 18.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8449 | μmol/L | 14.0917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.437 | 137791.1115 | 301104.7174 | 33.25 | 68.6
113895 | 2021-04-30 12:18 | 19.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8004 | μmol/L | 14.0917 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.439 | 137792.0087 | 301097.267 | 33.25 | 68.6
113905 | 2021-04-30 12:18 | 19.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.8149 | μmol/L | 14.0978 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 137786.2762 | 301096.0324 | 33.25 | 68.6
113915 | 2021-04-30 12:19 | 19.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6735 | μmol/L | 14.1039 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.44 | 137777.0444 | 301099.3245 | 33.25 | 68.6
113925 | 2021-04-30 12:19 | 20.3275 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6579 | μmol/L | 14.116 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 137770.3828 | 301088.3778 | 33.25 | 68.6
113935 | 2021-04-30 12:19 | 20.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7102 | μmol/L | 14.1099 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 137770.9827 | 301089.4457 | 33.25 | 68.6
113945 | 2021-04-30 12:20 | 20.9943 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.7025 | μmol/L | 14.116 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.434 | 137777.1583 | 301091.8244 | 33.25 | 68.6
113955 | 2021-04-30 12:20 | 21.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6502 | μmol/L | 14.1221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.434 | 137760.1993 | 301076.7602 | 33.25 | 68.6
113965 | 2021-04-30 12:20 | 21.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.6201 | μmol/L | 14.1282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137757.4091 | 301064.2598 | 33.25 | 68.6
113975 | 2021-04-30 12:21 | 21.9945 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5679 | μmol/L | 14.1342 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137750.2938 | 301062.2459 | 33.25 | 68.6
113985 | 2021-04-30 12:21 | 22.3283 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.5379 | μmol/L | 14.1403 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.432 | 137750.3079 | 301065.3231 | 33.25 | 68.6
113995 | 2021-04-30 12:21 | 22.6614 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.4634 | μmol/L | 14.1464 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137739.7737 | 301057.3725 | 33.25 | 68.6
114005 | 2021-04-30 12:22 | 22.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.4112 | μmol/L | 14.1525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137729.4383 | 301044.6929 | 33.25 | 68.6
114015 | 2021-04-30 12:22 | 23.3276 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.3444 | μmol/L | 14.1525 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.436 | 137725.6825 | 301035.2633 | 33.25 | 68.6
114025 | 2021-04-30 12:22 | 23.6615 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.3735 | μmol/L | 14.1646 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.43 | 137712.4522 | 301037.5707 | 33.25 | 68.6
114035 | 2021-04-30 12:23 | 23.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2768 | μmol/L | 14.1707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.432 | 137709.0337 | 301032.8643 | 33.25 | 68.6
114045 | 2021-04-30 12:23 | 24.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2469 | μmol/L | 14.1768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.431 | 137702.2042 | 301019.5488 | 33.25 | 68.6
114055 | 2021-04-30 12:23 | 24.6612 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.2546 | μmol/L | 14.1707 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137687.539 | 301022.6084 | 33.25 | 68.6
114065 | 2021-04-30 12:24 | 24.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.187 | μmol/L | 14.1889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.429 | 137694.242 | 301026.9458 | 33.25 | 68.6
114075 | 2021-04-30 12:24 | 25.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1648 | μmol/L | 14.1889 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.43 | 137681.8444 | 301019.2372 | 33.25 | 68.6
114085 | 2021-04-30 12:24 | 25.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.046 | μmol/L | 14.195 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.433 | 137673.2747 | 301024.7159 | 33.25 | 68.6
114095 | 2021-04-30 12:25 | 25.9944 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.1272 | μmol/L | 14.2011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.427 | 137677.8949 | 301015.197 | 33.25 | 68.6
114105 | 2021-04-30 12:25 | 26.328 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9563 | μmol/L | 14.2132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.43 | 137673.1266 | 301019.5097 | 33.25 | 68.6
114115 | 2021-04-30 12:25 | 26.6608 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 267.0007 | μmol/L | 14.2132 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.428 | 137657.7751 | 301012.8828 | 33.25 | 68.6
114125 | 2021-04-30 12:26 | 26.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8966 | μmol/L | 14.2254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.428 | 137664.0541 | 301009.0285 | 33.25 | 68.6
114135 | 2021-04-30 12:26 | 27.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.9931 | μmol/L | 14.2193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.426 | 137653.7262 | 301002.1124 | 33.25 | 68.6
114145 | 2021-04-30 12:26 | 27.6616 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8889 | μmol/L | 14.2315 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.426 | 137643.0211 | 300997.5185 | 33.25 | 68.6
114155 | 2021-04-30 12:27 | 27.9948 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8591 | μmol/L | 14.2375 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.425 | 137625.7622 | 300973.0482 | 33.25 | 68.6
114165 | 2021-04-30 12:27 | 28.3279 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8591 | μmol/L | 14.2375 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.425 | 137629.6652 | 300992.3926 | 33.25 | 68.6
114175 | 2021-04-30 12:27 | 28.6611 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8216 | μmol/L | 14.2497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.422 | 137607.8262 | 300993.1516 | 33.25 | 68.6
114185 | 2021-04-30 12:28 | 28.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7328 | μmol/L | 14.2497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.426 | 137606.3049 | 300981.3293 | 33.25 | 68.6
114195 | 2021-04-30 12:28 | 29.3277 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7917 | μmol/L | 14.2558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.421 | 137592.0981 | 300964.9578 | 33.25 | 68.6
114205 | 2021-04-30 12:28 | 29.6609 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.6877 | μmol/L | 14.2679 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.421 | 137597.6952 | 300969.1547 | 33.25 | 68.6
114215 | 2021-04-30 12:29 | 29.9947 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7987 | μmol/L | 14.2679 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.416 | 137575.2412 | 300964.8075 | 33.25 | 68.6
114225 | 2021-04-30 12:29 | 30.3278 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.8133 | μmol/L | 14.274 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 137538.8347 | 300950.1186 | 33.25 | 68.6
114235 | 2021-04-30 12:29 | 30.6617 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7613 | μmol/L | 14.2801 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 137526.6478 | 300951.2281 | 33.25 | 68.6
114245 | 2021-04-30 12:30 | 30.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.7537 | μmol/L | 14.2861 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.411 | 137514.7745 | 300946.4575 | 33.25 | 68.6
114255 | 2021-04-30 12:30 | 31.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.6497 | μmol/L | 14.2983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.411 | 137508.729 | 300947.838 | 33.25 | 68.6
114265 | 2021-04-30 12:30 | 31.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.6053 | μmol/L | 14.2983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.413 | 137505.6288 | 300952.873 | 33.25 | 68.6
114275 | 2021-04-30 12:31 | 31.9942 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.5756 | μmol/L | 14.3044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.412 | 137500.1211 | 300946.678 | 33.25 | 68.6
114285 | 2021-04-30 12:31 | 32.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.5978 | μmol/L | 14.3044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.411 | 137506.2095 | 300931.0762 | 33.25 | 68.6
114295 | 2021-04-30 12:31 | 32.661 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.4571 | μmol/L | 14.3105 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.415 | 137507.5376 | 300918.6233 | 33.25 | 68.6
114305 | 2021-04-30 12:32 | 32.9949 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.2128 | μmol/L | 14.3287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.419 | 137531.4713 | 300923.7627 | 33.25 | 68.6
114315 | 2021-04-30 12:32 | 33.3281 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 266.0875 | μmol/L | 14.3226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.427 | 137604.4435 | 300924.6314 | 33.25 | 68.6
114325 | 2021-04-30 12:32 | 33.6613 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.6522 | μmol/L | 14.3348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.442 | 137715.7912 | 300923.0349 | 33.25 | 68.6
114335 | 2021-04-30 12:33 | 33.9946 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 265.1446 | μmol/L | 14.3348 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 23.465 | 137852.9333 | 300914.3425 | 33.25 | 68.6