## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113316 | 2021-04-30 11:59 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 265.9104 | μmol/L | 13.8593 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.919 | 126359.315 | 265444.9483 | 26.25 | 74
113326 | 2021-04-30 11:59 | 0.34178 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 267.1563 | μmol/L | 13.8289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.875 | 126081.5155 | 265439.7417 | 26.25 | 74
113336 | 2021-04-30 11:59 | 0.67468 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.0566 | μmol/L | 13.8107 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.842 | 125842.0482 | 265443.5923 | 26.25 | 74
113346 | 2021-04-30 12:00 | 1.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 268.5332 | μmol/L | 13.8107 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.821 | 125662.9328 | 265448.9969 | 26.25 | 74
113356 | 2021-04-30 12:00 | 1.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.0048 | μmol/L | 13.8167 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.798 | 125526.3413 | 265439.8317 | 26.25 | 74
113366 | 2021-04-30 12:00 | 1.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.1978 | μmol/L | 13.8289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.785 | 125412.197 | 265423.7022 | 26.25 | 74
113376 | 2021-04-30 12:01 | 2.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.5688 | μmol/L | 13.8228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.771 | 125312.5948 | 265422.4813 | 26.25 | 74
113386 | 2021-04-30 12:01 | 2.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8886 | μmol/L | 13.8228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.757 | 125242.7602 | 265411.5931 | 26.25 | 74
113396 | 2021-04-30 12:01 | 2.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.997 | μmol/L | 13.8289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.75 | 125176.6222 | 265410.0829 | 26.25 | 74
113406 | 2021-04-30 12:02 | 3.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.1572 | μmol/L | 13.8289 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.743 | 125110.7161 | 265391.6879 | 26.25 | 74
113416 | 2021-04-30 12:02 | 3.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.3115 | μmol/L | 13.835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.734 | 125062.9469 | 265402.1257 | 26.25 | 74
113426 | 2021-04-30 12:02 | 3.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.4032 | μmol/L | 13.835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.73 | 125015.8497 | 265402.1656 | 26.25 | 74
113436 | 2021-04-30 12:03 | 4.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.5807 | μmol/L | 13.8411 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.72 | 124956.8098 | 265382.1518 | 26.25 | 74
113446 | 2021-04-30 12:03 | 4.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.6436 | μmol/L | 13.8472 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.715 | 124926.0762 | 265383.492 | 26.25 | 74
113456 | 2021-04-30 12:03 | 4.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.7295 | μmol/L | 13.8532 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.709 | 124885.1189 | 265380.797 | 26.25 | 74
113466 | 2021-04-30 12:04 | 5.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.8213 | μmol/L | 13.8532 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.705 | 124842.595 | 265386.4668 | 26.25 | 74
113476 | 2021-04-30 12:04 | 5.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.1431 | μmol/L | 13.8532 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.691 | 124797.6128 | 265365.3879 | 26.25 | 74
113486 | 2021-04-30 12:04 | 5.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.0682 | μmol/L | 13.8593 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.692 | 124756.307 | 265360.7114 | 26.25 | 74
113496 | 2021-04-30 12:05 | 6.0078 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.1083 | μmol/L | 13.8654 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.688 | 124709.266 | 265354.9179 | 26.25 | 74
113506 | 2021-04-30 12:05 | 6.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.2694 | μmol/L | 13.8654 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.681 | 124681.119 | 265363.4697 | 26.25 | 74
113516 | 2021-04-30 12:05 | 6.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.3095 | μmol/L | 13.8715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.677 | 124636.0826 | 265354.9418 | 26.25 | 74
113526 | 2021-04-30 12:06 | 7.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.4649 | μmol/L | 13.8776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.668 | 124601.7261 | 265352.8775 | 26.25 | 74
113536 | 2021-04-30 12:06 | 7.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.6493 | μmol/L | 13.8776 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 124567.128 | 265340.1984 | 26.25 | 74
113546 | 2021-04-30 12:06 | 7.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.5973 | μmol/L | 13.8837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.66 | 124535.848 | 265337.4827 | 26.25 | 74
113556 | 2021-04-30 12:07 | 8.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.6086 | μmol/L | 13.8958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.655 | 124510.6348 | 265340.891 | 26.25 | 74
113566 | 2021-04-30 12:07 | 8.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.7009 | μmol/L | 13.8958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 124480.9309 | 265338.8448 | 26.25 | 74
113576 | 2021-04-30 12:07 | 8.6748 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8452 | μmol/L | 13.8897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 124450.2601 | 265317.7572 | 26.25 | 74
113586 | 2021-04-30 12:08 | 9.0086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8162 | μmol/L | 13.8958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 124423.7457 | 265326.3076 | 26.25 | 74
113596 | 2021-04-30 12:08 | 9.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8507 | μmol/L | 13.908 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 124395.4624 | 265320.6142 | 26.25 | 74
113606 | 2021-04-30 12:08 | 9.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8738 | μmol/L | 13.908 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.639 | 124378.2889 | 265320.384 | 26.25 | 74
113616 | 2021-04-30 12:09 | 10.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.868 | μmol/L | 13.9141 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 124353.9518 | 265322.5367 | 26.25 | 74
113626 | 2021-04-30 12:09 | 10.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.8621 | μmol/L | 13.9202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.635 | 124330.8251 | 265315.1874 | 26.25 | 74
113636 | 2021-04-30 12:09 | 10.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.9256 | μmol/L | 13.9262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.63 | 124319.2543 | 265295.4445 | 26.25 | 74
113646 | 2021-04-30 12:10 | 11.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.047 | μmol/L | 13.9202 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124302.0992 | 265301.8467 | 26.25 | 74
113656 | 2021-04-30 12:10 | 11.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.9891 | μmol/L | 13.9323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.625 | 124283.0922 | 265291.8446 | 26.25 | 74
113666 | 2021-04-30 12:10 | 11.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.9429 | μmol/L | 13.9323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.627 | 124263.2639 | 265293.99 | 26.25 | 74
113676 | 2021-04-30 12:11 | 12.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.0584 | μmol/L | 13.9323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.622 | 124233.9645 | 265293.524 | 26.25 | 74
113686 | 2021-04-30 12:11 | 12.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.1162 | μmol/L | 13.9445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.615 | 124200.9262 | 265284.3197 | 26.25 | 74
113696 | 2021-04-30 12:11 | 12.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.2608 | μmol/L | 13.9384 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.611 | 124168.449 | 265289.6299 | 26.25 | 74
113706 | 2021-04-30 12:12 | 13.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.2261 | μmol/L | 13.9506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.608 | 124135.1971 | 265288.729 | 26.25 | 74
113716 | 2021-04-30 12:12 | 13.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.5097 | μmol/L | 13.9445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.598 | 124102.053 | 265281.7511 | 26.25 | 74
113726 | 2021-04-30 12:12 | 13.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.5502 | μmol/L | 13.9506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.594 | 124057.5108 | 265277.5922 | 26.25 | 74
113736 | 2021-04-30 12:13 | 14.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7125 | μmol/L | 13.9506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.587 | 124032.1533 | 265273.3191 | 26.25 | 74
113746 | 2021-04-30 12:13 | 14.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8516 | μmol/L | 13.9506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.581 | 123991.2859 | 265253.9688 | 26.25 | 74
113756 | 2021-04-30 12:13 | 14.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.7473 | μmol/L | 13.9627 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.581 | 123949.1778 | 265258.1636 | 26.25 | 74
113766 | 2021-04-30 12:14 | 15.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.904 | μmol/L | 13.9688 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.572 | 123924.8926 | 265266.7726 | 26.25 | 74
113776 | 2021-04-30 12:14 | 15.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9736 | μmol/L | 13.9688 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.569 | 123898.6593 | 265264.8587 | 26.25 | 74
113786 | 2021-04-30 12:14 | 15.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0201 | μmol/L | 13.9688 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.567 | 123864.5288 | 265274.4128 | 26.25 | 74
113796 | 2021-04-30 12:15 | 16.0085 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1073 | μmol/L | 13.9749 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.561 | 123845.5174 | 265262.6863 | 26.25 | 74
113806 | 2021-04-30 12:15 | 16.3416 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0551 | μmol/L | 13.981 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.561 | 123843.6673 | 265248.3462 | 26.25 | 74
113816 | 2021-04-30 12:15 | 16.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0493 | μmol/L | 13.9871 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.559 | 123826.7671 | 265241.3392 | 26.25 | 74
113826 | 2021-04-30 12:16 | 17.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0669 | μmol/L | 13.9932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.556 | 123808.1056 | 265239.2546 | 26.25 | 74
113836 | 2021-04-30 12:16 | 17.3418 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0901 | μmol/L | 13.9932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 123805.6635 | 265245.9054 | 26.25 | 74
113846 | 2021-04-30 12:16 | 17.6749 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0901 | μmol/L | 13.9932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 123791.1441 | 265242.9272 | 26.25 | 74
113856 | 2021-04-30 12:17 | 18.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0379 | μmol/L | 13.9992 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 123789.3245 | 265238.7437 | 26.25 | 74
113866 | 2021-04-30 12:17 | 18.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9336 | μmol/L | 14.0114 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.555 | 123780.0415 | 265226.5066 | 26.25 | 74
113876 | 2021-04-30 12:17 | 18.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9047 | μmol/L | 14.0175 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.554 | 123779.8682 | 265232.5247 | 26.25 | 74
113886 | 2021-04-30 12:18 | 19.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.073 | μmol/L | 14.0114 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.549 | 123767.8014 | 265241.1998 | 26.25 | 74
113896 | 2021-04-30 12:18 | 19.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8758 | μmol/L | 14.0236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.553 | 123767.9303 | 265229.8914 | 26.25 | 74
113906 | 2021-04-30 12:18 | 19.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9454 | μmol/L | 14.0236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123762.55 | 265234.8285 | 26.25 | 74
113916 | 2021-04-30 12:19 | 20.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.9454 | μmol/L | 14.0236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123755.1605 | 265233.3 | 26.25 | 74
113926 | 2021-04-30 12:19 | 20.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.963 | μmol/L | 14.0297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.547 | 123735.362 | 265224.3655 | 26.25 | 74
113936 | 2021-04-30 12:19 | 20.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0038 | μmol/L | 14.0357 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.543 | 123707.9708 | 265219.136 | 26.25 | 74
113946 | 2021-04-30 12:20 | 21.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.0678 | μmol/L | 14.0418 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.538 | 123664.6899 | 265212.9815 | 26.25 | 74
113956 | 2021-04-30 12:20 | 21.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3872 | μmol/L | 14.0236 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.531 | 123628.3528 | 265213.1316 | 26.25 | 74
113966 | 2021-04-30 12:20 | 21.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4281 | μmol/L | 14.0297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.527 | 123581.4253 | 265203.8446 | 26.25 | 74
113976 | 2021-04-30 12:21 | 22.0081 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.5212 | μmol/L | 14.0297 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 123545.6378 | 265191.826 | 26.25 | 74
113986 | 2021-04-30 12:21 | 22.3411 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.5565 | μmol/L | 14.0418 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.517 | 123529.1881 | 265203.9402 | 26.25 | 74
113996 | 2021-04-30 12:21 | 22.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.3878 | μmol/L | 14.0479 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.522 | 123527.5051 | 265192.5047 | 26.25 | 74
114006 | 2021-04-30 12:22 | 23.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.4168 | μmol/L | 14.0418 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.523 | 123540.7729 | 265182.6208 | 26.25 | 74
114016 | 2021-04-30 12:22 | 23.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.1263 | μmol/L | 14.054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.531 | 123591.7874 | 265192.046 | 26.25 | 74
114026 | 2021-04-30 12:22 | 23.6746 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 273.01 | μmol/L | 14.054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.536 | 123630.3031 | 265190.8108 | 26.25 | 74
114036 | 2021-04-30 12:23 | 24.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.8418 | μmol/L | 14.0601 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.541 | 123676.8272 | 265175.6463 | 26.25 | 74
114046 | 2021-04-30 12:23 | 24.3414 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.5288 | μmol/L | 14.0722 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.55 | 123734.342 | 265180.6109 | 26.25 | 74
114056 | 2021-04-30 12:23 | 24.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.2738 | μmol/L | 14.0722 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.561 | 123778.0958 | 265157.5142 | 26.25 | 74
114066 | 2021-04-30 12:24 | 25.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 272.1174 | μmol/L | 14.0662 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.57 | 123833.6581 | 265176.5012 | 26.25 | 74
114076 | 2021-04-30 12:24 | 25.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.9961 | μmol/L | 14.0722 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.573 | 123876.1471 | 265166.1351 | 26.25 | 74
114086 | 2021-04-30 12:24 | 25.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.5687 | μmol/L | 14.0844 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.587 | 123931.2687 | 265156.5561 | 26.25 | 74
114096 | 2021-04-30 12:25 | 26.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.4246 | μmol/L | 14.0905 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.591 | 123991.2779 | 265156.8749 | 26.25 | 74
114106 | 2021-04-30 12:25 | 26.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 271.3205 | μmol/L | 14.0783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.6 | 124038.6281 | 265150.7093 | 26.25 | 74
114116 | 2021-04-30 12:25 | 26.6744 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.8658 | μmol/L | 14.0966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.613 | 124093.0225 | 265143.0269 | 26.25 | 74
114126 | 2021-04-30 12:26 | 27.0082 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.7967 | μmol/L | 14.0966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.616 | 124144.7603 | 265155.2665 | 26.25 | 74
114136 | 2021-04-30 12:26 | 27.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.699 | μmol/L | 14.1027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.618 | 124150.0677 | 265145.8131 | 26.25 | 74
114146 | 2021-04-30 12:26 | 27.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.5094 | μmol/L | 14.1088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.624 | 124177.1786 | 265155.1029 | 26.25 | 74
114156 | 2021-04-30 12:27 | 28.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.6184 | μmol/L | 14.0905 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.626 | 124207.2957 | 265141.6706 | 26.25 | 74
114166 | 2021-04-30 12:27 | 28.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.2624 | μmol/L | 14.1027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.637 | 124259.068 | 265133.9704 | 26.25 | 74
114176 | 2021-04-30 12:27 | 28.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 270.0559 | μmol/L | 14.1027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 124316.1669 | 265135.529 | 26.25 | 74
114186 | 2021-04-30 12:28 | 29.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.7868 | μmol/L | 14.1209 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 124338.5912 | 265130.0512 | 26.25 | 74
114196 | 2021-04-30 12:28 | 29.3412 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.7696 | μmol/L | 14.1148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 124361.6345 | 265127.9714 | 26.25 | 74
114206 | 2021-04-30 12:28 | 29.6745 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.6551 | μmol/L | 14.1148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.659 | 124387.8772 | 265121.4853 | 26.25 | 74
114216 | 2021-04-30 12:29 | 30.0084 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8038 | μmol/L | 14.1027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.657 | 124371.9759 | 265105.3187 | 26.25 | 74
114226 | 2021-04-30 12:29 | 30.3413 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8725 | μmol/L | 14.1027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 124361.0903 | 265106.3722 | 26.25 | 74
114236 | 2021-04-30 12:29 | 30.6751 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8211 | μmol/L | 14.1088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 124334.4251 | 265107.769 | 26.25 | 74
114246 | 2021-04-30 12:30 | 31.008 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8612 | μmol/L | 14.1148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 124316.2479 | 265113.5577 | 26.25 | 74
114256 | 2021-04-30 12:30 | 31.3419 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.9529 | μmol/L | 14.1148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.646 | 124305.4778 | 265084.4164 | 26.25 | 74
114266 | 2021-04-30 12:30 | 31.675 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8898 | μmol/L | 14.1088 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.651 | 124309.2198 | 265082.426 | 26.25 | 74
114276 | 2021-04-30 12:31 | 32.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.8612 | μmol/L | 14.1148 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.65 | 124324.6849 | 265091.686 | 26.25 | 74
114286 | 2021-04-30 12:31 | 32.3415 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.6667 | μmol/L | 14.127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.654 | 124338.2219 | 265093.7131 | 26.25 | 74
114296 | 2021-04-30 12:31 | 32.6752 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.6209 | μmol/L | 14.127 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.656 | 124337.2634 | 265086.343 | 26.25 | 74
114306 | 2021-04-30 12:32 | 33.0079 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.7755 | μmol/L | 14.1331 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.647 | 124302.1408 | 265083.0172 | 26.25 | 74
114316 | 2021-04-30 12:32 | 33.3417 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.61 | μmol/L | 14.1635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.643 | 124255.1756 | 265086.2764 | 26.25 | 74
114326 | 2021-04-30 12:32 | 33.6747 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.942 | μmol/L | 14.1513 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.633 | 124222.492 | 265078.1833 | 26.25 | 74
114336 | 2021-04-30 12:33 | 34.0083 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 269.7301 | μmol/L | 14.1574 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.64 | 124212.9089 | 265081.4276 | 26.25 | 74