## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 12:33

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
113317 | 2021-04-30 11:59 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 262.2797 | μmol/L | 14.0041 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.832 | 123043.9921 | 268822.3704 | 32.55 | 27.7
113327 | 2021-04-30 11:59 | 0.33067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.2589 | μmol/L | 13.9552 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.806 | 122856.3072 | 268806.4387 | 32.55 | 27.7
113337 | 2021-04-30 11:59 | 0.66436 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.9398 | μmol/L | 13.943 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.78 | 122684.2312 | 268774.4643 | 32.55 | 27.7
113347 | 2021-04-30 12:00 | 0.99812 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3087 | μmol/L | 13.9552 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.759 | 122532.6483 | 268758.7439 | 32.55 | 27.7
113357 | 2021-04-30 12:00 | 1.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6111 | μmol/L | 13.9674 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.741 | 122396.5122 | 268753.0824 | 32.55 | 27.7
113367 | 2021-04-30 12:00 | 1.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1837 | μmol/L | 13.9552 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.72 | 122283.7579 | 268740.3043 | 32.55 | 27.7
113377 | 2021-04-30 12:01 | 1.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.4368 | μmol/L | 13.9735 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.702 | 122170.3439 | 268717.4918 | 32.55 | 27.7
113387 | 2021-04-30 12:01 | 2.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.724 | μmol/L | 13.9796 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.687 | 122054.624 | 268720.7772 | 32.55 | 27.7
113397 | 2021-04-30 12:01 | 2.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.9666 | μmol/L | 13.9858 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.674 | 121964.5949 | 268712.414 | 32.55 | 27.7
113407 | 2021-04-30 12:02 | 2.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.328 | μmol/L | 13.9858 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.658 | 121865.7312 | 268703.2104 | 32.55 | 27.7
113417 | 2021-04-30 12:02 | 3.3311 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.594 | μmol/L | 13.9919 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.644 | 121779.8142 | 268708.4317 | 32.55 | 27.7
113427 | 2021-04-30 12:02 | 3.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7922 | μmol/L | 13.998 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.633 | 121698.0684 | 268703.4031 | 32.55 | 27.7
113437 | 2021-04-30 12:03 | 3.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.0871 | μmol/L | 13.998 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.62 | 121619.9288 | 268693.2555 | 32.55 | 27.7
113447 | 2021-04-30 12:03 | 4.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.2858 | μmol/L | 14.0041 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.609 | 121547.7387 | 268677.0607 | 32.55 | 27.7
113457 | 2021-04-30 12:03 | 4.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.4338 | μmol/L | 14.0163 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.598 | 121485.7746 | 268678.0062 | 32.55 | 27.7
113467 | 2021-04-30 12:04 | 4.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.5647 | μmol/L | 14.0224 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.59 | 121407.1403 | 268674.0545 | 32.55 | 27.7
113477 | 2021-04-30 12:04 | 5.3314 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.7923 | μmol/L | 14.0224 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.58 | 121429.643 | 268671.6654 | 32.55 | 27.7
113487 | 2021-04-30 12:04 | 5.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.0603 | μmol/L | 14.0285 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.566 | 121353.2248 | 268677.4854 | 32.55 | 27.7
113497 | 2021-04-30 12:05 | 5.9975 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.0548 | μmol/L | 14.0346 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.564 | 121299.5319 | 268669.8715 | 32.55 | 27.7
113507 | 2021-04-30 12:05 | 6.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.2546 | μmol/L | 14.0407 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.553 | 121244.3988 | 268673.2718 | 32.55 | 27.7
113517 | 2021-04-30 12:05 | 6.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.3806 | μmol/L | 14.0529 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.543 | 121181.8066 | 268656.2538 | 32.55 | 27.7
113527 | 2021-04-30 12:06 | 6.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.5177 | μmol/L | 14.0529 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.537 | 121133.2819 | 268652.5114 | 32.55 | 27.7
113537 | 2021-04-30 12:06 | 7.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.6266 | μmol/L | 14.059 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.53 | 121089.0612 | 268660.3345 | 32.55 | 27.7
113547 | 2021-04-30 12:06 | 7.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.8096 | μmol/L | 14.059 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.522 | 121022.487 | 268641.1117 | 32.55 | 27.7
113557 | 2021-04-30 12:07 | 7.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.7933 | μmol/L | 14.0774 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.516 | 120987.1962 | 268630.9899 | 32.55 | 27.7
113567 | 2021-04-30 12:07 | 8.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.9078 | μmol/L | 14.0774 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.511 | 120943.7846 | 268634.3966 | 32.55 | 27.7
113577 | 2021-04-30 12:07 | 8.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.0627 | μmol/L | 14.0835 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.502 | 120908.5893 | 268629.7433 | 32.55 | 27.7
113587 | 2021-04-30 12:08 | 8.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.2232 | μmol/L | 14.0835 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.495 | 120872.3432 | 268640.3503 | 32.55 | 27.7
113597 | 2021-04-30 12:08 | 9.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.1949 | μmol/L | 14.0896 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.494 | 120840.9677 | 268612.7524 | 32.55 | 27.7
113607 | 2021-04-30 12:08 | 9.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.2583 | μmol/L | 14.0957 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.489 | 120809.3157 | 268602.9828 | 32.55 | 27.7
113617 | 2021-04-30 12:09 | 9.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.3393 | μmol/L | 14.1079 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.481 | 120777.8143 | 268620.0406 | 32.55 | 27.7
113627 | 2021-04-30 12:09 | 10.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4595 | μmol/L | 14.1018 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.478 | 120736.2787 | 268598.4075 | 32.55 | 27.7
113637 | 2021-04-30 12:09 | 10.6642 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4892 | μmol/L | 14.1201 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.47 | 120719.1918 | 268597.9119 | 32.55 | 27.7
113647 | 2021-04-30 12:10 | 10.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5352 | μmol/L | 14.1201 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.468 | 120698.8473 | 268603.6573 | 32.55 | 27.7
113657 | 2021-04-30 12:10 | 11.3306 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5245 | μmol/L | 14.1323 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.464 | 120670.4755 | 268597.8028 | 32.55 | 27.7
113667 | 2021-04-30 12:10 | 11.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4731 | μmol/L | 14.1384 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.464 | 120643.5153 | 268597.1343 | 32.55 | 27.7
113677 | 2021-04-30 12:11 | 11.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.611 | μmol/L | 14.1384 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.458 | 120630.1443 | 268599.968 | 32.55 | 27.7
113687 | 2021-04-30 12:11 | 12.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5597 | μmol/L | 14.1445 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.458 | 120608.0646 | 268599.9211 | 32.55 | 27.7
113697 | 2021-04-30 12:11 | 12.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5774 | μmol/L | 14.1506 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.455 | 120585.6634 | 268583.5267 | 32.55 | 27.7
113707 | 2021-04-30 12:12 | 12.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4924 | μmol/L | 14.169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.452 | 120571.6314 | 268589.0442 | 32.55 | 27.7
113717 | 2021-04-30 12:12 | 13.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6357 | μmol/L | 14.1629 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.448 | 120556.8857 | 268591.7899 | 32.55 | 27.7
113727 | 2021-04-30 12:12 | 13.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6764 | μmol/L | 14.169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.444 | 120537.823 | 268587.9963 | 32.55 | 27.7
113737 | 2021-04-30 12:13 | 13.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7454 | μmol/L | 14.169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.441 | 120524.3651 | 268584.7922 | 32.55 | 27.7
113747 | 2021-04-30 12:13 | 14.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7401 | μmol/L | 14.1751 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.439 | 120510.62 | 268568.9438 | 32.55 | 27.7
113757 | 2021-04-30 12:13 | 14.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5914 | μmol/L | 14.1873 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.441 | 120485.9614 | 268563.6399 | 32.55 | 27.7
113767 | 2021-04-30 12:14 | 14.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6834 | μmol/L | 14.1873 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.437 | 120477.5379 | 268569.4295 | 32.55 | 27.7
113777 | 2021-04-30 12:14 | 15.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7242 | μmol/L | 14.1934 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.433 | 120466.9458 | 268568.4169 | 32.55 | 27.7
113787 | 2021-04-30 12:14 | 15.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5986 | μmol/L | 14.2056 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.434 | 120453.2433 | 268568.1851 | 32.55 | 27.7
113797 | 2021-04-30 12:15 | 15.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6216 | μmol/L | 14.2056 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.433 | 120446.4693 | 268566.6904 | 32.55 | 27.7
113807 | 2021-04-30 12:15 | 16.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.542 | μmol/L | 14.2178 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.432 | 120434.4947 | 268558.2792 | 32.55 | 27.7
113817 | 2021-04-30 12:15 | 16.6647 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.565 | μmol/L | 14.2178 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.431 | 120424.02 | 268559.8128 | 32.55 | 27.7
113827 | 2021-04-30 12:16 | 16.9978 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5262 | μmol/L | 14.2361 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.426 | 120412.9012 | 268545.4823 | 32.55 | 27.7
113837 | 2021-04-30 12:16 | 17.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.429 | μmol/L | 14.2422 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.428 | 120405.9487 | 268544.9202 | 32.55 | 27.7
113847 | 2021-04-30 12:16 | 17.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.7156 | μmol/L | 14.23 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.42 | 120398.1481 | 268539.4841 | 32.55 | 27.7
113857 | 2021-04-30 12:17 | 17.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.6183 | μmol/L | 14.2361 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.422 | 120381.434 | 268551.394 | 32.55 | 27.7
113867 | 2021-04-30 12:17 | 18.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5723 | μmol/L | 14.2361 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.424 | 120377.7847 | 268540.8263 | 32.55 | 27.7
113877 | 2021-04-30 12:17 | 18.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.5158 | μmol/L | 14.2484 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.422 | 120374.3574 | 268519.269 | 32.55 | 27.7
113887 | 2021-04-30 12:18 | 18.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.3956 | μmol/L | 14.2545 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.425 | 120363.9501 | 268535.7683 | 32.55 | 27.7
113897 | 2021-04-30 12:18 | 19.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4823 | μmol/L | 14.2606 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.419 | 120369.2084 | 268526.8583 | 32.55 | 27.7
113907 | 2021-04-30 12:18 | 19.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.4593 | μmol/L | 14.2606 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.42 | 120368.5495 | 268529.0938 | 32.55 | 27.7
113917 | 2021-04-30 12:19 | 19.9979 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.3339 | μmol/L | 14.2728 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.421 | 120366.5964 | 268516.9464 | 32.55 | 27.7
113927 | 2021-04-30 12:19 | 20.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.3851 | μmol/L | 14.2667 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.421 | 120374.546 | 268522.0556 | 32.55 | 27.7
113937 | 2021-04-30 12:19 | 20.6648 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.2598 | μmol/L | 14.2789 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.422 | 120375.9379 | 268511.7413 | 32.55 | 27.7
113947 | 2021-04-30 12:20 | 20.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.1345 | μmol/L | 14.2911 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.423 | 120390.038 | 268504.5954 | 32.55 | 27.7
113957 | 2021-04-30 12:20 | 21.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 269.1115 | μmol/L | 14.2911 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.424 | 120397.7452 | 268504.1898 | 32.55 | 27.7
113967 | 2021-04-30 12:20 | 21.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.8946 | μmol/L | 14.3033 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.429 | 120404.563 | 268503.3554 | 32.55 | 27.7
113977 | 2021-04-30 12:21 | 21.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.8716 | μmol/L | 14.3033 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.43 | 120421.265 | 268495.6296 | 32.55 | 27.7
113987 | 2021-04-30 12:21 | 22.3309 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.683 | μmol/L | 14.3094 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.436 | 120447.02 | 268492.9617 | 32.55 | 27.7
113997 | 2021-04-30 12:21 | 22.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.66 | μmol/L | 14.3094 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.437 | 120468.3318 | 268494.3226 | 32.55 | 27.7
114007 | 2021-04-30 12:22 | 22.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.4893 | μmol/L | 14.3216 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.44 | 120494.0862 | 268493.0364 | 32.55 | 27.7
114017 | 2021-04-30 12:22 | 23.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.3977 | μmol/L | 14.3216 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.444 | 120508.2026 | 268483.9465 | 32.55 | 27.7
114027 | 2021-04-30 12:22 | 23.6641 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 268.2094 | μmol/L | 14.3277 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.45 | 120530.5137 | 268482.3774 | 32.55 | 27.7
114037 | 2021-04-30 12:23 | 23.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.9756 | μmol/L | 14.3339 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.458 | 120565.2444 | 268472.108 | 32.55 | 27.7
114047 | 2021-04-30 12:23 | 24.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.879 | μmol/L | 14.34 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.46 | 120591.2231 | 268467.2805 | 32.55 | 27.7
114057 | 2021-04-30 12:23 | 24.6644 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.7825 | μmol/L | 14.3461 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.462 | 120621.2067 | 268464.134 | 32.55 | 27.7
114067 | 2021-04-30 12:24 | 24.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.5543 | μmol/L | 14.3461 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.472 | 120670.7066 | 268469.9666 | 32.55 | 27.7
114077 | 2021-04-30 12:24 | 25.3307 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.3895 | μmol/L | 14.3522 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.477 | 120712.2127 | 268465.4077 | 32.55 | 27.7
114087 | 2021-04-30 12:24 | 25.6646 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 267.2476 | μmol/L | 14.3583 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.481 | 120750.9849 | 268467.5856 | 32.55 | 27.7
114097 | 2021-04-30 12:25 | 25.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.9414 | μmol/L | 14.3705 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.49 | 120800.4495 | 268468.7693 | 32.55 | 27.7
114107 | 2021-04-30 12:25 | 26.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.7316 | μmol/L | 14.3766 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.497 | 120841.1608 | 268470.9127 | 32.55 | 27.7
114117 | 2021-04-30 12:25 | 26.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.618 | μmol/L | 14.3766 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.502 | 120882.7233 | 268472.6063 | 32.55 | 27.7
114127 | 2021-04-30 12:26 | 26.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.3631 | μmol/L | 14.3827 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.511 | 120913.7297 | 268450.9999 | 32.55 | 27.7
114137 | 2021-04-30 12:26 | 27.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.1487 | μmol/L | 14.3949 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.516 | 120961.0847 | 268450.9443 | 32.55 | 27.7
114147 | 2021-04-30 12:26 | 27.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 266.091 | μmol/L | 14.3827 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.523 | 120996.1225 | 268456.1821 | 32.55 | 27.7
114157 | 2021-04-30 12:27 | 27.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.8542 | μmol/L | 14.3949 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.529 | 121032.1436 | 268453.1505 | 32.55 | 27.7
114167 | 2021-04-30 12:27 | 28.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.6402 | μmol/L | 14.4071 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.534 | 121068.5124 | 268451.0597 | 32.55 | 27.7
114177 | 2021-04-30 12:27 | 28.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.482 | μmol/L | 14.4071 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.541 | 121102.5559 | 268447.0157 | 32.55 | 27.7
114187 | 2021-04-30 12:28 | 28.9974 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.3187 | μmol/L | 14.4133 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.546 | 121136.361 | 268435.5163 | 32.55 | 27.7
114197 | 2021-04-30 12:28 | 29.3313 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 265.1832 | μmol/L | 14.4133 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.552 | 121166.1117 | 268437.8279 | 32.55 | 27.7
114207 | 2021-04-30 12:28 | 29.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.9699 | μmol/L | 14.4255 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.557 | 121197.8546 | 268435.0179 | 32.55 | 27.7
114217 | 2021-04-30 12:29 | 29.9977 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.8572 | μmol/L | 14.4255 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.562 | 121230.5833 | 268435.4442 | 32.55 | 27.7
114227 | 2021-04-30 12:29 | 30.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.6493 | μmol/L | 14.4316 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.569 | 121263.1186 | 268425.3673 | 32.55 | 27.7
114237 | 2021-04-30 12:29 | 30.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.5316 | μmol/L | 14.4377 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.572 | 121294.6605 | 268420.0424 | 32.55 | 27.7
114247 | 2021-04-30 12:30 | 30.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.3015 | μmol/L | 14.4438 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.58 | 121318.202 | 268416.5849 | 32.55 | 27.7
114257 | 2021-04-30 12:30 | 31.331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.324 | μmol/L | 14.4438 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.579 | 121336.1167 | 268411.6605 | 32.55 | 27.7
114267 | 2021-04-30 12:30 | 31.6643 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.1442 | μmol/L | 14.4438 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.587 | 121359.563 | 268415.4442 | 32.55 | 27.7
114277 | 2021-04-30 12:31 | 31.9981 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 264.0666 | μmol/L | 14.456 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.586 | 121377.6422 | 268405.6752 | 32.55 | 27.7
114287 | 2021-04-30 12:31 | 32.3312 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.8145 | μmol/L | 14.4621 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.595 | 121408.1854 | 268414.57 | 32.55 | 27.7
114297 | 2021-04-30 12:31 | 32.6645 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.6748 | μmol/L | 14.4682 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.599 | 121430.0037 | 268402.6055 | 32.55 | 27.7
114307 | 2021-04-30 12:32 | 32.9976 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.6249 | μmol/L | 14.4743 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.599 | 121447.4913 | 268391.2645 | 32.55 | 27.7
114317 | 2021-04-30 12:32 | 33.3308 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.5525 | μmol/L | 14.4804 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.6 | 121467.0493 | 268392.8581 | 32.55 | 27.7
114327 | 2021-04-30 12:32 | 33.664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.4405 | μmol/L | 14.4804 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.605 | 121488.6638 | 268390.3284 | 32.55 | 27.7
114337 | 2021-04-30 12:33 | 33.998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 263.2288 | μmol/L | 14.4927 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 22.61 | 121521.101 | 268393.2438 | 32.55 | 27.7