## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114338 | 2021-04-30 12:40 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.5462 | μmol/L | 14.4787 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.153 | 139882.1265 | 269478.3226 | 33.25 | 75.7
114348 | 2021-04-30 12:40 | 0.33635 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 272.9399 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.134 | 139744.8132 | 269486.8932 | 33.25 | 75.7
114358 | 2021-04-30 12:40 | 0.66982 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.3158 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.118 | 139650.2746 | 269483.279 | 33.25 | 75.7
114367 | 2021-04-30 12:41 | 1.003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.5746 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.107 | 139541.9802 | 269473.3498 | 33.25 | 75.7
114378 | 2021-04-30 12:41 | 1.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 273.8573 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.095 | 139451.0849 | 269459.2699 | 33.25 | 75.7
114388 | 2021-04-30 12:41 | 1.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.1404 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.083 | 139361.975 | 269447.6003 | 33.25 | 75.7
114398 | 2021-04-30 12:42 | 2.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.3244 | μmol/L | 14.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.073 | 139281.4818 | 269449.5827 | 33.25 | 75.7
114407 | 2021-04-30 12:42 | 2.3365 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.6367 | μmol/L | 14.4848 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.062 | 139205.2196 | 269437.9796 | 33.25 | 75.7
114417 | 2021-04-30 12:42 | 2.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 274.7738 | μmol/L | 14.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.054 | 139134.7547 | 269425.8126 | 33.25 | 75.7
114428 | 2021-04-30 12:43 | 3.0029 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.0532 | μmol/L | 14.4971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.04 | 139074.1212 | 269420.2892 | 33.25 | 75.7
114438 | 2021-04-30 12:43 | 3.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.1006 | μmol/L | 14.4971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.038 | 139014.0267 | 269428.2294 | 33.25 | 75.7
114448 | 2021-04-30 12:43 | 3.6699 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.1906 | μmol/L | 14.5032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.032 | 138955.2306 | 269414.4207 | 33.25 | 75.7
114458 | 2021-04-30 12:44 | 4.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.3567 | μmol/L | 14.5032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.025 | 138912.7192 | 269422.6985 | 33.25 | 75.7
114468 | 2021-04-30 12:44 | 4.337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.4468 | μmol/L | 14.5093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.019 | 138863.5449 | 269415.2052 | 33.25 | 75.7
114477 | 2021-04-30 12:44 | 4.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.4894 | μmol/L | 14.5155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.015 | 138828.2486 | 269402.7375 | 33.25 | 75.7
114487 | 2021-04-30 12:45 | 5.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.5845 | μmol/L | 14.5155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.011 | 138790.7368 | 269405.8355 | 33.25 | 75.7
114498 | 2021-04-30 12:45 | 5.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6509 | μmol/L | 14.5216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.006 | 138746.3748 | 269388.7178 | 33.25 | 75.7
114508 | 2021-04-30 12:45 | 5.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7461 | μmol/L | 14.5216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 22.002 | 138716.442 | 269401.8091 | 33.25 | 75.7
114517 | 2021-04-30 12:46 | 6.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8077 | μmol/L | 14.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.995 | 138689.9257 | 269379.6226 | 33.25 | 75.7
114527 | 2021-04-30 12:46 | 6.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8315 | μmol/L | 14.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.994 | 138664.2244 | 269390.3957 | 33.25 | 75.7
114538 | 2021-04-30 12:46 | 6.6703 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8553 | μmol/L | 14.5338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.993 | 138621.9142 | 269378.3847 | 33.25 | 75.7
114548 | 2021-04-30 12:47 | 7.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9933 | μmol/L | 14.54 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.985 | 138604.5252 | 269373.2238 | 33.25 | 75.7
114558 | 2021-04-30 12:47 | 7.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0172 | μmol/L | 14.54 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.984 | 138575.3905 | 269375.6538 | 33.25 | 75.7
114568 | 2021-04-30 12:47 | 7.67 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0362 | μmol/L | 14.5461 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.981 | 138562.1062 | 269367.6502 | 33.25 | 75.7
114577 | 2021-04-30 12:48 | 8.003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1792 | μmol/L | 14.5461 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.975 | 138527.2248 | 269370.5539 | 33.25 | 75.7
114588 | 2021-04-30 12:48 | 8.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1218 | μmol/L | 14.5583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.973 | 138519.4572 | 269358.9705 | 33.25 | 75.7
114597 | 2021-04-30 12:48 | 8.67 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1457 | μmol/L | 14.5583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.972 | 138494.3475 | 269349.9455 | 33.25 | 75.7
114608 | 2021-04-30 12:49 | 9.0036 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1457 | μmol/L | 14.5583 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.972 | 138494.2734 | 269360.2738 | 33.25 | 75.7
114618 | 2021-04-30 12:49 | 9.3366 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1122 | μmol/L | 14.5706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.969 | 138469.822 | 269354.2166 | 33.25 | 75.7
114627 | 2021-04-30 12:49 | 9.6704 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.2363 | μmol/L | 14.5645 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.966 | 138454.6122 | 269341.0402 | 33.25 | 75.7
114638 | 2021-04-30 12:50 | 10.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1313 | μmol/L | 14.5767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.966 | 138443.5328 | 269346.64 | 33.25 | 75.7
114648 | 2021-04-30 12:50 | 10.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1838 | μmol/L | 14.5706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.966 | 138436.8611 | 269352.8172 | 33.25 | 75.7
114658 | 2021-04-30 12:50 | 10.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.074 | μmol/L | 14.589 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.964 | 138413.3641 | 269338.5508 | 33.25 | 75.7
114668 | 2021-04-30 12:51 | 11.0035 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1742 | μmol/L | 14.5828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.962 | 138406.5946 | 269333.6529 | 33.25 | 75.7
114678 | 2021-04-30 12:51 | 11.3365 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.2219 | μmol/L | 14.5828 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.96 | 138388.1783 | 269337.4869 | 33.25 | 75.7
114688 | 2021-04-30 12:51 | 11.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0693 | μmol/L | 14.5951 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.962 | 138381.2985 | 269334.8544 | 33.25 | 75.7
114697 | 2021-04-30 12:52 | 12.0036 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.241 | μmol/L | 14.589 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.957 | 138365.5355 | 269322.9303 | 33.25 | 75.7
114708 | 2021-04-30 12:52 | 12.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1122 | μmol/L | 14.6012 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.958 | 138366.0886 | 269320.5373 | 33.25 | 75.7
114718 | 2021-04-30 12:52 | 12.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0836 | μmol/L | 14.6073 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.957 | 138347.4007 | 269320.4217 | 33.25 | 75.7
114728 | 2021-04-30 12:53 | 13.0032 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1074 | μmol/L | 14.6073 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.956 | 138340.196 | 269310.5517 | 33.25 | 75.7
114738 | 2021-04-30 12:53 | 13.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1551 | μmol/L | 14.6073 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.954 | 138338.8957 | 269321.9659 | 33.25 | 75.7
114748 | 2021-04-30 12:53 | 13.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1981 | μmol/L | 14.6135 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.95 | 138323.4493 | 269297.9037 | 33.25 | 75.7
114757 | 2021-04-30 12:54 | 14.0032 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1456 | μmol/L | 14.6196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.95 | 138315.1839 | 269309.2941 | 33.25 | 75.7
114768 | 2021-04-30 12:54 | 14.337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1456 | μmol/L | 14.6196 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.95 | 138297.0406 | 269302.7187 | 33.25 | 75.7
114778 | 2021-04-30 12:54 | 14.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.117 | μmol/L | 14.6257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.949 | 138304.0606 | 269309.3134 | 33.25 | 75.7
114788 | 2021-04-30 12:55 | 15.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1362 | μmol/L | 14.6318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.946 | 138292.9929 | 269303.7757 | 33.25 | 75.7
114798 | 2021-04-30 12:55 | 15.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0599 | μmol/L | 14.638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.947 | 138281.5679 | 269287.9018 | 33.25 | 75.7
114808 | 2021-04-30 12:55 | 15.6699 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0552 | μmol/L | 14.6441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.945 | 138271.6867 | 269287.5344 | 33.25 | 75.7
114818 | 2021-04-30 12:56 | 16.0032 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.1553 | μmol/L | 14.638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.943 | 138256.0811 | 269286.5354 | 33.25 | 75.7
114828 | 2021-04-30 12:56 | 16.3369 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0266 | μmol/L | 14.6502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.944 | 138253.1021 | 269282.176 | 33.25 | 75.7
114838 | 2021-04-30 12:56 | 16.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0266 | μmol/L | 14.6502 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.944 | 138253.433 | 269293.8754 | 33.25 | 75.7
114848 | 2021-04-30 12:57 | 17.0036 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0219 | μmol/L | 14.6563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.942 | 138237.3776 | 269276.4558 | 33.25 | 75.7
114858 | 2021-04-30 12:57 | 17.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0219 | μmol/L | 14.6563 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.942 | 138236.0231 | 269277.8908 | 33.25 | 75.7
114868 | 2021-04-30 12:57 | 17.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9934 | μmol/L | 14.6625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.941 | 138227.35 | 269268.078 | 33.25 | 75.7
114877 | 2021-04-30 12:58 | 18.0032 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9934 | μmol/L | 14.6625 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.941 | 138218.5284 | 269266.1263 | 33.25 | 75.7
114888 | 2021-04-30 12:58 | 18.337 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9887 | μmol/L | 14.6686 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.939 | 138217.9845 | 269261.2228 | 33.25 | 75.7
114898 | 2021-04-30 12:58 | 18.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 276.0794 | μmol/L | 14.6747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.933 | 138210.6165 | 269270.8887 | 33.25 | 75.7
114908 | 2021-04-30 12:59 | 19.0036 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9078 | μmol/L | 14.6809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.938 | 138204.3725 | 269258.6129 | 33.25 | 75.7
114918 | 2021-04-30 12:59 | 19.3366 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9554 | μmol/L | 14.6809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.936 | 138189.1397 | 269243.5063 | 33.25 | 75.7
114928 | 2021-04-30 12:59 | 19.6698 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8793 | μmol/L | 14.687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.937 | 138188.0733 | 269254.6818 | 33.25 | 75.7
114938 | 2021-04-30 13:00 | 20.003 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8984 | μmol/L | 14.6931 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.934 | 138179.51 | 269249.7495 | 33.25 | 75.7
114947 | 2021-04-30 13:00 | 20.3363 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.9176 | μmol/L | 14.6992 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.931 | 138173.2516 | 269254.9636 | 33.25 | 75.7
114958 | 2021-04-30 13:00 | 20.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7984 | μmol/L | 14.6992 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.936 | 138170.897 | 269237.0816 | 33.25 | 75.7
114967 | 2021-04-30 13:01 | 21.0032 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8414 | μmol/L | 14.7054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.932 | 138161.0614 | 269244.1461 | 33.25 | 75.7
114978 | 2021-04-30 13:01 | 21.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8653 | μmol/L | 14.7054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.931 | 138166.2463 | 269231.5058 | 33.25 | 75.7
114987 | 2021-04-30 13:01 | 21.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8845 | μmol/L | 14.7115 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 138148.1079 | 269231.8699 | 33.25 | 75.7
114997 | 2021-04-30 13:02 | 22.0034 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.8083 | μmol/L | 14.7176 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 138144.7076 | 269224.1914 | 33.25 | 75.7
115008 | 2021-04-30 13:02 | 22.3368 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7798 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 138140.584 | 269231.8233 | 33.25 | 75.7
115018 | 2021-04-30 13:02 | 22.6703 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7798 | μmol/L | 14.7237 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 138135.0086 | 269224.7011 | 33.25 | 75.7
115028 | 2021-04-30 13:03 | 23.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6276 | μmol/L | 14.736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.93 | 138128.9575 | 269223.6294 | 33.25 | 75.7
115038 | 2021-04-30 13:03 | 23.3364 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7752 | μmol/L | 14.7299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.926 | 138118.6004 | 269218.1186 | 33.25 | 75.7
115048 | 2021-04-30 13:03 | 23.6701 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7275 | μmol/L | 14.7299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.928 | 138110.2211 | 269222.0467 | 33.25 | 75.7
115058 | 2021-04-30 13:04 | 24.0033 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6945 | μmol/L | 14.7421 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.925 | 138109.0673 | 269213.1722 | 33.25 | 75.7
115067 | 2021-04-30 13:04 | 24.3366 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6422 | μmol/L | 14.7482 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.925 | 138109.077 | 269217.9178 | 33.25 | 75.7
115077 | 2021-04-30 13:04 | 24.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6422 | μmol/L | 14.7482 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.925 | 138095.9189 | 269213.1162 | 33.25 | 75.7
115087 | 2021-04-30 13:05 | 25.0035 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6376 | μmol/L | 14.7544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.923 | 138091.3525 | 269210.3833 | 33.25 | 75.7
115098 | 2021-04-30 13:05 | 25.3367 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.7091 | μmol/L | 14.7544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.92 | 138082.507 | 269205.604 | 33.25 | 75.7
115108 | 2021-04-30 13:05 | 25.6697 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.5569 | μmol/L | 14.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.922 | 138082.1338 | 269200.1795 | 33.25 | 75.7
115118 | 2021-04-30 13:06 | 26.0031 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.5569 | μmol/L | 14.7666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.922 | 138076.2067 | 269206.4842 | 33.25 | 75.7
115128 | 2021-04-30 13:06 | 26.3363 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.6238 | μmol/L | 14.7727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.917 | 138075.0058 | 269200.9232 | 33.25 | 75.7
115138 | 2021-04-30 13:06 | 26.6702 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 275.5761 | μmol/L | 14.7727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.919 | 138067.9193 | 269198.398 | 33.25 | 75.7