## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-04-30 13:07

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
114339 | 2021-04-30 12:40 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 259.9622 | μmol/L | 14.4777 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.69 | 126684.4169 | 292663.42 | 59.9307 | 38.1
114349 | 2021-04-30 12:40 | 0.32676 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.4408 | μmol/L | 14.4655 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.673 | 126583.7709 | 292654.3102 | 59.9307 | 38.1
114359 | 2021-04-30 12:40 | 0.66007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.6692 | μmol/L | 14.4594 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.665 | 126497.0225 | 292644.4116 | 59.9307 | 38.1
114369 | 2021-04-30 12:41 | 0.99329 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 260.8933 | μmol/L | 14.4594 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.655 | 126428.3925 | 292646.5546 | 59.9307 | 38.1
114379 | 2021-04-30 12:41 | 1.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.0727 | μmol/L | 14.4594 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.647 | 126362.7086 | 292660.1761 | 59.9307 | 38.1
114389 | 2021-04-30 12:41 | 1.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.2073 | μmol/L | 14.4594 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.641 | 126327.1841 | 292640.9352 | 59.9307 | 38.1
114399 | 2021-04-30 12:42 | 1.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.315 | μmol/L | 14.4655 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.634 | 126278.8115 | 292630.2843 | 59.9307 | 38.1
114409 | 2021-04-30 12:42 | 2.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.4048 | μmol/L | 14.4655 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.63 | 126237.1226 | 292616.0416 | 59.9307 | 38.1
114419 | 2021-04-30 12:42 | 2.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.5622 | μmol/L | 14.4655 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.623 | 126204.2696 | 292614.0332 | 59.9307 | 38.1
114429 | 2021-04-30 12:43 | 2.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.5622 | μmol/L | 14.4655 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.623 | 126176.4763 | 292606.0538 | 59.9307 | 38.1
114439 | 2021-04-30 12:43 | 3.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.7601 | μmol/L | 14.4716 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.612 | 126138.4163 | 292604.3229 | 59.9307 | 38.1
114449 | 2021-04-30 12:43 | 3.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.733 | μmol/L | 14.4777 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.611 | 126103.8036 | 292604.4149 | 59.9307 | 38.1
114459 | 2021-04-30 12:44 | 3.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.8005 | μmol/L | 14.4777 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.608 | 126066.0342 | 292592.5755 | 59.9307 | 38.1
114469 | 2021-04-30 12:44 | 4.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.7505 | μmol/L | 14.4899 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.606 | 126046.8717 | 292582.6121 | 59.9307 | 38.1
114479 | 2021-04-30 12:44 | 4.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.9716 | μmol/L | 14.4899 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.596 | 126016.5318 | 292579.2218 | 59.9307 | 38.1
114489 | 2021-04-30 12:45 | 4.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0121 | μmol/L | 14.496 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.592 | 126002.5358 | 292575.9081 | 59.9307 | 38.1
114499 | 2021-04-30 12:45 | 5.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0346 | μmol/L | 14.496 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.591 | 125969.7369 | 292567.0786 | 59.9307 | 38.1
114509 | 2021-04-30 12:45 | 5.6595 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0526 | μmol/L | 14.5021 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.588 | 125949.8557 | 292575.7893 | 59.9307 | 38.1
114519 | 2021-04-30 12:46 | 5.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1428 | μmol/L | 14.5021 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.584 | 125929.5886 | 292557.5642 | 59.9307 | 38.1
114529 | 2021-04-30 12:46 | 6.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1157 | μmol/L | 14.5082 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.583 | 125902.0689 | 292560.5794 | 59.9307 | 38.1
114539 | 2021-04-30 12:46 | 6.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1111 | μmol/L | 14.5143 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.581 | 125891.2057 | 292551.9216 | 59.9307 | 38.1
114549 | 2021-04-30 12:47 | 6.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1291 | μmol/L | 14.5204 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.578 | 125873.8725 | 292536.4038 | 59.9307 | 38.1
114559 | 2021-04-30 12:47 | 7.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1697 | μmol/L | 14.5265 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.574 | 125851.1343 | 292539.2336 | 59.9307 | 38.1
114569 | 2021-04-30 12:47 | 7.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2148 | μmol/L | 14.5265 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.572 | 125836.1888 | 292537.5897 | 59.9307 | 38.1
114579 | 2021-04-30 12:48 | 7.9935 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2103 | μmol/L | 14.5326 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.57 | 125824.7197 | 292535.4776 | 59.9307 | 38.1
114589 | 2021-04-30 12:48 | 8.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2058 | μmol/L | 14.5387 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.568 | 125806.2994 | 292546.8554 | 59.9307 | 38.1
114599 | 2021-04-30 12:48 | 8.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1561 | μmol/L | 14.5448 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.568 | 125799.6986 | 292538.4591 | 59.9307 | 38.1
114609 | 2021-04-30 12:49 | 8.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2193 | μmol/L | 14.5509 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.563 | 125786.3336 | 292523.8762 | 59.9307 | 38.1
114619 | 2021-04-30 12:49 | 9.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2419 | μmol/L | 14.5509 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.562 | 125766.1671 | 292524.4631 | 59.9307 | 38.1
114629 | 2021-04-30 12:49 | 9.6599 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2374 | μmol/L | 14.557 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.56 | 125758.3369 | 292520.7273 | 59.9307 | 38.1
114639 | 2021-04-30 12:50 | 9.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2825 | μmol/L | 14.557 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.558 | 125751.502 | 292524.9367 | 59.9307 | 38.1
114649 | 2021-04-30 12:50 | 10.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.278 | μmol/L | 14.5631 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.556 | 125742.276 | 292518.8252 | 59.9307 | 38.1
114659 | 2021-04-30 12:50 | 10.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2736 | μmol/L | 14.5692 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.554 | 125717.0408 | 292497.9742 | 59.9307 | 38.1
114669 | 2021-04-30 12:51 | 10.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.251 | μmol/L | 14.5692 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.555 | 125710.2673 | 292495.7838 | 59.9307 | 38.1
114679 | 2021-04-30 12:51 | 11.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.3142 | μmol/L | 14.5753 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.55 | 125704.06 | 292500.5745 | 59.9307 | 38.1
114689 | 2021-04-30 12:51 | 11.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2691 | μmol/L | 14.5753 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.552 | 125685.7962 | 292496.203 | 59.9307 | 38.1
114699 | 2021-04-30 12:52 | 11.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2375 | μmol/L | 14.5875 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.549 | 125679.8052 | 292489.0745 | 59.9307 | 38.1
114709 | 2021-04-30 12:52 | 12.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2105 | μmol/L | 14.5936 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.548 | 125678.7329 | 292483.6261 | 59.9307 | 38.1
114719 | 2021-04-30 12:52 | 12.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.3053 | μmol/L | 14.5875 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.546 | 125666.6453 | 292479.1344 | 59.9307 | 38.1
114729 | 2021-04-30 12:53 | 12.9929 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.3279 | μmol/L | 14.5875 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.545 | 125658.7107 | 292474.9776 | 59.9307 | 38.1
114739 | 2021-04-30 12:53 | 13.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2782 | μmol/L | 14.5936 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.545 | 125642.7218 | 292463.7226 | 59.9307 | 38.1
114749 | 2021-04-30 12:53 | 13.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2512 | μmol/L | 14.5997 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.544 | 125631.8469 | 292458.5404 | 59.9307 | 38.1
114759 | 2021-04-30 12:54 | 13.9932 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1971 | μmol/L | 14.6119 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.542 | 125623.6013 | 292452.6498 | 59.9307 | 38.1
114769 | 2021-04-30 12:54 | 14.3263 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2241 | μmol/L | 14.6058 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.543 | 125616.6725 | 292459.0142 | 59.9307 | 38.1
114779 | 2021-04-30 12:54 | 14.6602 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1971 | μmol/L | 14.6119 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.542 | 125608.4915 | 292463.3923 | 59.9307 | 38.1
114789 | 2021-04-30 12:55 | 14.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2152 | μmol/L | 14.618 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.539 | 125594.0734 | 292463.926 | 59.9307 | 38.1
114799 | 2021-04-30 12:55 | 15.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1657 | μmol/L | 14.6241 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.539 | 125593.9386 | 292447.8343 | 59.9307 | 38.1
114809 | 2021-04-30 12:55 | 15.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1116 | μmol/L | 14.6363 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.537 | 125586.7378 | 292447.9943 | 59.9307 | 38.1
114819 | 2021-04-30 12:56 | 15.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0891 | μmol/L | 14.6363 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.538 | 125576.1735 | 292437.1814 | 59.9307 | 38.1
114829 | 2021-04-30 12:56 | 16.3266 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1568 | μmol/L | 14.6363 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.535 | 125569.2779 | 292445.7132 | 59.9307 | 38.1
114839 | 2021-04-30 12:56 | 16.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1975 | μmol/L | 14.6424 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.531 | 125558.5104 | 292436.8568 | 59.9307 | 38.1
114849 | 2021-04-30 12:57 | 16.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2201 | μmol/L | 14.6424 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.53 | 125553.9943 | 292429.3473 | 59.9307 | 38.1
114859 | 2021-04-30 12:57 | 17.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1931 | μmol/L | 14.6485 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.529 | 125541.81 | 292421.7742 | 59.9307 | 38.1
114869 | 2021-04-30 12:57 | 17.6598 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1931 | μmol/L | 14.6485 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.529 | 125542.5036 | 292431.2177 | 59.9307 | 38.1
114879 | 2021-04-30 12:58 | 17.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2383 | μmol/L | 14.6485 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.527 | 125517.8148 | 292394.8195 | 59.9307 | 38.1
114889 | 2021-04-30 12:58 | 18.3265 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1122 | μmol/L | 14.6668 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.526 | 125524.4786 | 292422.2493 | 59.9307 | 38.1
114899 | 2021-04-30 12:58 | 18.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1122 | μmol/L | 14.6668 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.526 | 125513.5702 | 292422.5002 | 59.9307 | 38.1
114909 | 2021-04-30 12:59 | 18.993 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.067 | μmol/L | 14.6668 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.528 | 125504.075 | 292418.7752 | 59.9307 | 38.1
114919 | 2021-04-30 12:59 | 19.3268 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1303 | μmol/L | 14.6729 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.523 | 125489.7977 | 292404.18 | 59.9307 | 38.1
114929 | 2021-04-30 12:59 | 19.66 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1034 | μmol/L | 14.679 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.522 | 125477.8777 | 292396.0656 | 59.9307 | 38.1
114939 | 2021-04-30 13:00 | 19.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.2206 | μmol/L | 14.679 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.517 | 125476.1709 | 292396.8048 | 59.9307 | 38.1
114949 | 2021-04-30 13:00 | 20.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1666 | μmol/L | 14.6912 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.515 | 125472.1396 | 292390.6802 | 59.9307 | 38.1
114959 | 2021-04-30 13:00 | 20.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0989 | μmol/L | 14.6912 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 22.518 | 125464.0077 | 292397.1039 | 59.9307 | 38.1
114969 | 2021-04-30 13:01 | 20.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1398 | μmol/L | 14.6912 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.516 | 125448.4821 | 292396.7424 | 59.9307 | 38.1
114979 | 2021-04-30 13:01 | 21.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0859 | μmol/L | 14.7034 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.514 | 125438.0592 | 292394.9509 | 59.9307 | 38.1
114989 | 2021-04-30 13:01 | 21.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0859 | μmol/L | 14.7034 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.514 | 125444.2394 | 292405.1947 | 59.9307 | 38.1
114999 | 2021-04-30 13:02 | 21.9934 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1085 | μmol/L | 14.7034 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.513 | 125427.6503 | 292380.2694 | 59.9307 | 38.1
115009 | 2021-04-30 13:02 | 22.3267 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1267 | μmol/L | 14.7095 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.51 | 125425.2475 | 292385.314 | 59.9307 | 38.1
115019 | 2021-04-30 13:02 | 22.6597 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0772 | μmol/L | 14.7156 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.51 | 125408.7725 | 292388.3404 | 59.9307 | 38.1
115029 | 2021-04-30 13:03 | 22.9927 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0728 | μmol/L | 14.7217 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.508 | 125410.0717 | 292379.8482 | 59.9307 | 38.1
115039 | 2021-04-30 13:03 | 23.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0954 | μmol/L | 14.7217 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.507 | 125394.8202 | 292383.4871 | 59.9307 | 38.1
115049 | 2021-04-30 13:03 | 23.6594 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.9782 | μmol/L | 14.7278 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.51 | 125383.9113 | 292388.4016 | 59.9307 | 38.1
115059 | 2021-04-30 13:04 | 23.9928 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1362 | μmol/L | 14.7278 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.503 | 125375.9553 | 292383.0612 | 59.9307 | 38.1
115069 | 2021-04-30 13:04 | 24.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0598 | μmol/L | 14.74 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.502 | 125372.351 | 292377.6828 | 59.9307 | 38.1
115079 | 2021-04-30 13:04 | 24.6601 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.1319 | μmol/L | 14.7339 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.501 | 125364.6275 | 292374.8206 | 59.9307 | 38.1
115089 | 2021-04-30 13:05 | 24.9931 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.0555 | μmol/L | 14.7461 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.5 | 125355.8995 | 292364.7983 | 59.9307 | 38.1
115099 | 2021-04-30 13:05 | 25.3261 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.006 | μmol/L | 14.7522 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.5 | 125354.1415 | 292360.1976 | 59.9307 | 38.1
115109 | 2021-04-30 13:05 | 25.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.9566 | μmol/L | 14.7583 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.5 | 125351.849 | 292365.3644 | 59.9307 | 38.1
115119 | 2021-04-30 13:06 | 25.9933 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.9566 | μmol/L | 14.7583 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.5 | 125344.3769 | 292355.6852 | 59.9307 | 38.1
115129 | 2021-04-30 13:06 | 26.3264 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 261.9071 | μmol/L | 14.7644 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.5 | 125341.2309 | 292355.7527 | 59.9307 | 38.1
115139 | 2021-04-30 13:06 | 26.6596 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 262.02 | μmol/L | 14.7644 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 22.495 | 125326.9558 | 292364.0962 | 59.9307 | 38.1