## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
118628 | 2021-05-03 09:56 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.0534 | μmol/L | 29.0877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.343 | 139539.463 | 274621.0781 | 33.25 | 75.7 | #N/A
118638 | 2021-05-03 09:56 | 0.32927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.0736 | μmol/L | 29.057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.352 | 139588.5491 | 274617.8953 | 33.25 | 75.7 | #N/A
118648 | 2021-05-03 09:57 | 0.66265 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.7906 | μmol/L | 29.0877 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 139592.185 | 274591.2168 | 33.25 | 75.7 | #N/A
118658 | 2021-05-03 09:57 | 0.99662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.8484 | μmol/L | 29.057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 139616.2069 | 274560.2388 | 33.25 | 75.7 | #N/A
118668 | 2021-05-03 09:57 | 1.3298 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3782 | μmol/L | 29.0939 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.377 | 139695.2217 | 274534.3203 | 33.25 | 75.7 | #N/A
118678 | 2021-05-03 09:58 | 1.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.1708 | μmol/L | 29.1246 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.378 | 139708.8818 | 274510.2538 | 33.25 | 75.7 | #N/A
118688 | 2021-05-03 09:58 | 1.9966 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.0393 | μmol/L | 29.1369 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 139712.0646 | 274484.5896 | 33.25 | 75.7 | #N/A
118698 | 2021-05-03 09:58 | 2.3296 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.7572 | μmol/L | 29.1738 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 139705.4175 | 274461.5392 | 33.25 | 75.7 | #N/A
118708 | 2021-05-03 09:59 | 2.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.9083 | μmol/L | 29.1431 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.386 | 139699.4902 | 274436.442 | 33.25 | 75.7 | #N/A
118718 | 2021-05-03 09:59 | 2.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.0027 | μmol/L | 29.1246 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.387 | 139720.5855 | 274406.8664 | 33.25 | 75.7 | #N/A
118728 | 2021-05-03 09:59 | 3.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.9844 | μmol/L | 29.1185 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.39 | 139684.8847 | 274376.2812 | 33.25 | 75.7 | #N/A
118738 | 2021-05-03 10:00 | 3.6632 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.9079 | μmol/L | 29.1492 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 139638.0432 | 274333.6931 | 33.25 | 75.7 | #N/A
118748 | 2021-05-03 10:00 | 3.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8128 | μmol/L | 29.18 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.379 | 139591.4553 | 274311.7606 | 33.25 | 75.7 | #N/A
118758 | 2021-05-03 10:00 | 4.3297 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3997 | μmol/L | 29.2292 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.385 | 139575.7663 | 274277.755 | 33.25 | 75.7 | #N/A
118768 | 2021-05-03 10:01 | 4.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4936 | μmol/L | 29.2169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 139567.1535 | 274239.9521 | 33.25 | 75.7 | #N/A
118778 | 2021-05-03 10:01 | 4.9965 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.5875 | μmol/L | 29.2046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.383 | 139540.813 | 274216.0108 | 33.25 | 75.7 | #N/A
118788 | 2021-05-03 10:01 | 5.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3629 | μmol/L | 29.2231 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.389 | 139534.6415 | 274181.6328 | 33.25 | 75.7 | #N/A
118798 | 2021-05-03 10:02 | 5.6632 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4543 | μmol/L | 29.2477 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.376 | 139453.9098 | 274155.0691 | 33.25 | 75.7 | #N/A
118808 | 2021-05-03 10:02 | 5.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1173 | μmol/L | 29.2784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 139463.8409 | 274133.8961 | 33.25 | 75.7 | #N/A
118818 | 2021-05-03 10:02 | 6.33 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0979 | μmol/L | 29.2907 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 139419.032 | 274093.7419 | 33.25 | 75.7 | #N/A
118828 | 2021-05-03 10:03 | 6.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9846 | μmol/L | 29.3153 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.379 | 139364.7942 | 274057.5155 | 33.25 | 75.7 | #N/A
118838 | 2021-05-03 10:03 | 6.9967 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9842 | μmol/L | 29.3215 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.377 | 139324.6641 | 274026.4886 | 33.25 | 75.7 | #N/A
118848 | 2021-05-03 10:03 | 7.3297 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0014 | μmol/L | 29.3399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.37 | 139286.5087 | 273995.1559 | 33.25 | 75.7 | #N/A
118858 | 2021-05-03 10:04 | 7.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9837 | μmol/L | 29.3276 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.375 | 139279.4203 | 273966.0408 | 33.25 | 75.7 | #N/A
118868 | 2021-05-03 10:04 | 7.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.264 | μmol/L | 29.3092 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.366 | 139187.3061 | 273935.3826 | 33.25 | 75.7 | #N/A
118878 | 2021-05-03 10:04 | 8.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3389 | μmol/L | 29.303 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 139165.1311 | 273908.2951 | 33.25 | 75.7 | #N/A
118888 | 2021-05-03 10:05 | 8.6629 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0191 | μmol/L | 29.3523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.365 | 139116.6236 | 273878.8368 | 33.25 | 75.7 | #N/A
118898 | 2021-05-03 10:05 | 8.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0178 | μmol/L | 29.3707 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 139063.9732 | 273846.8209 | 33.25 | 75.7 | #N/A
118908 | 2021-05-03 10:05 | 9.3298 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.1493 | μmol/L | 29.3523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.358 | 139049.9755 | 273817.1005 | 33.25 | 75.7 | #N/A
118918 | 2021-05-03 10:06 | 9.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.924 | μmol/L | 29.383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.36 | 139022.2422 | 273781.6697 | 33.25 | 75.7 | #N/A
118928 | 2021-05-03 10:06 | 9.9965 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0913 | μmol/L | 29.383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.351 | 138942.8744 | 273744.9302 | 33.25 | 75.7 | #N/A
118938 | 2021-05-03 10:06 | 10.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8655 | μmol/L | 29.4199 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.351 | 138925.7091 | 273719.372 | 33.25 | 75.7 | #N/A
118948 | 2021-05-03 10:07 | 10.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7912 | μmol/L | 29.4199 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.355 | 138922.4499 | 273696.7436 | 33.25 | 75.7 | #N/A
118958 | 2021-05-03 10:07 | 10.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6598 | μmol/L | 29.4384 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.356 | 138887.3643 | 273659.9833 | 33.25 | 75.7 | #N/A
118968 | 2021-05-03 10:07 | 11.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9213 | μmol/L | 29.4199 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.348 | 138810.5329 | 273625.1557 | 33.25 | 75.7 | #N/A
118978 | 2021-05-03 10:08 | 11.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6417 | μmol/L | 29.4322 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 138850.3999 | 273592.2631 | 33.25 | 75.7 | #N/A
118988 | 2021-05-03 10:08 | 11.9965 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8823 | μmol/L | 29.4445 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.342 | 138739.6789 | 273560.6096 | 33.25 | 75.7 | #N/A
118998 | 2021-05-03 10:08 | 12.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8265 | μmol/L | 29.4445 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.345 | 138717.7255 | 273539.5059 | 33.25 | 75.7 | #N/A
119008 | 2021-05-03 10:09 | 12.6632 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6198 | μmol/L | 29.4753 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.346 | 138696.6824 | 273511.6721 | 33.25 | 75.7 | #N/A
119018 | 2021-05-03 10:09 | 12.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6374 | μmol/L | 29.4876 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.341 | 138645.918 | 273486.1004 | 33.25 | 75.7 | #N/A
119028 | 2021-05-03 10:09 | 13.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7313 | μmol/L | 29.4753 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.34 | 138627.6883 | 273450.8415 | 33.25 | 75.7 | #N/A
119038 | 2021-05-03 10:10 | 13.6632 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8237 | μmol/L | 29.4814 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.333 | 138534.1771 | 273414.826 | 33.25 | 75.7 | #N/A
119048 | 2021-05-03 10:10 | 13.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8228 | μmol/L | 29.4938 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.329 | 138488.8256 | 273398.8446 | 33.25 | 75.7 | #N/A
119058 | 2021-05-03 10:10 | 14.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9548 | μmol/L | 29.4691 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.33 | 138489.2733 | 273355.837 | 33.25 | 75.7 | #N/A
119068 | 2021-05-03 10:11 | 14.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5774 | μmol/L | 29.543 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.326 | 138442.1783 | 273328.8707 | 33.25 | 75.7 | #N/A
119078 | 2021-05-03 10:11 | 14.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6526 | μmol/L | 29.5307 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.326 | 138388.7032 | 273301.696 | 33.25 | 75.7 | #N/A
119088 | 2021-05-03 10:11 | 15.3299 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.027 | μmol/L | 29.4999 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.316 | 138315.8346 | 273276.6909 | 33.25 | 75.7 | #N/A
119098 | 2021-05-03 10:12 | 15.6631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9883 | μmol/L | 29.5184 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.312 | 138282.9873 | 273261.4836 | 33.25 | 75.7 | #N/A
119108 | 2021-05-03 10:12 | 15.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8218 | μmol/L | 29.5061 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.325 | 138303.1559 | 273223.0649 | 33.25 | 75.7 | #N/A
119118 | 2021-05-03 10:12 | 16.3299 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.594 | μmol/L | 29.5676 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.317 | 138240.3723 | 273183.8112 | 33.25 | 75.7 | #N/A
119128 | 2021-05-03 10:13 | 16.6629 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6874 | μmol/L | 29.5614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.314 | 138207.9052 | 273166.6159 | 33.25 | 75.7 | #N/A
119138 | 2021-05-03 10:13 | 16.9967 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9311 | μmol/L | 29.5368 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.309 | 138154.8708 | 273145.294 | 33.25 | 75.7 | #N/A
119148 | 2021-05-03 10:13 | 17.3298 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8357 | μmol/L | 29.5676 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.304 | 138103.354 | 273129.7873 | 33.25 | 75.7 | #N/A
119158 | 2021-05-03 10:14 | 17.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6673 | μmol/L | 29.5799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.309 | 138099.9065 | 273086.1163 | 33.25 | 75.7 | #N/A
119168 | 2021-05-03 10:14 | 17.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8538 | μmol/L | 29.5737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.301 | 138031.2492 | 273071.4503 | 33.25 | 75.7 | #N/A
119178 | 2021-05-03 10:14 | 18.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6845 | μmol/L | 29.5983 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.302 | 138012.3571 | 273037.4042 | 33.25 | 75.7 | #N/A
119188 | 2021-05-03 10:15 | 18.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0619 | μmol/L | 29.5307 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.304 | 137980.0571 | 272994.0187 | 33.25 | 75.7 | #N/A
119198 | 2021-05-03 10:15 | 18.9964 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7231 | μmol/L | 29.5799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.306 | 137973.8837 | 272985.1642 | 33.25 | 75.7 | #N/A
119208 | 2021-05-03 10:15 | 19.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6091 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.302 | 137947.496 | 272960.4251 | 33.25 | 75.7 | #N/A
119218 | 2021-05-03 10:16 | 19.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6277 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.301 | 137899.8745 | 272923.2912 | 33.25 | 75.7 | #N/A
119228 | 2021-05-03 10:16 | 19.9965 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4961 | μmol/L | 29.6291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.302 | 137883.6017 | 272891.5176 | 33.25 | 75.7 | #N/A
119238 | 2021-05-03 10:16 | 20.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0018 | μmol/L | 29.586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.289 | 137802.7553 | 272867.6949 | 33.25 | 75.7 | #N/A
119248 | 2021-05-03 10:17 | 20.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.178 | μmol/L | 29.6599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.309 | 137888.8285 | 272839.8457 | 33.25 | 75.7 | #N/A
119258 | 2021-05-03 10:17 | 20.9963 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4951 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.298 | 137797.586 | 272816.5316 | 33.25 | 75.7 | #N/A
119268 | 2021-05-03 10:17 | 21.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7569 | μmol/L | 29.623 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.29 | 137732.9571 | 272781.2351 | 33.25 | 75.7 | #N/A
119278 | 2021-05-03 10:18 | 21.663 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.682 | μmol/L | 29.6291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.292 | 137714.0069 | 272772.7965 | 33.25 | 75.7 | #N/A
119288 | 2021-05-03 10:18 | 21.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2352 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.312 | 137824.3601 | 272745.9447 | 33.25 | 75.7 | #N/A
119298 | 2021-05-03 10:18 | 22.3299 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4002 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.295 | 137690.6198 | 272727.1598 | 33.25 | 75.7 | #N/A
119308 | 2021-05-03 10:19 | 22.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3073 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.3 | 137688.9262 | 272685.379 | 33.25 | 75.7 | #N/A
119318 | 2021-05-03 10:19 | 22.9966 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.213 | μmol/L | 29.6845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.299 | 137689.3998 | 272665.7244 | 33.25 | 75.7 | #N/A
119328 | 2021-05-03 10:19 | 23.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2697 | μmol/L | 29.6722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.3 | 137651.8969 | 272639.0606 | 33.25 | 75.7 | #N/A
119338 | 2021-05-03 10:20 | 23.6633 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.588 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.293 | 137597.213 | 272618.4893 | 33.25 | 75.7 | #N/A
119348 | 2021-05-03 10:20 | 23.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4765 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.299 | 137620.7604 | 272588.9194 | 33.25 | 75.7 | #N/A
119358 | 2021-05-03 10:20 | 24.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5111 | μmol/L | 29.6722 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 137525.6653 | 272557.2608 | 33.25 | 75.7 | #N/A
119368 | 2021-05-03 10:21 | 24.6631 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3424 | μmol/L | 29.6906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.29 | 137508.0508 | 272545.8658 | 33.25 | 75.7 | #N/A
119378 | 2021-05-03 10:21 | 24.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2671 | μmol/L | 29.7029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.29 | 137510.9122 | 272514.2078 | 33.25 | 75.7 | #N/A
119388 | 2021-05-03 10:21 | 25.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6237 | μmol/L | 29.6599 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.285 | 137453.012 | 272501.8335 | 33.25 | 75.7 | #N/A
119398 | 2021-05-03 10:22 | 25.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8127 | μmol/L | 29.623 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 137428.1428 | 272479.3905 | 33.25 | 75.7 | #N/A
119408 | 2021-05-03 10:22 | 25.9965 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.5488 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 137164.0311 | 272450.8244 | 33.25 | 75.7 | #N/A
119418 | 2021-05-03 10:22 | 26.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6991 | μmol/L | 29.6476 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.285 | 136042.0787 | 272430.2543 | 33.25 | 75.7 | #N/A