## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
118629 | 2021-05-03 09:56 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6625 | μmol/L | 29.2079 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.921 | 122090.9958 | 298087.916 | 59.9307 | 38.1 | #N/A
118639 | 2021-05-03 09:56 | 0.34036 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8046 | μmol/L | 29.1957 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 122080.912 | 298063.6561 | 59.9307 | 38.1 | #N/A
118649 | 2021-05-03 09:57 | 0.67361 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6612 | μmol/L | 29.2202 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 122053.441 | 298060.0334 | 59.9307 | 38.1 | #N/A
118659 | 2021-05-03 09:57 | 1.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.607 | μmol/L | 29.2324 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.916 | 122009.9804 | 298024.2361 | 59.9307 | 38.1 | #N/A
118669 | 2021-05-03 09:57 | 1.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.6077 | μmol/L | 29.2263 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.918 | 122000.782 | 298017.7888 | 59.9307 | 38.1 | #N/A
118679 | 2021-05-03 09:58 | 1.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.4278 | μmol/L | 29.2631 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.916 | 121967.9266 | 298002.1507 | 59.9307 | 38.1 | #N/A
118689 | 2021-05-03 09:58 | 2.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.4059 | μmol/L | 29.2998 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.905 | 121915.1621 | 297972.4908 | 59.9307 | 38.1 | #N/A
118699 | 2021-05-03 09:58 | 2.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3898 | μmol/L | 29.2876 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.91 | 121895.7127 | 297937.6417 | 59.9307 | 38.1 | #N/A
118709 | 2021-05-03 09:59 | 2.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.3547 | μmol/L | 29.2876 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.912 | 121905.2621 | 297917.1713 | 59.9307 | 38.1 | #N/A
118719 | 2021-05-03 09:59 | 3.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9995 | μmol/L | 29.3243 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.92 | 121920.8795 | 297882.763 | 59.9307 | 38.1 | #N/A
118729 | 2021-05-03 09:59 | 3.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1427 | μmol/L | 29.2998 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.92 | 121908.1289 | 297858.2947 | 59.9307 | 38.1 | #N/A
118739 | 2021-05-03 10:00 | 3.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0345 | μmol/L | 29.3243 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.918 | 121880.6213 | 297837.2983 | 59.9307 | 38.1 | #N/A
118749 | 2021-05-03 10:00 | 4.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.8366 | μmol/L | 29.3672 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.915 | 121849.1899 | 297804.0836 | 59.9307 | 38.1 | #N/A
118759 | 2021-05-03 10:00 | 4.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5528 | μmol/L | 29.3978 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.921 | 121853.6 | 297768.7863 | 59.9307 | 38.1 | #N/A
118769 | 2021-05-03 10:01 | 4.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.1602 | μmol/L | 29.2998 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.919 | 121835.6401 | 297737.4689 | 59.9307 | 38.1 | #N/A
118779 | 2021-05-03 10:01 | 5.0074 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6418 | μmol/L | 29.3856 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.92 | 121821.4527 | 297716.5989 | 59.9307 | 38.1 | #N/A
118789 | 2021-05-03 10:01 | 5.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5179 | μmol/L | 29.3978 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.923 | 121807.0623 | 297675.2959 | 59.9307 | 38.1 | #N/A
118799 | 2021-05-03 10:02 | 5.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0877 | μmol/L | 29.4836 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.919 | 121779.6031 | 297654.7578 | 59.9307 | 38.1 | #N/A
118809 | 2021-05-03 10:02 | 6.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0512 | μmol/L | 29.4958 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 121741.6576 | 297623.0934 | 59.9307 | 38.1 | #N/A
118819 | 2021-05-03 10:02 | 6.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4774 | μmol/L | 29.4407 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.911 | 121693.97 | 297599.5402 | 59.9307 | 38.1 | #N/A
118829 | 2021-05-03 10:03 | 6.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2448 | μmol/L | 29.4836 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.91 | 121668.9794 | 297563.291 | 59.9307 | 38.1 | #N/A
118839 | 2021-05-03 10:03 | 7.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4743 | μmol/L | 29.4652 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.903 | 121634.8869 | 297517.5329 | 59.9307 | 38.1 | #N/A
118849 | 2021-05-03 10:03 | 7.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0638 | μmol/L | 29.5326 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.904 | 121613.6284 | 297492.1111 | 59.9307 | 38.1 | #N/A
118859 | 2021-05-03 10:04 | 7.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1202 | μmol/L | 29.502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.911 | 121614.1947 | 297465.4555 | 59.9307 | 38.1 | #N/A
118869 | 2021-05-03 10:04 | 8.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7276 | μmol/L | 29.5694 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.911 | 121607.7267 | 297435.2998 | 59.9307 | 38.1 | #N/A
118879 | 2021-05-03 10:04 | 8.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.5676 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.912 | 121571.069 | 297397.9002 | 59.9307 | 38.1 | #N/A
118889 | 2021-05-03 10:05 | 8.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3894 | μmol/L | 29.6245 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.912 | 121564.2247 | 297367.3923 | 59.9307 | 38.1 | #N/A
118899 | 2021-05-03 10:05 | 9.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6911 | μmol/L | 29.5816 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.909 | 121533.2406 | 297335.9175 | 59.9307 | 38.1 | #N/A
118909 | 2021-05-03 10:05 | 9.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.352 | μmol/L | 29.6429 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.908 | 121482.7629 | 297297.6395 | 59.9307 | 38.1 | #N/A
118919 | 2021-05-03 10:06 | 9.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.193 | μmol/L | 29.6613 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.911 | 121446.2694 | 297272.1373 | 59.9307 | 38.1 | #N/A
118929 | 2021-05-03 10:06 | 10.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2086 | μmol/L | 29.6735 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.906 | 121412.8465 | 297234.9885 | 59.9307 | 38.1 | #N/A
118939 | 2021-05-03 10:06 | 10.3409 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1374 | μmol/L | 29.6858 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.906 | 121392.2595 | 297195.9767 | 59.9307 | 38.1 | #N/A
118949 | 2021-05-03 10:07 | 10.6738 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2277 | μmol/L | 29.6613 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.909 | 121375.4364 | 297174.1767 | 59.9307 | 38.1 | #N/A
118959 | 2021-05-03 10:07 | 11.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9967 | μmol/L | 29.698 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.91 | 121369.2394 | 297150.2622 | 59.9307 | 38.1 | #N/A
118969 | 2021-05-03 10:07 | 11.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0167 | μmol/L | 29.6796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.915 | 121354.1459 | 297109.9508 | 59.9307 | 38.1 | #N/A
118979 | 2021-05-03 10:08 | 11.6741 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0523 | μmol/L | 29.6735 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.915 | 121347.7757 | 297069.9397 | 59.9307 | 38.1 | #N/A
118989 | 2021-05-03 10:08 | 12.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.8753 | μmol/L | 29.698 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 121329.0153 | 297031.0808 | 59.9307 | 38.1 | #N/A
118999 | 2021-05-03 10:08 | 12.341 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7176 | μmol/L | 29.7103 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.922 | 121319.939 | 297015.5583 | 59.9307 | 38.1 | #N/A
119009 | 2021-05-03 10:09 | 12.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5253 | μmol/L | 29.7225 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.929 | 121325.3457 | 296994.8899 | 59.9307 | 38.1 | #N/A
119019 | 2021-05-03 10:09 | 13.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9154 | μmol/L | 29.6613 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.927 | 121322.3097 | 296957.3352 | 59.9307 | 38.1 | #N/A
119029 | 2021-05-03 10:09 | 13.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6137 | μmol/L | 29.7103 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.928 | 121310.0941 | 296922.0842 | 59.9307 | 38.1 | #N/A
119039 | 2021-05-03 10:10 | 13.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4716 | μmol/L | 29.7348 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.928 | 121291.7017 | 296890.0815 | 59.9307 | 38.1 | #N/A
119049 | 2021-05-03 10:10 | 14.0076 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4379 | μmol/L | 29.7286 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.932 | 121309.9768 | 296865.5281 | 59.9307 | 38.1 | #N/A
119059 | 2021-05-03 10:10 | 14.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3842 | μmol/L | 29.7409 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.931 | 121284.237 | 296826.321 | 59.9307 | 38.1 | #N/A
119069 | 2021-05-03 10:11 | 14.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.508 | μmol/L | 29.7225 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.93 | 121262.8876 | 296794.221 | 59.9307 | 38.1 | #N/A
119079 | 2021-05-03 10:11 | 15.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3323 | μmol/L | 29.7409 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.934 | 121280.9844 | 296766.175 | 59.9307 | 38.1 | #N/A
119089 | 2021-05-03 10:11 | 15.3403 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0849 | μmol/L | 29.7777 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.936 | 121264.2416 | 296739.688 | 59.9307 | 38.1 | #N/A
119099 | 2021-05-03 10:12 | 15.6743 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.944 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.938 | 121242.3958 | 296705.8452 | 59.9307 | 38.1 | #N/A
119109 | 2021-05-03 10:12 | 16.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0168 | μmol/L | 29.7715 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.942 | 121227.8743 | 296675.7288 | 59.9307 | 38.1 | #N/A
119119 | 2021-05-03 10:12 | 16.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8559 | μmol/L | 29.8083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.939 | 121198.3871 | 296645.4911 | 59.9307 | 38.1 | #N/A
119129 | 2021-05-03 10:13 | 16.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8741 | μmol/L | 29.8022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.94 | 121164.2537 | 296620.5854 | 59.9307 | 38.1 | #N/A
119139 | 2021-05-03 10:13 | 17.0077 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8185 | μmol/L | 29.8267 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.935 | 121143.537 | 296604.294 | 59.9307 | 38.1 | #N/A
119149 | 2021-05-03 10:13 | 17.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9977 | μmol/L | 29.7838 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.939 | 121110.579 | 296566.0648 | 59.9307 | 38.1 | #N/A
119159 | 2021-05-03 10:14 | 17.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6959 | μmol/L | 29.8389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.938 | 121124.8375 | 296545.1674 | 59.9307 | 38.1 | #N/A
119169 | 2021-05-03 10:14 | 18.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8214 | μmol/L | 29.8083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.941 | 121085.0914 | 296506.7338 | 59.9307 | 38.1 | #N/A
119179 | 2021-05-03 10:14 | 18.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8569 | μmol/L | 29.8022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.941 | 121071.3764 | 296489.4068 | 59.9307 | 38.1 | #N/A
119189 | 2021-05-03 10:15 | 18.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8923 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.941 | 121045.9362 | 296450.9817 | 59.9307 | 38.1 | #N/A
119199 | 2021-05-03 10:15 | 19.0072 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.5907 | μmol/L | 29.8512 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.94 | 121038.0713 | 296427.6899 | 59.9307 | 38.1 | #N/A
119209 | 2021-05-03 10:15 | 19.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.538 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.941 | 121017.567 | 296407.4012 | 59.9307 | 38.1 | #N/A
119219 | 2021-05-03 10:16 | 19.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.3449 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.944 | 121009.9182 | 296376.7651 | 59.9307 | 38.1 | #N/A
119229 | 2021-05-03 10:16 | 20.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2933 | μmol/L | 29.8818 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.947 | 120983.6134 | 296336.5226 | 59.9307 | 38.1 | #N/A
119239 | 2021-05-03 10:16 | 20.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4004 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.949 | 120970.9781 | 296314.2523 | 59.9307 | 38.1 | #N/A
119249 | 2021-05-03 10:17 | 20.6742 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.261 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.953 | 120982.4223 | 296270.4626 | 59.9307 | 38.1 | #N/A
119259 | 2021-05-03 10:17 | 21.0071 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1539 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.951 | 120967.4124 | 296265.4476 | 59.9307 | 38.1 | #N/A
119269 | 2021-05-03 10:17 | 21.3402 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.948 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.963 | 121000.54 | 296239.0432 | 59.9307 | 38.1 | #N/A
119279 | 2021-05-03 10:18 | 21.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.4084 | μmol/L | 29.8083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.965 | 121004.6378 | 296207.8747 | 59.9307 | 38.1 | #N/A
119289 | 2021-05-03 10:18 | 22.007 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1973 | μmol/L | 29.8389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.967 | 120999.7043 | 296177.2532 | 59.9307 | 38.1 | #N/A
119299 | 2021-05-03 10:18 | 22.3408 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6376 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.977 | 121017.6318 | 296155.2686 | 59.9307 | 38.1 | #N/A
119309 | 2021-05-03 10:19 | 22.6737 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8482 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.975 | 120992.8984 | 296126.0837 | 59.9307 | 38.1 | #N/A
119319 | 2021-05-03 10:19 | 23.0075 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.7455 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.981 | 121003.2421 | 296095.4055 | 59.9307 | 38.1 | #N/A
119329 | 2021-05-03 10:19 | 23.3404 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5712 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.985 | 121004.2341 | 296079.6781 | 59.9307 | 38.1 | #N/A
119339 | 2021-05-03 10:20 | 23.6735 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8372 | μmol/L | 29.8389 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.988 | 121007.28 | 296041.2217 | 59.9307 | 38.1 | #N/A
119349 | 2021-05-03 10:20 | 24.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2616 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.999 | 121042.3341 | 296012.6533 | 59.9307 | 38.1 | #N/A
119359 | 2021-05-03 10:20 | 24.3405 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1581 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.003 | 121060.8204 | 295986.7051 | 59.9307 | 38.1 | #N/A
119369 | 2021-05-03 10:21 | 24.6736 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1943 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.005 | 121072.9077 | 295965.8468 | 59.9307 | 38.1 | #N/A
119379 | 2021-05-03 10:21 | 25.0073 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1442 | μmol/L | 29.8941 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.01 | 121059.1285 | 295946.7839 | 59.9307 | 38.1 | #N/A
119389 | 2021-05-03 10:21 | 25.3407 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1474 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.016 | 121075.8556 | 295926.2657 | 59.9307 | 38.1 | #N/A
119399 | 2021-05-03 10:22 | 25.6739 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2881 | μmol/L | 29.8512 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.016 | 121082.5928 | 295897.3161 | 59.9307 | 38.1 | #N/A
119409 | 2021-05-03 10:22 | 26.0069 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0813 | μmol/L | 29.8634 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.024 | 121130.0219 | 295881.5942 | 59.9307 | 38.1 | #N/A
119419 | 2021-05-03 10:22 | 26.3406 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2943 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.028 | 120977.3943 | 295868.756 | 59.9307 | 38.1 | #N/A