## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
118630 | 2021-05-03 09:56 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.9058 | μmol/L | 29.1177 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.073 | 98316.6543 | 215331.3799 | 27.3 | 43.4 | #N/A
118640 | 2021-05-03 09:56 | 0.33444 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.8667 | μmol/L | 29.1116 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.077 | 98318.624 | 215322.5741 | 27.3 | 43.4 | #N/A
118650 | 2021-05-03 09:57 | 0.66766 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.7018 | μmol/L | 29.1361 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.077 | 98289.1225 | 215305.5974 | 27.3 | 43.4 | #N/A
118660 | 2021-05-03 09:57 | 1.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4557 | μmol/L | 29.1667 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.079 | 98262.2535 | 215291.6416 | 27.3 | 43.4 | #N/A
118670 | 2021-05-03 09:57 | 1.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1899 | μmol/L | 29.1974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.082 | 98239.9096 | 215269.191 | 27.3 | 43.4 | #N/A
118680 | 2021-05-03 09:58 | 1.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.4791 | μmol/L | 29.1483 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.084 | 98246.7059 | 215273.2533 | 27.3 | 43.4 | #N/A
118690 | 2021-05-03 09:58 | 2.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.1943 | μmol/L | 29.1728 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.09 | 98236.8742 | 215247.6774 | 27.3 | 43.4 | #N/A
118700 | 2021-05-03 09:58 | 2.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.0276 | μmol/L | 29.2096 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.086 | 98208.1602 | 215236.8832 | 27.3 | 43.4 | #N/A
118710 | 2021-05-03 09:59 | 2.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.721 | μmol/L | 29.2464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.089 | 98193.4346 | 215212.2862 | 27.3 | 43.4 | #N/A
118720 | 2021-05-03 09:59 | 3.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6811 | μmol/L | 29.2464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.091 | 98182.6069 | 215189.2823 | 27.3 | 43.4 | #N/A
118730 | 2021-05-03 09:59 | 3.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.6811 | μmol/L | 29.2464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.091 | 98167.3556 | 215168.3465 | 27.3 | 43.4 | #N/A
118740 | 2021-05-03 10:00 | 3.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3374 | μmol/L | 29.2709 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.1 | 98152.7012 | 215147.3042 | 27.3 | 43.4 | #N/A
118750 | 2021-05-03 10:00 | 4.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.294 | μmol/L | 29.2893 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.096 | 98151.4113 | 215121.9844 | 27.3 | 43.4 | #N/A
118760 | 2021-05-03 10:00 | 4.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.212 | μmol/L | 29.3015 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.096 | 98124.1397 | 215119.3638 | 27.3 | 43.4 | #N/A
118770 | 2021-05-03 10:01 | 4.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9485 | μmol/L | 29.326 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.101 | 98125.5498 | 215088.1589 | 27.3 | 43.4 | #N/A
118780 | 2021-05-03 10:01 | 5.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9473 | μmol/L | 29.3322 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.099 | 98093.6235 | 215072.5119 | 27.3 | 43.4 | #N/A
118790 | 2021-05-03 10:01 | 5.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.6828 | μmol/L | 29.3628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.102 | 98090.2022 | 215043.8357 | 27.3 | 43.4 | #N/A
118800 | 2021-05-03 10:02 | 5.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7262 | μmol/L | 29.3444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.106 | 98076.8038 | 215022.6391 | 27.3 | 43.4 | #N/A
118810 | 2021-05-03 10:02 | 6.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7834 | μmol/L | 29.3567 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.099 | 98043.6905 | 214994.4298 | 27.3 | 43.4 | #N/A
118820 | 2021-05-03 10:02 | 6.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4 | μmol/L | 29.3873 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.108 | 98049.4129 | 214973.849 | 27.3 | 43.4 | #N/A
118830 | 2021-05-03 10:03 | 6.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.3765 | μmol/L | 29.4057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.103 | 98028.2032 | 214970.8171 | 27.3 | 43.4 | #N/A
118840 | 2021-05-03 10:03 | 7.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.0741 | μmol/L | 29.4302 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.11 | 98016.3018 | 214940.8698 | 27.3 | 43.4 | #N/A
118850 | 2021-05-03 10:03 | 7.3348 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.0333 | μmol/L | 29.4364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.11 | 98020.0285 | 214926.283 | 27.3 | 43.4 | #N/A
118860 | 2021-05-03 10:04 | 7.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5853 | μmol/L | 29.4977 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.112 | 98001.3069 | 214901.2296 | 27.3 | 43.4 | #N/A
118870 | 2021-05-03 10:04 | 8.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9503 | μmol/L | 29.4548 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.108 | 97977.9323 | 214884.4639 | 27.3 | 43.4 | #N/A
118880 | 2021-05-03 10:04 | 8.3346 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9541 | μmol/L | 29.4364 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.114 | 97972.5874 | 214863.6021 | 27.3 | 43.4 | #N/A
118890 | 2021-05-03 10:05 | 8.6685 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8501 | μmol/L | 29.4609 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.111 | 97957.0478 | 214837.7565 | 27.3 | 43.4 | #N/A
118900 | 2021-05-03 10:05 | 9.0015 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3852 | μmol/L | 29.5099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.118 | 97949.9021 | 214817.9111 | 27.3 | 43.4 | #N/A
118910 | 2021-05-03 10:05 | 9.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7697 | μmol/L | 29.467 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.113 | 97935.2374 | 214812.508 | 27.3 | 43.4 | #N/A
118920 | 2021-05-03 10:06 | 9.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.6077 | μmol/L | 29.4854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.115 | 97920.5821 | 214780.5407 | 27.3 | 43.4 | #N/A
118930 | 2021-05-03 10:06 | 10.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4445 | μmol/L | 29.5099 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.115 | 97900.8425 | 214760.5857 | 27.3 | 43.4 | #N/A
118940 | 2021-05-03 10:06 | 10.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3037 | μmol/L | 29.5222 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.118 | 97896.7607 | 214729.6314 | 27.3 | 43.4 | #N/A
118950 | 2021-05-03 10:07 | 10.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0841 | μmol/L | 29.5344 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.125 | 97899.071 | 214718.5708 | 27.3 | 43.4 | #N/A
118960 | 2021-05-03 10:07 | 11.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8804 | μmol/L | 29.5651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.125 | 97876.6389 | 214688.6411 | 27.3 | 43.4 | #N/A
118970 | 2021-05-03 10:07 | 11.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.6796 | μmol/L | 29.5835 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.129 | 97883.0513 | 214669.2704 | 27.3 | 43.4 | #N/A
118980 | 2021-05-03 10:08 | 11.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4396 | μmol/L | 29.6019 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.135 | 97893.9047 | 214647.443 | 27.3 | 43.4 | #N/A
118990 | 2021-05-03 10:08 | 12.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4959 | μmol/L | 29.6141 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.128 | 97878.4542 | 214629.2064 | 27.3 | 43.4 | #N/A
119000 | 2021-05-03 10:08 | 12.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5013 | μmol/L | 29.5896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.136 | 97864.711 | 214614.273 | 27.3 | 43.4 | #N/A
119010 | 2021-05-03 10:09 | 12.6676 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5629 | μmol/L | 29.5773 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.137 | 97864.1936 | 214587.7602 | 27.3 | 43.4 | #N/A
119020 | 2021-05-03 10:09 | 13.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1606 | μmol/L | 29.6202 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.143 | 97851.6649 | 214576.0645 | 27.3 | 43.4 | #N/A
119030 | 2021-05-03 10:09 | 13.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1173 | μmol/L | 29.6386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.139 | 97835.4489 | 214557.87 | 27.3 | 43.4 | #N/A
119040 | 2021-05-03 10:10 | 13.6683 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1802 | μmol/L | 29.6202 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.142 | 97835.888 | 214536.2826 | 27.3 | 43.4 | #N/A
119050 | 2021-05-03 10:10 | 14.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.1369 | μmol/L | 29.6386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.138 | 97809.8993 | 214509.6908 | 27.3 | 43.4 | #N/A
119060 | 2021-05-03 10:10 | 14.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7002 | μmol/L | 29.6631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.152 | 97837.4288 | 214489.5623 | 27.3 | 43.4 | #N/A
119070 | 2021-05-03 10:11 | 14.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5828 | μmol/L | 29.6631 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.158 | 97848.1657 | 214472.5599 | 27.3 | 43.4 | #N/A
119080 | 2021-05-03 10:11 | 15.0012 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2182 | μmol/L | 29.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.158 | 97856.0074 | 214450.69 | 27.3 | 43.4 | #N/A
119090 | 2021-05-03 10:11 | 15.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2797 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.159 | 97821.7859 | 214425.969 | 27.3 | 43.4 | #N/A
119100 | 2021-05-03 10:12 | 15.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4054 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.165 | 97834.4645 | 214421.8123 | 27.3 | 43.4 | #N/A
119110 | 2021-05-03 10:12 | 16.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2491 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.173 | 97837.6451 | 214396.7282 | 27.3 | 43.4 | #N/A
119120 | 2021-05-03 10:12 | 16.3347 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2296 | μmol/L | 29.6693 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.174 | 97839.5306 | 214380.0993 | 27.3 | 43.4 | #N/A
119130 | 2021-05-03 10:13 | 16.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9089 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.178 | 97846.929 | 214356.1188 | 27.3 | 43.4 | #N/A
119140 | 2021-05-03 10:13 | 17.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7069 | μmol/L | 29.7367 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.178 | 97849.214 | 214351.5114 | 27.3 | 43.4 | #N/A
119150 | 2021-05-03 10:13 | 17.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5706 | μmol/L | 29.7367 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.185 | 97846.9176 | 214319.9986 | 27.3 | 43.4 | #N/A
119160 | 2021-05-03 10:14 | 17.6679 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4165 | μmol/L | 29.7306 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.195 | 97853.9932 | 214299.8239 | 27.3 | 43.4 | #N/A
119170 | 2021-05-03 10:14 | 18.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6961 | μmol/L | 29.6999 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.191 | 97847.5117 | 214286.0406 | 27.3 | 43.4 | #N/A
119180 | 2021-05-03 10:14 | 18.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5196 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.198 | 97853.8111 | 214271.8755 | 27.3 | 43.4 | #N/A
119190 | 2021-05-03 10:15 | 18.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4763 | μmol/L | 29.7244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.194 | 97840.5818 | 214245.1969 | 27.3 | 43.4 | #N/A
119200 | 2021-05-03 10:15 | 19.0014 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3223 | μmol/L | 29.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.204 | 97848.8582 | 214228.18 | 27.3 | 43.4 | #N/A
119210 | 2021-05-03 10:15 | 19.3351 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.3014 | μmol/L | 29.7244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.203 | 97845.6463 | 214218.3935 | 27.3 | 43.4 | #N/A
119220 | 2021-05-03 10:16 | 19.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.064 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.209 | 97844.5094 | 214194.0512 | 27.3 | 43.4 | #N/A
119230 | 2021-05-03 10:16 | 20.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8284 | μmol/L | 29.7551 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.217 | 97869.1181 | 214185.9096 | 27.3 | 43.4 | #N/A
119240 | 2021-05-03 10:16 | 20.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9089 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.217 | 97858.7612 | 214162.0993 | 27.3 | 43.4 | #N/A
119250 | 2021-05-03 10:17 | 20.668 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8522 | μmol/L | 29.7367 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.222 | 97871.0393 | 214154.4886 | 27.3 | 43.4 | #N/A
119260 | 2021-05-03 10:17 | 21.0018 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.8344 | μmol/L | 29.7306 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.225 | 97866.9423 | 214138.4443 | 27.3 | 43.4 | #N/A
119270 | 2021-05-03 10:17 | 21.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.5991 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.233 | 97882.9704 | 214109.2783 | 27.3 | 43.4 | #N/A
119280 | 2021-05-03 10:18 | 21.6677 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.7212 | μmol/L | 29.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.235 | 97892.9753 | 214093.4399 | 27.3 | 43.4 | #N/A
119290 | 2021-05-03 10:18 | 22.0016 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6631 | μmol/L | 29.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.238 | 97893.6712 | 214074.0008 | 27.3 | 43.4 | #N/A
119300 | 2021-05-03 10:18 | 22.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.5843 | μmol/L | 29.7244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.24 | 97877.4435 | 214050.2628 | 27.3 | 43.4 | #N/A
119310 | 2021-05-03 10:19 | 22.6684 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6275 | μmol/L | 29.706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.244 | 97900.262 | 214035.7401 | 27.3 | 43.4 | #N/A
119320 | 2021-05-03 10:19 | 23.0013 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1547 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.256 | 97931.8763 | 214014.4078 | 27.3 | 43.4 | #N/A
119330 | 2021-05-03 10:19 | 23.3344 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.7985 | μmol/L | 29.7796 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.262 | 97933.0567 | 213998.579 | 27.3 | 43.4 | #N/A
119340 | 2021-05-03 10:20 | 23.6682 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8001 | μmol/L | 29.7735 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.264 | 97935.0194 | 213989.9735 | 27.3 | 43.4 | #N/A
119350 | 2021-05-03 10:20 | 24.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1015 | μmol/L | 29.7244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.265 | 97946.5913 | 213970.7023 | 27.3 | 43.4 | #N/A
119360 | 2021-05-03 10:20 | 24.335 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.9696 | μmol/L | 29.7122 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.276 | 97947.9588 | 213961.3763 | 27.3 | 43.4 | #N/A
119370 | 2021-05-03 10:21 | 24.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6523 | μmol/L | 29.749 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.28 | 97962.3987 | 213950.2884 | 27.3 | 43.4 | #N/A
119380 | 2021-05-03 10:21 | 25.001 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6747 | μmol/L | 29.7367 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.283 | 97968.015 | 213920.6851 | 27.3 | 43.4 | #N/A
119390 | 2021-05-03 10:21 | 25.3345 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.5978 | μmol/L | 29.7367 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 97971.7259 | 213914.9777 | 27.3 | 43.4 | #N/A
119400 | 2021-05-03 10:22 | 25.6681 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.4009 | μmol/L | 29.7551 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.291 | 97981.0275 | 213899.6049 | 27.3 | 43.4 | #N/A
119410 | 2021-05-03 10:22 | 26.0011 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.6024 | μmol/L | 29.7183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.293 | 98071.3881 | 213877.9032 | 27.3 | 43.4 | #N/A
119420 | 2021-05-03 10:22 | 26.3349 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.2888 | μmol/L | 29.7428 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.301 | 98044.8676 | 213852.7207 | 27.3 | 43.4 | #N/A