## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
118632 | 2021-05-03 09:56 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.0729 | μmol/L | 29.074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.464 | 125920.8106 | 271565.8743 | 36.4 | 83.1 | #N/A
118642 | 2021-05-03 09:56 | 0.33446 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.029 | μmol/L | 29.0925 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.46 | 125584.4416 | 271546.4538 | 36.4 | 83.1 | #N/A
118652 | 2021-05-03 09:57 | 0.66811 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.9268 | μmol/L | 29.1109 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.459 | 125613.1306 | 271522.3605 | 36.4 | 83.1 | #N/A
118662 | 2021-05-03 09:57 | 1.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7664 | μmol/L | 29.1293 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.461 | 125444.1953 | 271499.7532 | 36.4 | 83.1 | #N/A
118672 | 2021-05-03 09:57 | 1.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.823 | μmol/L | 29.1355 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.456 | 125291.7842 | 271483.1573 | 36.4 | 83.1 | #N/A
118682 | 2021-05-03 09:58 | 1.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7825 | μmol/L | 29.1416 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.456 | 124930.0795 | 271442.4537 | 36.4 | 83.1 | #N/A
118692 | 2021-05-03 09:58 | 2.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.7808 | μmol/L | 29.1478 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.454 | 124861.998 | 271417.6581 | 36.4 | 83.1 | #N/A
118702 | 2021-05-03 09:58 | 2.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5765 | μmol/L | 29.1846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.452 | 124569.4392 | 271399.885 | 36.4 | 83.1 | #N/A
118712 | 2021-05-03 09:59 | 2.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.5925 | μmol/L | 29.1969 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.447 | 124683.7795 | 271362.3567 | 36.4 | 83.1 | #N/A
118722 | 2021-05-03 09:59 | 3.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.4693 | μmol/L | 29.2215 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.445 | 124433.4821 | 271330.1147 | 36.4 | 83.1 | #N/A
118732 | 2021-05-03 09:59 | 3.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.3672 | μmol/L | 29.2399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.444 | 124270.8076 | 271292.9278 | 36.4 | 83.1 | #N/A
118742 | 2021-05-03 10:00 | 3.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.223 | μmol/L | 29.2706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.441 | 124281.6335 | 271262.9516 | 36.4 | 83.1 | #N/A
118752 | 2021-05-03 10:00 | 4.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.1368 | μmol/L | 29.3014 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.435 | 124167.6185 | 271222.1527 | 36.4 | 83.1 | #N/A
118762 | 2021-05-03 10:00 | 4.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0559 | μmol/L | 29.3137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.435 | 124128.6653 | 271220.3268 | 36.4 | 83.1 | #N/A
118772 | 2021-05-03 10:01 | 4.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0735 | μmol/L | 29.3198 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.432 | 124111.7136 | 271162.2265 | 36.4 | 83.1 | #N/A
118782 | 2021-05-03 10:01 | 5.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0894 | μmol/L | 29.3321 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.427 | 124117.5989 | 271129.8976 | 36.4 | 83.1 | #N/A
118792 | 2021-05-03 10:01 | 5.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9891 | μmol/L | 29.3444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.428 | 124064.3368 | 271085.3672 | 36.4 | 83.1 | #N/A
118802 | 2021-05-03 10:02 | 5.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8431 | μmol/L | 29.3812 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.423 | 123970.9336 | 271062.1317 | 36.4 | 83.1 | #N/A
118812 | 2021-05-03 10:02 | 6.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7217 | μmol/L | 29.3997 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.423 | 123880.9896 | 271035.0055 | 36.4 | 83.1 | #N/A
118822 | 2021-05-03 10:02 | 6.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6953 | μmol/L | 29.4242 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.416 | 123818.9244 | 271010.6958 | 36.4 | 83.1 | #N/A
118832 | 2021-05-03 10:03 | 6.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7745 | μmol/L | 29.4181 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.414 | 123805.5262 | 270966.7789 | 36.4 | 83.1 | #N/A
118842 | 2021-05-03 10:03 | 7.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7111 | μmol/L | 29.4365 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.411 | 123797.4576 | 270940.9244 | 36.4 | 83.1 | #N/A
118852 | 2021-05-03 10:03 | 7.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6091 | μmol/L | 29.455 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.41 | 123719.8694 | 270902.6241 | 36.4 | 83.1 | #N/A
118862 | 2021-05-03 10:04 | 7.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5633 | μmol/L | 29.4795 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.404 | 123601.8844 | 270861.3924 | 36.4 | 83.1 | #N/A
118872 | 2021-05-03 10:04 | 8.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4015 | μmol/L | 29.5041 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.404 | 123464.183 | 270855.2993 | 36.4 | 83.1 | #N/A
118882 | 2021-05-03 10:04 | 8.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4577 | μmol/L | 29.5103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.399 | 123352.3598 | 270803.3016 | 36.4 | 83.1 | #N/A
118892 | 2021-05-03 10:05 | 8.6676 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4577 | μmol/L | 29.5103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.399 | 123229.6423 | 270780.6107 | 36.4 | 83.1 | #N/A
118902 | 2021-05-03 10:05 | 9.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4136 | μmol/L | 29.5287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.395 | 123101.1342 | 270741.5411 | 36.4 | 83.1 | #N/A
118912 | 2021-05-03 10:05 | 9.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3907 | μmol/L | 29.541 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.392 | 122991.2759 | 270718.6022 | 36.4 | 83.1 | #N/A
118922 | 2021-05-03 10:06 | 9.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2887 | μmol/L | 29.5594 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.391 | 122900.6421 | 270697.4035 | 36.4 | 83.1 | #N/A
118932 | 2021-05-03 10:06 | 10.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3871 | μmol/L | 29.5533 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.388 | 122797.6762 | 270652.3601 | 36.4 | 83.1 | #N/A
118942 | 2021-05-03 10:06 | 10.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3044 | μmol/L | 29.5717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.386 | 122727.5348 | 270643.061 | 36.4 | 83.1 | #N/A
118952 | 2021-05-03 10:07 | 10.668 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1849 | μmol/L | 29.584 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.388 | 122622.0839 | 270602.1772 | 36.4 | 83.1 | #N/A
118962 | 2021-05-03 10:07 | 11.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2005 | μmol/L | 29.5963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.383 | 122521.6863 | 270567.2795 | 36.4 | 83.1 | #N/A
118972 | 2021-05-03 10:07 | 11.3348 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0599 | μmol/L | 29.6147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 122412.9614 | 270544.4738 | 36.4 | 83.1 | #N/A
118982 | 2021-05-03 10:08 | 11.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1776 | μmol/L | 29.6086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.38 | 122287.4055 | 270511.2445 | 36.4 | 83.1 | #N/A
118992 | 2021-05-03 10:08 | 12.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.093 | μmol/L | 29.6332 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.376 | 122221.0812 | 270468.92 | 36.4 | 83.1 | #N/A
119002 | 2021-05-03 10:08 | 12.3345 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0122 | μmol/L | 29.6454 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.376 | 122131.949 | 270445.4293 | 36.4 | 83.1 | #N/A
119012 | 2021-05-03 10:09 | 12.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0719 | μmol/L | 29.6393 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.375 | 122081.8621 | 270412.0164 | 36.4 | 83.1 | #N/A
119022 | 2021-05-03 10:09 | 13.0015 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0471 | μmol/L | 29.6577 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.37 | 121975.5088 | 270386.2282 | 36.4 | 83.1 | #N/A
119032 | 2021-05-03 10:09 | 13.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9432 | μmol/L | 29.6823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.367 | 121843.7939 | 270366.4178 | 36.4 | 83.1 | #N/A
119042 | 2021-05-03 10:10 | 13.6682 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8853 | μmol/L | 29.6823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.37 | 121747.4476 | 270335.0755 | 36.4 | 83.1 | #N/A
119052 | 2021-05-03 10:10 | 14.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9239 | μmol/L | 29.6823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.368 | 121651.411 | 270316.933 | 36.4 | 83.1 | #N/A
119062 | 2021-05-03 10:10 | 14.3342 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9221 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.366 | 121544.6916 | 270281.2521 | 36.4 | 83.1 | #N/A
119072 | 2021-05-03 10:11 | 14.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8798 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 121445.384 | 270258.2566 | 36.4 | 83.1 | #N/A
119082 | 2021-05-03 10:11 | 15.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8182 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 121363.5196 | 270226.3991 | 36.4 | 83.1 | #N/A
119092 | 2021-05-03 10:11 | 15.3346 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.7741 | μmol/L | 29.7315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 121296.4531 | 270191.3725 | 36.4 | 83.1 | #N/A
119102 | 2021-05-03 10:12 | 15.6677 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0553 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 121206.0506 | 270172.8578 | 36.4 | 83.1 | #N/A
119112 | 2021-05-03 10:12 | 16.0013 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1345 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.355 | 121079.4048 | 270138.6903 | 36.4 | 83.1 | #N/A
119122 | 2021-05-03 10:12 | 16.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0553 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 121006.3273 | 270125.2833 | 36.4 | 83.1 | #N/A
119132 | 2021-05-03 10:13 | 16.6675 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8724 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.356 | 120948.9776 | 270090.2508 | 36.4 | 83.1 | #N/A
119142 | 2021-05-03 10:13 | 17.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1115 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.352 | 120893.8552 | 270066.0774 | 36.4 | 83.1 | #N/A
119152 | 2021-05-03 10:13 | 17.3344 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0728 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.354 | 120820.4387 | 270036.0811 | 36.4 | 83.1 | #N/A
119162 | 2021-05-03 10:14 | 17.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9284 | μmol/L | 29.7315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.351 | 120767.6428 | 270005.8446 | 36.4 | 83.1 | #N/A
119172 | 2021-05-03 10:14 | 18.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.99 | μmol/L | 29.7192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.352 | 120669.8419 | 269982.3931 | 36.4 | 83.1 | #N/A
119182 | 2021-05-03 10:14 | 18.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0305 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.352 | 120605.9643 | 269963.4282 | 36.4 | 83.1 | #N/A
119192 | 2021-05-03 10:15 | 18.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9652 | μmol/L | 29.7376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.347 | 120514.5046 | 269929.083 | 36.4 | 83.1 | #N/A
119202 | 2021-05-03 10:15 | 19.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2891 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.347 | 120442.6297 | 269912.3137 | 36.4 | 83.1 | #N/A
119212 | 2021-05-03 10:15 | 19.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3665 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.343 | 120380.3303 | 269891.6546 | 36.4 | 83.1 | #N/A
119222 | 2021-05-03 10:16 | 19.6683 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.7205 | μmol/L | 29.7806 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.345 | 120339.2074 | 269866.6195 | 36.4 | 83.1 | #N/A
119232 | 2021-05-03 10:16 | 20.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8998 | μmol/L | 29.7622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.342 | 120295.6694 | 269825.2996 | 36.4 | 83.1 | #N/A
119242 | 2021-05-03 10:16 | 20.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1676 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.347 | 120282.7193 | 269803.3738 | 36.4 | 83.1 | #N/A
119252 | 2021-05-03 10:17 | 20.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9826 | μmol/L | 29.7438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.344 | 120222.6535 | 269785.8524 | 36.4 | 83.1 | #N/A
119262 | 2021-05-03 10:17 | 21.0012 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1832 | μmol/L | 29.7192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.342 | 120186.2139 | 269758.429 | 36.4 | 83.1 | #N/A
119272 | 2021-05-03 10:17 | 21.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1676 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.347 | 120146.947 | 269728.047 | 36.4 | 83.1 | #N/A
119282 | 2021-05-03 10:18 | 21.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2624 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.34 | 120067.3021 | 269708.6311 | 36.4 | 83.1 | #N/A
119292 | 2021-05-03 10:18 | 22.0014 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1234 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.343 | 120029.0653 | 269683.4509 | 36.4 | 83.1 | #N/A
119302 | 2021-05-03 10:18 | 22.3343 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0792 | μmol/L | 29.7438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.339 | 119956.8677 | 269648.5476 | 36.4 | 83.1 | #N/A
119312 | 2021-05-03 10:19 | 22.6681 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9228 | μmol/L | 29.7499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.345 | 119926.5515 | 269631.2338 | 36.4 | 83.1 | #N/A
119322 | 2021-05-03 10:19 | 23.0011 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1814 | μmol/L | 29.7253 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.34 | 119841.4072 | 269624.9188 | 36.4 | 83.1 | #N/A
119332 | 2021-05-03 10:19 | 23.3349 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2624 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.34 | 119814.9177 | 269593.7877 | 36.4 | 83.1 | #N/A
119342 | 2021-05-03 10:20 | 23.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1197 | μmol/L | 29.7376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.339 | 119737.0218 | 269569.4212 | 36.4 | 83.1 | #N/A
119352 | 2021-05-03 10:20 | 24.0017 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3785 | μmol/L | 29.713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.334 | 119720.4928 | 269535.6518 | 36.4 | 83.1 | #N/A
119362 | 2021-05-03 10:20 | 24.3347 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3997 | μmol/L | 29.7069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.335 | 119709.6707 | 269521.4843 | 36.4 | 83.1 | #N/A
119372 | 2021-05-03 10:21 | 24.6678 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8537 | μmol/L | 29.7868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.336 | 119669.4509 | 269506.8683 | 36.4 | 83.1 | #N/A
119382 | 2021-05-03 10:21 | 25.0016 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1216 | μmol/L | 29.7315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.341 | 119610.7077 | 269470.0588 | 36.4 | 83.1 | #N/A
119392 | 2021-05-03 10:21 | 25.335 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0792 | μmol/L | 29.7438 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.339 | 119569.6832 | 269451.1429 | 36.4 | 83.1 | #N/A
119402 | 2021-05-03 10:22 | 25.6679 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0755 | μmol/L | 29.756 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.335 | 119514.4968 | 269431.4907 | 36.4 | 83.1 | #N/A
119412 | 2021-05-03 10:22 | 26.0009 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9328 | μmol/L | 29.7806 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.334 | 119523.8188 | 269412.672 | 36.4 | 83.1 | #N/A