## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:25

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
118635 | 2021-05-03 09:56 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.4929 | μmol/L | 29.1886 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.697 | 132889.9181 | 307059.7478 | 33.25 | 68.6 | #N/A
118645 | 2021-05-03 09:56 | 0.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2645 | μmol/L | 29.2069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.704 | 132989.5913 | 307044.266 | 33.25 | 68.6 | #N/A
118655 | 2021-05-03 09:57 | 0.66402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.2924 | μmol/L | 29.3046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.668 | 132881.6504 | 307019.157 | 33.25 | 68.6 | #N/A
118665 | 2021-05-03 09:57 | 0.99799 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8173 | μmol/L | 29.3046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.696 | 133045.9692 | 307008.8328 | 33.25 | 68.6 | #N/A
118675 | 2021-05-03 09:57 | 1.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.7657 | μmol/L | 29.3473 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133093.2938 | 306973.9383 | 33.25 | 68.6 | #N/A
118685 | 2021-05-03 09:58 | 1.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5405 | μmol/L | 29.3595 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.693 | 133195.5858 | 306935.4591 | 33.25 | 68.6 | #N/A
118695 | 2021-05-03 09:58 | 1.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.6716 | μmol/L | 29.329 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.696 | 133275.5697 | 306914.8184 | 33.25 | 68.6 | #N/A
118705 | 2021-05-03 09:58 | 2.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8029 | μmol/L | 29.2985 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.699 | 133330.67 | 306883.5807 | 33.25 | 68.6 | #N/A
118715 | 2021-05-03 09:59 | 2.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3857 | μmol/L | 29.3656 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.7 | 133385.3536 | 306833.0324 | 33.25 | 68.6 | #N/A
118725 | 2021-05-03 09:59 | 2.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.73 | μmol/L | 29.3107 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.699 | 133435.7852 | 306817.8981 | 33.25 | 68.6 | #N/A
118735 | 2021-05-03 09:59 | 3.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3831 | μmol/L | 29.3717 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.698 | 133463.7954 | 306758.2722 | 33.25 | 68.6 | #N/A
118745 | 2021-05-03 10:00 | 3.6643 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2377 | μmol/L | 29.3962 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.698 | 133477.9984 | 306737.8003 | 33.25 | 68.6 | #N/A
118755 | 2021-05-03 10:00 | 3.9973 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9134 | μmol/L | 29.445 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.7 | 133500.5177 | 306686.2121 | 33.25 | 68.6 | #N/A
118765 | 2021-05-03 10:00 | 4.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.833 | μmol/L | 29.4755 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.694 | 133505.7098 | 306650.7608 | 33.25 | 68.6 | #N/A
118775 | 2021-05-03 10:01 | 4.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.312 | μmol/L | 29.4206 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.685 | 133479.7584 | 306614.2377 | 33.25 | 68.6 | #N/A
118785 | 2021-05-03 10:01 | 4.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3188 | μmol/L | 29.5366 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.703 | 133591.3508 | 306572.2167 | 33.25 | 68.6 | #N/A
118795 | 2021-05-03 10:01 | 5.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1429 | μmol/L | 29.5549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.707 | 133613.4751 | 306550.1907 | 33.25 | 68.6 | #N/A
118805 | 2021-05-03 10:02 | 5.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0793 | μmol/L | 29.5854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.7 | 133569.0095 | 306502.9952 | 33.25 | 68.6 | #N/A
118815 | 2021-05-03 10:02 | 5.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2111 | μmol/L | 29.5915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.69 | 133538.5329 | 306473.875 | 33.25 | 68.6 | #N/A
118825 | 2021-05-03 10:02 | 6.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9654 | μmol/L | 29.6159 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.696 | 133562.1955 | 306431.5463 | 33.25 | 68.6 | #N/A
118835 | 2021-05-03 10:03 | 6.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9125 | μmol/L | 29.622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.697 | 133567.5517 | 306389.1771 | 33.25 | 68.6 | #N/A
118845 | 2021-05-03 10:03 | 6.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8736 | μmol/L | 29.6342 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.695 | 133565.462 | 306334.6904 | 33.25 | 68.6 | #N/A
118855 | 2021-05-03 10:03 | 7.3312 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9045 | μmol/L | 29.6403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.691 | 133548.9524 | 306313.2275 | 33.25 | 68.6 | #N/A
118865 | 2021-05-03 10:04 | 7.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6115 | μmol/L | 29.6586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.702 | 133616.8766 | 306283.7769 | 33.25 | 68.6 | #N/A
118875 | 2021-05-03 10:04 | 7.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2662 | μmol/L | 29.6831 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.714 | 133692.1742 | 306240.58 | 33.25 | 68.6 | #N/A
118885 | 2021-05-03 10:04 | 8.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2689 | μmol/L | 29.677 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.716 | 133718.49 | 306206.4795 | 33.25 | 68.6 | #N/A
118895 | 2021-05-03 10:05 | 8.6639 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2194 | μmol/L | 29.7136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.706 | 133696.489 | 306165.1842 | 33.25 | 68.6 | #N/A
118905 | 2021-05-03 10:05 | 8.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.063 | μmol/L | 29.6892 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.724 | 133769.0527 | 306112.5533 | 33.25 | 68.6 | #N/A
118915 | 2021-05-03 10:05 | 9.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0135 | μmol/L | 29.7258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.714 | 133725.265 | 306086.3276 | 33.25 | 68.6 | #N/A
118925 | 2021-05-03 10:06 | 9.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7165 | μmol/L | 29.7563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.721 | 133757.5481 | 306056.3346 | 33.25 | 68.6 | #N/A
118935 | 2021-05-03 10:06 | 9.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6804 | μmol/L | 29.7624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.721 | 133765.4631 | 305997.284 | 33.25 | 68.6 | #N/A
118945 | 2021-05-03 10:06 | 10.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7417 | μmol/L | 29.7746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.713 | 133696.2725 | 305970.0836 | 33.25 | 68.6 | #N/A
118955 | 2021-05-03 10:07 | 10.6642 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8084 | μmol/L | 29.7746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.709 | 133669.9202 | 305921.7139 | 33.25 | 68.6 | #N/A
118965 | 2021-05-03 10:07 | 10.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3977 | μmol/L | 29.799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.725 | 133745.2606 | 305900.4481 | 33.25 | 68.6 | #N/A
118975 | 2021-05-03 10:07 | 11.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0543 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.737 | 133807.2151 | 305842.1926 | 33.25 | 68.6 | #N/A
118985 | 2021-05-03 10:08 | 11.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8607 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.753 | 133875.8848 | 305798.8155 | 33.25 | 68.6 | #N/A
118995 | 2021-05-03 10:08 | 11.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1263 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.737 | 133806.5829 | 305771.8401 | 33.25 | 68.6 | #N/A
119005 | 2021-05-03 10:08 | 12.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8166 | μmol/L | 29.8357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.747 | 133868.9108 | 305739.6311 | 33.25 | 68.6 | #N/A
119015 | 2021-05-03 10:09 | 12.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7917 | μmol/L | 29.854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.742 | 133792.2243 | 305696.851 | 33.25 | 68.6 | #N/A
119025 | 2021-05-03 10:09 | 12.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5294 | μmol/L | 29.8845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.747 | 133833.6789 | 305648.4427 | 33.25 | 68.6 | #N/A
119035 | 2021-05-03 10:09 | 13.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3171 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.762 | 133922.0009 | 305638.0914 | 33.25 | 68.6 | #N/A
119045 | 2021-05-03 10:10 | 13.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3502 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.76 | 133928.7882 | 305601.3328 | 33.25 | 68.6 | #N/A
119055 | 2021-05-03 10:10 | 13.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2345 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.767 | 133949.7411 | 305546.6675 | 33.25 | 68.6 | #N/A
119065 | 2021-05-03 10:10 | 14.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9508 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.769 | 133949.5743 | 305526.2483 | 33.25 | 68.6 | #N/A
119075 | 2021-05-03 10:11 | 14.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6899 | μmol/L | 29.915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.787 | 134084.0188 | 305493.6614 | 33.25 | 68.6 | #N/A
119085 | 2021-05-03 10:11 | 14.9977 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5309 | μmol/L | 29.9028 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.801 | 134120.158 | 305452.6835 | 33.25 | 68.6 | #N/A
119095 | 2021-05-03 10:11 | 15.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.429 | μmol/L | 29.9456 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.792 | 134080.8894 | 305402.9191 | 33.25 | 68.6 | #N/A
119105 | 2021-05-03 10:12 | 15.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5197 | μmol/L | 29.9272 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.793 | 134055.3411 | 305375.5298 | 33.25 | 68.6 | #N/A
119115 | 2021-05-03 10:12 | 15.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4403 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.8 | 134076.3857 | 305358.4562 | 33.25 | 68.6 | #N/A
119125 | 2021-05-03 10:12 | 16.3307 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7502 | μmol/L | 29.9272 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.779 | 133928.3354 | 305310.2937 | 33.25 | 68.6 | #N/A
119135 | 2021-05-03 10:13 | 16.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.382 | μmol/L | 29.9761 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.784 | 133967.6203 | 305275.3059 | 33.25 | 68.6 | #N/A
119145 | 2021-05-03 10:13 | 16.9974 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1577 | μmol/L | 29.9639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.802 | 134045.9365 | 305252.1668 | 33.25 | 68.6 | #N/A
119155 | 2021-05-03 10:13 | 17.3311 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0677 | μmol/L | 29.9456 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.814 | 134084.9894 | 305195.3342 | 33.25 | 68.6 | #N/A
119165 | 2021-05-03 10:14 | 17.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1198 | μmol/L | 29.9395 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.813 | 134080.7335 | 305166.4576 | 33.25 | 68.6 | #N/A
119175 | 2021-05-03 10:14 | 17.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7585 | μmol/L | 29.9761 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.822 | 134136.1972 | 305135.3842 | 33.25 | 68.6 | #N/A
119185 | 2021-05-03 10:14 | 18.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6987 | μmol/L | 29.9639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.83 | 134171.6586 | 305102.5525 | 33.25 | 68.6 | #N/A
119195 | 2021-05-03 10:15 | 18.6641 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6354 | μmol/L | 29.9944 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.823 | 134106.5302 | 305069.272 | 33.25 | 68.6 | #N/A
119205 | 2021-05-03 10:15 | 18.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.545 | μmol/L | 30.0127 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.822 | 134069.1771 | 305034.0574 | 33.25 | 68.6 | #N/A
119215 | 2021-05-03 10:15 | 19.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2941 | μmol/L | 30.0249 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.833 | 134118.7728 | 305001.1022 | 33.25 | 68.6 | #N/A
119225 | 2021-05-03 10:16 | 19.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3575 | μmol/L | 29.9944 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.84 | 134142.9316 | 304985.6552 | 33.25 | 68.6 | #N/A
119235 | 2021-05-03 10:16 | 19.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3191 | μmol/L | 30.0066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.838 | 134117.6691 | 304930.9879 | 33.25 | 68.6 | #N/A
119245 | 2021-05-03 10:16 | 20.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.2452 | μmol/L | 30.0249 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.836 | 134101.8545 | 304894.4857 | 33.25 | 68.6 | #N/A
119255 | 2021-05-03 10:17 | 20.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.0081 | μmol/L | 30.0432 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.844 | 134125.6697 | 304861.2563 | 33.25 | 68.6 | #N/A
119265 | 2021-05-03 10:17 | 20.9976 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7092 | μmol/L | 30.0555 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.858 | 134201.5456 | 304819.5291 | 33.25 | 68.6 | #N/A
119275 | 2021-05-03 10:17 | 21.3308 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9755 | μmol/L | 30.0432 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.846 | 134126.8234 | 304802.4214 | 33.25 | 68.6 | #N/A
119285 | 2021-05-03 10:18 | 21.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7714 | μmol/L | 30.0616 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.852 | 134143.1656 | 304765.3661 | 33.25 | 68.6 | #N/A
119295 | 2021-05-03 10:18 | 21.9979 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5553 | μmol/L | 30.0371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.874 | 134266.0378 | 304744.0549 | 33.25 | 68.6 | #N/A
119305 | 2021-05-03 10:18 | 22.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6337 | μmol/L | 30.0432 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.867 | 134225.4111 | 304703.7243 | 33.25 | 68.6 | #N/A
119315 | 2021-05-03 10:19 | 22.6645 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7179 | μmol/L | 30.0371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.864 | 134174.4663 | 304672.1954 | 33.25 | 68.6 | #N/A
119325 | 2021-05-03 10:19 | 22.9975 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7609 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.857 | 134116.2112 | 304647.1283 | 33.25 | 68.6 | #N/A
119335 | 2021-05-03 10:19 | 23.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7906 | μmol/L | 30.0555 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.853 | 134030.5766 | 304617.2003 | 33.25 | 68.6 | #N/A
119345 | 2021-05-03 10:20 | 23.6644 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7418 | μmol/L | 30.0555 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.856 | 134032.6507 | 304580.8084 | 33.25 | 68.6 | #N/A
119355 | 2021-05-03 10:20 | 23.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4358 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.877 | 134155.0925 | 304562.9467 | 33.25 | 68.6 | #N/A
119365 | 2021-05-03 10:20 | 24.331 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2793 | μmol/L | 30.0371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.891 | 134229.5692 | 304529.5941 | 33.25 | 68.6 | #N/A
119375 | 2021-05-03 10:21 | 24.664 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9817 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.905 | 134329.2211 | 304495.2943 | 33.25 | 68.6 | #N/A
119385 | 2021-05-03 10:21 | 24.9978 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9361 | μmol/L | 30.0432 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.91 | 134318.8089 | 304467.2199 | 33.25 | 68.6 | #N/A
119395 | 2021-05-03 10:21 | 25.3309 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9817 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.905 | 134284.7409 | 304432.3035 | 33.25 | 68.6 | #N/A
119405 | 2021-05-03 10:22 | 25.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.817 | μmol/L | 30.0555 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.913 | 134628.2789 | 304395.3143 | 33.25 | 68.6 | #N/A