## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121940 | 2021-05-03 12:18 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 226.3366 | μmol/L | 30.5765 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.416 | 92087.5837 | 211734.797 | 27.3 | 43.4
121950 | 2021-05-03 12:19 | 0.33617 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.3555 | μmol/L | 30.6133 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.451 | 92237.442 | 211734.4628 | 27.3 | 43.4
121960 | 2021-05-03 12:19 | 0.66923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 225.0311 | μmol/L | 30.5827 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.477 | 92355.1508 | 211728.9935 | 27.3 | 43.4
121970 | 2021-05-03 12:19 | 1.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.768 | μmol/L | 30.5581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.498 | 92477.6479 | 211727.628 | 27.3 | 43.4
121980 | 2021-05-03 12:20 | 1.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.7277 | μmol/L | 30.4478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.537 | 92645.6563 | 211719.093 | 27.3 | 43.4
121990 | 2021-05-03 12:20 | 1.6694 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 224.4473 | μmol/L | 30.411 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.563 | 92775.9777 | 211723.4158 | 27.3 | 43.4
122000 | 2021-05-03 12:20 | 2.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.805 | μmol/L | 30.4478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.582 | 92870.4765 | 211721.6063 | 27.3 | 43.4
122010 | 2021-05-03 12:21 | 2.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.185 | μmol/L | 30.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.6 | 92949.8844 | 211709.2729 | 27.3 | 43.4
122020 | 2021-05-03 12:21 | 2.6692 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.8362 | μmol/L | 30.4968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.613 | 93015.6138 | 211708.8011 | 27.3 | 43.4
122030 | 2021-05-03 12:21 | 3.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 223.0347 | μmol/L | 30.4233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.628 | 93084.0466 | 211703.8623 | 27.3 | 43.4
122040 | 2021-05-03 12:22 | 3.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 222.3729 | μmol/L | 30.4784 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.642 | 93143.255 | 211700.9353 | 27.3 | 43.4
122050 | 2021-05-03 12:22 | 3.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.9219 | μmol/L | 30.503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.656 | 93185.6916 | 211700.9787 | 27.3 | 43.4
122060 | 2021-05-03 12:22 | 4.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8005 | μmol/L | 30.503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.662 | 93270.7402 | 211705.8163 | 27.3 | 43.4
122070 | 2021-05-03 12:23 | 4.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4786 | μmol/L | 30.4968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.68 | 93353.6012 | 211688.1592 | 27.3 | 43.4
122080 | 2021-05-03 12:23 | 4.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.4007 | μmol/L | 30.4846 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.688 | 93388.4924 | 211683.4884 | 27.3 | 43.4
122090 | 2021-05-03 12:23 | 5.0033 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3053 | μmol/L | 30.46 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.701 | 93469.1675 | 211682.74 | 27.3 | 43.4
122100 | 2021-05-03 12:24 | 5.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.1872 | μmol/L | 30.4478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.711 | 93508.748 | 211677.1837 | 27.3 | 43.4
122110 | 2021-05-03 12:24 | 5.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.9443 | μmol/L | 30.4539 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.721 | 93545.1775 | 211664.9306 | 27.3 | 43.4
122120 | 2021-05-03 12:24 | 6.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.8854 | μmol/L | 30.4478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.726 | 93576.1431 | 211666.0853 | 27.3 | 43.4
122130 | 2021-05-03 12:25 | 6.3362 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.0358 | μmol/L | 30.4049 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.733 | 93609.2368 | 211666.2808 | 27.3 | 43.4
122140 | 2021-05-03 12:25 | 6.6699 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.7905 | μmol/L | 30.4233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.739 | 93635.6005 | 211662.6498 | 27.3 | 43.4
122150 | 2021-05-03 12:25 | 7.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.5697 | μmol/L | 30.4233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.75 | 93650.3789 | 211651.065 | 27.3 | 43.4
122160 | 2021-05-03 12:26 | 7.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.6112 | μmol/L | 30.4171 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.75 | 93687.1246 | 211649.5181 | 27.3 | 43.4
122170 | 2021-05-03 12:26 | 7.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.708 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.77 | 93776.914 | 211647.5345 | 27.3 | 43.4
122180 | 2021-05-03 12:26 | 8.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.4032 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.779 | 93804.8291 | 211651.1445 | 27.3 | 43.4
122190 | 2021-05-03 12:27 | 8.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.1589 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.785 | 93841.4791 | 211644.2308 | 27.3 | 43.4
122200 | 2021-05-03 12:27 | 8.6693 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.0631 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.796 | 93862.2051 | 211638.8413 | 27.3 | 43.4
122210 | 2021-05-03 12:27 | 9.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.9033 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.804 | 93922.8586 | 211630.3355 | 27.3 | 43.4
122220 | 2021-05-03 12:28 | 9.336 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.7237 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.813 | 93967.1927 | 211633.1389 | 27.3 | 43.4
122230 | 2021-05-03 12:28 | 9.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4831 | μmol/L | 30.3681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.823 | 94017.414 | 211625.9552 | 27.3 | 43.4
122240 | 2021-05-03 12:28 | 10.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3039 | μmol/L | 30.3681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.832 | 94038.7093 | 211629.6969 | 27.3 | 43.4
122250 | 2021-05-03 12:29 | 10.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.4475 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.831 | 94050.0739 | 211633.3721 | 27.3 | 43.4
122260 | 2021-05-03 12:29 | 10.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2117 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.847 | 94095.664 | 211624.0036 | 27.3 | 43.4
122270 | 2021-05-03 12:29 | 11.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.2301 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.844 | 94102.4631 | 211613.1641 | 27.3 | 43.4
122280 | 2021-05-03 12:30 | 11.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.1506 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.848 | 94116.5913 | 211617.4871 | 27.3 | 43.4
122290 | 2021-05-03 12:30 | 11.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0483 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.849 | 94130.9876 | 211616.9698 | 27.3 | 43.4
122300 | 2021-05-03 12:30 | 12.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.0101 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.853 | 94133.7967 | 211607.5213 | 27.3 | 43.4
122310 | 2021-05-03 12:31 | 12.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.952 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.858 | 94152.2368 | 211604.6524 | 27.3 | 43.4
122320 | 2021-05-03 12:31 | 12.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7492 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.862 | 94167.1628 | 211607.042 | 27.3 | 43.4
122330 | 2021-05-03 12:31 | 13.0025 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8513 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.861 | 94188.2737 | 211597.6221 | 27.3 | 43.4
122340 | 2021-05-03 12:32 | 13.3363 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8145 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.867 | 94194.3919 | 211593.0315 | 27.3 | 43.4
122350 | 2021-05-03 12:32 | 13.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5341 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.877 | 94227.1023 | 211593.3072 | 27.3 | 43.4
122360 | 2021-05-03 12:32 | 14.0027 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.6163 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.877 | 94239.7173 | 211586.1526 | 27.3 | 43.4
122370 | 2021-05-03 12:33 | 14.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.4777 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.884 | 94264.2734 | 211576.3696 | 27.3 | 43.4
122380 | 2021-05-03 12:33 | 14.6698 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.2329 | μmol/L | 30.3681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.886 | 94275.5485 | 211565.9025 | 27.3 | 43.4
122390 | 2021-05-03 12:33 | 15.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.2784 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.892 | 94314.4201 | 211566.8323 | 27.3 | 43.4
122400 | 2021-05-03 12:34 | 15.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0793 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.9 | 94339.34 | 211565.932 | 27.3 | 43.4
122410 | 2021-05-03 12:34 | 15.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0033 | μmol/L | 30.3374 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.908 | 94365.7059 | 211558.6048 | 27.3 | 43.4
122420 | 2021-05-03 12:34 | 16.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7833 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.915 | 94389.0997 | 211562.2075 | 27.3 | 43.4
122430 | 2021-05-03 12:35 | 16.3358 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.7045 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.919 | 94412.5899 | 211556.5772 | 27.3 | 43.4
122440 | 2021-05-03 12:35 | 16.6696 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.8046 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.916 | 94416.1857 | 211561.6911 | 27.3 | 43.4
122450 | 2021-05-03 12:35 | 17.0031 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.6863 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.922 | 94432.0062 | 211558.7411 | 27.3 | 43.4
122460 | 2021-05-03 12:36 | 17.3361 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3834 | μmol/L | 30.3742 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.927 | 94456.9446 | 211554.7399 | 27.3 | 43.4
122470 | 2021-05-03 12:36 | 17.67 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3016 | μmol/L | 30.3865 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.927 | 94461.556 | 211548.2171 | 27.3 | 43.4
122480 | 2021-05-03 12:36 | 18.0029 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3062 | μmol/L | 30.3681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.933 | 94471.156 | 211548.6899 | 27.3 | 43.4
122490 | 2021-05-03 12:37 | 18.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.4107 | μmol/L | 30.3436 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.936 | 94484.3658 | 211528.7596 | 27.3 | 43.4
122500 | 2021-05-03 12:37 | 18.6695 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3093 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.937 | 94506.1556 | 211538.2089 | 27.3 | 43.4
122510 | 2021-05-03 12:37 | 19.0026 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3564 | μmol/L | 30.3252 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.945 | 94533.1349 | 211538.6369 | 27.3 | 43.4
122520 | 2021-05-03 12:38 | 19.3364 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.2369 | μmol/L | 30.3313 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.949 | 94551.3415 | 211537.293 | 27.3 | 43.4
122530 | 2021-05-03 12:38 | 19.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.0359 | μmol/L | 30.3497 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.953 | 94572.9397 | 211523.507 | 27.3 | 43.4
122540 | 2021-05-03 12:38 | 20.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.7582 | μmol/L | 30.362 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.963 | 94593.8862 | 211536.931 | 27.3 | 43.4
122550 | 2021-05-03 12:39 | 20.3366 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5968 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.965 | 94616.5888 | 211530.2328 | 27.3 | 43.4
122560 | 2021-05-03 12:39 | 20.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5968 | μmol/L | 30.3803 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.965 | 94631.3656 | 211507.3538 | 27.3 | 43.4
122570 | 2021-05-03 12:39 | 21.003 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4809 | μmol/L | 30.3742 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.973 | 94646.2261 | 211505.0213 | 27.3 | 43.4
122580 | 2021-05-03 12:40 | 21.3359 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.5412 | μmol/L | 30.3681 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.972 | 94642.6884 | 211509.4101 | 27.3 | 43.4
122590 | 2021-05-03 12:40 | 21.6697 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.701 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.968 | 94659.9183 | 211502.6682 | 27.3 | 43.4
122600 | 2021-05-03 12:40 | 22.0028 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.427 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.982 | 94685.3215 | 211502.7919 | 27.3 | 43.4
122610 | 2021-05-03 12:41 | 22.3365 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4662 | μmol/L | 30.3558 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.98 | 94691.3136 | 211496.015 | 27.3 | 43.4