## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121942 | 2021-05-03 12:18 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3036 | μmol/L | 30.5734 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.791 | 111673.1654 | 266298.0554 | 36.4 | 83.1
121952 | 2021-05-03 12:19 | 0.33687 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.7755 | μmol/L | 30.6656 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.836 | 111960.3671 | 266277.5216 | 36.4 | 83.1
121962 | 2021-05-03 12:19 | 0.67082 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8933 | μmol/L | 30.6902 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.872 | 112209.9886 | 266279.5228 | 36.4 | 83.1
121972 | 2021-05-03 12:19 | 1.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6389 | μmol/L | 30.6164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.91 | 112416.6252 | 266276.6799 | 36.4 | 83.1
121982 | 2021-05-03 12:20 | 1.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.5929 | μmol/L | 30.5734 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.927 | 112542.4025 | 266276.6122 | 36.4 | 83.1
121992 | 2021-05-03 12:20 | 1.6704 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.8316 | μmol/L | 30.6103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.953 | 112682.1674 | 266257.2212 | 36.4 | 83.1
122002 | 2021-05-03 12:20 | 2.0043 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.6545 | μmol/L | 30.6103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.962 | 112761.169 | 266254.6049 | 36.4 | 83.1
122012 | 2021-05-03 12:21 | 2.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.4383 | μmol/L | 30.6103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.973 | 112835.3768 | 266256.8419 | 36.4 | 83.1
122022 | 2021-05-03 12:21 | 2.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.2616 | μmol/L | 30.6103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.982 | 112893.577 | 266243.8211 | 36.4 | 83.1
122032 | 2021-05-03 12:21 | 3.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.1714 | μmol/L | 30.5857 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.995 | 112951.0905 | 266226.6875 | 36.4 | 83.1
122042 | 2021-05-03 12:22 | 3.3372 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.1538 | μmol/L | 30.5795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.998 | 112983.559 | 266229.8533 | 36.4 | 83.1
122052 | 2021-05-03 12:22 | 3.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0401 | μmol/L | 30.5673 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.008 | 113024.8251 | 266225.2282 | 36.4 | 83.1
122062 | 2021-05-03 12:22 | 4.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7622 | μmol/L | 30.5795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.018 | 113073.5075 | 266218.4125 | 36.4 | 83.1
122072 | 2021-05-03 12:23 | 4.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7817 | μmol/L | 30.5795 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.017 | 113079.8858 | 266208.7628 | 36.4 | 83.1
122082 | 2021-05-03 12:23 | 4.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6704 | μmol/L | 30.5611 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.029 | 113119.5583 | 266202.9986 | 36.4 | 83.1
122092 | 2021-05-03 12:23 | 5.0038 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.8426 | μmol/L | 30.5119 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.037 | 113159.3728 | 266195.9998 | 36.4 | 83.1
122102 | 2021-05-03 12:24 | 5.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4595 | μmol/L | 30.5488 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.044 | 113183.6985 | 266189.6712 | 36.4 | 83.1
122112 | 2021-05-03 12:24 | 5.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.827 | μmol/L | 30.4996 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.042 | 113187.961 | 266186.9814 | 36.4 | 83.1
122122 | 2021-05-03 12:24 | 6.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.6375 | μmol/L | 30.4812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.058 | 113263.5474 | 266179.808 | 36.4 | 83.1
122132 | 2021-05-03 12:25 | 6.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3799 | μmol/L | 30.4935 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.067 | 113307.0936 | 266173.7243 | 36.4 | 83.1
122142 | 2021-05-03 12:25 | 6.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4873 | μmol/L | 30.4628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.072 | 113343.7273 | 266162.2033 | 36.4 | 83.1
122152 | 2021-05-03 12:25 | 7.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5009 | μmol/L | 30.4812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.065 | 113324.9353 | 266155.0865 | 36.4 | 83.1
122162 | 2021-05-03 12:26 | 7.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3955 | μmol/L | 30.5058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.062 | 113307.7996 | 266159.8839 | 36.4 | 83.1
122172 | 2021-05-03 12:26 | 7.6709 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.259 | μmol/L | 30.5058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.069 | 113321.8399 | 266165.2495 | 36.4 | 83.1
122182 | 2021-05-03 12:26 | 8.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4464 | μmol/L | 30.4689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.072 | 113329.4651 | 266149.4422 | 36.4 | 83.1
122192 | 2021-05-03 12:27 | 8.3373 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4972 | μmol/L | 30.432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.082 | 113370.4909 | 266136.1498 | 36.4 | 83.1
122202 | 2021-05-03 12:27 | 8.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5031 | μmol/L | 30.4136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.088 | 113417.7452 | 266143.8788 | 36.4 | 83.1
122212 | 2021-05-03 12:27 | 9.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.1815 | μmol/L | 30.4443 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.094 | 113450.745 | 266138.4135 | 36.4 | 83.1
122222 | 2021-05-03 12:28 | 9.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0199 | μmol/L | 30.4628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.096 | 113467.5445 | 266119.8528 | 36.4 | 83.1
122232 | 2021-05-03 12:28 | 9.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0025 | μmol/L | 30.4566 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.099 | 113467.61 | 266130.6971 | 36.4 | 83.1
122242 | 2021-05-03 12:28 | 10.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3336 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.103 | 113497.3401 | 266132.1243 | 36.4 | 83.1
122252 | 2021-05-03 12:29 | 10.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0085 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.105 | 113506.901 | 266114.7869 | 36.4 | 83.1
122262 | 2021-05-03 12:29 | 10.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0573 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.113 | 113539.6459 | 266112.5207 | 36.4 | 83.1
122272 | 2021-05-03 12:29 | 11.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.4508 | μmol/L | 30.4812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.119 | 113565.4918 | 266117.8191 | 36.4 | 83.1
122282 | 2021-05-03 12:30 | 11.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3519 | μmol/L | 30.4874 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.122 | 113583.4127 | 266116.252 | 36.4 | 83.1
122292 | 2021-05-03 12:30 | 11.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2978 | μmol/L | 30.4751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.129 | 113622.6223 | 266106.4919 | 36.4 | 83.1
122302 | 2021-05-03 12:30 | 12.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.2224 | μmol/L | 30.4689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.135 | 113644.8639 | 266096.5777 | 36.4 | 83.1
122312 | 2021-05-03 12:31 | 12.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3447 | μmol/L | 30.4505 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.135 | 113662.6165 | 266091.5571 | 36.4 | 83.1
122322 | 2021-05-03 12:31 | 12.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.1552 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.149 | 113713.389 | 266082.3319 | 36.4 | 83.1
122332 | 2021-05-03 12:31 | 13.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.4443 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.153 | 113734.0526 | 266082.1552 | 36.4 | 83.1
122342 | 2021-05-03 12:32 | 13.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.3262 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.157 | 113759.6817 | 266080.1264 | 36.4 | 83.1
122352 | 2021-05-03 12:32 | 13.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.1307 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.165 | 113806.0822 | 266067.5822 | 36.4 | 83.1
122362 | 2021-05-03 12:32 | 14.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.9273 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.165 | 113811.4465 | 266065.6878 | 36.4 | 83.1
122372 | 2021-05-03 12:33 | 14.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8349 | μmol/L | 30.4136 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.174 | 113847.4751 | 266069.7813 | 36.4 | 83.1
122382 | 2021-05-03 12:33 | 14.6702 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8471 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.186 | 113898.7344 | 266043.8557 | 36.4 | 83.1
122392 | 2021-05-03 12:33 | 15.0041 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.6867 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.188 | 113937.5463 | 266049.8468 | 36.4 | 83.1
122402 | 2021-05-03 12:34 | 15.337 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3682 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.194 | 113983.7041 | 266035.7856 | 36.4 | 83.1
122412 | 2021-05-03 12:34 | 15.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1717 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.2 | 114005.8767 | 266041.7698 | 36.4 | 83.1
122422 | 2021-05-03 12:34 | 16.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.8731 | μmol/L | 30.4689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.205 | 114042.0941 | 266038.2104 | 36.4 | 83.1
122432 | 2021-05-03 12:35 | 16.3368 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.7279 | μmol/L | 30.4443 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.221 | 114110.3724 | 266031.0959 | 36.4 | 83.1
122442 | 2021-05-03 12:35 | 16.6705 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4279 | μmol/L | 30.4812 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.224 | 114154.0645 | 266025.4213 | 36.4 | 83.1
122452 | 2021-05-03 12:35 | 17.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.4683 | μmol/L | 30.4751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.224 | 114164.6548 | 266021.2188 | 36.4 | 83.1
122462 | 2021-05-03 12:36 | 17.3371 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.6701 | μmol/L | 30.389 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.243 | 114230.5408 | 266003.7721 | 36.4 | 83.1
122472 | 2021-05-03 12:36 | 17.6701 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.3512 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.247 | 114230.5683 | 266003.7561 | 36.4 | 83.1
122482 | 2021-05-03 12:36 | 18.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.3087 | μmol/L | 30.4382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.245 | 114268.2847 | 265999.1414 | 36.4 | 83.1
122492 | 2021-05-03 12:37 | 18.3369 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.2535 | μmol/L | 30.432 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.25 | 114290.686 | 266001.4362 | 36.4 | 83.1
122502 | 2021-05-03 12:37 | 18.6708 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.2365 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.253 | 114280.8518 | 265992.903 | 36.4 | 83.1
122512 | 2021-05-03 12:37 | 19.0036 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1812 | μmol/L | 30.4197 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.258 | 114325.376 | 265982.8497 | 36.4 | 83.1
122522 | 2021-05-03 12:38 | 19.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.351 | μmol/L | 30.3706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.266 | 114362.2697 | 265970.2569 | 36.4 | 83.1
122532 | 2021-05-03 12:38 | 19.6707 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.003 | μmol/L | 30.3829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.28 | 114429.4423 | 265976.7071 | 36.4 | 83.1
122542 | 2021-05-03 12:38 | 20.0037 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8271 | μmol/L | 30.3952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.285 | 114459.4565 | 265978.2327 | 36.4 | 83.1
122552 | 2021-05-03 12:39 | 20.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.7466 | μmol/L | 30.4075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.285 | 114455.468 | 265960.3697 | 36.4 | 83.1
122562 | 2021-05-03 12:39 | 20.6706 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8525 | μmol/L | 30.3767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.29 | 114501.1239 | 265958.3791 | 36.4 | 83.1
122572 | 2021-05-03 12:39 | 21.0039 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0935 | μmol/L | 30.4259 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.313 | 114611.9704 | 265953.1648 | 36.4 | 83.1
122582 | 2021-05-03 12:40 | 21.3374 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6633 | μmol/L | 30.4628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.323 | 114640.0204 | 265960.2135 | 36.4 | 83.1
122592 | 2021-05-03 12:40 | 21.6703 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.5409 | μmol/L | 30.4874 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.321 | 114655.4471 | 265943.7983 | 36.4 | 83.1
122602 | 2021-05-03 12:40 | 22.004 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.075 | μmol/L | 30.3706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.333 | 114714.6318 | 265939.7277 | 36.4 | 83.1
122612 | 2021-05-03 12:41 | 22.3375 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.0625 | μmol/L | 30.3521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.34 | 114760.9893 | 265922.9519 | 36.4 | 83.1