## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121941 | 2021-05-03 12:18 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.8905 | μmol/L | 30.607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.421 | 85782.4859 | 288950.4089 | 28.7 | 67.6
121951 | 2021-05-03 12:19 | 0.32794 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5151 | μmol/L | 30.607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.442 | 85891.6852 | 288964.9223 | 28.7 | 67.6
121961 | 2021-05-03 12:19 | 0.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0497 | μmol/L | 30.6192 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.464 | 86002.9798 | 288950.7297 | 28.7 | 67.6
121971 | 2021-05-03 12:19 | 0.99476 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8745 | μmol/L | 30.6009 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.48 | 86058.9352 | 288949.3731 | 28.7 | 67.6
121981 | 2021-05-03 12:20 | 1.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3132 | μmol/L | 30.5215 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.482 | 86078.0446 | 288944.8466 | 28.7 | 67.6
121991 | 2021-05-03 12:20 | 1.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3531 | μmol/L | 30.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.49 | 86097.3607 | 288937.0532 | 28.7 | 67.6
122001 | 2021-05-03 12:20 | 1.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7724 | μmol/L | 30.5704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.496 | 86122.3119 | 288934.0743 | 28.7 | 67.6
122011 | 2021-05-03 12:21 | 2.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6658 | μmol/L | 30.5704 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.502 | 86168.2768 | 288920.7005 | 28.7 | 67.6
122021 | 2021-05-03 12:21 | 2.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.096 | μmol/L | 30.5887 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.528 | 86215.7576 | 288923.578 | 28.7 | 67.6
122031 | 2021-05-03 12:21 | 2.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.0699 | μmol/L | 30.5276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.55 | 86312.6439 | 288912.3164 | 28.7 | 67.6
122041 | 2021-05-03 12:22 | 3.3281 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2486 | μmol/L | 30.5154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.544 | 86297.8353 | 288895.1721 | 28.7 | 67.6
122051 | 2021-05-03 12:22 | 3.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8179 | μmol/L | 30.5582 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.554 | 86348.9397 | 288885.9483 | 28.7 | 67.6
122061 | 2021-05-03 12:22 | 3.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6796 | μmol/L | 30.5399 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.568 | 86409.8581 | 288895.3434 | 28.7 | 67.6
122071 | 2021-05-03 12:23 | 4.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5247 | μmol/L | 30.5154 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.585 | 86476.4279 | 288886.2657 | 28.7 | 67.6
122081 | 2021-05-03 12:23 | 4.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2275 | μmol/L | 30.5032 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.606 | 86561.4047 | 288872.8972 | 28.7 | 67.6
122091 | 2021-05-03 12:23 | 4.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9104 | μmol/L | 30.5093 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.622 | 86634.4586 | 288875.3274 | 28.7 | 67.6
122101 | 2021-05-03 12:24 | 5.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9493 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.628 | 86662.3299 | 288864.8004 | 28.7 | 67.6
122111 | 2021-05-03 12:24 | 5.6611 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.739 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.64 | 86693.2786 | 288861.8684 | 28.7 | 67.6
122121 | 2021-05-03 12:24 | 5.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.7224 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.643 | 86716.9435 | 288850.7422 | 28.7 | 67.6
122131 | 2021-05-03 12:25 | 6.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.4754 | μmol/L | 30.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.653 | 86757.2799 | 288844.0891 | 28.7 | 67.6
122141 | 2021-05-03 12:25 | 6.661 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5473 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.653 | 86749.1805 | 288834.0411 | 28.7 | 67.6
122151 | 2021-05-03 12:25 | 6.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1978 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.673 | 86824.6744 | 288836.4535 | 28.7 | 67.6
122161 | 2021-05-03 12:26 | 7.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0796 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.688 | 86852.897 | 288826.7502 | 28.7 | 67.6
122171 | 2021-05-03 12:26 | 7.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1484 | μmol/L | 30.4605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.682 | 86843.013 | 288834.6424 | 28.7 | 67.6
122181 | 2021-05-03 12:26 | 7.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.098 | μmol/L | 30.4483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.689 | 86883.0817 | 288812.2832 | 28.7 | 67.6
122191 | 2021-05-03 12:27 | 8.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8241 | μmol/L | 30.4178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.715 | 86973.633 | 288810.9605 | 28.7 | 67.6
122201 | 2021-05-03 12:27 | 8.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9431 | μmol/L | 30.4361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.702 | 86960.2455 | 288784.5284 | 28.7 | 67.6
122211 | 2021-05-03 12:27 | 8.9943 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2048 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.728 | 87037.6418 | 288782.0355 | 28.7 | 67.6
122221 | 2021-05-03 12:28 | 9.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0345 | μmol/L | 30.4666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.744 | 87089.8435 | 288772.9283 | 28.7 | 67.6
122231 | 2021-05-03 12:28 | 9.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.7696 | μmol/L | 30.4971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.749 | 87127.2501 | 288780.5903 | 28.7 | 67.6
122241 | 2021-05-03 12:28 | 9.9948 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.6124 | μmol/L | 30.4361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.721 | 87042.2645 | 288773.2817 | 28.7 | 67.6
122251 | 2021-05-03 12:29 | 10.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9185 | μmol/L | 30.4361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.761 | 87170.8583 | 288757.8229 | 28.7 | 67.6
122261 | 2021-05-03 12:29 | 10.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0825 | μmol/L | 30.3873 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.768 | 87215.8164 | 288758.7752 | 28.7 | 67.6
122271 | 2021-05-03 12:29 | 10.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.5329 | μmol/L | 30.4666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.773 | 87210.7959 | 288753.2985 | 28.7 | 67.6
122281 | 2021-05-03 12:30 | 11.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8787 | μmol/L | 30.4666 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.753 | 87159.4912 | 288739.2719 | 28.7 | 67.6
122291 | 2021-05-03 12:30 | 11.6613 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2793 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.734 | 87106.8419 | 288732.777 | 28.7 | 67.6
122301 | 2021-05-03 12:30 | 11.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0875 | μmol/L | 30.4605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.743 | 87122.2065 | 288722.7626 | 28.7 | 67.6
122311 | 2021-05-03 12:31 | 12.3273 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.0151 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.741 | 87116.693 | 288721.1753 | 28.7 | 67.6
122321 | 2021-05-03 12:31 | 12.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9123 | μmol/L | 30.4727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.749 | 87132.8746 | 288728.7368 | 28.7 | 67.6
122331 | 2021-05-03 12:31 | 12.9942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.9164 | μmol/L | 30.4483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.757 | 87159.856 | 288719.9168 | 28.7 | 67.6
122341 | 2021-05-03 12:32 | 13.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8063 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.751 | 87164.0075 | 288702.6216 | 28.7 | 67.6
122351 | 2021-05-03 12:32 | 13.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8063 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.751 | 87167.1534 | 288703.4209 | 28.7 | 67.6
122361 | 2021-05-03 12:32 | 13.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4607 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.771 | 87218.0922 | 288683.8173 | 28.7 | 67.6
122371 | 2021-05-03 12:33 | 14.3278 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.8157 | μmol/L | 30.43 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.769 | 87248.6722 | 288685.6713 | 28.7 | 67.6
122381 | 2021-05-03 12:33 | 14.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6376 | μmol/L | 30.4605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.769 | 87219.7758 | 288673.5433 | 28.7 | 67.6
122391 | 2021-05-03 12:33 | 14.9945 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.6214 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.772 | 87240.0604 | 288669.0266 | 28.7 | 67.6
122401 | 2021-05-03 12:34 | 15.3275 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.7151 | μmol/L | 30.4117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.781 | 87272.1713 | 288684.3404 | 28.7 | 67.6
122411 | 2021-05-03 12:34 | 15.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.3733 | μmol/L | 30.491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.774 | 87256.0862 | 288667.8136 | 28.7 | 67.6
122421 | 2021-05-03 12:34 | 15.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.341 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.78 | 87286.8915 | 288668.8187 | 28.7 | 67.6
122431 | 2021-05-03 12:35 | 16.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.1847 | μmol/L | 30.4849 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.787 | 87304.5872 | 288664.9006 | 28.7 | 67.6
122441 | 2021-05-03 12:35 | 16.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.104 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.802 | 87368.5834 | 288646.1549 | 28.7 | 67.6
122451 | 2021-05-03 12:35 | 16.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8244 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.81 | 87417.4763 | 288647.272 | 28.7 | 67.6
122461 | 2021-05-03 12:36 | 17.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.76 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.822 | 87466.489 | 288642.0742 | 28.7 | 67.6
122471 | 2021-05-03 12:36 | 17.6612 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6076 | μmol/L | 30.4422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.835 | 87521.155 | 288635.8314 | 28.7 | 67.6
122481 | 2021-05-03 12:36 | 17.9942 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.087 | μmol/L | 30.4788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.853 | 87578.577 | 288646.2994 | 28.7 | 67.6
122491 | 2021-05-03 12:37 | 18.328 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9855 | μmol/L | 30.4727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.861 | 87623.5038 | 288614.6349 | 28.7 | 67.6
122501 | 2021-05-03 12:37 | 18.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.235 | μmol/L | 30.4178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.865 | 87633.7953 | 288627.5518 | 28.7 | 67.6
122511 | 2021-05-03 12:37 | 18.9947 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8225 | μmol/L | 30.43 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.885 | 87709.9852 | 288608.7499 | 28.7 | 67.6
122521 | 2021-05-03 12:38 | 19.3274 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.4963 | μmol/L | 30.4422 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.9 | 87769.3229 | 288608.2923 | 28.7 | 67.6
122531 | 2021-05-03 12:38 | 19.6607 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3032 | μmol/L | 30.4727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.901 | 87798.7065 | 288596.3484 | 28.7 | 67.6
122541 | 2021-05-03 12:38 | 19.9946 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0212 | μmol/L | 30.4361 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.93 | 87882.2669 | 288579.8401 | 28.7 | 67.6
122551 | 2021-05-03 12:39 | 20.3276 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.7135 | μmol/L | 30.4483 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.944 | 87958.0887 | 288594.5356 | 28.7 | 67.6
122561 | 2021-05-03 12:39 | 20.6609 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9895 | μmol/L | 30.4239 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.936 | 87926.2354 | 288579.7885 | 28.7 | 67.6
122571 | 2021-05-03 12:39 | 20.9941 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.0246 | μmol/L | 30.4178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.936 | 87938.3853 | 288585.2231 | 28.7 | 67.6
122581 | 2021-05-03 12:40 | 21.3277 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8357 | μmol/L | 30.43 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.943 | 87965.3582 | 288575.0916 | 28.7 | 67.6
122591 | 2021-05-03 12:40 | 21.6614 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.3446 | μmol/L | 30.43 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.972 | 88074.4533 | 288564.6247 | 28.7 | 67.6
122601 | 2021-05-03 12:40 | 21.9944 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2806 | μmol/L | 30.4117 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.982 | 88122.4562 | 288562.1469 | 28.7 | 67.6
122611 | 2021-05-03 12:41 | 22.3279 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.1034 | μmol/L | 30.4544 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.978 | 88099.849 | 288557.3997 | 28.7 | 67.6