## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121944 | 2021-05-03 12:18 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.9832 | μmol/L | 30.6623 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.273 | 122749.1388 | 289578.4763 | 59.9307 | 49.4
121954 | 2021-05-03 12:19 | 0.34031 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.4942 | μmol/L | 30.7366 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.275 | 124007.7902 | 289576.6102 | 59.9307 | 49.4
121964 | 2021-05-03 12:19 | 0.67339 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.3013 | μmol/L | 30.7056 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.296 | 124111.9426 | 289570.6323 | 59.9307 | 49.4
121974 | 2021-05-03 12:19 | 1.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7706 | μmol/L | 30.7304 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.317 | 124323.4966 | 289548.7847 | 59.9307 | 49.4
121984 | 2021-05-03 12:20 | 1.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3704 | μmol/L | 30.7428 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.335 | 124506.8669 | 289536.1048 | 59.9307 | 49.4
121994 | 2021-05-03 12:20 | 1.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.9912 | μmol/L | 30.7861 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.341 | 124663.0968 | 289542.1325 | 59.9307 | 49.4
122004 | 2021-05-03 12:20 | 2.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5418 | μmol/L | 30.7861 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.366 | 124357.1483 | 289518.5838 | 59.9307 | 49.4
122014 | 2021-05-03 12:21 | 2.3399 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8852 | μmol/L | 30.6994 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.376 | 124720.1509 | 289513.7916 | 59.9307 | 49.4
122024 | 2021-05-03 12:21 | 2.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6503 | μmol/L | 30.7056 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.387 | 124897.0705 | 289511.5924 | 59.9307 | 49.4
122034 | 2021-05-03 12:21 | 3.0067 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4646 | μmol/L | 30.6932 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.402 | 124597.5833 | 289499.111 | 59.9307 | 49.4
122044 | 2021-05-03 12:22 | 3.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4387 | μmol/L | 30.6499 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.418 | 124626.5846 | 289491.0368 | 59.9307 | 49.4
122054 | 2021-05-03 12:22 | 3.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6661 | μmol/L | 30.557 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.436 | 124515.2433 | 289487.3077 | 59.9307 | 49.4
122064 | 2021-05-03 12:22 | 4.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4345 | μmol/L | 30.5508 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.451 | 124581.4112 | 289481.4502 | 59.9307 | 49.4
122074 | 2021-05-03 12:23 | 4.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8884 | μmol/L | 30.5942 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.467 | 124621.5819 | 289480.4927 | 59.9307 | 49.4
122084 | 2021-05-03 12:23 | 4.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8884 | μmol/L | 30.5942 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.467 | 124453.1907 | 289462.6409 | 59.9307 | 49.4
122094 | 2021-05-03 12:23 | 5.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6744 | μmol/L | 30.5942 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.479 | 124291.9755 | 289458.1504 | 59.9307 | 49.4
122104 | 2021-05-03 12:24 | 5.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7941 | μmol/L | 30.5384 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.491 | 124662.7695 | 289439.1692 | 59.9307 | 49.4
122114 | 2021-05-03 12:24 | 5.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3547 | μmol/L | 30.427 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.497 | 124936.9745 | 289426.9998 | 59.9307 | 49.4
122124 | 2021-05-03 12:24 | 6.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4124 | μmol/L | 30.4084 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.5 | 124729.6291 | 289445.4276 | 59.9307 | 49.4
122134 | 2021-05-03 12:25 | 6.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6807 | μmol/L | 30.4889 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.514 | 125219.259 | 289434.7812 | 59.9307 | 49.4
122144 | 2021-05-03 12:25 | 6.6733 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2702 | μmol/L | 30.4951 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.535 | 125102.9732 | 289440.0681 | 59.9307 | 49.4
122154 | 2021-05-03 12:25 | 7.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6469 | μmol/L | 30.5075 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.566 | 124505.723 | 289442.4525 | 59.9307 | 49.4
122164 | 2021-05-03 12:26 | 7.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.6776 | μmol/L | 30.4517 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.583 | 124521.2853 | 289442.1473 | 59.9307 | 49.4
122174 | 2021-05-03 12:26 | 7.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.1401 | μmol/L | 30.365 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.586 | 124554.4113 | 289426.5713 | 59.9307 | 49.4
122184 | 2021-05-03 12:26 | 8.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5376 | μmol/L | 30.4455 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.593 | 124444.5164 | 289414.4536 | 59.9307 | 49.4
122194 | 2021-05-03 12:27 | 8.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.0743 | μmol/L | 30.4208 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.571 | 124817.8773 | 289433.3909 | 59.9307 | 49.4
122204 | 2021-05-03 12:27 | 8.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8325 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.568 | 125534.5616 | 289407.2127 | 59.9307 | 49.4
122214 | 2021-05-03 12:27 | 9.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0875 | μmol/L | 30.557 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.581 | 126013.9062 | 289398.9688 | 59.9307 | 49.4
122224 | 2021-05-03 12:28 | 9.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3624 | μmol/L | 30.4393 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.605 | 126152.9195 | 289389.472 | 59.9307 | 49.4
122234 | 2021-05-03 12:28 | 9.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5241 | μmol/L | 30.557 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.613 | 126074.2392 | 289369.5952 | 59.9307 | 49.4
122244 | 2021-05-03 12:28 | 10.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2142 | μmol/L | 30.5322 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.639 | 126405.1781 | 289370.3515 | 59.9307 | 49.4
122254 | 2021-05-03 12:29 | 10.3397 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2644 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.657 | 126404.9381 | 289365.1077 | 59.9307 | 49.4
122264 | 2021-05-03 12:29 | 10.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1387 | μmol/L | 30.4827 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.66 | 126340.8543 | 289355.7078 | 59.9307 | 49.4
122274 | 2021-05-03 12:29 | 11.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4635 | μmol/L | 30.3712 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.679 | 126649.2485 | 289353.8073 | 59.9307 | 49.4
122284 | 2021-05-03 12:30 | 11.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4903 | μmol/L | 30.4889 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.695 | 126731.5791 | 289359.4398 | 59.9307 | 49.4
122294 | 2021-05-03 12:30 | 11.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.2985 | μmol/L | 30.4889 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.706 | 126768.4605 | 289352.8707 | 59.9307 | 49.4
122304 | 2021-05-03 12:30 | 12.0065 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.8742 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.721 | 126727.5961 | 289353.7046 | 59.9307 | 49.4
122314 | 2021-05-03 12:31 | 12.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0753 | μmol/L | 30.4765 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.723 | 127058.7973 | 289358.1952 | 59.9307 | 49.4
122324 | 2021-05-03 12:31 | 12.6732 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.0098 | μmol/L | 30.2907 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.732 | 127183.9307 | 289355.6092 | 59.9307 | 49.4
122334 | 2021-05-03 12:31 | 13.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.1572 | μmol/L | 30.427 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.735 | 127391.2042 | 289337.0236 | 59.9307 | 49.4
122344 | 2021-05-03 12:32 | 13.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5716 | μmol/L | 30.4765 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.752 | 127396.8613 | 289330.9747 | 59.9307 | 49.4
122354 | 2021-05-03 12:32 | 13.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5385 | μmol/L | 30.4703 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.756 | 127498.8746 | 289298.63 | 59.9307 | 49.4
122364 | 2021-05-03 12:32 | 14.0062 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.1858 | μmol/L | 30.4951 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.768 | 127638.804 | 289299.1888 | 59.9307 | 49.4
122374 | 2021-05-03 12:33 | 14.3402 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.066 | μmol/L | 30.3031 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.782 | 127605.8707 | 289311.9325 | 59.9307 | 49.4
122384 | 2021-05-03 12:33 | 14.6734 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3679 | μmol/L | 30.204 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.798 | 127524.3751 | 289310.0712 | 59.9307 | 49.4
122394 | 2021-05-03 12:33 | 15.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8132 | μmol/L | 30.2722 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.807 | 127490.5093 | 289304.3874 | 59.9307 | 49.4
122404 | 2021-05-03 12:34 | 15.3401 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4434 | μmol/L | 30.2969 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.82 | 127636.4621 | 289309.1561 | 59.9307 | 49.4
122414 | 2021-05-03 12:34 | 15.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.604 | μmol/L | 30.4084 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.831 | 127725.5344 | 289301.8627 | 59.9307 | 49.4
122424 | 2021-05-03 12:34 | 16.0069 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1423 | μmol/L | 30.4641 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.839 | 127955.4658 | 289310.8253 | 59.9307 | 49.4
122434 | 2021-05-03 12:35 | 16.34 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1128 | μmol/L | 30.4455 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.847 | 128056.0506 | 289311.6593 | 59.9307 | 49.4
122444 | 2021-05-03 12:35 | 16.673 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5182 | μmol/L | 30.3403 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 128048.6986 | 289306.274 | 59.9307 | 49.4
122454 | 2021-05-03 12:35 | 17.0064 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.7966 | μmol/L | 30.2598 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.87 | 128048.8586 | 289312.1244 | 59.9307 | 49.4
122464 | 2021-05-03 12:36 | 17.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5182 | μmol/L | 30.2722 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.882 | 127962.8297 | 289310.1424 | 59.9307 | 49.4
122474 | 2021-05-03 12:36 | 17.6731 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.3807 | μmol/L | 30.2722 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.89 | 128032.3077 | 289306.1522 | 59.9307 | 49.4
122484 | 2021-05-03 12:36 | 18.007 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.4947 | μmol/L | 30.2288 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.898 | 128040.4952 | 289303.8488 | 59.9307 | 49.4
122494 | 2021-05-03 12:37 | 18.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.0718 | μmol/L | 30.2722 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.908 | 128090.0316 | 289296.502 | 59.9307 | 49.4
122504 | 2021-05-03 12:37 | 18.6736 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5985 | μmol/L | 30.3155 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.921 | 128005.5214 | 289287.3582 | 59.9307 | 49.4
122514 | 2021-05-03 12:37 | 19.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4585 | μmol/L | 30.3279 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.925 | 128222.2487 | 289282.7785 | 59.9307 | 49.4
122524 | 2021-05-03 12:38 | 19.3396 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3812 | μmol/L | 30.2969 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.94 | 128289.5606 | 289285.1197 | 59.9307 | 49.4
122534 | 2021-05-03 12:38 | 19.6729 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7548 | μmol/L | 30.3465 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.96 | 128153.048 | 289274.2868 | 59.9307 | 49.4
122544 | 2021-05-03 12:38 | 20.0066 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3183 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.973 | 128072.9163 | 289272.2361 | 59.9307 | 49.4
122554 | 2021-05-03 12:39 | 20.3403 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4191 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.965 | 128459.6025 | 289256.1219 | 59.9307 | 49.4
122564 | 2021-05-03 12:39 | 20.6737 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1341 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.988 | 128377.1755 | 289239.9585 | 59.9307 | 49.4
122574 | 2021-05-03 12:39 | 21.0068 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3742 | μmol/L | 30.3093 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.995 | 128401.1017 | 289241.3938 | 59.9307 | 49.4
122584 | 2021-05-03 12:40 | 21.3398 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4043 | μmol/L | 30.2598 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.01 | 128359.2878 | 289269.2767 | 59.9307 | 49.4
122594 | 2021-05-03 12:40 | 21.6735 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3567 | μmol/L | 30.2474 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.017 | 128291.4188 | 289237.842 | 59.9307 | 49.4
122604 | 2021-05-03 12:40 | 22.0063 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4496 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.022 | 128407.5564 | 289233.4429 | 59.9307 | 49.4
122614 | 2021-05-03 12:41 | 22.3395 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1431 | μmol/L | 30.2226 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.038 | 128540.3628 | 289222.3948 | 59.9307 | 49.4