## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121945 | 2021-05-03 12:18 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5183 | μmol/L | 30.7882 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.307 | 131486.8569 | 300409.3496 | 33.25 | 68.6
121955 | 2021-05-03 12:19 | 0.32903 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0146 | μmol/L | 30.9225 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.289 | 131306.2468 | 300430.7835 | 33.25 | 68.6
121965 | 2021-05-03 12:19 | 0.66292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8529 | μmol/L | 30.9775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.279 | 131197.6739 | 300417.5528 | 33.25 | 68.6
121975 | 2021-05-03 12:19 | 0.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0166 | μmol/L | 30.953 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.278 | 131144.3904 | 300415.0242 | 33.25 | 68.6
121985 | 2021-05-03 12:20 | 1.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8529 | μmol/L | 30.9775 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.279 | 131127.3288 | 300402.3424 | 33.25 | 68.6
121995 | 2021-05-03 12:20 | 1.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7488 | μmol/L | 30.9836 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.283 | 131127.4755 | 300393.3868 | 33.25 | 68.6
122005 | 2021-05-03 12:20 | 1.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7944 | μmol/L | 30.9591 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.289 | 131166.823 | 300382.2837 | 33.25 | 68.6
122015 | 2021-05-03 12:21 | 2.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4669 | μmol/L | 30.8248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.297 | 131219.6462 | 300373.8868 | 33.25 | 68.6
122025 | 2021-05-03 12:21 | 2.6631 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2474 | μmol/L | 30.8248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.31 | 131269.2281 | 300374.0362 | 33.25 | 68.6
122035 | 2021-05-03 12:21 | 2.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2364 | μmol/L | 30.8126 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.315 | 131316.0362 | 300367.3843 | 33.25 | 68.6
122045 | 2021-05-03 12:22 | 3.329 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0281 | μmol/L | 30.8248 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.323 | 131360.516 | 300344.0041 | 33.25 | 68.6
122055 | 2021-05-03 12:22 | 3.6623 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9805 | μmol/L | 30.8187 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.328 | 131426.717 | 300345.5987 | 33.25 | 68.6
122065 | 2021-05-03 12:22 | 3.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1417 | μmol/L | 30.7637 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.338 | 131480.5748 | 300340.0798 | 33.25 | 68.6
122075 | 2021-05-03 12:23 | 4.3294 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9168 | μmol/L | 30.7759 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.347 | 131555.0988 | 300336.9472 | 33.25 | 68.6
122085 | 2021-05-03 12:23 | 4.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4936 | μmol/L | 30.7821 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.37 | 131682.2372 | 300326.6008 | 33.25 | 68.6
122095 | 2021-05-03 12:23 | 4.9963 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1582 | μmol/L | 30.7821 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.39 | 131829.2297 | 300327.7741 | 33.25 | 68.6
122105 | 2021-05-03 12:24 | 5.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9328 | μmol/L | 30.7637 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.41 | 131948.1621 | 300319.7077 | 33.25 | 68.6
122115 | 2021-05-03 12:24 | 5.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0706 | μmol/L | 30.721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.417 | 132016.0992 | 300309.199 | 33.25 | 68.6
122125 | 2021-05-03 12:24 | 5.9959 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1187 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.425 | 132053.2267 | 300304.038 | 33.25 | 68.6
122135 | 2021-05-03 12:25 | 6.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5448 | μmol/L | 30.605 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.43 | 132078.2823 | 300299.7822 | 33.25 | 68.6
122145 | 2021-05-03 12:25 | 6.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9594 | μmol/L | 30.7088 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.428 | 132073.4051 | 300282.553 | 33.25 | 68.6
122155 | 2021-05-03 12:25 | 6.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0991 | μmol/L | 30.6966 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.424 | 132021.5079 | 300271.256 | 33.25 | 68.6
122165 | 2021-05-03 12:26 | 7.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3649 | μmol/L | 30.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.419 | 131943.0407 | 300273.3233 | 33.25 | 68.6
122175 | 2021-05-03 12:26 | 7.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7207 | μmol/L | 30.6233 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.413 | 131897.0673 | 300274.6685 | 33.25 | 68.6
122185 | 2021-05-03 12:26 | 7.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5573 | μmol/L | 30.6844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.401 | 131835.2498 | 300259.1045 | 33.25 | 68.6
122195 | 2021-05-03 12:27 | 8.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9699 | μmol/L | 30.6294 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.396 | 131776.2537 | 300237.0726 | 33.25 | 68.6
122205 | 2021-05-03 12:27 | 8.663 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4926 | μmol/L | 30.6966 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.4 | 131820.7361 | 300241.7167 | 33.25 | 68.6
122215 | 2021-05-03 12:27 | 8.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7174 | μmol/L | 30.6477 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.404 | 131832.0356 | 300236.0281 | 33.25 | 68.6
122225 | 2021-05-03 12:28 | 9.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.642 | μmol/L | 30.6477 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.409 | 131841.5606 | 300236.4789 | 33.25 | 68.6
122235 | 2021-05-03 12:28 | 9.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6538 | μmol/L | 30.605 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.423 | 131948.2824 | 300211.9995 | 33.25 | 68.6
122245 | 2021-05-03 12:28 | 9.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2811 | μmol/L | 30.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.424 | 131997.1834 | 300223.3692 | 33.25 | 68.6
122255 | 2021-05-03 12:29 | 10.3295 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1509 | μmol/L | 30.6233 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.447 | 132130.478 | 300196.4312 | 33.25 | 68.6
122265 | 2021-05-03 12:29 | 10.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2353 | μmol/L | 30.5867 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.455 | 132194.1576 | 300197.9633 | 33.25 | 68.6
122275 | 2021-05-03 12:29 | 10.9962 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9482 | μmol/L | 30.5928 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.47 | 132257.4405 | 300202.8387 | 33.25 | 68.6
122285 | 2021-05-03 12:30 | 11.3292 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6754 | μmol/L | 30.605 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.482 | 132354.1947 | 300204.1382 | 33.25 | 68.6
122295 | 2021-05-03 12:30 | 11.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6175 | μmol/L | 30.5867 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.492 | 132412.0593 | 300183.3548 | 33.25 | 68.6
122305 | 2021-05-03 12:30 | 11.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1565 | μmol/L | 30.6111 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.511 | 132541.6379 | 300184.0445 | 33.25 | 68.6
122315 | 2021-05-03 12:31 | 12.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7362 | μmol/L | 30.6905 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.508 | 132524.5627 | 300175.8282 | 33.25 | 68.6
122325 | 2021-05-03 12:31 | 12.6628 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0528 | μmol/L | 30.6538 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.502 | 132479.5642 | 300168.6045 | 33.25 | 68.6
122335 | 2021-05-03 12:31 | 12.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.2194 | μmol/L | 30.6355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.498 | 132458.6782 | 300168.5039 | 33.25 | 68.6
122345 | 2021-05-03 12:32 | 13.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5499 | μmol/L | 30.6233 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.483 | 132359.9802 | 300146.5769 | 33.25 | 68.6
122355 | 2021-05-03 12:32 | 13.6626 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.695 | μmol/L | 30.5989 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.483 | 132351.1457 | 300150.2 | 33.25 | 68.6
122365 | 2021-05-03 12:32 | 13.9964 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4951 | μmol/L | 30.5989 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.495 | 132400.2883 | 300127.1807 | 33.25 | 68.6
122375 | 2021-05-03 12:33 | 14.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3887 | μmol/L | 30.6294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.49 | 132386.032 | 300133.9454 | 33.25 | 68.6
122385 | 2021-05-03 12:33 | 14.6624 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.662 | μmol/L | 30.5805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.491 | 132352.5176 | 300101.2208 | 33.25 | 68.6
122395 | 2021-05-03 12:33 | 14.996 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5121 | μmol/L | 30.5805 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.5 | 132400.8078 | 300116.2091 | 33.25 | 68.6
122405 | 2021-05-03 12:34 | 15.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6046 | μmol/L | 30.5439 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.508 | 132464.0804 | 300116.6603 | 33.25 | 68.6
122415 | 2021-05-03 12:34 | 15.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.312 | μmol/L | 30.5989 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.506 | 132477.0394 | 300110.6033 | 33.25 | 68.6
122425 | 2021-05-03 12:34 | 15.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.7588 | μmol/L | 30.6782 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.511 | 132474.5251 | 300113.4671 | 33.25 | 68.6
122435 | 2021-05-03 12:35 | 16.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.023 | μmol/L | 30.6294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.512 | 132485.7501 | 300103.4357 | 33.25 | 68.6
122445 | 2021-05-03 12:35 | 16.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.0993 | μmol/L | 30.5744 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.527 | 132561.4666 | 300105.064 | 33.25 | 68.6
122455 | 2021-05-03 12:35 | 16.9961 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9109 | μmol/L | 30.5867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.534 | 132609.0699 | 300095.7548 | 33.25 | 68.6
122465 | 2021-05-03 12:36 | 17.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9227 | μmol/L | 30.5622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.542 | 132641.5268 | 300084.491 | 33.25 | 68.6
122475 | 2021-05-03 12:36 | 17.6629 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5393 | μmol/L | 30.6355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.539 | 132648.3171 | 300072.7315 | 33.25 | 68.6
122485 | 2021-05-03 12:36 | 17.9958 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1351 | μmol/L | 30.6844 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.546 | 132676.0935 | 300070.3422 | 33.25 | 68.6
122495 | 2021-05-03 12:37 | 18.3297 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.1411 | μmol/L | 30.6721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 132689.1171 | 300078.0409 | 33.25 | 68.6
122505 | 2021-05-03 12:37 | 18.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4017 | μmol/L | 30.6294 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.55 | 132716.8406 | 300074.7363 | 33.25 | 68.6
122515 | 2021-05-03 12:37 | 18.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4684 | μmol/L | 30.6111 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.552 | 132755.44 | 300064.8105 | 33.25 | 68.6
122525 | 2021-05-03 12:38 | 19.3296 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3976 | μmol/L | 30.5867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.565 | 132789.3972 | 300045.6579 | 33.25 | 68.6
122535 | 2021-05-03 12:38 | 19.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9536 | μmol/L | 30.6172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.581 | 132896.4106 | 300040.7512 | 33.25 | 68.6
122545 | 2021-05-03 12:38 | 19.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0344 | μmol/L | 30.5867 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.587 | 132941.3319 | 300044.5396 | 33.25 | 68.6
122555 | 2021-05-03 12:39 | 20.3293 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4492 | μmol/L | 30.6721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132974.8495 | 300038.9829 | 33.25 | 68.6
122565 | 2021-05-03 12:39 | 20.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6377 | μmol/L | 30.6233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.598 | 133000.7824 | 300024.464 | 33.25 | 68.6
122575 | 2021-05-03 12:39 | 20.9957 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.418 | μmol/L | 30.6355 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.607 | 133054.1075 | 300025.9322 | 33.25 | 68.6
122585 | 2021-05-03 12:40 | 21.3289 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7499 | μmol/L | 30.5622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.613 | 133082.6459 | 300020.9069 | 33.25 | 68.6
122595 | 2021-05-03 12:40 | 21.6627 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4599 | μmol/L | 30.6172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.611 | 133091.6879 | 300004.262 | 33.25 | 68.6
122605 | 2021-05-03 12:40 | 21.9956 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8082 | μmol/L | 30.5439 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 133127.468 | 300004.9473 | 33.25 | 68.6
122615 | 2021-05-03 12:41 | 22.3291 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1891 | μmol/L | 30.6172 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.628 | 133168.8466 | 299993.3633 | 33.25 | 68.6