## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121946 | 2021-05-03 12:18 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.4677 | μmol/L | 30.9294 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.301 | 119811.9181 | 264729.4657 | 26.25 | 74
121956 | 2021-05-03 12:19 | 0.33721 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.0693 | μmol/L | 30.9478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.372 | 120288.9963 | 264733.754 | 26.25 | 74
121966 | 2021-05-03 12:19 | 0.67022 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1881 | μmol/L | 30.9478 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.421 | 120621.2653 | 264728.2593 | 26.25 | 74
121976 | 2021-05-03 12:19 | 1.0041 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5464 | μmol/L | 30.9356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.461 | 120852.3469 | 264728.1352 | 26.25 | 74
121986 | 2021-05-03 12:20 | 1.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9939 | μmol/L | 30.9356 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.492 | 121071.8078 | 264713.2793 | 26.25 | 74
121996 | 2021-05-03 12:20 | 1.6701 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5662 | μmol/L | 30.9417 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.514 | 121215.5952 | 264704.1059 | 26.25 | 74
122006 | 2021-05-03 12:20 | 2.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2689 | μmol/L | 30.9233 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.537 | 121380.6947 | 264707.8607 | 26.25 | 74
122016 | 2021-05-03 12:21 | 2.3369 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0986 | μmol/L | 30.8928 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.557 | 121499.3534 | 264698.8171 | 26.25 | 74
122026 | 2021-05-03 12:21 | 2.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0737 | μmol/L | 30.8439 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.575 | 121616.6185 | 264691.6275 | 26.25 | 74
122036 | 2021-05-03 12:21 | 3.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6287 | μmol/L | 30.8622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.594 | 121737.429 | 264687.4795 | 26.25 | 74
122046 | 2021-05-03 12:22 | 3.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.3646 | μmol/L | 30.8622 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.609 | 121831.607 | 264671.6639 | 26.25 | 74
122056 | 2021-05-03 12:22 | 3.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9513 | μmol/L | 30.8255 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.645 | 122067.409 | 264669.396 | 26.25 | 74
122066 | 2021-05-03 12:22 | 4.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.764 | μmol/L | 30.8011 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.664 | 122173.9506 | 264670.8157 | 26.25 | 74
122076 | 2021-05-03 12:23 | 4.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8233 | μmol/L | 30.7705 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.671 | 122227.7128 | 264659.7434 | 26.25 | 74
122086 | 2021-05-03 12:23 | 4.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.366 | μmol/L | 30.7827 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.693 | 122353.7625 | 264655.5377 | 26.25 | 74
122096 | 2021-05-03 12:23 | 5.0042 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0186 | μmol/L | 30.7766 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.715 | 122491.8369 | 264652.8495 | 26.25 | 74
122106 | 2021-05-03 12:24 | 5.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8069 | μmol/L | 30.7888 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.723 | 122549.3893 | 264639.5507 | 26.25 | 74
122116 | 2021-05-03 12:24 | 5.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6316 | μmol/L | 30.7949 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.731 | 122590.5435 | 264636.9921 | 26.25 | 74
122126 | 2021-05-03 12:24 | 6.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7777 | μmol/L | 30.7644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.733 | 122611.0807 | 264616.6124 | 26.25 | 74
122136 | 2021-05-03 12:25 | 6.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6978 | μmol/L | 30.7338 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.748 | 122666.0194 | 264613.152 | 26.25 | 74
122146 | 2021-05-03 12:25 | 6.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8104 | μmol/L | 30.6971 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.754 | 122720.1185 | 264612.1442 | 26.25 | 74
122156 | 2021-05-03 12:25 | 7.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4402 | μmol/L | 30.7216 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.767 | 122794.9593 | 264601.2885 | 26.25 | 74
122166 | 2021-05-03 12:26 | 7.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3896 | μmol/L | 30.7155 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.772 | 122805.3461 | 264609.0956 | 26.25 | 74
122176 | 2021-05-03 12:26 | 7.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5714 | μmol/L | 30.6788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.774 | 122837.5225 | 264597.7414 | 26.25 | 74
122186 | 2021-05-03 12:26 | 8.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4167 | μmol/L | 30.6727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.785 | 122871.0816 | 264583.0164 | 26.25 | 74
122196 | 2021-05-03 12:27 | 8.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3114 | μmol/L | 30.6788 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.789 | 122891.8453 | 264577.7865 | 26.25 | 74
122206 | 2021-05-03 12:27 | 8.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3918 | μmol/L | 30.6299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.801 | 122965.0541 | 264567.5207 | 26.25 | 74
122216 | 2021-05-03 12:27 | 9.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0934 | μmol/L | 30.6482 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.812 | 123012.208 | 264568.8496 | 26.25 | 74
122226 | 2021-05-03 12:28 | 9.3373 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9523 | μmol/L | 30.6604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.816 | 123062.0189 | 264545.7789 | 26.25 | 74
122236 | 2021-05-03 12:28 | 9.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8142 | μmol/L | 30.6604 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.824 | 123113.0738 | 264561.866 | 26.25 | 74
122246 | 2021-05-03 12:28 | 10.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1821 | μmol/L | 30.5626 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.836 | 123156.8523 | 264547.5323 | 26.25 | 74
122256 | 2021-05-03 12:29 | 10.3371 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6344 | μmol/L | 30.6176 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.849 | 123254.1261 | 264550.4946 | 26.25 | 74
122266 | 2021-05-03 12:29 | 10.6709 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3073 | μmol/L | 30.6176 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.868 | 123366.3339 | 264543.4086 | 26.25 | 74
122276 | 2021-05-03 12:29 | 11.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7537 | μmol/L | 30.636 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.894 | 123490.9325 | 264522.9348 | 26.25 | 74
122286 | 2021-05-03 12:30 | 11.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3644 | μmol/L | 30.5198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.898 | 123531.4918 | 264525.3695 | 26.25 | 74
122296 | 2021-05-03 12:30 | 11.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.4828 | μmol/L | 30.6238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.914 | 123609.45 | 264503.286 | 26.25 | 74
122306 | 2021-05-03 12:30 | 12.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3774 | μmol/L | 30.5382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.891 | 123506.2981 | 264498.0187 | 26.25 | 74
122316 | 2021-05-03 12:31 | 12.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.6128 | μmol/L | 30.581 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.921 | 123664.8405 | 264511.7576 | 26.25 | 74
122326 | 2021-05-03 12:31 | 12.6707 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8211 | μmol/L | 30.5687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.913 | 123630.3792 | 264508.9848 | 26.25 | 74
122336 | 2021-05-03 12:31 | 13.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7796 | μmol/L | 30.5993 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.905 | 123614.6834 | 264484.4038 | 26.25 | 74
122346 | 2021-05-03 12:32 | 13.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9691 | μmol/L | 30.6299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.942 | 123788.1409 | 264488.508 | 26.25 | 74
122356 | 2021-05-03 12:32 | 13.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.7988 | μmol/L | 30.6299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.952 | 123848.6722 | 264485.8388 | 26.25 | 74
122366 | 2021-05-03 12:32 | 14.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.8514 | μmol/L | 30.6238 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.951 | 123874.9094 | 264480.4811 | 26.25 | 74
122376 | 2021-05-03 12:33 | 14.337 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6857 | μmol/L | 30.6054 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.967 | 123967.0917 | 264481.5934 | 26.25 | 74
122386 | 2021-05-03 12:33 | 14.6708 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.6977 | μmol/L | 30.5565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.983 | 124065.6301 | 264466.166 | 26.25 | 74
122396 | 2021-05-03 12:33 | 15.0039 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.361 | μmol/L | 30.5443 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.007 | 124189.0114 | 264464.9455 | 26.25 | 74
122406 | 2021-05-03 12:34 | 15.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9762 | μmol/L | 30.5932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.013 | 124217.7396 | 264464.2875 | 26.25 | 74
122416 | 2021-05-03 12:34 | 15.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.3132 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.014 | 124273.4681 | 264455.8384 | 26.25 | 74
122426 | 2021-05-03 12:34 | 16.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1607 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.023 | 124321.3973 | 264447.9069 | 26.25 | 74
122436 | 2021-05-03 12:35 | 16.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1991 | μmol/L | 30.5137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.027 | 124359.1668 | 264450.085 | 26.25 | 74
122446 | 2021-05-03 12:35 | 16.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6105 | μmol/L | 30.5687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.043 | 124431.6766 | 264441.6571 | 26.25 | 74
122456 | 2021-05-03 12:35 | 17.0038 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.4065 | μmol/L | 30.5748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.053 | 124508.3022 | 264434.7244 | 26.25 | 74
122466 | 2021-05-03 12:36 | 17.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1828 | μmol/L | 30.5932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.06 | 124558.669 | 264448.2218 | 26.25 | 74
122476 | 2021-05-03 12:36 | 17.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.1034 | μmol/L | 30.5748 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.071 | 124635.5915 | 264413.8408 | 26.25 | 74
122486 | 2021-05-03 12:36 | 18.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6188 | μmol/L | 30.6299 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.081 | 124674.9957 | 264418.9804 | 26.25 | 74
122496 | 2021-05-03 12:37 | 18.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.9904 | μmol/L | 30.5565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.084 | 124707.7706 | 264419.5316 | 26.25 | 74
122506 | 2021-05-03 12:37 | 18.6705 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4608 | μmol/L | 30.5932 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.103 | 124818.0564 | 264420.8688 | 26.25 | 74
122516 | 2021-05-03 12:37 | 19.0034 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.618 | μmol/L | 30.5687 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.102 | 124830.4244 | 264415.3124 | 26.25 | 74
122526 | 2021-05-03 12:38 | 19.3375 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.7999 | μmol/L | 30.5137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.11 | 124888.7911 | 264402.977 | 26.25 | 74
122536 | 2021-05-03 12:38 | 19.6706 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.4536 | μmol/L | 30.5565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.116 | 124941.988 | 264392.9874 | 26.25 | 74
122546 | 2021-05-03 12:38 | 20.0037 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.303 | μmol/L | 30.5565 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.125 | 124996.2129 | 264388.4185 | 26.25 | 74
122556 | 2021-05-03 12:39 | 20.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.3993 | μmol/L | 30.5076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.136 | 125038.2827 | 264379.4094 | 26.25 | 74
122566 | 2021-05-03 12:39 | 20.6702 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1422 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.143 | 125076.1562 | 264370.6003 | 26.25 | 74
122576 | 2021-05-03 12:39 | 21.004 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0754 | μmol/L | 30.5321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.147 | 125128.3191 | 264368.0662 | 26.25 | 74
122586 | 2021-05-03 12:40 | 21.3374 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9069 | μmol/L | 30.5382 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.155 | 125167.3512 | 264367.5607 | 26.25 | 74
122596 | 2021-05-03 12:40 | 21.6704 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0365 | μmol/L | 30.4893 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.164 | 125209.9523 | 264353.4168 | 26.25 | 74
122606 | 2021-05-03 12:40 | 22.0036 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.9579 | μmol/L | 30.4709 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.175 | 125267.4408 | 264368.2511 | 26.25 | 74
122616 | 2021-05-03 12:41 | 22.3368 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6618 | μmol/L | 30.5198 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.176 | 125280.9553 | 264366.5878 | 26.25 | 74