## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:42

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121947 | 2021-05-03 12:18 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9331 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.456 | 121788.8268 | 267527.6974 | 32.55 | 27.7
121957 | 2021-05-03 12:19 | 0.33889 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7444 | μmol/L | 30.8458 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.423 | 121718.3357 | 267516.8786 | 32.55 | 27.7
121967 | 2021-05-03 12:19 | 0.67196 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1318 | μmol/L | 30.9686 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.416 | 121676.8566 | 267483.7404 | 32.55 | 27.7
121977 | 2021-05-03 12:19 | 1.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9609 | μmol/L | 31.0177 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.409 | 121656.2143 | 267481.1513 | 32.55 | 27.7
121987 | 2021-05-03 12:20 | 1.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.852 | μmol/L | 31.0299 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.411 | 121664.9897 | 267467.9673 | 32.55 | 27.7
121997 | 2021-05-03 12:20 | 1.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.911 | μmol/L | 31.0054 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.416 | 121674.9847 | 267439.8441 | 32.55 | 27.7
122007 | 2021-05-03 12:20 | 2.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8802 | μmol/L | 30.987 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.424 | 121718.026 | 267435.7449 | 32.55 | 27.7
122017 | 2021-05-03 12:21 | 2.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.851 | μmol/L | 30.9624 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.434 | 121768.4726 | 267409.1835 | 32.55 | 27.7
122027 | 2021-05-03 12:21 | 2.6721 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7981 | μmol/L | 30.9624 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.437 | 121819.9577 | 267415.6501 | 32.55 | 27.7
122037 | 2021-05-03 12:21 | 3.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7674 | μmol/L | 30.944 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.445 | 121889.3531 | 267400.3515 | 32.55 | 27.7
122047 | 2021-05-03 12:22 | 3.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9216 | μmol/L | 30.8888 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.455 | 121972.9406 | 267399.5704 | 32.55 | 27.7
122057 | 2021-05-03 12:22 | 3.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9114 | μmol/L | 30.8581 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.466 | 122102.0955 | 267405.2348 | 32.55 | 27.7
122067 | 2021-05-03 12:22 | 4.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4672 | μmol/L | 30.8765 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.485 | 122279.4903 | 267392.6671 | 32.55 | 27.7
122077 | 2021-05-03 12:23 | 4.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2039 | μmol/L | 30.8765 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.5 | 122422.7208 | 267381.0445 | 32.55 | 27.7
122087 | 2021-05-03 12:23 | 4.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1938 | μmol/L | 30.8458 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.511 | 122500.0052 | 267364.8696 | 32.55 | 27.7
122097 | 2021-05-03 12:23 | 5.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0492 | μmol/L | 30.8642 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.513 | 122512.1303 | 267354.1717 | 32.55 | 27.7
122107 | 2021-05-03 12:24 | 5.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0667 | μmol/L | 30.8642 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.512 | 122499.933 | 267357.4623 | 32.55 | 27.7
122117 | 2021-05-03 12:24 | 5.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0902 | μmol/L | 30.8397 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.519 | 122530.0781 | 267342.57 | 32.55 | 27.7
122127 | 2021-05-03 12:24 | 6.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3708 | μmol/L | 30.766 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.528 | 122579.618 | 267350.948 | 32.55 | 27.7
122137 | 2021-05-03 12:25 | 6.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1386 | μmol/L | 30.7844 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.535 | 122633.4224 | 267337.4442 | 32.55 | 27.7
122147 | 2021-05-03 12:25 | 6.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3007 | μmol/L | 30.766 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.532 | 122638.8868 | 267334.9435 | 32.55 | 27.7
122157 | 2021-05-03 12:25 | 7.0051 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.3022 | μmol/L | 30.7599 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.534 | 122619.6443 | 267333.8507 | 32.55 | 27.7
122167 | 2021-05-03 12:26 | 7.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2116 | μmol/L | 30.7722 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.535 | 122609.5824 | 267308.2686 | 32.55 | 27.7
122177 | 2021-05-03 12:26 | 7.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4937 | μmol/L | 30.766 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.521 | 122551.5408 | 267303.3495 | 32.55 | 27.7
122187 | 2021-05-03 12:26 | 8.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.403 | μmol/L | 30.7783 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.522 | 122540.1871 | 267312.2514 | 32.55 | 27.7
122197 | 2021-05-03 12:27 | 8.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6209 | μmol/L | 30.7476 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.52 | 122524.5998 | 267301.0549 | 32.55 | 27.7
122207 | 2021-05-03 12:27 | 8.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.4703 | μmol/L | 30.7906 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.514 | 122501.9274 | 267284.3342 | 32.55 | 27.7
122217 | 2021-05-03 12:27 | 9.0052 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7496 | μmol/L | 30.7231 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.521 | 122484.1195 | 267295.1507 | 32.55 | 27.7
122227 | 2021-05-03 12:28 | 9.3388 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9036 | μmol/L | 30.7415 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.506 | 122424.6764 | 267291.1751 | 32.55 | 27.7
122237 | 2021-05-03 12:28 | 9.6726 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8846 | μmol/L | 30.7476 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.505 | 122419.1899 | 267278.4048 | 32.55 | 27.7
122247 | 2021-05-03 12:28 | 10.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6736 | μmol/L | 30.7476 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.517 | 122468.2401 | 267282.5126 | 32.55 | 27.7
122257 | 2021-05-03 12:29 | 10.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6062 | μmol/L | 30.7353 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.525 | 122530.8213 | 267282.4716 | 32.55 | 27.7
122267 | 2021-05-03 12:29 | 10.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.029 | μmol/L | 30.6556 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.528 | 122534.3632 | 267267.336 | 32.55 | 27.7
122277 | 2021-05-03 12:29 | 11.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.839 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.518 | 122507.2102 | 267272.9732 | 32.55 | 27.7
122287 | 2021-05-03 12:30 | 11.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8299 | μmol/L | 30.6801 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.531 | 122543.7536 | 267251.4067 | 32.55 | 27.7
122297 | 2021-05-03 12:30 | 11.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.511 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.545 | 122621.4126 | 267265.3238 | 32.55 | 27.7
122307 | 2021-05-03 12:30 | 12.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2978 | μmol/L | 30.7047 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.553 | 122706.3475 | 267271.0973 | 32.55 | 27.7
122317 | 2021-05-03 12:31 | 12.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.7862 | μmol/L | 30.7231 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.576 | 122849.2853 | 267246.0475 | 32.55 | 27.7
122327 | 2021-05-03 12:31 | 12.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9099 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.571 | 122814.3485 | 267249.9134 | 32.55 | 27.7
122337 | 2021-05-03 12:31 | 13.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8226 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.576 | 122845.3351 | 267260.0257 | 32.55 | 27.7
122347 | 2021-05-03 12:32 | 13.3385 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.6974 | μmol/L | 30.7292 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.579 | 122843.6186 | 267228.1099 | 32.55 | 27.7
122357 | 2021-05-03 12:32 | 13.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.5593 | μmol/L | 30.7231 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.589 | 122876.9618 | 267231.4185 | 32.55 | 27.7
122367 | 2021-05-03 12:32 | 14.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4941 | μmol/L | 30.7047 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.599 | 122993.8894 | 267222.8882 | 32.55 | 27.7
122377 | 2021-05-03 12:33 | 14.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4085 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.606 | 123017.5812 | 267219.4927 | 32.55 | 27.7
122387 | 2021-05-03 12:33 | 14.6719 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2836 | μmol/L | 30.7108 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.609 | 123027.3926 | 267209.877 | 32.55 | 27.7
122397 | 2021-05-03 12:33 | 15.0056 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0198 | μmol/L | 30.7231 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.62 | 123099.5969 | 267214.1447 | 32.55 | 27.7
122407 | 2021-05-03 12:34 | 15.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.0749 | μmol/L | 30.7108 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.621 | 123116.3355 | 267208.9931 | 32.55 | 27.7
122417 | 2021-05-03 12:34 | 15.6725 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.9345 | μmol/L | 30.7169 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.627 | 123128.2056 | 267207.7928 | 32.55 | 27.7
122427 | 2021-05-03 12:34 | 16.0053 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.9028 | μmol/L | 30.7047 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.633 | 123167.7383 | 267188.0869 | 32.55 | 27.7
122437 | 2021-05-03 12:35 | 16.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.7135 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.646 | 123225.0442 | 267188.7806 | 32.55 | 27.7
122447 | 2021-05-03 12:35 | 16.6723 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.6615 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.649 | 123262.7687 | 267190.7838 | 32.55 | 27.7
122457 | 2021-05-03 12:35 | 17.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.4853 | μmol/L | 30.7108 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.655 | 123320.0721 | 267195.286 | 32.55 | 27.7
122467 | 2021-05-03 12:36 | 17.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3673 | μmol/L | 30.6985 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.666 | 123361.4194 | 267174.4262 | 32.55 | 27.7
122477 | 2021-05-03 12:36 | 17.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3546 | μmol/L | 30.6801 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.673 | 123394.232 | 267167.3269 | 32.55 | 27.7
122487 | 2021-05-03 12:36 | 18.0055 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3185 | μmol/L | 30.6862 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.673 | 123413.1439 | 267176.6118 | 32.55 | 27.7
122497 | 2021-05-03 12:37 | 18.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2336 | μmol/L | 30.6801 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.68 | 123453.0577 | 267167.9368 | 32.55 | 27.7
122507 | 2021-05-03 12:37 | 18.6724 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2728 | μmol/L | 30.6617 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.684 | 123488.4352 | 267163.6736 | 32.55 | 27.7
122517 | 2021-05-03 12:37 | 19.0054 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.0924 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.684 | 123492.573 | 267166.5837 | 32.55 | 27.7
122527 | 2021-05-03 12:38 | 19.3386 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9168 | μmol/L | 30.7047 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.69 | 123513.4566 | 267144.7899 | 32.55 | 27.7
122537 | 2021-05-03 12:38 | 19.6718 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9027 | μmol/L | 30.6924 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.695 | 123526.9484 | 267150.5367 | 32.55 | 27.7
122547 | 2021-05-03 12:38 | 20.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.984 | μmol/L | 30.6433 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.707 | 123580.922 | 267144.9575 | 32.55 | 27.7
122557 | 2021-05-03 12:39 | 20.3387 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.9855 | μmol/L | 30.6371 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.709 | 123583.6495 | 267131.9401 | 32.55 | 27.7
122567 | 2021-05-03 12:39 | 20.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.056 | μmol/L | 30.631 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.707 | 123581.2199 | 267135.8033 | 32.55 | 27.7
122577 | 2021-05-03 12:39 | 21.0058 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.8102 | μmol/L | 30.6494 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.715 | 123624.1869 | 267146.1663 | 32.55 | 27.7
122587 | 2021-05-03 12:40 | 21.339 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7569 | μmol/L | 30.6556 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.716 | 123655.8922 | 267119.7176 | 32.55 | 27.7
122597 | 2021-05-03 12:40 | 21.672 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.4661 | μmol/L | 30.6494 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.735 | 123749.7734 | 267126.4796 | 32.55 | 27.7
122607 | 2021-05-03 12:40 | 22.0057 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.399 | μmol/L | 30.6433 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.741 | 123805.2243 | 267123.0809 | 32.55 | 27.7
122617 | 2021-05-03 12:41 | 22.3392 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.2804 | μmol/L | 30.6371 | °C | 1022 | hPa | Humid | 29 | 0 | 0 | 20.75 | 123839.8153 | 267125.5916 | 32.55 | 27.7