## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:21

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122618 | 2021-05-03 12:50 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4241 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.996 | 132061.0454 | 268778.5938 | 33.25 | 75.7
122628 | 2021-05-03 12:50 | 0.34205 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2605 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.031 | 132305.6246 | 268777.5796 | 33.25 | 75.7
122638 | 2021-05-03 12:51 | 0.67548 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.5291 | μmol/L | 30.1275 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.082 | 132774.7036 | 268774.708 | 33.25 | 75.7
122648 | 2021-05-03 12:51 | 1.0084 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4552 | μmol/L | 30.1952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.117 | 133049.0657 | 268769.9455 | 33.25 | 75.7
122658 | 2021-05-03 12:51 | 1.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0623 | μmol/L | 30.2075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.134 | 133222.8822 | 268755.3875 | 33.25 | 75.7
122668 | 2021-05-03 12:52 | 1.6753 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8229 | μmol/L | 30.1829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.155 | 133394.6652 | 268752.4408 | 33.25 | 75.7
122678 | 2021-05-03 12:52 | 2.0083 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0363 | μmol/L | 30.0967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.172 | 133510.9657 | 268754.1684 | 33.25 | 75.7
122688 | 2021-05-03 12:52 | 2.3421 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9265 | μmol/L | 30.0783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.184 | 133617.7869 | 268758.031 | 33.25 | 75.7
122698 | 2021-05-03 12:53 | 2.6751 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.1583 | μmol/L | 30.1521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.201 | 133743.3385 | 268754.6577 | 33.25 | 75.7
122708 | 2021-05-03 12:53 | 3.009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8241 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.215 | 133834.755 | 268755.4353 | 33.25 | 75.7
122718 | 2021-05-03 12:53 | 3.3422 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4154 | μmol/L | 30.189 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.229 | 133947.5109 | 268745.0903 | 33.25 | 75.7
122728 | 2021-05-03 12:54 | 3.6754 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9921 | μmol/L | 30.189 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.252 | 134087.5721 | 268739.1157 | 33.25 | 75.7
122738 | 2021-05-03 12:54 | 4.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7747 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.272 | 134230.1306 | 268741.9095 | 33.25 | 75.7
122748 | 2021-05-03 12:54 | 4.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7747 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.272 | 134276.2672 | 268744.6736 | 33.25 | 75.7
122758 | 2021-05-03 12:55 | 4.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3525 | μmol/L | 30.1706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.293 | 134394.5529 | 268736.3648 | 33.25 | 75.7
122768 | 2021-05-03 12:55 | 5.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2633 | μmol/L | 30.1521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.304 | 134475.9665 | 268719.2407 | 33.25 | 75.7
122778 | 2021-05-03 12:55 | 5.3418 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5238 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.32 | 134591.9394 | 268719.6822 | 33.25 | 75.7
122788 | 2021-05-03 12:56 | 5.6758 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9186 | μmol/L | 30.1337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.329 | 134700.9291 | 268712.4779 | 33.25 | 75.7
122798 | 2021-05-03 12:56 | 6.0089 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9983 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.353 | 134834.8149 | 268710.6226 | 33.25 | 75.7
122808 | 2021-05-03 12:56 | 6.3419 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.76 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.36 | 134892.7271 | 268698.5284 | 33.25 | 75.7
122818 | 2021-05-03 12:57 | 6.6757 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6556 | μmol/L | 30.2013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.376 | 135002.4044 | 268684.8044 | 33.25 | 75.7
122828 | 2021-05-03 12:57 | 7.0088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3446 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.385 | 135099.1284 | 268693.388 | 33.25 | 75.7
122838 | 2021-05-03 12:57 | 7.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9069 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.399 | 135181.1229 | 268675.4859 | 33.25 | 75.7
122848 | 2021-05-03 12:58 | 7.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4929 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.422 | 135360.3281 | 268674.2012 | 33.25 | 75.7
122858 | 2021-05-03 12:58 | 8.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8268 | μmol/L | 30.189 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.426 | 135397.108 | 268671.3522 | 33.25 | 75.7
122868 | 2021-05-03 12:58 | 8.3424 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8844 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.431 | 135433.0614 | 268666.9262 | 33.25 | 75.7
122878 | 2021-05-03 12:59 | 8.6753 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2687 | μmol/L | 30.1952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.455 | 135577.8845 | 268664.0614 | 33.25 | 75.7
122888 | 2021-05-03 12:59 | 9.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3916 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.442 | 135538.32 | 268662.3421 | 33.25 | 75.7
122898 | 2021-05-03 12:59 | 9.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8659 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.459 | 135630.2423 | 268657.8384 | 33.25 | 75.7
122908 | 2021-05-03 13:00 | 9.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8998 | μmol/L | 30.2629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.453 | 135617.4605 | 268657.0129 | 33.25 | 75.7
122918 | 2021-05-03 13:00 | 10.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.6503 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.469 | 135699.9957 | 268648.9265 | 33.25 | 75.7
122928 | 2021-05-03 13:00 | 10.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.964 | μmol/L | 30.1952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.472 | 135724.2606 | 268644.639 | 33.25 | 75.7
122938 | 2021-05-03 13:01 | 10.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8001 | μmol/L | 30.2137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.475 | 135755.2731 | 268639.8725 | 33.25 | 75.7
122948 | 2021-05-03 13:01 | 11.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9631 | μmol/L | 30.2013 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.47 | 135765.5211 | 268635.7872 | 33.25 | 75.7
122958 | 2021-05-03 13:01 | 11.3418 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.8058 | μmol/L | 30.1767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.487 | 135839.2592 | 268652.5374 | 33.25 | 75.7
122968 | 2021-05-03 13:02 | 11.6755 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.519 | μmol/L | 30.1829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.501 | 135943.2778 | 268648.6472 | 33.25 | 75.7
122978 | 2021-05-03 13:02 | 12.0087 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7391 | μmol/L | 30.146 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.501 | 135960.2571 | 268636.7797 | 33.25 | 75.7
122988 | 2021-05-03 13:02 | 12.3418 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.9433 | μmol/L | 30.0967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.506 | 135979.5532 | 268654.1224 | 33.25 | 75.7
122998 | 2021-05-03 13:03 | 12.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7222 | μmol/L | 30.1398 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.504 | 135991.8837 | 268646.2942 | 33.25 | 75.7
123008 | 2021-05-03 13:03 | 13.0092 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.9566 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.512 | 136089.8541 | 268636.6045 | 33.25 | 75.7
123018 | 2021-05-03 13:03 | 13.3421 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3049 | μmol/L | 30.1829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.513 | 136100.8705 | 268639.8782 | 33.25 | 75.7
123028 | 2021-05-03 13:04 | 13.6754 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3406 | μmol/L | 30.1829 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.511 | 136102.7863 | 268634.0475 | 33.25 | 75.7
123038 | 2021-05-03 13:04 | 14.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.4525 | μmol/L | 30.1521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.515 | 136138.0004 | 268637.3088 | 33.25 | 75.7
123048 | 2021-05-03 13:04 | 14.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.1634 | μmol/L | 30.1767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.523 | 136172.7103 | 268625.8902 | 33.25 | 75.7
123058 | 2021-05-03 13:05 | 14.6752 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.6889 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.525 | 136176.369 | 268625.1889 | 33.25 | 75.7
123068 | 2021-05-03 13:05 | 15.0088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4748 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.535 | 136267.3133 | 268620.0444 | 33.25 | 75.7
123078 | 2021-05-03 13:05 | 15.3425 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3903 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.548 | 136335.2479 | 268618.3005 | 33.25 | 75.7
123088 | 2021-05-03 13:06 | 15.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.6321 | μmol/L | 30.1644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.557 | 136412.4879 | 268631.8539 | 33.25 | 75.7
123098 | 2021-05-03 13:06 | 16.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.5185 | μmol/L | 30.2075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.549 | 136386.9669 | 268608.1536 | 33.25 | 75.7
123108 | 2021-05-03 13:06 | 16.3422 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1433 | μmol/L | 30.226 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.564 | 136471.6983 | 268606.3219 | 33.25 | 75.7
123118 | 2021-05-03 13:07 | 16.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.9081 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.567 | 136519.6703 | 268601.4675 | 33.25 | 75.7
123128 | 2021-05-03 13:07 | 17.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.7834 | μmol/L | 30.2629 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.572 | 136555.6898 | 268594.8083 | 33.25 | 75.7
123138 | 2021-05-03 13:07 | 17.3424 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.716 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.582 | 136574.6499 | 268594.5889 | 33.25 | 75.7
123148 | 2021-05-03 13:08 | 17.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6576 | μmol/L | 30.2752 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.575 | 136562.5061 | 268586.2316 | 33.25 | 75.7
123158 | 2021-05-03 13:08 | 18.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.4592 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.578 | 136581.8738 | 268589.2291 | 33.25 | 75.7
123168 | 2021-05-03 13:08 | 18.342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.5946 | μmol/L | 30.2321 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.593 | 136695.934 | 268598.9139 | 33.25 | 75.7
123178 | 2021-05-03 13:09 | 18.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2049 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.611 | 136796.64 | 268594.3107 | 33.25 | 75.7
123188 | 2021-05-03 13:09 | 19.0086 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2225 | μmol/L | 30.2444 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.61 | 136805.9721 | 268584.1812 | 33.25 | 75.7
123198 | 2021-05-03 13:09 | 19.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8633 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.616 | 136853.5959 | 268570.0042 | 33.25 | 75.7
123208 | 2021-05-03 13:10 | 19.6753 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.5254 | μmol/L | 30.3121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.627 | 136917.5136 | 268574.7541 | 33.25 | 75.7
123218 | 2021-05-03 13:10 | 20.0088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4051 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.638 | 136975.1065 | 268586.5804 | 33.25 | 75.7
123228 | 2021-05-03 13:10 | 20.342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6595 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.64 | 137007.6784 | 268574.1389 | 33.25 | 75.7
123238 | 2021-05-03 13:11 | 20.6758 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4831 | μmol/L | 30.2567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.648 | 137081.8979 | 268560.4859 | 33.25 | 75.7
123248 | 2021-05-03 13:11 | 21.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.8726 | μmol/L | 30.3429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.654 | 137147.5728 | 268571.8505 | 33.25 | 75.7
123258 | 2021-05-03 13:11 | 21.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6692 | μmol/L | 30.3121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.676 | 137263.3911 | 268564.9165 | 33.25 | 75.7
123268 | 2021-05-03 13:12 | 21.6758 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.5077 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.677 | 137299.0958 | 268546.7842 | 33.25 | 75.7
123278 | 2021-05-03 13:12 | 22.009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.4033 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.683 | 137340.0682 | 268537.2445 | 33.25 | 75.7
123288 | 2021-05-03 13:12 | 22.3419 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2468 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.692 | 137392.9128 | 268544.7873 | 33.25 | 75.7
123298 | 2021-05-03 13:13 | 22.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3733 | μmol/L | 30.3121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.693 | 137396.5367 | 268526.87 | 33.25 | 75.7
123308 | 2021-05-03 13:13 | 23.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.573 | μmol/L | 30.269 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.696 | 137435.3808 | 268531.1574 | 33.25 | 75.7
123318 | 2021-05-03 13:13 | 23.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.3098 | μmol/L | 30.2813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.707 | 137498.6351 | 268533.4673 | 33.25 | 75.7
123328 | 2021-05-03 13:14 | 23.6751 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2924 | μmol/L | 30.2813 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.708 | 137526.5778 | 268523.1755 | 33.25 | 75.7
123338 | 2021-05-03 13:14 | 24.0089 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6954 | μmol/L | 30.3183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.73 | 137656.9613 | 268531.6614 | 33.25 | 75.7
123348 | 2021-05-03 13:14 | 24.3418 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.7362 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.738 | 137719.3099 | 268518.7405 | 33.25 | 75.7
123358 | 2021-05-03 13:15 | 24.6754 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.1795 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.764 | 137879.0006 | 268519.9412 | 33.25 | 75.7
123368 | 2021-05-03 13:15 | 25.0084 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.9726 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.776 | 137970.9945 | 268507.284 | 33.25 | 75.7
123378 | 2021-05-03 13:15 | 25.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.8323 | μmol/L | 30.3183 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.78 | 138017.4216 | 268506.0724 | 33.25 | 75.7
123388 | 2021-05-03 13:16 | 25.6758 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6285 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.796 | 138140.6921 | 268509.2556 | 33.25 | 75.7
123398 | 2021-05-03 13:16 | 26.0088 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.5598 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.8 | 138181.3656 | 268503.973 | 33.25 | 75.7
123408 | 2021-05-03 13:16 | 26.3424 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.404 | μmol/L | 30.3121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.807 | 138235.8998 | 268492.3277 | 33.25 | 75.7
123418 | 2021-05-03 13:17 | 26.6752 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.5082 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.803 | 138222.9567 | 268503.7862 | 33.25 | 75.7
123428 | 2021-05-03 13:17 | 27.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.3722 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.813 | 138267.3321 | 268496.3331 | 33.25 | 75.7
123438 | 2021-05-03 13:17 | 27.3423 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2179 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.822 | 138320.915 | 268481.3993 | 33.25 | 75.7
123448 | 2021-05-03 13:18 | 27.6752 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.7585 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.853 | 138529.7373 | 268480.8345 | 33.25 | 75.7
123458 | 2021-05-03 13:18 | 28.009 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5537 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.865 | 138627.7903 | 268462.9819 | 33.25 | 75.7
123468 | 2021-05-03 13:18 | 28.342 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.639 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.86 | 138607.1659 | 268462.8579 | 33.25 | 75.7
123478 | 2021-05-03 13:19 | 28.675 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.4002 | μmol/L | 30.2875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.874 | 138708.6652 | 268459.3609 | 33.25 | 75.7
123488 | 2021-05-03 13:19 | 29.0091 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.989 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.894 | 138822.5508 | 268468.4824 | 33.25 | 75.7
123498 | 2021-05-03 13:19 | 29.3421 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2626 | μmol/L | 30.2937 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.88 | 138790.5763 | 268470.2844 | 33.25 | 75.7
123508 | 2021-05-03 13:20 | 29.6753 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.1264 | μmol/L | 30.2937 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.888 | 138822.3013 | 268468.5337 | 33.25 | 75.7
123518 | 2021-05-03 13:20 | 30.0085 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7329 | μmol/L | 30.306 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.907 | 138953.5734 | 268465.0199 | 33.25 | 75.7
123528 | 2021-05-03 13:20 | 30.3417 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7343 | μmol/L | 30.2998 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.909 | 138969.165 | 268460.3628 | 33.25 | 75.7
123538 | 2021-05-03 13:21 | 30.6756 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.7452 | μmol/L | 30.2506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.925 | 138843.7473 | 268459.663 | 33.25 | 75.7