## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH3 | O2 | 84661292 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:20

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | 55.52 | 20 | °C | 22.59 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:21

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122620 | 2021-05-03 12:50 | 0 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.8551 | μmol/L | 30.0554 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.81 | 93191.472 | 211450.5279 | 27.3 | 43.4
122630 | 2021-05-03 12:50 | 0.32622 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 221.3737 | μmol/L | 30.0493 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.836 | 93336.3939 | 211460.2261 | 27.3 | 43.4
122640 | 2021-05-03 12:51 | 0.65937 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 220.6591 | μmol/L | 30.1106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.851 | 93453.5292 | 211458.2584 | 27.3 | 43.4
122650 | 2021-05-03 12:51 | 0.99247 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.996 | μmol/L | 30.129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.878 | 93565.2595 | 211450.2789 | 27.3 | 43.4
122660 | 2021-05-03 12:51 | 1.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.8208 | μmol/L | 30.1106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.893 | 93642.8627 | 211448.7004 | 27.3 | 43.4
122670 | 2021-05-03 12:52 | 1.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.5663 | μmol/L | 30.0922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.912 | 93719.3453 | 211433.4785 | 27.3 | 43.4
122680 | 2021-05-03 12:52 | 1.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3492 | μmol/L | 30.0861 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.925 | 93789.5552 | 211440.7061 | 27.3 | 43.4
122690 | 2021-05-03 12:52 | 2.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 219.3576 | μmol/L | 30.0493 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.937 | 93838.4713 | 211439.1578 | 27.3 | 43.4
122700 | 2021-05-03 12:53 | 2.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.9952 | μmol/L | 30.0738 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.947 | 93903.8836 | 211459.3507 | 27.3 | 43.4
122710 | 2021-05-03 12:53 | 2.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.7139 | μmol/L | 30.0922 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.955 | 93947.4138 | 211440.9302 | 27.3 | 43.4
122720 | 2021-05-03 12:53 | 3.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.8029 | μmol/L | 30.0493 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.965 | 93978.0604 | 211441.1343 | 27.3 | 43.4
122730 | 2021-05-03 12:54 | 3.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.5615 | μmol/L | 30.0677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.971 | 94037.1583 | 211434.009 | 27.3 | 43.4
122740 | 2021-05-03 12:54 | 3.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.202 | μmol/L | 30.0861 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.983 | 94079.852 | 211436.777 | 27.3 | 43.4
122750 | 2021-05-03 12:54 | 4.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0852 | μmol/L | 30.08 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.991 | 94113.1001 | 211429.9715 | 27.3 | 43.4
122760 | 2021-05-03 12:55 | 4.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.2726 | μmol/L | 30.0371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 19.996 | 94148.7624 | 211422.9398 | 27.3 | 43.4
122770 | 2021-05-03 12:55 | 4.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 218.0953 | μmol/L | 30.0371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.005 | 94187.7412 | 211418.546 | 27.3 | 43.4
122780 | 2021-05-03 12:55 | 5.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.9575 | μmol/L | 30.0371 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.012 | 94221.5433 | 211411.9441 | 27.3 | 43.4
122790 | 2021-05-03 12:56 | 5.6596 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.5767 | μmol/L | 30.0677 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.021 | 94242.237 | 211423.0874 | 27.3 | 43.4
122800 | 2021-05-03 12:56 | 5.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.3127 | μmol/L | 30.1045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.022 | 94261.6097 | 211411.8879 | 27.3 | 43.4
122810 | 2021-05-03 12:56 | 6.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.1514 | μmol/L | 30.1229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.024 | 94287.598 | 211418.1106 | 27.3 | 43.4
122820 | 2021-05-03 12:57 | 6.6593 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 217.1333 | μmol/L | 30.1167 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.027 | 94316.9208 | 211410.6588 | 27.3 | 43.4
122830 | 2021-05-03 12:57 | 6.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.9555 | μmol/L | 30.1229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.034 | 94337.721 | 211402.131 | 27.3 | 43.4
122840 | 2021-05-03 12:57 | 7.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.6576 | μmol/L | 30.1413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.043 | 94362.3917 | 211399.2125 | 27.3 | 43.4
122850 | 2021-05-03 12:58 | 7.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4952 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.043 | 94380.6374 | 211401.3897 | 27.3 | 43.4
122860 | 2021-05-03 12:58 | 7.9922 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.4998 | μmol/L | 30.1474 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.049 | 94400.8725 | 211400.3679 | 27.3 | 43.4
122870 | 2021-05-03 12:58 | 8.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.162 | μmol/L | 30.1719 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.058 | 94448.2508 | 211397.9996 | 27.3 | 43.4
122880 | 2021-05-03 12:59 | 8.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 216.0046 | μmol/L | 30.178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.064 | 94477.1948 | 211392.2916 | 27.3 | 43.4
122890 | 2021-05-03 12:59 | 8.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.9298 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.072 | 94534.989 | 211379.8416 | 27.3 | 43.4
122900 | 2021-05-03 12:59 | 9.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6755 | μmol/L | 30.1719 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.083 | 94554.1867 | 211379.435 | 27.3 | 43.4
122910 | 2021-05-03 13:00 | 9.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.6382 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.087 | 94603.4816 | 211379.2384 | 27.3 | 43.4
122920 | 2021-05-03 13:00 | 9.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.3664 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.101 | 94669.3596 | 211384.686 | 27.3 | 43.4
122930 | 2021-05-03 13:00 | 10.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.15 | μmol/L | 30.178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.108 | 94679.4 | 211375.3477 | 27.3 | 43.4
122940 | 2021-05-03 13:01 | 10.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.1516 | μmol/L | 30.1719 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.11 | 94702.4278 | 211377.3232 | 27.3 | 43.4
122950 | 2021-05-03 13:01 | 10.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0564 | μmol/L | 30.1658 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.117 | 94735.7061 | 211376.88 | 27.3 | 43.4
122960 | 2021-05-03 13:01 | 11.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.8839 | μmol/L | 30.1597 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.128 | 94787.9008 | 211368.0033 | 27.3 | 43.4
122970 | 2021-05-03 13:02 | 11.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 215.0258 | μmol/L | 30.1351 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.129 | 94821.9632 | 211367.7907 | 27.3 | 43.4
122980 | 2021-05-03 13:02 | 11.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.892 | μmol/L | 30.129 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.138 | 94844.1153 | 211370.8715 | 27.3 | 43.4
122990 | 2021-05-03 13:02 | 12.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.512 | μmol/L | 30.178 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.141 | 94854.9868 | 211373.1818 | 27.3 | 43.4
123000 | 2021-05-03 13:03 | 12.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.1726 | μmol/L | 30.221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.144 | 94876.3598 | 211379.8803 | 27.3 | 43.4
123010 | 2021-05-03 13:03 | 12.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 214.0345 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.147 | 94891.9156 | 211378.476 | 27.3 | 43.4
123020 | 2021-05-03 13:03 | 13.3257 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.8998 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.154 | 94925.6432 | 211371.5486 | 27.3 | 43.4
123030 | 2021-05-03 13:04 | 13.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7267 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.163 | 94967.0775 | 211370.0381 | 27.3 | 43.4
123040 | 2021-05-03 13:04 | 13.9926 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.472 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.17 | 94988.7244 | 211366.1441 | 27.3 | 43.4
123050 | 2021-05-03 13:04 | 14.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.7058 | μmol/L | 30.2393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.162 | 94969.8076 | 211383.5263 | 27.3 | 43.4
123060 | 2021-05-03 13:05 | 14.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.3778 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.177 | 95022.0706 | 211362.7754 | 27.3 | 43.4
123070 | 2021-05-03 13:05 | 14.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.2802 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.18 | 95053.7584 | 211353.2599 | 27.3 | 43.4
123080 | 2021-05-03 13:05 | 15.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0261 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.187 | 95078.4564 | 211357.3929 | 27.3 | 43.4
123090 | 2021-05-03 13:06 | 15.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.9513 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.193 | 95110.9237 | 211347.8651 | 27.3 | 43.4
123100 | 2021-05-03 13:06 | 15.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 213.0487 | μmol/L | 30.2577 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.19 | 95117.7192 | 211354.652 | 27.3 | 43.4
123110 | 2021-05-03 13:06 | 16.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.8435 | μmol/L | 30.2393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.207 | 95135.9474 | 211344.2909 | 27.3 | 43.4
123120 | 2021-05-03 13:07 | 16.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.7271 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.211 | 95188.2965 | 211349.5548 | 27.3 | 43.4
123130 | 2021-05-03 13:07 | 16.9925 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4737 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.218 | 95220.2524 | 211340.1583 | 27.3 | 43.4
123140 | 2021-05-03 13:07 | 17.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.4183 | μmol/L | 30.2577 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.223 | 95262.067 | 211344.629 | 27.3 | 43.4
123150 | 2021-05-03 13:08 | 17.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.3021 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.227 | 95270.8103 | 211336.5024 | 27.3 | 43.4
123160 | 2021-05-03 13:08 | 17.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 212.0528 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.238 | 95302.6661 | 211336.4987 | 27.3 | 43.4
123170 | 2021-05-03 13:08 | 18.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.8175 | μmol/L | 30.2945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.242 | 95344.4089 | 211340.7755 | 27.3 | 43.4
123180 | 2021-05-03 13:09 | 18.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.6502 | μmol/L | 30.2823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.255 | 95396.748 | 211337.2969 | 27.3 | 43.4
123190 | 2021-05-03 13:09 | 18.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.5986 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.264 | 95444.7103 | 211335.7284 | 27.3 | 43.4
123200 | 2021-05-03 13:09 | 19.3255 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.604 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.27 | 95472.9739 | 211335.4576 | 27.3 | 43.4
123210 | 2021-05-03 13:10 | 19.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.604 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.27 | 95492.9878 | 211341.6976 | 27.3 | 43.4
123220 | 2021-05-03 13:10 | 19.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.5905 | μmol/L | 30.2271 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.277 | 95521.8596 | 211328.2176 | 27.3 | 43.4
123230 | 2021-05-03 13:10 | 20.3259 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4542 | μmol/L | 30.2393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.28 | 95534.849 | 211322.3854 | 27.3 | 43.4
123240 | 2021-05-03 13:11 | 20.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4939 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.28 | 95519.2241 | 211303.4199 | 27.3 | 43.4
123250 | 2021-05-03 13:11 | 20.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.4027 | μmol/L | 30.221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.289 | 95556.0481 | 211307.3381 | 27.3 | 43.4
123260 | 2021-05-03 13:11 | 21.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 211.0908 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.295 | 95588.8041 | 211313.0531 | 27.3 | 43.4
123270 | 2021-05-03 13:12 | 21.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.8019 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.304 | 95640.1827 | 211320.1086 | 27.3 | 43.4
123280 | 2021-05-03 13:12 | 21.9923 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.6151 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.316 | 95691.2051 | 211332.6425 | 27.3 | 43.4
123290 | 2021-05-03 13:12 | 22.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.5585 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.319 | 95725.7843 | 211321.0142 | 27.3 | 43.4
123300 | 2021-05-03 13:13 | 22.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.1538 | μmol/L | 30.2945 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.33 | 95768.2084 | 211313.1701 | 27.3 | 43.4
123310 | 2021-05-03 13:13 | 22.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 210.3004 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.339 | 95830.4422 | 211308.9766 | 27.3 | 43.4
123320 | 2021-05-03 13:13 | 23.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.994 | μmol/L | 30.2639 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.349 | 95858.7905 | 211295.2954 | 27.3 | 43.4
123330 | 2021-05-03 13:14 | 23.6591 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.7293 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.361 | 95906.9631 | 211296.3415 | 27.3 | 43.4
123340 | 2021-05-03 13:14 | 23.9929 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.7181 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.37 | 95942.6028 | 211301.1642 | 27.3 | 43.4
123350 | 2021-05-03 13:14 | 24.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.5288 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.378 | 95982.5376 | 211293.9804 | 27.3 | 43.4
123360 | 2021-05-03 13:15 | 24.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.2611 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.386 | 96026.2113 | 211291.8159 | 27.3 | 43.4
123370 | 2021-05-03 13:15 | 24.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.1115 | μmol/L | 30.27 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.394 | 96089.4946 | 211285.7343 | 27.3 | 43.4
123380 | 2021-05-03 13:15 | 25.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 209.0052 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.406 | 96151.9929 | 211288.5832 | 27.3 | 43.4
123390 | 2021-05-03 13:16 | 25.6588 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.6245 | μmol/L | 30.2761 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.418 | 96204.1725 | 211284.6992 | 27.3 | 43.4
123400 | 2021-05-03 13:16 | 25.9921 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.4158 | μmol/L | 30.2884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.425 | 96242.0477 | 211274.5499 | 27.3 | 43.4
123410 | 2021-05-03 13:16 | 26.3262 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.5205 | μmol/L | 30.2516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.432 | 96274.2341 | 211274.3525 | 27.3 | 43.4
123420 | 2021-05-03 13:17 | 26.6592 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.4891 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.44 | 96307.0645 | 211276.7725 | 27.3 | 43.4
123430 | 2021-05-03 13:17 | 26.993 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.095 | μmol/L | 30.2455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.457 | 96379.0965 | 211272.2058 | 27.3 | 43.4
123440 | 2021-05-03 13:17 | 27.3261 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.134 | μmol/L | 30.2393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.457 | 96390.8304 | 211277.0144 | 27.3 | 43.4
123450 | 2021-05-03 13:18 | 27.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 208.1585 | μmol/L | 30.221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.462 | 96425.288 | 211270.5987 | 27.3 | 43.4
123460 | 2021-05-03 13:18 | 27.9928 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.8207 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.476 | 96472.4712 | 211274.3123 | 27.3 | 43.4
123470 | 2021-05-03 13:18 | 28.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.8782 | μmol/L | 30.2271 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.475 | 96480.0383 | 211262.5973 | 27.3 | 43.4
123480 | 2021-05-03 13:19 | 28.659 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.812 | μmol/L | 30.2026 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.487 | 96537.2834 | 211268.7402 | 27.3 | 43.4
123490 | 2021-05-03 13:19 | 28.9927 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.434 | μmol/L | 30.2271 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.499 | 96606.2915 | 211254.7507 | 27.3 | 43.4
123500 | 2021-05-03 13:19 | 29.3256 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.1346 | μmol/L | 30.2393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.511 | 96651.8646 | 211257.9994 | 27.3 | 43.4
123510 | 2021-05-03 13:20 | 29.6594 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 207.1201 | μmol/L | 30.2271 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.516 | 96666.8992 | 211247.6773 | 27.3 | 43.4
123520 | 2021-05-03 13:20 | 29.9924 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.8232 | μmol/L | 30.2332 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.53 | 96728.2476 | 211259.6486 | 27.3 | 43.4
123530 | 2021-05-03 13:20 | 30.3258 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.6044 | μmol/L | 30.2271 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.544 | 96798.6006 | 211260.841 | 27.3 | 43.4
123540 | 2021-05-03 13:21 | 30.6595 | OXY_CH3 (PSt7-10) | 2021-02-12 16:20 | default | 206.4227 | μmol/L | 30.221 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.556 | 96898.5425 | 211254.2131 | 27.3 | 43.4