## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:21

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122621 | 2021-05-03 12:50 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8977 | μmol/L | 30.0638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.491 | 85774.4972 | 288462.7076 | 28.7 | 67.6
122631 | 2021-05-03 12:50 | 0.33468 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.8303 | μmol/L | 30.1187 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.532 | 85981.3815 | 288466.8237 | 28.7 | 67.6
122641 | 2021-05-03 12:51 | 0.66844 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.442 | μmol/L | 30.0699 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.57 | 86162.1717 | 288469.3494 | 28.7 | 67.6
122651 | 2021-05-03 12:51 | 1.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.017 | μmol/L | 30.0394 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.604 | 86282.6854 | 288473.6804 | 28.7 | 67.6
122661 | 2021-05-03 12:51 | 1.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.5882 | μmol/L | 30.0516 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.624 | 86395.6155 | 288446.3735 | 28.7 | 67.6
122671 | 2021-05-03 12:52 | 1.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0703 | μmol/L | 30.076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.645 | 86466.0759 | 288460.052 | 28.7 | 67.6
122681 | 2021-05-03 12:52 | 2.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.877 | μmol/L | 30.0638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.66 | 86539.8582 | 288447.2948 | 28.7 | 67.6
122691 | 2021-05-03 12:52 | 2.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.468 | μmol/L | 30.0821 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.677 | 86600.7137 | 288462.6207 | 28.7 | 67.6
122701 | 2021-05-03 12:53 | 2.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4888 | μmol/L | 30.0577 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.684 | 86639.8395 | 288459.6248 | 28.7 | 67.6
122711 | 2021-05-03 12:53 | 3.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2057 | μmol/L | 30.0638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.698 | 86711.3477 | 288456.4084 | 28.7 | 67.6
122721 | 2021-05-03 12:53 | 3.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2049 | μmol/L | 30.0699 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.696 | 86723.6705 | 288446.9132 | 28.7 | 67.6
122731 | 2021-05-03 12:54 | 3.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9415 | μmol/L | 30.0638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.713 | 86783.4118 | 288433.6832 | 28.7 | 67.6
122741 | 2021-05-03 12:54 | 4.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6235 | μmol/L | 30.076 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.727 | 86841.2211 | 288421.1538 | 28.7 | 67.6
122751 | 2021-05-03 12:54 | 4.335 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2833 | μmol/L | 30.1248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.73 | 86862.5394 | 288421.984 | 28.7 | 67.6
122761 | 2021-05-03 12:55 | 4.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.371 | μmol/L | 30.1248 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.725 | 86834.6119 | 288411.8297 | 28.7 | 67.6
122771 | 2021-05-03 12:55 | 5.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.9279 | μmol/L | 30.1614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.738 | 86901.3224 | 288401.9041 | 28.7 | 67.6
122781 | 2021-05-03 12:55 | 5.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5425 | μmol/L | 30.1675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.758 | 86982.7485 | 288398.6821 | 28.7 | 67.6
122791 | 2021-05-03 12:56 | 5.6683 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3305 | μmol/L | 30.1858 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.764 | 87018.4766 | 288397.8816 | 28.7 | 67.6
122801 | 2021-05-03 12:56 | 6.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.964 | μmol/L | 30.1919 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.783 | 87098.988 | 288398.6505 | 28.7 | 67.6
122811 | 2021-05-03 12:56 | 6.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3413 | μmol/L | 30.1126 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.788 | 87130.2908 | 288376.8022 | 28.7 | 67.6
122821 | 2021-05-03 12:57 | 6.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.708 | μmol/L | 30.1614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.808 | 87208.2732 | 288380.7612 | 28.7 | 67.6
122831 | 2021-05-03 12:57 | 7.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3256 | μmol/L | 30.1675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.828 | 87298.7321 | 288375.7126 | 28.7 | 67.6
122841 | 2021-05-03 12:57 | 7.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.3795 | μmol/L | 30.1553 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.829 | 87326.0177 | 288371.6968 | 28.7 | 67.6
122851 | 2021-05-03 12:58 | 7.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.2419 | μmol/L | 30.1492 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.839 | 87360.2577 | 288352.9729 | 28.7 | 67.6
122861 | 2021-05-03 12:58 | 8.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4888 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.86 | 87448.7849 | 288367.1806 | 28.7 | 67.6
122871 | 2021-05-03 12:58 | 8.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.3156 | μmol/L | 30.2225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.868 | 87479.9446 | 288369.9915 | 28.7 | 67.6
122881 | 2021-05-03 12:59 | 8.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.504 | μmol/L | 30.2286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.855 | 87446.5316 | 288357.0968 | 28.7 | 67.6
122891 | 2021-05-03 12:59 | 9.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 192.4371 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.863 | 87481.8508 | 288345.9873 | 28.7 | 67.6
122901 | 2021-05-03 12:59 | 9.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.8173 | μmol/L | 30.2225 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.897 | 87624.0789 | 288340.3566 | 28.7 | 67.6
122911 | 2021-05-03 13:00 | 9.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.6235 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.898 | 87623.0747 | 288327.7826 | 28.7 | 67.6
122921 | 2021-05-03 13:00 | 10.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5913 | μmol/L | 30.2408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 87670.7798 | 288332.3102 | 28.7 | 67.6
122931 | 2021-05-03 13:00 | 10.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5441 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.915 | 87706.1966 | 288320.5087 | 28.7 | 67.6
122941 | 2021-05-03 13:01 | 10.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 191.5207 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 87666.6141 | 288311.927 | 28.7 | 67.6
122951 | 2021-05-03 13:01 | 11.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.8798 | μmol/L | 30.3018 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.925 | 87759.2803 | 288314.2406 | 28.7 | 67.6
122961 | 2021-05-03 13:01 | 11.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.9513 | μmol/L | 30.2835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.927 | 87762.9173 | 288314.1866 | 28.7 | 67.6
122971 | 2021-05-03 13:02 | 11.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.6104 | μmol/L | 30.2835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.947 | 87849.4013 | 288316.5996 | 28.7 | 67.6
122981 | 2021-05-03 13:02 | 12.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3212 | μmol/L | 30.2835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.964 | 87924.7135 | 288317.9206 | 28.7 | 67.6
122991 | 2021-05-03 13:02 | 12.3344 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.3799 | μmol/L | 30.2408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.975 | 87975.4977 | 288315.2183 | 28.7 | 67.6
123001 | 2021-05-03 13:03 | 12.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 190.5607 | μmol/L | 30.1797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.985 | 88050.056 | 288311.5174 | 28.7 | 67.6
123011 | 2021-05-03 13:03 | 13.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.9714 | μmol/L | 30.2469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.997 | 88089.437 | 288323.8826 | 28.7 | 67.6
123021 | 2021-05-03 13:03 | 13.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.8686 | μmol/L | 30.253 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.001 | 88134.6759 | 288322.2008 | 28.7 | 67.6
123031 | 2021-05-03 13:04 | 13.6679 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.6948 | μmol/L | 30.2774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.003 | 88147.6348 | 288326.5756 | 28.7 | 67.6
123041 | 2021-05-03 13:04 | 14.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.6192 | μmol/L | 30.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.993 | 88133.1501 | 288321.1185 | 28.7 | 67.6
123051 | 2021-05-03 13:04 | 14.3346 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.2532 | μmol/L | 30.2896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.025 | 88275.3207 | 288319.8327 | 28.7 | 67.6
123061 | 2021-05-03 13:05 | 14.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 189.1723 | μmol/L | 30.2713 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.036 | 88292.7511 | 288312.0667 | 28.7 | 67.6
123071 | 2021-05-03 13:05 | 15.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.8284 | μmol/L | 30.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.044 | 88331.3047 | 288302.7602 | 28.7 | 67.6
123081 | 2021-05-03 13:05 | 15.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.7094 | μmol/L | 30.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.049 | 88367.6462 | 288297.3953 | 28.7 | 67.6
123091 | 2021-05-03 13:06 | 15.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.5738 | μmol/L | 30.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.055 | 88372.8843 | 288283.5766 | 28.7 | 67.6
123101 | 2021-05-03 13:06 | 16.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.3531 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.064 | 88425.4087 | 288281.1461 | 28.7 | 67.6
123111 | 2021-05-03 13:06 | 16.3352 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.3902 | μmol/L | 30.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.068 | 88451.8866 | 288289.7231 | 28.7 | 67.6
123121 | 2021-05-03 13:07 | 16.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.8146 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.092 | 88535.2303 | 288287.9568 | 28.7 | 67.6
123131 | 2021-05-03 13:07 | 17.0019 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.8623 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.085 | 88555.4049 | 288280.0509 | 28.7 | 67.6
123141 | 2021-05-03 13:07 | 17.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.7873 | μmol/L | 30.314 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.104 | 88611.4529 | 288261.0008 | 28.7 | 67.6
123151 | 2021-05-03 13:08 | 17.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 188.457 | μmol/L | 30.2286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.093 | 88592.317 | 288255.5354 | 28.7 | 67.6
123161 | 2021-05-03 13:08 | 18.0014 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.7969 | μmol/L | 30.2652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.12 | 88668.7196 | 288253.5942 | 28.7 | 67.6
123171 | 2021-05-03 13:08 | 18.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1638 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.131 | 88752.4155 | 288268.7714 | 28.7 | 67.6
123181 | 2021-05-03 13:09 | 18.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 187.1584 | μmol/L | 30.2896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.15 | 88818.725 | 288246.6934 | 28.7 | 67.6
123191 | 2021-05-03 13:09 | 19.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.6996 | μmol/L | 30.3384 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.161 | 88883.8868 | 288248.9737 | 28.7 | 67.6
123201 | 2021-05-03 13:09 | 19.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.8259 | μmol/L | 30.2896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.17 | 88926.7848 | 288228.0271 | 28.7 | 67.6
123211 | 2021-05-03 13:10 | 19.6678 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.4866 | μmol/L | 30.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.178 | 88972.1166 | 288241.4082 | 28.7 | 67.6
123221 | 2021-05-03 13:10 | 20.0012 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 186.5031 | μmol/L | 30.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.177 | 88970.3472 | 288228.5683 | 28.7 | 67.6
123231 | 2021-05-03 13:10 | 20.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.909 | μmol/L | 30.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.215 | 89138.8001 | 288220.2511 | 28.7 | 67.6
123241 | 2021-05-03 13:11 | 20.668 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.951 | μmol/L | 30.2774 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.227 | 89174.3113 | 288216.4564 | 28.7 | 67.6
123251 | 2021-05-03 13:11 | 21.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.8633 | μmol/L | 30.3018 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.224 | 89183.7849 | 288219.4004 | 28.7 | 67.6
123261 | 2021-05-03 13:11 | 21.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 185.1489 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.257 | 89327.8459 | 288206.1371 | 28.7 | 67.6
123271 | 2021-05-03 13:12 | 21.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.7632 | μmol/L | 30.2957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.293 | 89488.3393 | 288218.061 | 28.7 | 67.6
123281 | 2021-05-03 13:12 | 22.0017 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4797 | μmol/L | 30.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.302 | 89525.9749 | 288202.7298 | 28.7 | 67.6
123291 | 2021-05-03 13:12 | 22.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 184.4387 | μmol/L | 30.2835 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.317 | 89608.0533 | 288205.9061 | 28.7 | 67.6
123301 | 2021-05-03 13:13 | 22.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.948 | μmol/L | 30.2896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.345 | 89706.7493 | 288182.0475 | 28.7 | 67.6
123311 | 2021-05-03 13:13 | 23.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 183.1325 | μmol/L | 30.3751 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.366 | 89842.6866 | 288177.9729 | 28.7 | 67.6
123321 | 2021-05-03 13:13 | 23.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.9305 | μmol/L | 30.3384 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.391 | 89982.8011 | 288189.3831 | 28.7 | 67.6
123331 | 2021-05-03 13:14 | 23.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.6922 | μmol/L | 30.3201 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.412 | 90053.2875 | 288189.3714 | 28.7 | 67.6
123341 | 2021-05-03 13:14 | 24.0015 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.2965 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.424 | 90067.0363 | 288172.5238 | 28.7 | 67.6
123351 | 2021-05-03 13:14 | 24.3345 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7483 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.396 | 89988.2748 | 288180.3187 | 28.7 | 67.6
123361 | 2021-05-03 13:15 | 24.6686 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.8834 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.396 | 89987.1273 | 288168.0255 | 28.7 | 67.6
123371 | 2021-05-03 13:15 | 25.0016 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.7716 | μmol/L | 30.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.405 | 89994.2891 | 288169.0947 | 28.7 | 67.6
123381 | 2021-05-03 13:15 | 25.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.5237 | μmol/L | 30.3506 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.412 | 90053.6613 | 288165.2884 | 28.7 | 67.6
123391 | 2021-05-03 13:16 | 25.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.4093 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.417 | 90067.555 | 288148.6166 | 28.7 | 67.6
123401 | 2021-05-03 13:16 | 26.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.1544 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.437 | 90168.8548 | 288150.3749 | 28.7 | 67.6
123411 | 2021-05-03 13:16 | 26.3347 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 182.216 | μmol/L | 30.3567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.429 | 90123.5755 | 288154.8976 | 28.7 | 67.6
123421 | 2021-05-03 13:17 | 26.6685 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.9074 | μmol/L | 30.3689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.444 | 90201.5788 | 288144.5913 | 28.7 | 67.6
123431 | 2021-05-03 13:17 | 27.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.6665 | μmol/L | 30.3689 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.459 | 90254.5955 | 288148.899 | 28.7 | 67.6
123441 | 2021-05-03 13:17 | 27.3353 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.2588 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.497 | 90432.1065 | 288143.7593 | 28.7 | 67.6
123451 | 2021-05-03 13:18 | 27.6682 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9158 | μmol/L | 30.3628 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.508 | 90460.1119 | 288136.333 | 28.7 | 67.6
123461 | 2021-05-03 13:18 | 28.0011 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1933 | μmol/L | 30.3384 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.499 | 90461.6776 | 288139.3514 | 28.7 | 67.6
123471 | 2021-05-03 13:18 | 28.3348 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 181.1599 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.499 | 90433.1257 | 288122.3492 | 28.7 | 67.6
123481 | 2021-05-03 13:19 | 28.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.9218 | μmol/L | 30.3384 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.516 | 90503.388 | 288127.0609 | 28.7 | 67.6
123491 | 2021-05-03 13:19 | 29.0018 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.7159 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.531 | 90569.1401 | 288124.5701 | 28.7 | 67.6
123501 | 2021-05-03 13:19 | 29.3349 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5378 | μmol/L | 30.3445 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.538 | 90604.958 | 288122.5483 | 28.7 | 67.6
123511 | 2021-05-03 13:20 | 29.6681 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.5567 | μmol/L | 30.3323 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.541 | 90635.3363 | 288113.7615 | 28.7 | 67.6
123521 | 2021-05-03 13:20 | 30.0013 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.4309 | μmol/L | 30.3262 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.551 | 90668.6255 | 288100.2072 | 28.7 | 67.6
123531 | 2021-05-03 13:20 | 30.3351 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.2605 | μmol/L | 30.3079 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.568 | 90779.4763 | 288112.6147 | 28.7 | 67.6
123541 | 2021-05-03 13:21 | 30.6684 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 180.2476 | μmol/L | 30.2957 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.573 | 90794.7606 | 288092.4334 | 28.7 | 67.6