## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:21

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122624 | 2021-05-03 12:50 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.8361 | μmol/L | 29.9316 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.58 | 126447.1647 | 289215.7307 | 59.9307 | 49.4
122634 | 2021-05-03 12:51 | 0.32533 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0136 | μmol/L | 30.0121 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.599 | 126393.1705 | 289199.044 | 59.9307 | 49.4
122644 | 2021-05-03 12:51 | 0.65857 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8145 | μmol/L | 30.0245 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.606 | 125784.9302 | 289198.2476 | 59.9307 | 49.4
122654 | 2021-05-03 12:51 | 0.99265 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3658 | μmol/L | 30.0369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.627 | 125701.9012 | 289175.5392 | 59.9307 | 49.4
122664 | 2021-05-03 12:52 | 1.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3543 | μmol/L | 30.0059 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.638 | 125463.1345 | 289172.0114 | 59.9307 | 49.4
122674 | 2021-05-03 12:52 | 1.6586 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4343 | μmol/L | 29.9626 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.648 | 125211.7232 | 289163.6494 | 59.9307 | 49.4
122684 | 2021-05-03 12:52 | 1.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0175 | μmol/L | 29.9997 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.659 | 125294.2322 | 289168.3349 | 59.9307 | 49.4
122694 | 2021-05-03 12:53 | 2.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.8436 | μmol/L | 29.9811 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.675 | 125843.1035 | 289166.06 | 59.9307 | 49.4
122704 | 2021-05-03 12:53 | 2.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.5193 | μmol/L | 30.0059 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.685 | 125817.2851 | 289174.3573 | 59.9307 | 49.4
122714 | 2021-05-03 12:53 | 2.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.7574 | μmol/L | 29.9688 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.684 | 125372.7605 | 289162.0364 | 59.9307 | 49.4
122724 | 2021-05-03 12:54 | 3.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6865 | μmol/L | 29.9688 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.688 | 125007.3417 | 289167.4671 | 59.9307 | 49.4
122734 | 2021-05-03 12:54 | 3.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4536 | μmol/L | 29.9811 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.697 | 125123.0471 | 289156.9925 | 59.9307 | 49.4
122744 | 2021-05-03 12:54 | 3.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.179 | μmol/L | 30.0245 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.698 | 124556.5518 | 289154.5725 | 59.9307 | 49.4
122754 | 2021-05-03 12:55 | 4.3253 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.655 | μmol/L | 30.0802 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.709 | 124945.8268 | 289141.4185 | 59.9307 | 49.4
122764 | 2021-05-03 12:55 | 4.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.073 | μmol/L | 30.0245 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.704 | 124904.1818 | 289144.7756 | 59.9307 | 49.4
122774 | 2021-05-03 12:55 | 4.9919 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8231 | μmol/L | 30.0369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.714 | 124769.7329 | 289133.0411 | 59.9307 | 49.4
122784 | 2021-05-03 12:56 | 5.3256 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.8892 | μmol/L | 29.9749 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.731 | 125130.1904 | 289124.4049 | 59.9307 | 49.4
122794 | 2021-05-03 12:56 | 5.6587 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5803 | μmol/L | 30.0183 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.734 | 124951.197 | 289121.6976 | 59.9307 | 49.4
122804 | 2021-05-03 12:56 | 5.9925 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4338 | μmol/L | 29.9626 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.761 | 124542.3936 | 289126.7128 | 59.9307 | 49.4
122814 | 2021-05-03 12:57 | 6.3254 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7639 | μmol/L | 30.0554 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.768 | 124380.2614 | 289116.9661 | 59.9307 | 49.4
122824 | 2021-05-03 12:57 | 6.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7504 | μmol/L | 30.0369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.775 | 125075.3057 | 289126.8885 | 59.9307 | 49.4
122834 | 2021-05-03 12:57 | 6.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.6601 | μmol/L | 30.0492 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.776 | 124464.0083 | 289106.7964 | 59.9307 | 49.4
122844 | 2021-05-03 12:58 | 7.3252 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.726 | μmol/L | 30.0678 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.766 | 123385.9623 | 289123.7942 | 59.9307 | 49.4
122854 | 2021-05-03 12:58 | 7.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4095 | μmol/L | 30.074 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.782 | 123543.6669 | 289109.9794 | 59.9307 | 49.4
122864 | 2021-05-03 12:58 | 7.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5053 | μmol/L | 30.0369 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.789 | 123977.3047 | 289109.7091 | 59.9307 | 49.4
122874 | 2021-05-03 12:59 | 8.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.5859 | μmol/L | 30.0678 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.774 | 123218.5491 | 289107.5956 | 59.9307 | 49.4
122884 | 2021-05-03 12:59 | 8.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.4095 | μmol/L | 30.074 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.782 | 123101.366 | 289096.9979 | 59.9307 | 49.4
122894 | 2021-05-03 12:59 | 8.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2026 | μmol/L | 30.0616 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.798 | 123763.8489 | 289090.7529 | 59.9307 | 49.4
122904 | 2021-05-03 13:00 | 9.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.9728 | μmol/L | 30.074 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.807 | 124044.4835 | 289091.7573 | 59.9307 | 49.4
122914 | 2021-05-03 13:00 | 9.6594 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.4723 | μmol/L | 30.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.817 | 123525.4404 | 289068.1946 | 59.9307 | 49.4
122924 | 2021-05-03 13:00 | 9.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.1754 | μmol/L | 30.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.832 | 123931.5019 | 289077.4589 | 59.9307 | 49.4
122934 | 2021-05-03 13:01 | 10.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0772 | μmol/L | 30.1112 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.846 | 123735.4996 | 289076.3376 | 59.9307 | 49.4
122944 | 2021-05-03 13:01 | 10.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.8662 | μmol/L | 30.1235 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.854 | 123163.9481 | 289064.8413 | 59.9307 | 49.4
122954 | 2021-05-03 13:01 | 10.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.7277 | μmol/L | 30.1235 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 123433.1952 | 289065.5111 | 59.9307 | 49.4
122964 | 2021-05-03 13:02 | 11.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.5127 | μmol/L | 30.1545 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.864 | 123316.1667 | 289074.1395 | 59.9307 | 49.4
122974 | 2021-05-03 13:02 | 11.659 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.4885 | μmol/L | 30.1112 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.88 | 123341.1386 | 289068.1587 | 59.9307 | 49.4
122984 | 2021-05-03 13:02 | 11.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.1673 | μmol/L | 30.1545 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.884 | 123436.9102 | 289080.5038 | 59.9307 | 49.4
122994 | 2021-05-03 13:03 | 12.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.0405 | μmol/L | 30.1793 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.883 | 123423.1312 | 289071.8287 | 59.9307 | 49.4
123004 | 2021-05-03 13:03 | 12.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9027 | μmol/L | 30.1793 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.891 | 123418.8983 | 289067.4448 | 59.9307 | 49.4
123014 | 2021-05-03 13:03 | 12.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.6946 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.901 | 123547.7705 | 289048.1063 | 59.9307 | 49.4
123024 | 2021-05-03 13:04 | 13.3256 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5227 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.911 | 123812.0863 | 289051.8853 | 59.9307 | 49.4
123034 | 2021-05-03 13:04 | 13.6588 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5773 | μmol/L | 30.1731 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.912 | 123599.1187 | 289046.925 | 59.9307 | 49.4
123044 | 2021-05-03 13:04 | 13.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.588 | μmol/L | 30.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.926 | 123648.319 | 289058.9827 | 59.9307 | 49.4
123054 | 2021-05-03 13:05 | 14.3254 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.385 | μmol/L | 30.1174 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.942 | 123770.1089 | 289050.5549 | 59.9307 | 49.4
123064 | 2021-05-03 13:05 | 14.6593 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.68 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.956 | 123997.0218 | 289039.423 | 59.9307 | 49.4
123074 | 2021-05-03 13:05 | 14.993 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4393 | μmol/L | 30.204 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.968 | 124083.1267 | 289032.3296 | 59.9307 | 49.4
123084 | 2021-05-03 13:06 | 15.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.7049 | μmol/L | 30.1669 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.965 | 123910.9098 | 289023.6243 | 59.9307 | 49.4
123094 | 2021-05-03 13:06 | 15.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.3588 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.979 | 124033.9119 | 289027.1422 | 59.9307 | 49.4
123104 | 2021-05-03 13:06 | 15.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1666 | μmol/L | 30.204 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.984 | 124024.5756 | 288994.1525 | 59.9307 | 49.4
123114 | 2021-05-03 13:07 | 16.3259 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1527 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.989 | 124083.5111 | 289020.1196 | 59.9307 | 49.4
123124 | 2021-05-03 13:07 | 16.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8247 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.002 | 124200.3795 | 289008.4856 | 59.9307 | 49.4
123134 | 2021-05-03 13:07 | 16.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8109 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.007 | 124265.8136 | 288999.6826 | 59.9307 | 49.4
123144 | 2021-05-03 13:08 | 17.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9395 | μmol/L | 30.1607 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.012 | 124208.1253 | 288992.022 | 59.9307 | 49.4
123154 | 2021-05-03 13:08 | 17.6587 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5918 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.022 | 124294.9382 | 288977.5846 | 59.9307 | 49.4
123164 | 2021-05-03 13:08 | 17.9919 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.4626 | μmol/L | 30.1669 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.038 | 124360.2056 | 288982.7583 | 59.9307 | 49.4
123174 | 2021-05-03 13:09 | 18.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.136 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.051 | 124421.8258 | 288968.0844 | 59.9307 | 49.4
123184 | 2021-05-03 13:09 | 18.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1868 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.048 | 124426.6927 | 288993.778 | 59.9307 | 49.4
123194 | 2021-05-03 13:09 | 18.9923 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.0547 | μmol/L | 30.1731 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.06 | 124478.2434 | 288985.9781 | 59.9307 | 49.4
123204 | 2021-05-03 13:10 | 19.3253 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8487 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.068 | 124571.4578 | 288966.4512 | 59.9307 | 49.4
123214 | 2021-05-03 13:10 | 19.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.6767 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.074 | 124609.0816 | 288956.3722 | 59.9307 | 49.4
123224 | 2021-05-03 13:10 | 19.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.6261 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.077 | 124600.4308 | 288965.6243 | 59.9307 | 49.4
123234 | 2021-05-03 13:11 | 20.3258 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.4946 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.089 | 124699.9191 | 288960.6629 | 59.9307 | 49.4
123244 | 2021-05-03 13:11 | 20.6588 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.3566 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.093 | 124761.0687 | 288977.4756 | 59.9307 | 49.4
123254 | 2021-05-03 13:11 | 20.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.3919 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.093 | 124706.1405 | 288954.9769 | 59.9307 | 49.4
123264 | 2021-05-03 13:12 | 21.3254 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.975 | μmol/L | 30.2412 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.101 | 124741.0974 | 288952.0058 | 59.9307 | 49.4
123274 | 2021-05-03 13:12 | 21.6587 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.0002 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.11 | 124786.481 | 288949.7803 | 59.9307 | 49.4
123284 | 2021-05-03 13:12 | 21.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.7486 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.125 | 124898.8019 | 288956.5767 | 59.9307 | 49.4
123294 | 2021-05-03 13:13 | 22.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.581 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.135 | 124972.2293 | 288936.1183 | 59.9307 | 49.4
123304 | 2021-05-03 13:13 | 22.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.4639 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.142 | 125035.7098 | 288928.4023 | 59.9307 | 49.4
123314 | 2021-05-03 13:13 | 22.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.0226 | μmol/L | 30.235 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.16 | 125119.3289 | 288937.8932 | 59.9307 | 49.4
123324 | 2021-05-03 13:14 | 23.3257 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.9743 | μmol/L | 30.2288 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.165 | 125175.9247 | 288931.0555 | 59.9307 | 49.4
123334 | 2021-05-03 13:14 | 23.6588 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.9944 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.168 | 125173.0281 | 288939.6139 | 59.9307 | 49.4
123344 | 2021-05-03 13:14 | 23.9927 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 188.1984 | μmol/L | 30.1421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.181 | 125296.1136 | 288938.4377 | 59.9307 | 49.4
123354 | 2021-05-03 13:15 | 24.3256 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.5132 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.199 | 125565.4684 | 288920.8904 | 59.9307 | 49.4
123364 | 2021-05-03 13:15 | 24.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.4851 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.207 | 125422.7696 | 288912.1343 | 59.9307 | 49.4
123374 | 2021-05-03 13:15 | 24.9926 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.1129 | μmol/L | 30.2164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.221 | 125522.4303 | 288930.1801 | 59.9307 | 49.4
123384 | 2021-05-03 13:16 | 25.3255 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.0039 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.236 | 125808.5863 | 288922.5442 | 59.9307 | 49.4
123394 | 2021-05-03 13:16 | 25.6585 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 187.263 | μmol/L | 30.1545 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.233 | 125691.2934 | 288923.3399 | 59.9307 | 49.4
123404 | 2021-05-03 13:16 | 25.9921 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.8767 | μmol/L | 30.1731 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.25 | 125829.5116 | 288901.676 | 59.9307 | 49.4
123414 | 2021-05-03 13:17 | 26.3253 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.5207 | μmol/L | 30.204 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.261 | 125962.938 | 288936.491 | 59.9307 | 49.4
123424 | 2021-05-03 13:17 | 26.6591 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3868 | μmol/L | 30.2102 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.267 | 125916.9204 | 288917.8507 | 59.9307 | 49.4
123434 | 2021-05-03 13:17 | 26.9924 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3739 | μmol/L | 30.1978 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.272 | 125935.3028 | 288901.882 | 59.9307 | 49.4
123444 | 2021-05-03 13:18 | 27.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.1613 | μmol/L | 30.1917 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.287 | 126052.6659 | 288914.1202 | 59.9307 | 49.4
123454 | 2021-05-03 13:18 | 27.6592 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.2308 | μmol/L | 30.1793 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.287 | 126232.3901 | 288919.3086 | 59.9307 | 49.4
123464 | 2021-05-03 13:18 | 27.9923 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.3568 | μmol/L | 30.1421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.292 | 126092.1162 | 288917.8837 | 59.9307 | 49.4
123474 | 2021-05-03 13:19 | 28.3253 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.8669 | μmol/L | 30.1855 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.307 | 126208.0823 | 288908.0512 | 59.9307 | 49.4
123484 | 2021-05-03 13:19 | 28.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.9033 | μmol/L | 30.1731 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.309 | 126222.6636 | 288908.3296 | 59.9307 | 49.4
123494 | 2021-05-03 13:19 | 28.9922 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 186.0985 | μmol/L | 30.1235 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.314 | 126175.6636 | 288915.5215 | 59.9307 | 49.4
123504 | 2021-05-03 13:20 | 29.3252 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.6676 | μmol/L | 30.1359 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.336 | 126502.2634 | 288905.7951 | 59.9307 | 49.4
123514 | 2021-05-03 13:20 | 29.6589 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.3343 | μmol/L | 30.1545 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.35 | 126565.3927 | 288902.0253 | 59.9307 | 49.4
123524 | 2021-05-03 13:20 | 29.992 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.207 | μmol/L | 30.1421 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.362 | 126728.5042 | 288891.8445 | 59.9307 | 49.4
123534 | 2021-05-03 13:21 | 30.326 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 185.2341 | μmol/L | 30.105 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.373 | 127098.4679 | 288905.9264 | 59.9307 | 49.4
123544 | 2021-05-03 13:21 | 30.6586 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 184.9653 | μmol/L | 30.1297 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.381 | 127394.5307 | 288894.113 | 59.9307 | 49.4