## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:21

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122625 | 2021-05-03 12:50 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.6973 | μmol/L | 30.031 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.272 | 130820.8816 | 299936.6624 | 33.25 | 68.6
122635 | 2021-05-03 12:51 | 0.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0658 | μmol/L | 30.1287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.332 | 131284.3569 | 299929.03 | 33.25 | 68.6
122645 | 2021-05-03 12:51 | 0.66529 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.0041 | μmol/L | 30.1654 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.381 | 131799.159 | 299930.0468 | 33.25 | 68.6
122655 | 2021-05-03 12:51 | 0.99835 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.2425 | μmol/L | 30.1531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.43 | 132148.5777 | 299938.3922 | 33.25 | 68.6
122665 | 2021-05-03 12:52 | 1.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0379 | μmol/L | 30.1165 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.455 | 132329.3712 | 299923.3971 | 33.25 | 68.6
122675 | 2021-05-03 12:52 | 1.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.8791 | μmol/L | 30.0921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.473 | 132449.3276 | 299916.8955 | 33.25 | 68.6
122685 | 2021-05-03 12:52 | 1.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6562 | μmol/L | 30.0982 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.484 | 132550.9527 | 299920.1373 | 33.25 | 68.6
122695 | 2021-05-03 12:53 | 2.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.355 | μmol/L | 30.1287 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.491 | 132594.2037 | 299912.7949 | 33.25 | 68.6
122705 | 2021-05-03 12:53 | 2.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9053 | μmol/L | 30.1531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.509 | 132694.7758 | 299913.8028 | 33.25 | 68.6
122715 | 2021-05-03 12:53 | 2.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6499 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.522 | 132778.3086 | 299911.101 | 33.25 | 68.6
122725 | 2021-05-03 12:54 | 3.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6668 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 132789.3669 | 299899.9878 | 33.25 | 68.6
122735 | 2021-05-03 12:54 | 3.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5939 | μmol/L | 30.1715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 132820.2282 | 299881.1771 | 33.25 | 68.6
122745 | 2021-05-03 12:54 | 3.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4286 | μmol/L | 30.1654 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.533 | 132862.7572 | 299883.7758 | 33.25 | 68.6
122755 | 2021-05-03 12:55 | 4.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.535 | μmol/L | 30.1531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.531 | 132896.3699 | 299887.3845 | 33.25 | 68.6
122765 | 2021-05-03 12:55 | 4.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3977 | μmol/L | 30.1592 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.537 | 132938.5906 | 299868.9819 | 33.25 | 68.6
122775 | 2021-05-03 12:55 | 4.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2522 | μmol/L | 30.147 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.55 | 133004.7257 | 299864.671 | 33.25 | 68.6
122785 | 2021-05-03 12:56 | 5.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2662 | μmol/L | 30.1531 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 133022.9484 | 299863.7548 | 33.25 | 68.6
122795 | 2021-05-03 12:56 | 5.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.984 | μmol/L | 30.1837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.553 | 133039.7871 | 299863.4784 | 33.25 | 68.6
122805 | 2021-05-03 12:56 | 5.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1236 | μmol/L | 30.1715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.549 | 133029.4753 | 299859.3634 | 33.25 | 68.6
122815 | 2021-05-03 12:57 | 6.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0845 | μmol/L | 30.1837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.547 | 133038.4668 | 299862.7862 | 33.25 | 68.6
122825 | 2021-05-03 12:57 | 6.6654 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9644 | μmol/L | 30.1898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.552 | 133051.0608 | 299854.0523 | 33.25 | 68.6
122835 | 2021-05-03 12:57 | 6.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0901 | μmol/L | 30.1715 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.551 | 133051.3969 | 299841.0301 | 33.25 | 68.6
122845 | 2021-05-03 12:58 | 7.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9505 | μmol/L | 30.1837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.555 | 133076.3266 | 299840.5477 | 33.25 | 68.6
122855 | 2021-05-03 12:58 | 7.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8556 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.552 | 133066.8478 | 299839.7133 | 33.25 | 68.6
122865 | 2021-05-03 12:58 | 7.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6798 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.556 | 133099.5977 | 299826.8736 | 33.25 | 68.6
122875 | 2021-05-03 12:59 | 8.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5208 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.559 | 133128.442 | 299825.708 | 33.25 | 68.6
122885 | 2021-05-03 12:59 | 8.6646 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4846 | μmol/L | 30.2508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.559 | 133121.6133 | 299821.8301 | 33.25 | 68.6
122895 | 2021-05-03 12:59 | 8.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4568 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.565 | 133159.3445 | 299806.806 | 33.25 | 68.6
122905 | 2021-05-03 13:00 | 9.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.3983 | μmol/L | 30.2569 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.562 | 133143.2071 | 299809.7447 | 33.25 | 68.6
122915 | 2021-05-03 13:00 | 9.6649 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.2395 | μmol/L | 30.2753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.565 | 133156.768 | 299796.1035 | 33.25 | 68.6
122925 | 2021-05-03 13:00 | 9.9986 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0475 | μmol/L | 30.2936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.57 | 133178.4951 | 299804.5421 | 33.25 | 68.6
122935 | 2021-05-03 13:01 | 10.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0419 | μmol/L | 30.3058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.566 | 133171.6902 | 299793.9413 | 33.25 | 68.6
122945 | 2021-05-03 13:01 | 10.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0142 | μmol/L | 30.2936 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.572 | 133184.006 | 299792.5609 | 33.25 | 68.6
122955 | 2021-05-03 13:01 | 10.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.0366 | μmol/L | 30.2814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.575 | 133205.3446 | 299792.2622 | 33.25 | 68.6
122965 | 2021-05-03 13:02 | 11.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9752 | μmol/L | 30.3058 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.57 | 133192.2421 | 299797.4359 | 33.25 | 68.6
122975 | 2021-05-03 13:02 | 11.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.8362 | μmol/L | 30.318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.574 | 133209.7873 | 299787.7229 | 33.25 | 68.6
122985 | 2021-05-03 13:02 | 11.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4033 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.587 | 133320.3852 | 299779.5043 | 33.25 | 68.6
122995 | 2021-05-03 13:03 | 12.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3376 | μmol/L | 30.318 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.604 | 133428.0071 | 299794.5655 | 33.25 | 68.6
123005 | 2021-05-03 13:03 | 12.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4011 | μmol/L | 30.3241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.598 | 133401.0254 | 299794.0208 | 33.25 | 68.6
123015 | 2021-05-03 13:03 | 12.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.3153 | μmol/L | 30.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.601 | 133400.6421 | 299780.0176 | 33.25 | 68.6
123025 | 2021-05-03 13:04 | 13.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.9801 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.606 | 133426.0205 | 299786.1616 | 33.25 | 68.6
123035 | 2021-05-03 13:04 | 13.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8505 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.616 | 133520.1293 | 299773.0108 | 33.25 | 68.6
123045 | 2021-05-03 13:04 | 13.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.793 | μmol/L | 30.3485 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.626 | 133570.617 | 299777.503 | 33.25 | 68.6
123055 | 2021-05-03 13:05 | 14.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4704 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.639 | 133653.1485 | 299767.478 | 33.25 | 68.6
123065 | 2021-05-03 13:05 | 14.6649 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.416 | μmol/L | 30.3424 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.651 | 133749.5503 | 299761.1374 | 33.25 | 68.6
123075 | 2021-05-03 13:05 | 14.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.286 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.648 | 133751.5818 | 299755.2437 | 33.25 | 68.6
123085 | 2021-05-03 13:06 | 15.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.915 | μmol/L | 30.3913 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.664 | 133816.8935 | 299747.3852 | 33.25 | 68.6
123095 | 2021-05-03 13:06 | 15.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.9866 | μmol/L | 30.379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.664 | 133864.122 | 299728.9602 | 33.25 | 68.6
123105 | 2021-05-03 13:06 | 15.9985 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0148 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.671 | 133886.0735 | 299736.7932 | 33.25 | 68.6
123115 | 2021-05-03 13:07 | 16.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8386 | μmol/L | 30.379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.673 | 133899.9916 | 299716.6202 | 33.25 | 68.6
123125 | 2021-05-03 13:07 | 16.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7518 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.687 | 133970.708 | 299712.7719 | 33.25 | 68.6
123135 | 2021-05-03 13:07 | 16.998 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.7265 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.682 | 133940.5287 | 299703.1495 | 33.25 | 68.6
123145 | 2021-05-03 13:08 | 17.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6937 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133972.4007 | 299714.0949 | 33.25 | 68.6
123155 | 2021-05-03 13:08 | 17.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8726 | μmol/L | 30.3424 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.684 | 133959.1196 | 299701.4007 | 33.25 | 68.6
123165 | 2021-05-03 13:08 | 17.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4223 | μmol/L | 30.3913 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.694 | 134016.6292 | 299694.7525 | 33.25 | 68.6
123175 | 2021-05-03 13:09 | 18.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3538 | μmol/L | 30.3974 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.696 | 134033.9505 | 299700.2134 | 33.25 | 68.6
123185 | 2021-05-03 13:09 | 18.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4312 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.7 | 134064.669 | 299694.0883 | 33.25 | 68.6
123195 | 2021-05-03 13:09 | 18.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5009 | μmol/L | 30.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.711 | 134136.9633 | 299679.4239 | 33.25 | 68.6
123205 | 2021-05-03 13:10 | 19.3317 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9669 | μmol/L | 30.3852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.724 | 134241.4633 | 299685.4395 | 33.25 | 68.6
123215 | 2021-05-03 13:10 | 19.6647 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.1259 | μmol/L | 30.3607 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.723 | 134232.4627 | 299680.0174 | 33.25 | 68.6
123225 | 2021-05-03 13:10 | 19.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.3371 | μmol/L | 30.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.721 | 134213.4732 | 299676.2041 | 33.25 | 68.6
123235 | 2021-05-03 13:11 | 20.3315 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8658 | μmol/L | 30.3241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.752 | 134384.0794 | 299663.8564 | 33.25 | 68.6
123245 | 2021-05-03 13:11 | 20.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.5323 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.755 | 134429.0778 | 299643.3141 | 33.25 | 68.6
123255 | 2021-05-03 13:11 | 20.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.4582 | μmol/L | 30.3913 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.753 | 134405.3058 | 299648.2423 | 33.25 | 68.6
123265 | 2021-05-03 13:12 | 21.3318 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.134 | μmol/L | 30.4218 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.762 | 134477.5777 | 299649.6101 | 33.25 | 68.6
123275 | 2021-05-03 13:12 | 21.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.2983 | μmol/L | 30.3852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.765 | 134471.0246 | 299645.5604 | 33.25 | 68.6
123285 | 2021-05-03 13:12 | 21.9987 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.3664 | μmol/L | 30.379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.763 | 134489.8394 | 299645.7821 | 33.25 | 68.6
123295 | 2021-05-03 13:13 | 22.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1297 | μmol/L | 30.3974 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.771 | 134540.2064 | 299660.5707 | 33.25 | 68.6
123305 | 2021-05-03 13:13 | 22.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0442 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.785 | 134617.955 | 299638.0713 | 33.25 | 68.6
123315 | 2021-05-03 13:13 | 22.9984 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.0455 | μmol/L | 30.4035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.774 | 134589.8073 | 299632.1898 | 33.25 | 68.6
123325 | 2021-05-03 13:14 | 23.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1002 | μmol/L | 30.3913 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.775 | 134577.4465 | 299626.75 | 33.25 | 68.6
123335 | 2021-05-03 13:14 | 23.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.158 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.778 | 134589.6893 | 299632.53 | 33.25 | 68.6
123345 | 2021-05-03 13:14 | 23.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.1951 | μmol/L | 30.3302 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.791 | 134656.8796 | 299636.1066 | 33.25 | 68.6
123355 | 2021-05-03 13:15 | 24.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9485 | μmol/L | 30.3363 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.804 | 134739.1323 | 299635.1727 | 33.25 | 68.6
123365 | 2021-05-03 13:15 | 24.6648 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6477 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.816 | 134844.9904 | 299613.5348 | 33.25 | 68.6
123375 | 2021-05-03 13:15 | 24.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3181 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.832 | 134967.7584 | 299617.7063 | 33.25 | 68.6
123385 | 2021-05-03 13:16 | 25.332 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.0084 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.849 | 135081.3794 | 299604.5009 | 33.25 | 68.6
123395 | 2021-05-03 13:16 | 25.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7284 | μmol/L | 30.3852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.862 | 135121.0425 | 299601.4179 | 33.25 | 68.6
123405 | 2021-05-03 13:16 | 25.9988 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.828 | μmol/L | 30.379 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.858 | 135102.8611 | 299599.8206 | 33.25 | 68.6
123415 | 2021-05-03 13:17 | 26.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8824 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.859 | 135121.4443 | 299599.848 | 33.25 | 68.6
123425 | 2021-05-03 13:17 | 26.665 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7536 | μmol/L | 30.3668 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.867 | 135166.6722 | 299606.9327 | 33.25 | 68.6
123435 | 2021-05-03 13:17 | 26.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.5192 | μmol/L | 30.3852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.875 | 135226.5631 | 299586.4149 | 33.25 | 68.6
123445 | 2021-05-03 13:18 | 27.3314 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4771 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.882 | 135270.6533 | 299581.4071 | 33.25 | 68.6
123455 | 2021-05-03 13:18 | 27.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.4449 | μmol/L | 30.3729 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.884 | 135286.7753 | 299583.8599 | 33.25 | 68.6
123465 | 2021-05-03 13:18 | 27.9981 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0033 | μmol/L | 30.4218 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.894 | 135355.361 | 299583.8482 | 33.25 | 68.6
123475 | 2021-05-03 13:19 | 28.3319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.6899 | μmol/L | 30.4401 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.907 | 135424.4821 | 299580.8467 | 33.25 | 68.6
123485 | 2021-05-03 13:19 | 28.6652 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.7539 | μmol/L | 30.4401 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.903 | 135412.3085 | 299561.1998 | 33.25 | 68.6
123495 | 2021-05-03 13:19 | 28.9982 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8622 | μmol/L | 30.4157 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.905 | 135406.4697 | 299590.2794 | 33.25 | 68.6
123505 | 2021-05-03 13:20 | 29.3321 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0056 | μmol/L | 30.3852 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.907 | 135425.4293 | 299564.3279 | 33.25 | 68.6
123515 | 2021-05-03 13:20 | 29.6651 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.0049 | μmol/L | 30.3546 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.918 | 135500.0925 | 299564.8833 | 33.25 | 68.6
123525 | 2021-05-03 13:20 | 29.9983 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8638 | μmol/L | 30.3485 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.929 | 135564.5522 | 299554.9992 | 33.25 | 68.6
123535 | 2021-05-03 13:21 | 30.3316 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.972 | μmol/L | 30.3241 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.931 | 135779.2529 | 299559.6752 | 33.25 | 68.6
123545 | 2021-05-03 13:21 | 30.6653 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.8379 | μmol/L | 30.3363 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.935 | 135801.8044 | 299565.2945 | 33.25 | 68.6