## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:22

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
122626 | 2021-05-03 12:50 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.4716 | μmol/L | 29.9941 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.56 | 120534.6448 | 264302.9898 | 26.25 | 74
122636 | 2021-05-03 12:51 | 0.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.0942 | μmol/L | 30.0186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.628 | 121034.2871 | 264291.7821 | 26.25 | 74
122646 | 2021-05-03 12:51 | 0.67381 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5279 | μmol/L | 29.9635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.678 | 121374.8663 | 264282.6113 | 26.25 | 74
122656 | 2021-05-03 12:51 | 1.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6877 | μmol/L | 29.9635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.725 | 121679.9252 | 264283.518 | 26.25 | 74
122666 | 2021-05-03 12:52 | 1.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6425 | μmol/L | 30.0491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.755 | 121916.0162 | 264278.5173 | 26.25 | 74
122676 | 2021-05-03 12:52 | 1.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3116 | μmol/L | 30.0186 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.784 | 122100.5822 | 264272.5256 | 26.25 | 74
122686 | 2021-05-03 12:52 | 2.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7987 | μmol/L | 30.0247 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.811 | 122289.7276 | 264276.8407 | 26.25 | 74
122696 | 2021-05-03 12:53 | 2.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.043 | μmol/L | 29.9391 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.826 | 122422.8142 | 264262.3205 | 26.25 | 74
122706 | 2021-05-03 12:53 | 2.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7622 | μmol/L | 29.933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.844 | 122527.7899 | 264263.136 | 26.25 | 74
122716 | 2021-05-03 12:53 | 3.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9763 | μmol/L | 30.0063 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.864 | 122633.3263 | 264264.817 | 26.25 | 74
122726 | 2021-05-03 12:54 | 3.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8 | μmol/L | 30.0124 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.872 | 122689.4985 | 264259.7636 | 26.25 | 74
122736 | 2021-05-03 12:54 | 3.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9667 | μmol/L | 29.9635 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.879 | 122744.6887 | 264254.7039 | 26.25 | 74
122746 | 2021-05-03 12:54 | 4.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8102 | μmol/L | 29.9574 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.89 | 122830.0972 | 264250.0206 | 26.25 | 74
122756 | 2021-05-03 12:55 | 4.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0248 | μmol/L | 30.0491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 122902.684 | 264242.0066 | 26.25 | 74
122766 | 2021-05-03 12:55 | 4.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8298 | μmol/L | 30.0675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.909 | 122972.5538 | 264242.801 | 26.25 | 74
122776 | 2021-05-03 12:55 | 5.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7464 | μmol/L | 30.0491 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.92 | 123026.5577 | 264229.0313 | 26.25 | 74
122786 | 2021-05-03 12:56 | 5.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6607 | μmol/L | 30.043 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.927 | 123074.0725 | 264239.9568 | 26.25 | 74
122796 | 2021-05-03 12:56 | 5.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8255 | μmol/L | 30.0002 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 123095.7198 | 264224.4388 | 26.25 | 74
122806 | 2021-05-03 12:56 | 6.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7895 | μmol/L | 30.0063 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 123098.059 | 264223.1907 | 26.25 | 74
122816 | 2021-05-03 12:57 | 6.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5774 | μmol/L | 30.0247 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.938 | 123126.6065 | 264227.174 | 26.25 | 74
122826 | 2021-05-03 12:57 | 6.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3482 | μmol/L | 30.043 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.945 | 123175.0691 | 264225.457 | 26.25 | 74
122836 | 2021-05-03 12:57 | 7.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8919 | μmol/L | 30.0736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.961 | 123274.2856 | 264231.5445 | 26.25 | 74
122846 | 2021-05-03 12:58 | 7.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.824 | μmol/L | 30.0675 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.967 | 123323.8348 | 264219.5322 | 26.25 | 74
122856 | 2021-05-03 12:58 | 7.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9512 | μmol/L | 30.0369 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.97 | 123351.3966 | 264209.7233 | 26.25 | 74
122866 | 2021-05-03 12:58 | 8.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7005 | μmol/L | 30.0797 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.97 | 123351.896 | 264216.48 | 26.25 | 74
122876 | 2021-05-03 12:59 | 8.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5317 | μmol/L | 30.0613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.986 | 123469.7371 | 264211.9687 | 26.25 | 74
122886 | 2021-05-03 12:59 | 8.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.0126 | μmol/L | 30.0736 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.012 | 123637.5205 | 264198.8664 | 26.25 | 74
122896 | 2021-05-03 12:59 | 9.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6454 | μmol/L | 30.1041 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.023 | 123698.1436 | 264195.0358 | 26.25 | 74
122906 | 2021-05-03 13:00 | 9.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.6613 | μmol/L | 30.1103 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.02 | 123716.3402 | 264197.0754 | 26.25 | 74
122916 | 2021-05-03 13:00 | 9.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.3317 | μmol/L | 30.1286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.033 | 123766.8322 | 264194.2651 | 26.25 | 74
122926 | 2021-05-03 13:00 | 10.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0117 | μmol/L | 30.1836 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.033 | 123797.2674 | 264178.255 | 26.25 | 74
122936 | 2021-05-03 13:01 | 10.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.2092 | μmol/L | 30.1408 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.036 | 123817.933 | 264185.5725 | 26.25 | 74
122946 | 2021-05-03 13:01 | 10.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9303 | μmol/L | 30.1653 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.044 | 123861.6048 | 264187.3324 | 26.25 | 74
122956 | 2021-05-03 13:01 | 11.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9344 | μmol/L | 30.1469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.05 | 123892.7976 | 264181.0159 | 26.25 | 74
122966 | 2021-05-03 13:02 | 11.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.7057 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.053 | 123926.76 | 264179.8208 | 26.25 | 74
122976 | 2021-05-03 13:02 | 11.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.5693 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.061 | 123981.6688 | 264166.7627 | 26.25 | 74
122986 | 2021-05-03 13:02 | 12.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.416 | μmol/L | 30.1775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.07 | 124034.0465 | 264168.6838 | 26.25 | 74
122996 | 2021-05-03 13:03 | 12.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.0321 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.078 | 124084.3881 | 264168.5812 | 26.25 | 74
123006 | 2021-05-03 13:03 | 12.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9316 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.086 | 124117.7358 | 264180.1468 | 26.25 | 74
123016 | 2021-05-03 13:03 | 13.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.9175 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.091 | 124139.3698 | 264168.6371 | 26.25 | 74
123026 | 2021-05-03 13:04 | 13.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.5756 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.107 | 124251.0698 | 264169.5168 | 26.25 | 74
123036 | 2021-05-03 13:04 | 13.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.1654 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.125 | 124346.638 | 264165.4668 | 26.25 | 74
123046 | 2021-05-03 13:04 | 14.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0964 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.127 | 124391.1012 | 264144.5891 | 26.25 | 74
123056 | 2021-05-03 13:05 | 14.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 191.0274 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.129 | 124399.5998 | 264152.5559 | 26.25 | 74
123066 | 2021-05-03 13:05 | 14.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9951 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.133 | 124426.1269 | 264137.9625 | 26.25 | 74
123076 | 2021-05-03 13:05 | 15.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.9445 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.136 | 124446.3486 | 264161.3985 | 26.25 | 74
123086 | 2021-05-03 13:06 | 15.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.6323 | μmol/L | 30.2753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.142 | 124517.5588 | 264143.6791 | 26.25 | 74
123096 | 2021-05-03 13:06 | 15.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.8169 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.154 | 124582.1674 | 264142.5214 | 26.25 | 74
123106 | 2021-05-03 13:06 | 16.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5095 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.166 | 124631.8308 | 264121.9782 | 26.25 | 74
123116 | 2021-05-03 13:07 | 16.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5263 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.165 | 124642.0879 | 264123.2933 | 26.25 | 74
123126 | 2021-05-03 13:07 | 16.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.5995 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.169 | 124666.8997 | 264108.1544 | 26.25 | 74
123136 | 2021-05-03 13:07 | 17.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2042 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.18 | 124714.2287 | 264118.0015 | 26.25 | 74
123146 | 2021-05-03 13:08 | 17.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.0152 | μmol/L | 30.257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.185 | 124755.9347 | 264107.73 | 26.25 | 74
123156 | 2021-05-03 13:08 | 17.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 190.2649 | μmol/L | 30.1958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.191 | 124795.9295 | 264093.7072 | 26.25 | 74
123166 | 2021-05-03 13:08 | 18.0067 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.8719 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.204 | 124877.583 | 264090.9006 | 26.25 | 74
123176 | 2021-05-03 13:09 | 18.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.6818 | μmol/L | 30.2508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.207 | 124891.5054 | 264080.8287 | 26.25 | 74
123186 | 2021-05-03 13:09 | 18.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.5693 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.22 | 124960.6504 | 264091.0491 | 26.25 | 74
123196 | 2021-05-03 13:09 | 19.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.785 | μmol/L | 30.1714 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.228 | 125016.9289 | 264068.0263 | 26.25 | 74
123206 | 2021-05-03 13:10 | 19.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1673 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.242 | 125108.2726 | 264077.3713 | 26.25 | 74
123216 | 2021-05-03 13:10 | 19.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0325 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.248 | 125173.798 | 264061.2427 | 26.25 | 74
123226 | 2021-05-03 13:10 | 20.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.1598 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.255 | 125196.7351 | 264072.2297 | 26.25 | 74
123236 | 2021-05-03 13:11 | 20.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 189.0251 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.261 | 125251.4998 | 264048.1 | 26.25 | 74
123246 | 2021-05-03 13:11 | 20.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.8993 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.256 | 125233.9627 | 264043.7786 | 26.25 | 74
123256 | 2021-05-03 13:11 | 21.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.6666 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.27 | 125329.214 | 264059.6865 | 26.25 | 74
123266 | 2021-05-03 13:12 | 21.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5488 | μmol/L | 30.2508 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.275 | 125365.2323 | 264060.2985 | 26.25 | 74
123276 | 2021-05-03 13:12 | 21.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.5219 | μmol/L | 30.2264 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.285 | 125399.9081 | 264064.8547 | 26.25 | 74
123286 | 2021-05-03 13:12 | 22.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.4918 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.291 | 125456.7061 | 264046.1045 | 26.25 | 74
123296 | 2021-05-03 13:13 | 22.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.1755 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.308 | 125524.2611 | 264049.55 | 26.25 | 74
123306 | 2021-05-03 13:13 | 22.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.613 | μmol/L | 30.1286 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.313 | 125583.8899 | 264040.85 | 26.25 | 74
123316 | 2021-05-03 13:13 | 23.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 188.4048 | μmol/L | 30.1653 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.313 | 125590.6874 | 264028.5393 | 26.25 | 74
123326 | 2021-05-03 13:14 | 23.34 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.8566 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.321 | 125629.9035 | 264025.6512 | 26.25 | 74
123336 | 2021-05-03 13:14 | 23.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.5777 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.34 | 125759.4197 | 264030.5191 | 26.25 | 74
123346 | 2021-05-03 13:14 | 24.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.4177 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.356 | 125883.4528 | 264027.4556 | 26.25 | 74
123356 | 2021-05-03 13:15 | 24.3401 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 187.1004 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.369 | 125961.9917 | 264034.321 | 26.25 | 74
123366 | 2021-05-03 13:15 | 24.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9854 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.376 | 126006.7379 | 264021.4844 | 26.25 | 74
123376 | 2021-05-03 13:15 | 25.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9394 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.383 | 126049.6594 | 264012.7052 | 26.25 | 74
123386 | 2021-05-03 13:16 | 25.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.9803 | μmol/L | 30.1897 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.391 | 126091.8753 | 264022.4515 | 26.25 | 74
123396 | 2021-05-03 13:16 | 25.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.8786 | μmol/L | 30.2019 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.393 | 126115.9178 | 264022.4656 | 26.25 | 74
123406 | 2021-05-03 13:16 | 26.0068 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.6066 | μmol/L | 30.2386 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.397 | 126122.6753 | 264012.8238 | 26.25 | 74
123416 | 2021-05-03 13:17 | 26.3407 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.2091 | μmol/L | 30.257 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.415 | 126259.3464 | 264013.6946 | 26.25 | 74
123426 | 2021-05-03 13:17 | 26.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 186.3024 | μmol/L | 30.2142 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.424 | 126325.6806 | 264011.1767 | 26.25 | 74
123436 | 2021-05-03 13:17 | 27.0069 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.8811 | μmol/L | 30.2631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.433 | 126370.9167 | 264014.1961 | 26.25 | 74
123446 | 2021-05-03 13:18 | 27.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.666 | μmol/L | 30.2753 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.442 | 126455.4315 | 264017.6695 | 26.25 | 74
123456 | 2021-05-03 13:18 | 27.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.5555 | μmol/L | 30.2631 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.453 | 126505.0817 | 263989.8318 | 26.25 | 74
123466 | 2021-05-03 13:18 | 28.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.6553 | μmol/L | 30.1958 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.47 | 126605.4934 | 263990.1925 | 26.25 | 74
123476 | 2021-05-03 13:19 | 28.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.2588 | μmol/L | 30.2203 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.486 | 126712.7111 | 263995.5279 | 26.25 | 74
123486 | 2021-05-03 13:19 | 28.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.1973 | μmol/L | 30.2081 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.494 | 126786.3448 | 263983.5418 | 26.25 | 74
123496 | 2021-05-03 13:19 | 29.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.8793 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.501 | 126810.5509 | 263985.8106 | 26.25 | 74
123506 | 2021-05-03 13:20 | 29.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.4575 | μmol/L | 30.1469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.499 | 126822.374 | 263977.1682 | 26.25 | 74
123516 | 2021-05-03 13:20 | 29.6733 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.3926 | μmol/L | 30.1469 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.503 | 126839.8702 | 263981.3519 | 26.25 | 74
123526 | 2021-05-03 13:20 | 30.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.7695 | μmol/L | 30.2325 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.512 | 126885.8105 | 263967.4445 | 26.25 | 74
123536 | 2021-05-03 13:21 | 30.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 184.5721 | μmol/L | 30.2447 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.52 | 126943.0867 | 263978.366 | 26.25 | 74
123546 | 2021-05-03 13:21 | 30.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 185.0667 | μmol/L | 30.153 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 21.521 | 126957.5368 | 263975.248 | 26.25 | 74