## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123548 | 2021-05-03 13:28 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3986 | μmol/L | 31.026 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.006 | 132605.9784 | 268409.2115 | 33.25 | 75.7
123558 | 2021-05-03 13:28 | 0.32617 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.2529 | μmol/L | 31.0137 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.018 | 132735.6985 | 268423.195 | 33.25 | 75.7
123568 | 2021-05-03 13:29 | 0.65921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.998 | μmol/L | 30.9953 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.038 | 132892.0066 | 268420.0915 | 33.25 | 75.7
123578 | 2021-05-03 13:29 | 0.99234 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6671 | μmol/L | 30.9953 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.056 | 133018.7785 | 268417.5097 | 33.25 | 75.7
123588 | 2021-05-03 13:29 | 1.3264 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4306 | μmol/L | 30.983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.073 | 133144.1409 | 268412.665 | 33.25 | 75.7
123598 | 2021-05-03 13:30 | 1.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1934 | μmol/L | 30.9768 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.088 | 133224.8387 | 268401.089 | 33.25 | 75.7
123608 | 2021-05-03 13:30 | 1.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.2168 | μmol/L | 30.946 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.097 | 133293.1618 | 268408.5417 | 33.25 | 75.7
123618 | 2021-05-03 13:30 | 2.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1669 | μmol/L | 30.9152 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.11 | 133398.6269 | 268396.3588 | 33.25 | 75.7
123628 | 2021-05-03 13:31 | 2.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.112 | μmol/L | 30.9152 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.113 | 133438.9495 | 268397.3082 | 33.25 | 75.7
123638 | 2021-05-03 13:31 | 2.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.835 | μmol/L | 30.9337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.122 | 133484.0016 | 268387.7092 | 33.25 | 75.7
123648 | 2021-05-03 13:31 | 3.3264 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6718 | μmol/L | 30.9276 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.133 | 133548.2555 | 268387.9216 | 33.25 | 75.7
123658 | 2021-05-03 13:32 | 3.6597 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6577 | μmol/L | 30.9029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.142 | 133613.428 | 268378.0765 | 33.25 | 75.7
123668 | 2021-05-03 13:32 | 3.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4402 | μmol/L | 30.8968 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.156 | 133688.8439 | 268384.1311 | 33.25 | 75.7
123678 | 2021-05-03 13:32 | 4.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6425 | μmol/L | 30.8845 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.149 | 133685.6345 | 268376.717 | 33.25 | 75.7
123688 | 2021-05-03 13:33 | 4.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2624 | μmol/L | 30.8722 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.174 | 133863.2225 | 268373.1228 | 33.25 | 75.7
123698 | 2021-05-03 13:33 | 4.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.1555 | μmol/L | 30.8599 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.184 | 133904.9515 | 268377.8679 | 33.25 | 75.7
123708 | 2021-05-03 13:33 | 5.3263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2535 | μmol/L | 30.8168 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.193 | 133997.4299 | 268374.0443 | 33.25 | 75.7
123718 | 2021-05-03 13:34 | 5.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.071 | μmol/L | 30.8229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.201 | 134047.4146 | 268363.8035 | 33.25 | 75.7
123728 | 2021-05-03 13:34 | 5.993 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.8172 | μmol/L | 30.8229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.215 | 134129.9839 | 268361.6877 | 33.25 | 75.7
123738 | 2021-05-03 13:34 | 6.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6031 | μmol/L | 30.8045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.233 | 134254.5054 | 268355.11 | 33.25 | 75.7
123748 | 2021-05-03 13:35 | 6.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4224 | μmol/L | 30.8045 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.243 | 134317.2525 | 268364.8969 | 33.25 | 75.7
123758 | 2021-05-03 13:35 | 6.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.209 | μmol/L | 30.786 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.261 | 134430.5795 | 268358.0739 | 33.25 | 75.7
123768 | 2021-05-03 13:35 | 7.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.192 | μmol/L | 30.7798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.264 | 134485.3762 | 268360.2233 | 33.25 | 75.7
123778 | 2021-05-03 13:36 | 7.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.1931 | μmol/L | 30.7737 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.266 | 134512.0728 | 268366.9129 | 33.25 | 75.7
123788 | 2021-05-03 13:36 | 7.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.7643 | μmol/L | 30.7552 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.296 | 134718.8904 | 268354.8305 | 33.25 | 75.7
123798 | 2021-05-03 13:36 | 8.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.2069 | μmol/L | 30.7614 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.325 | 134911.9848 | 268351.7776 | 33.25 | 75.7
123808 | 2021-05-03 13:37 | 8.6597 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 198.3232 | μmol/L | 30.7121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.335 | 134994.9019 | 268348.7416 | 33.25 | 75.7
123818 | 2021-05-03 13:37 | 8.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.7878 | μmol/L | 30.706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.367 | 135187.0339 | 268345.373 | 33.25 | 75.7
123828 | 2021-05-03 13:37 | 9.3263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.626 | μmol/L | 30.7121 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.374 | 135252.7657 | 268345.3072 | 33.25 | 75.7
123838 | 2021-05-03 13:38 | 9.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.6127 | μmol/L | 30.6875 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.383 | 135318.3683 | 268337.7994 | 33.25 | 75.7
123848 | 2021-05-03 13:38 | 9.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.6517 | μmol/L | 30.6691 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.387 | 135337.553 | 268335.156 | 33.25 | 75.7
123858 | 2021-05-03 13:38 | 10.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.4891 | μmol/L | 30.6814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.392 | 135366.9908 | 268339.3334 | 33.25 | 75.7
123868 | 2021-05-03 13:39 | 10.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3467 | μmol/L | 30.6814 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.4 | 135440.8623 | 268328.8114 | 33.25 | 75.7
123878 | 2021-05-03 13:39 | 10.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2267 | μmol/L | 30.6567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.415 | 135551.2722 | 268330.5347 | 33.25 | 75.7
123888 | 2021-05-03 13:39 | 11.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.1023 | μmol/L | 30.6567 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.422 | 135589.0564 | 268337.6232 | 33.25 | 75.7
123898 | 2021-05-03 13:40 | 11.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.2301 | μmol/L | 30.6383 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.421 | 135595.1459 | 268336.3005 | 33.25 | 75.7
123908 | 2021-05-03 13:40 | 11.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.3246 | μmol/L | 30.6075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.426 | 135625.2434 | 268325.809 | 33.25 | 75.7
123918 | 2021-05-03 13:40 | 12.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 197.0404 | μmol/L | 30.6075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.442 | 135745.6477 | 268333.4022 | 33.25 | 75.7
123928 | 2021-05-03 13:41 | 12.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.6681 | μmol/L | 30.6075 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.463 | 135875.1643 | 268330.8837 | 33.25 | 75.7
123938 | 2021-05-03 13:41 | 12.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2449 | μmol/L | 30.6014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.489 | 136073.6306 | 268310.1896 | 33.25 | 75.7
123948 | 2021-05-03 13:41 | 13.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 196.2626 | μmol/L | 30.6014 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.488 | 136086.6802 | 268326.291 | 33.25 | 75.7
123958 | 2021-05-03 13:42 | 13.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.9287 | μmol/L | 30.5952 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.509 | 136235.2035 | 268321.9673 | 33.25 | 75.7
123968 | 2021-05-03 13:42 | 13.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.8442 | μmol/L | 30.5767 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.52 | 136318.4947 | 268317.6364 | 33.25 | 75.7
123978 | 2021-05-03 13:42 | 14.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.6519 | μmol/L | 30.5706 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.533 | 136398.1903 | 268324.5296 | 33.25 | 75.7
123988 | 2021-05-03 13:43 | 14.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.4774 | μmol/L | 30.5644 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.545 | 136474.5224 | 268325.52 | 33.25 | 75.7
123998 | 2021-05-03 13:43 | 14.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.5676 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.544 | 136473.4774 | 268312.6215 | 33.25 | 75.7
124008 | 2021-05-03 13:43 | 15.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.5325 | μmol/L | 30.5521 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.546 | 136517.3084 | 268315.7699 | 33.25 | 75.7
124018 | 2021-05-03 13:44 | 15.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.542 | μmol/L | 30.5029 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.562 | 136597.4681 | 268308.2613 | 33.25 | 75.7
124028 | 2021-05-03 13:44 | 15.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.2553 | μmol/L | 30.5337 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.568 | 136676.5566 | 268307.4839 | 33.25 | 75.7
124038 | 2021-05-03 13:44 | 16.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.3303 | μmol/L | 30.509 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.572 | 136689.1429 | 268311.1507 | 33.25 | 75.7
124048 | 2021-05-03 13:45 | 16.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.2311 | μmol/L | 30.4783 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.588 | 136791.7742 | 268297.481 | 33.25 | 75.7
124058 | 2021-05-03 13:45 | 16.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0433 | μmol/L | 30.4537 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.607 | 136913.194 | 268308.5118 | 33.25 | 75.7
124068 | 2021-05-03 13:45 | 17.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.7951 | μmol/L | 30.4721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.615 | 136981.8355 | 268302.7698 | 33.25 | 75.7
124078 | 2021-05-03 13:46 | 17.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.871 | μmol/L | 30.4413 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.621 | 137000.6526 | 268300.3735 | 33.25 | 75.7
124088 | 2021-05-03 13:46 | 17.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.694 | μmol/L | 30.4537 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.627 | 137055.428 | 268295.1909 | 33.25 | 75.7
124098 | 2021-05-03 13:46 | 18.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 195.0493 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.617 | 137018.8837 | 268299.1138 | 33.25 | 75.7
124108 | 2021-05-03 13:47 | 18.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.6952 | μmol/L | 30.4475 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.629 | 137102.7991 | 268289.7513 | 33.25 | 75.7
124118 | 2021-05-03 13:47 | 18.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1627 | μmol/L | 30.4967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.643 | 137179.5729 | 268289.1326 | 33.25 | 75.7
124128 | 2021-05-03 13:47 | 19.3263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1453 | μmol/L | 30.4967 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.644 | 137172.3598 | 268278.5423 | 33.25 | 75.7
124138 | 2021-05-03 13:48 | 19.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.1652 | μmol/L | 30.4844 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.647 | 137223.7488 | 268293.7173 | 33.25 | 75.7
124148 | 2021-05-03 13:48 | 19.993 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 194.2795 | μmol/L | 30.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.657 | 137294.3939 | 268279.8794 | 33.25 | 75.7
124158 | 2021-05-03 13:48 | 20.3263 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.9256 | μmol/L | 30.466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.667 | 137349.0686 | 268273.5043 | 33.25 | 75.7
124168 | 2021-05-03 13:49 | 20.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.8215 | μmol/L | 30.466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.673 | 137400.1241 | 268274.042 | 33.25 | 75.7
124178 | 2021-05-03 13:49 | 20.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.6828 | μmol/L | 30.466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.681 | 137465.8321 | 268273.0018 | 33.25 | 75.7
124188 | 2021-05-03 13:49 | 21.3262 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.4749 | μmol/L | 30.466 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.693 | 137539.7955 | 268267.545 | 33.25 | 75.7
124198 | 2021-05-03 13:50 | 21.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.464 | μmol/L | 30.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.704 | 137641.6608 | 268269.4499 | 33.25 | 75.7
124208 | 2021-05-03 13:50 | 21.9931 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.1317 | μmol/L | 30.4537 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.717 | 137722.3856 | 268276.0431 | 33.25 | 75.7
124218 | 2021-05-03 13:50 | 22.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.1874 | μmol/L | 30.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.72 | 137760.4418 | 268277.2619 | 33.25 | 75.7
124228 | 2021-05-03 13:51 | 22.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 193.0665 | μmol/L | 30.4352 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.727 | 137781.1983 | 268272.4702 | 33.25 | 75.7
124238 | 2021-05-03 13:51 | 22.9931 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.9656 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.737 | 137857.6381 | 268274.8419 | 33.25 | 75.7
124248 | 2021-05-03 13:51 | 23.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.7058 | μmol/L | 30.429 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.75 | 137961.8063 | 268269.0594 | 33.25 | 75.7
124258 | 2021-05-03 13:52 | 23.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6753 | μmol/L | 30.4106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.758 | 137996.2098 | 268273.1292 | 33.25 | 75.7
124268 | 2021-05-03 13:52 | 23.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.6779 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.762 | 138047.1339 | 268263.4322 | 33.25 | 75.7
124278 | 2021-05-03 13:52 | 24.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.5205 | μmol/L | 30.4106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.767 | 138077.7705 | 268246.8804 | 33.25 | 75.7
124288 | 2021-05-03 13:53 | 24.6596 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.469 | μmol/L | 30.4106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.77 | 138100.4873 | 268266.4041 | 33.25 | 75.7
124298 | 2021-05-03 13:53 | 24.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2946 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.776 | 138158.84 | 268267.8476 | 33.25 | 75.7
124308 | 2021-05-03 13:53 | 25.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.2141 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.789 | 138251.0721 | 268260.7955 | 33.25 | 75.7
124318 | 2021-05-03 13:54 | 25.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 192.0584 | μmol/L | 30.4044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.796 | 138304.3437 | 268260.5535 | 33.25 | 75.7
124328 | 2021-05-03 13:54 | 25.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.8845 | μmol/L | 30.4167 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.802 | 138339.9497 | 268257.2177 | 33.25 | 75.7
124338 | 2021-05-03 13:54 | 26.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.8858 | μmol/L | 30.4106 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.804 | 138364.4043 | 268251.2415 | 33.25 | 75.7
124348 | 2021-05-03 13:55 | 26.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.8016 | μmol/L | 30.4044 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.811 | 138406.8255 | 268247.8437 | 33.25 | 75.7
124358 | 2021-05-03 13:55 | 26.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.7346 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.817 | 138464.8386 | 268244.5839 | 33.25 | 75.7
124368 | 2021-05-03 13:55 | 27.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.6163 | μmol/L | 30.3921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.826 | 138517.4283 | 268239.9973 | 33.25 | 75.7
124378 | 2021-05-03 13:56 | 27.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.5848 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.832 | 138576.0918 | 268237.7632 | 33.25 | 75.7
124388 | 2021-05-03 13:56 | 27.9929 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.765 | μmol/L | 30.3367 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.836 | 138586.4254 | 268236.1347 | 33.25 | 75.7
124398 | 2021-05-03 13:56 | 28.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.3248 | μmol/L | 30.3983 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.841 | 138633.2561 | 268240.0663 | 33.25 | 75.7
124408 | 2021-05-03 13:57 | 28.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0467 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.849 | 138680.6797 | 268229.4874 | 33.25 | 75.7
124418 | 2021-05-03 13:57 | 28.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.2096 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.854 | 138734.6302 | 268226.4052 | 33.25 | 75.7
124428 | 2021-05-03 13:57 | 29.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 191.0393 | μmol/L | 30.3798 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.864 | 138781.9207 | 268233.8393 | 33.25 | 75.7
124438 | 2021-05-03 13:58 | 29.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.8665 | μmol/L | 30.3921 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.87 | 138831.8469 | 268207.8299 | 33.25 | 75.7
124448 | 2021-05-03 13:58 | 29.9931 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.6048 | μmol/L | 30.4229 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.875 | 138870.6091 | 268208.4881 | 33.25 | 75.7
124458 | 2021-05-03 13:58 | 30.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 190.9074 | μmol/L | 30.3613 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.878 | 138906.0356 | 268212.8023 | 33.25 | 75.7