## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 13:59

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
123549 | 2021-05-03 13:28 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9792 | μmol/L | 31.0155 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.467 | 118023.0041 | 291527.1091 | 59.9307 | 38.1
123559 | 2021-05-03 13:28 | 0.32839 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4528 | μmol/L | 31.0216 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.495 | 118199.4485 | 291516.1972 | 59.9307 | 38.1
123569 | 2021-05-03 13:29 | 0.66162 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8611 | μmol/L | 31.0155 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.531 | 118435.7673 | 291507.0467 | 59.9307 | 38.1
123579 | 2021-05-03 13:29 | 0.99473 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7335 | μmol/L | 30.9603 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.557 | 118573.217 | 291497.1968 | 59.9307 | 38.1
123589 | 2021-05-03 13:29 | 1.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6517 | μmol/L | 30.9358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.57 | 118681.0066 | 291488.4298 | 59.9307 | 38.1
123599 | 2021-05-03 13:30 | 1.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.2687 | μmol/L | 30.9419 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.59 | 118810.3018 | 291483.7937 | 59.9307 | 38.1
123609 | 2021-05-03 13:30 | 1.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8201 | μmol/L | 30.9358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.618 | 118995.0936 | 291482.5243 | 59.9307 | 38.1
123619 | 2021-05-03 13:30 | 2.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.8651 | μmol/L | 30.8868 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.632 | 119065.9313 | 291471.8912 | 59.9307 | 38.1
123629 | 2021-05-03 13:31 | 2.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.5147 | μmol/L | 30.9113 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.644 | 119164.0986 | 291458.6974 | 59.9307 | 38.1
123639 | 2021-05-03 13:31 | 2.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0446 | μmol/L | 30.9358 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.663 | 119294.7427 | 291465.1967 | 59.9307 | 38.1
123649 | 2021-05-03 13:31 | 3.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8941 | μmol/L | 30.9174 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.678 | 119383.9641 | 291461.2532 | 59.9307 | 38.1
123659 | 2021-05-03 13:32 | 3.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.6724 | μmol/L | 30.9113 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.693 | 119484.5907 | 291466.7618 | 59.9307 | 38.1
123669 | 2021-05-03 13:32 | 3.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2088 | μmol/L | 30.9174 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.718 | 119609.2482 | 291445.9509 | 59.9307 | 38.1
123679 | 2021-05-03 13:32 | 4.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0749 | μmol/L | 30.9051 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.73 | 119696.964 | 291454.6363 | 59.9307 | 38.1
123689 | 2021-05-03 13:33 | 4.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.3407 | μmol/L | 30.8622 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.729 | 119701.8881 | 291452.3988 | 59.9307 | 38.1
123699 | 2021-05-03 13:33 | 4.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0121 | μmol/L | 30.8806 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.742 | 119782.8883 | 291442.9875 | 59.9307 | 38.1
123709 | 2021-05-03 13:33 | 5.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8416 | μmol/L | 30.8806 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.752 | 119848.3338 | 291428.4401 | 59.9307 | 38.1
123719 | 2021-05-03 13:34 | 5.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.9466 | μmol/L | 30.8684 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.75 | 119846.147 | 291424.0215 | 59.9307 | 38.1
123729 | 2021-05-03 13:34 | 5.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7762 | μmol/L | 30.8684 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.76 | 119908.7124 | 291427.4211 | 59.9307 | 38.1
123739 | 2021-05-03 13:34 | 6.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7973 | μmol/L | 30.85 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.765 | 119935.1005 | 291429.3948 | 59.9307 | 38.1
123749 | 2021-05-03 13:35 | 6.662 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7885 | μmol/L | 30.8132 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.778 | 120015.8323 | 291427.5166 | 59.9307 | 38.1
123759 | 2021-05-03 13:35 | 6.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.4244 | μmol/L | 30.8439 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.789 | 120113.8186 | 291428.3698 | 59.9307 | 38.1
123769 | 2021-05-03 13:35 | 7.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.0821 | μmol/L | 30.8561 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.805 | 120204.6338 | 291419.4296 | 59.9307 | 38.1
123779 | 2021-05-03 13:36 | 7.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7687 | μmol/L | 30.8193 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.836 | 120389.5911 | 291425.2781 | 59.9307 | 38.1
123789 | 2021-05-03 13:36 | 7.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7039 | μmol/L | 30.8071 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.844 | 120454.4621 | 291411.1507 | 59.9307 | 38.1
123799 | 2021-05-03 13:36 | 8.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4674 | μmol/L | 30.8071 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.858 | 120520.6809 | 291427.8325 | 59.9307 | 38.1
123809 | 2021-05-03 13:37 | 8.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4772 | μmol/L | 30.7642 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.872 | 120632.6748 | 291410.312 | 59.9307 | 38.1
123819 | 2021-05-03 13:37 | 8.9955 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9787 | μmol/L | 30.8071 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.887 | 120693.0722 | 291403.6603 | 59.9307 | 38.1
123829 | 2021-05-03 13:37 | 9.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.8652 | μmol/L | 30.7887 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.9 | 120772.8681 | 291394.4476 | 59.9307 | 38.1
123839 | 2021-05-03 13:38 | 9.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7855 | μmol/L | 30.7703 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.911 | 120872.1453 | 291403.0586 | 59.9307 | 38.1
123849 | 2021-05-03 13:38 | 9.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3479 | μmol/L | 30.7764 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.935 | 120975.6727 | 291405.1012 | 59.9307 | 38.1
123859 | 2021-05-03 13:38 | 10.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4753 | μmol/L | 30.7335 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.942 | 121039.6974 | 291387.5175 | 59.9307 | 38.1
123869 | 2021-05-03 13:39 | 10.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.3427 | μmol/L | 30.7274 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.952 | 121106.3024 | 291397.2787 | 59.9307 | 38.1
123879 | 2021-05-03 13:39 | 10.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.1992 | μmol/L | 30.6968 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.971 | 121171.9973 | 291399.0387 | 59.9307 | 38.1
123889 | 2021-05-03 13:39 | 11.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.9123 | μmol/L | 30.709 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.984 | 121297.8447 | 291386.7066 | 59.9307 | 38.1
123899 | 2021-05-03 13:40 | 11.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.573 | μmol/L | 30.7335 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.996 | 121355.3105 | 291395.4473 | 59.9307 | 38.1
123909 | 2021-05-03 13:40 | 11.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.8151 | μmol/L | 30.6968 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 20.994 | 121341.2491 | 291401.6301 | 59.9307 | 38.1
123919 | 2021-05-03 13:40 | 12.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.5557 | μmol/L | 30.6661 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.02 | 121485.9823 | 291392.9925 | 59.9307 | 38.1
123929 | 2021-05-03 13:41 | 12.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3546 | μmol/L | 30.6723 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.03 | 121539.2187 | 291387.1895 | 59.9307 | 38.1
123939 | 2021-05-03 13:41 | 12.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.1885 | μmol/L | 30.6723 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.04 | 121626.3222 | 291383.9595 | 59.9307 | 38.1
123949 | 2021-05-03 13:41 | 13.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9893 | μmol/L | 30.6723 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.052 | 121696.2273 | 291387.3063 | 59.9307 | 38.1
123959 | 2021-05-03 13:42 | 13.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7724 | μmol/L | 30.6784 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.063 | 121769.7929 | 291369.7433 | 59.9307 | 38.1
123969 | 2021-05-03 13:42 | 13.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.7783 | μmol/L | 30.6539 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.071 | 121815.3572 | 291367.3387 | 59.9307 | 38.1
123979 | 2021-05-03 13:42 | 14.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.9586 | μmol/L | 30.5926 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.081 | 121871.5667 | 291365.3869 | 59.9307 | 38.1
123989 | 2021-05-03 13:43 | 14.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 185.2103 | μmol/L | 30.611 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.12 | 122127.1222 | 291371.377 | 59.9307 | 38.1
123999 | 2021-05-03 13:43 | 14.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7479 | μmol/L | 30.6171 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.146 | 122308.2054 | 291367.7006 | 59.9307 | 38.1
124009 | 2021-05-03 13:43 | 15.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.5388 | μmol/L | 30.5987 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.165 | 122426.5208 | 291354.4652 | 59.9307 | 38.1
124019 | 2021-05-03 13:44 | 15.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.3821 | μmol/L | 30.6355 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.162 | 122380.8243 | 291356.8949 | 59.9307 | 38.1
124029 | 2021-05-03 13:44 | 15.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6702 | μmol/L | 30.5987 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.157 | 122352.0928 | 291360.4674 | 59.9307 | 38.1
124039 | 2021-05-03 13:44 | 16.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.7688 | μmol/L | 30.5987 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.151 | 122318.3916 | 291350.9118 | 59.9307 | 38.1
124049 | 2021-05-03 13:45 | 16.6614 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.6239 | μmol/L | 30.5865 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.164 | 122396.404 | 291353.675 | 59.9307 | 38.1
124059 | 2021-05-03 13:45 | 16.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.4911 | μmol/L | 30.5926 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.17 | 122440.6938 | 291354.182 | 59.9307 | 38.1
124069 | 2021-05-03 13:45 | 17.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 184.1797 | μmol/L | 30.5926 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.189 | 122539.897 | 291346.6532 | 59.9307 | 38.1
124079 | 2021-05-03 13:46 | 17.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.8823 | μmol/L | 30.6048 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.203 | 122635.4236 | 291357.7764 | 59.9307 | 38.1
124089 | 2021-05-03 13:46 | 17.9948 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.9583 | μmol/L | 30.562 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.213 | 122709.9227 | 291335.2341 | 59.9307 | 38.1
124099 | 2021-05-03 13:46 | 18.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.6568 | μmol/L | 30.5926 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.221 | 122783.2331 | 291352.0106 | 59.9307 | 38.1
124109 | 2021-05-03 13:47 | 18.6622 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.9407 | μmol/L | 30.5007 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.235 | 122865.967 | 291349.8326 | 59.9307 | 38.1
124119 | 2021-05-03 13:47 | 18.995 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.5446 | μmol/L | 30.5191 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.253 | 122999.0521 | 291353.0766 | 59.9307 | 38.1
124129 | 2021-05-03 13:47 | 19.328 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.364 | μmol/L | 30.5252 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.262 | 123018.9067 | 291334.9141 | 59.9307 | 38.1
124139 | 2021-05-03 13:48 | 19.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.3066 | μmol/L | 30.4945 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.276 | 123133.9774 | 291327.0773 | 59.9307 | 38.1
124149 | 2021-05-03 13:48 | 19.9954 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 183.1394 | μmol/L | 30.5129 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.28 | 123151.1976 | 291331.4893 | 59.9307 | 38.1
124159 | 2021-05-03 13:48 | 20.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9948 | μmol/L | 30.5068 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.291 | 123201.1684 | 291333.2205 | 59.9307 | 38.1
124169 | 2021-05-03 13:49 | 20.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.7778 | μmol/L | 30.5313 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.296 | 123235.1538 | 291328.4619 | 59.9307 | 38.1
124179 | 2021-05-03 13:49 | 20.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.9036 | μmol/L | 30.4823 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.305 | 123289.6574 | 291325.7757 | 59.9307 | 38.1
124189 | 2021-05-03 13:49 | 21.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.8357 | μmol/L | 30.4945 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.305 | 123310.7406 | 291337.9247 | 59.9307 | 38.1
124199 | 2021-05-03 13:50 | 21.6616 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.2486 | μmol/L | 30.5129 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.335 | 123520.0226 | 291324.2514 | 59.9307 | 38.1
124209 | 2021-05-03 13:50 | 21.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.3741 | μmol/L | 30.4639 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.344 | 123564.6124 | 291316.7566 | 59.9307 | 38.1
124219 | 2021-05-03 13:50 | 22.3283 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.3418 | μmol/L | 30.4639 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.346 | 123570.4008 | 291313.1951 | 59.9307 | 38.1
124229 | 2021-05-03 13:51 | 22.6619 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.1096 | μmol/L | 30.4884 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.352 | 123617.8923 | 291310.9827 | 59.9307 | 38.1
124239 | 2021-05-03 13:51 | 22.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.9032 | μmol/L | 30.4762 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.369 | 123703.8579 | 291315.5626 | 59.9307 | 38.1
124249 | 2021-05-03 13:51 | 23.3288 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 182.0576 | μmol/L | 30.4394 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.372 | 123725.9753 | 291304.0318 | 59.9307 | 38.1
124259 | 2021-05-03 13:52 | 23.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.7999 | μmol/L | 30.4394 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.388 | 123808.6332 | 291322.7405 | 59.9307 | 38.1
124269 | 2021-05-03 13:52 | 23.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.9027 | μmol/L | 30.4149 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.39 | 123836.2516 | 291319.3443 | 59.9307 | 38.1
124279 | 2021-05-03 13:52 | 24.3287 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.4945 | μmol/L | 30.4394 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.407 | 123942.6312 | 291298.8868 | 59.9307 | 38.1
124289 | 2021-05-03 13:53 | 24.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.6241 | μmol/L | 30.372 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.422 | 124036.9412 | 291303.4725 | 59.9307 | 38.1
124299 | 2021-05-03 13:53 | 24.9951 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 181.2505 | μmol/L | 30.3904 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.439 | 124124.6543 | 291305.3494 | 59.9307 | 38.1
124309 | 2021-05-03 13:53 | 25.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.8537 | μmol/L | 30.4394 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.447 | 124186.861 | 291313.7318 | 59.9307 | 38.1
124319 | 2021-05-03 13:54 | 25.6621 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.852 | μmol/L | 30.3842 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.466 | 124298.3147 | 291315.5713 | 59.9307 | 38.1
124329 | 2021-05-03 13:54 | 25.9952 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.6094 | μmol/L | 30.3965 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.477 | 124372.0292 | 291295.0715 | 59.9307 | 38.1
124339 | 2021-05-03 13:54 | 26.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.3846 | μmol/L | 30.4026 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.489 | 124448.9321 | 291288.4256 | 59.9307 | 38.1
124349 | 2021-05-03 13:55 | 26.6617 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.5583 | μmol/L | 30.3475 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.497 | 124494.1735 | 291296.1439 | 59.9307 | 38.1
124359 | 2021-05-03 13:55 | 26.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 180.2461 | μmol/L | 30.3842 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.504 | 124557.2856 | 291285.7096 | 59.9307 | 38.1
124369 | 2021-05-03 13:55 | 27.3282 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.8774 | μmol/L | 30.3965 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.523 | 124661.0671 | 291286.7827 | 59.9307 | 38.1
124379 | 2021-05-03 13:56 | 27.6613 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.7663 | μmol/L | 30.3965 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.53 | 124711.7151 | 291290.9387 | 59.9307 | 38.1
124389 | 2021-05-03 13:56 | 27.9947 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.7204 | μmol/L | 30.3904 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.535 | 124755.1154 | 291273.9975 | 59.9307 | 38.1
124399 | 2021-05-03 13:56 | 28.3286 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.9252 | μmol/L | 30.3352 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.541 | 124798.0775 | 291272.3427 | 59.9307 | 38.1
124409 | 2021-05-03 13:57 | 28.6618 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.83 | μmol/L | 30.3352 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.547 | 124826.6196 | 291268.9508 | 59.9307 | 38.1
124419 | 2021-05-03 13:57 | 28.9949 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4162 | μmol/L | 30.4026 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.55 | 124863.013 | 291258.2984 | 59.9307 | 38.1
124429 | 2021-05-03 13:57 | 29.3284 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.4576 | μmol/L | 30.3659 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.56 | 124912.1053 | 291272.6942 | 59.9307 | 38.1
124439 | 2021-05-03 13:58 | 29.6615 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.3169 | μmol/L | 30.3597 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.571 | 124964.5537 | 291263.8441 | 59.9307 | 38.1
124449 | 2021-05-03 13:58 | 29.9953 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 179.0054 | μmol/L | 30.4026 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.576 | 125035.2665 | 291256.7369 | 59.9307 | 38.1
124459 | 2021-05-03 13:58 | 30.3285 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 178.7656 | μmol/L | 30.4149 | °C | 1021 | hPa | Humid | 28 | 1 | 0 | 21.587 | 125074.9525 | 291263.5105 | 59.9307 | 38.1