## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119478 | 2021-05-03 10:32 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 212.04 | μmol/L | 29.543 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 19.985 | 133585.6339 | 271842.7597 | 33.25 | 75.7
119488 | 2021-05-03 10:32 | 0.32935 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.3632 | μmol/L | 29.5922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.004 | 133706.7417 | 271830.3649 | 33.25 | 75.7
119498 | 2021-05-03 10:32 | 0.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.7077 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.022 | 133872.6319 | 271818.6952 | 33.25 | 75.7
119508 | 2021-05-03 10:33 | 0.99605 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.1708 | μmol/L | 29.6476 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.048 | 134025.142 | 271784.5253 | 33.25 | 75.7
119518 | 2021-05-03 10:33 | 1.3291 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.25 | μmol/L | 29.5799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.066 | 134183.7192 | 271765.4462 | 33.25 | 75.7
119528 | 2021-05-03 10:33 | 1.6622 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.0857 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.117 | 134539.2363 | 271742.816 | 33.25 | 75.7
119538 | 2021-05-03 10:34 | 1.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.6862 | μmol/L | 29.6291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.132 | 134634.9111 | 271734.7678 | 33.25 | 75.7
119548 | 2021-05-03 10:34 | 2.3291 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.172 | μmol/L | 29.6845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.141 | 134682.355 | 271708.4934 | 33.25 | 75.7
119558 | 2021-05-03 10:34 | 2.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.14 | 134687.9155 | 271701.0545 | 33.25 | 75.7
119568 | 2021-05-03 10:35 | 2.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.1164 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.15 | 134733.5467 | 271684.5004 | 33.25 | 75.7
119578 | 2021-05-03 10:35 | 3.3287 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.472 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.168 | 134844.4366 | 271662.8887 | 33.25 | 75.7
119588 | 2021-05-03 10:35 | 3.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3988 | μmol/L | 29.6845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.182 | 134952.5845 | 271644.4434 | 33.25 | 75.7
119598 | 2021-05-03 10:36 | 3.9958 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3612 | μmol/L | 29.6845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.184 | 134991.3293 | 271622.6051 | 33.25 | 75.7
119608 | 2021-05-03 10:36 | 4.3288 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.1924 | μmol/L | 29.6783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.195 | 135019.5007 | 271610.9982 | 33.25 | 75.7
119618 | 2021-05-03 10:36 | 4.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.4736 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.205 | 135102.2797 | 271574.3621 | 33.25 | 75.7
119628 | 2021-05-03 10:37 | 4.9955 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3983 | μmol/L | 29.7706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.207 | 135120.1048 | 271565.0292 | 33.25 | 75.7
119638 | 2021-05-03 10:37 | 5.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3058 | μmol/L | 29.7583 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.216 | 135141.5017 | 271541.2806 | 33.25 | 75.7
119648 | 2021-05-03 10:37 | 5.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.2703 | μmol/L | 29.7337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.226 | 135205.0452 | 271525.9501 | 33.25 | 75.7
119658 | 2021-05-03 10:38 | 5.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8355 | μmol/L | 29.8014 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.227 | 135225.3601 | 271517.0543 | 33.25 | 75.7
119668 | 2021-05-03 10:38 | 6.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6497 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.239 | 135276.1863 | 271492.539 | 33.25 | 75.7
119678 | 2021-05-03 10:38 | 6.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8758 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.237 | 135265.3933 | 271476.4135 | 33.25 | 75.7
119688 | 2021-05-03 10:39 | 6.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2754 | μmol/L | 29.8198 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.251 | 135336.9001 | 271463.5475 | 33.25 | 75.7
119698 | 2021-05-03 10:39 | 7.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2388 | μmol/L | 29.8137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.255 | 135366.4347 | 271433.0269 | 33.25 | 75.7
119708 | 2021-05-03 10:39 | 7.662 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.412 | μmol/L | 29.746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.268 | 135450.8713 | 271433.3093 | 33.25 | 75.7
119718 | 2021-05-03 10:40 | 7.9957 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2039 | μmol/L | 29.7891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.265 | 135413.5198 | 271410.4881 | 33.25 | 75.7
119728 | 2021-05-03 10:40 | 8.3295 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3929 | μmol/L | 29.7522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.267 | 135419.8299 | 271395.3276 | 33.25 | 75.7
119738 | 2021-05-03 10:40 | 8.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.1105 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.268 | 135421.0485 | 271366.6282 | 33.25 | 75.7
119748 | 2021-05-03 10:41 | 8.9954 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2246 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.272 | 135440.8235 | 271370.808 | 33.25 | 75.7
119758 | 2021-05-03 10:41 | 9.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8671 | μmol/L | 29.8198 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.273 | 135433.7636 | 271337.9539 | 33.25 | 75.7
119768 | 2021-05-03 10:41 | 9.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3 | μmol/L | 29.7522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.272 | 135450.191 | 271329.7794 | 33.25 | 75.7
119778 | 2021-05-03 10:42 | 9.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9261 | μmol/L | 29.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.282 | 135493.9106 | 271311.5347 | 33.25 | 75.7
119788 | 2021-05-03 10:42 | 10.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7391 | μmol/L | 29.8014 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.286 | 135503.1238 | 271297.9508 | 33.25 | 75.7
119798 | 2021-05-03 10:42 | 10.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0216 | μmol/L | 29.7522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.287 | 135490.68 | 271284.2846 | 33.25 | 75.7
119808 | 2021-05-03 10:43 | 10.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.646 | μmol/L | 29.8075 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.289 | 135523.1214 | 271273.1944 | 33.25 | 75.7
119818 | 2021-05-03 10:43 | 11.3289 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.8913 | μmol/L | 29.7583 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.292 | 135528.5325 | 271245.6718 | 33.25 | 75.7
119828 | 2021-05-03 10:43 | 11.6627 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.5344 | μmol/L | 29.8137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.293 | 135536.825 | 271236.0663 | 33.25 | 75.7
119838 | 2021-05-03 10:44 | 11.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.7061 | μmol/L | 29.7583 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.302 | 135569.7844 | 271214.8543 | 33.25 | 75.7
119848 | 2021-05-03 10:44 | 12.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.2751 | μmol/L | 29.8198 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.305 | 135596.7471 | 271205.0552 | 33.25 | 75.7
119858 | 2021-05-03 10:44 | 12.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3335 | μmol/L | 29.7891 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.312 | 135617.8394 | 271192.4725 | 33.25 | 75.7
119868 | 2021-05-03 10:45 | 12.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9418 | μmol/L | 29.8321 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.319 | 135649.4665 | 271178.6192 | 33.25 | 75.7
119878 | 2021-05-03 10:45 | 13.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.4411 | μmol/L | 29.8691 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.334 | 135734.6436 | 271165.7386 | 33.25 | 75.7
119888 | 2021-05-03 10:45 | 13.6625 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.8325 | μmol/L | 29.8198 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.329 | 135683.0687 | 271146.1301 | 33.25 | 75.7
119898 | 2021-05-03 10:46 | 13.9955 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7754 | μmol/L | 29.8383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.326 | 135692.0159 | 271139.7252 | 33.25 | 75.7
119908 | 2021-05-03 10:46 | 14.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5324 | μmol/L | 29.8752 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.327 | 135678.5913 | 271112.4161 | 33.25 | 75.7
119918 | 2021-05-03 10:46 | 14.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3657 | μmol/L | 29.8875 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.332 | 135702.4421 | 271101.9266 | 33.25 | 75.7
119928 | 2021-05-03 10:47 | 14.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3296 | μmol/L | 29.8814 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.336 | 135723.2491 | 271082.412 | 33.25 | 75.7
119938 | 2021-05-03 10:47 | 15.3289 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.2962 | μmol/L | 29.8506 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.348 | 135779.2282 | 271068.2742 | 33.25 | 75.7
119948 | 2021-05-03 10:47 | 15.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1651 | μmol/L | 29.8752 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.347 | 135771.3974 | 271053.1377 | 33.25 | 75.7
119958 | 2021-05-03 10:48 | 15.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1094 | μmol/L | 29.8814 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.348 | 135798.4817 | 271044.6901 | 33.25 | 75.7
119968 | 2021-05-03 10:48 | 16.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1841 | μmol/L | 29.8691 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.348 | 135794.5643 | 271029.5456 | 33.25 | 75.7
119978 | 2021-05-03 10:48 | 16.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8128 | μmol/L | 29.9121 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.354 | 135815.9822 | 271005.4831 | 33.25 | 75.7
119988 | 2021-05-03 10:49 | 16.996 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.8135 | μmol/L | 29.906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.356 | 135799.0136 | 270989.7219 | 33.25 | 75.7
119998 | 2021-05-03 10:49 | 17.3289 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.684 | μmol/L | 29.9183 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 135824.0453 | 270990.0031 | 33.25 | 75.7
120008 | 2021-05-03 10:49 | 17.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.4398 | μmol/L | 29.9737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.354 | 135802.7535 | 270962.2448 | 33.25 | 75.7
120018 | 2021-05-03 10:50 | 17.9956 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.423 | μmol/L | 29.9614 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 135808.4922 | 270958.7994 | 33.25 | 75.7
120028 | 2021-05-03 10:50 | 18.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.442 | μmol/L | 29.9552 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.36 | 135813.755 | 270938.9327 | 33.25 | 75.7
120038 | 2021-05-03 10:50 | 18.6623 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.404 | μmol/L | 29.9675 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.358 | 135808.5611 | 270930.0227 | 33.25 | 75.7
120048 | 2021-05-03 10:51 | 18.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.071 | μmol/L | 30.0044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 135844.1426 | 270913.4025 | 33.25 | 75.7
120058 | 2021-05-03 10:51 | 19.3288 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9973 | μmol/L | 30.0106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.366 | 135836.4956 | 270901.988 | 33.25 | 75.7
120068 | 2021-05-03 10:51 | 19.6626 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.0163 | μmol/L | 30.0044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.367 | 135842.6373 | 270886.4684 | 33.25 | 75.7
120078 | 2021-05-03 10:52 | 19.9962 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.1469 | μmol/L | 29.9798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.368 | 135858.384 | 270873.4061 | 33.25 | 75.7
120088 | 2021-05-03 10:52 | 20.3292 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8698 | μmol/L | 30.0106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.373 | 135870.1579 | 270850.5971 | 33.25 | 75.7
120098 | 2021-05-03 10:52 | 20.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6095 | μmol/L | 30.0537 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.373 | 135873.1364 | 270837.679 | 33.25 | 75.7
120108 | 2021-05-03 10:53 | 20.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5747 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.379 | 135883.5257 | 270823.2225 | 33.25 | 75.7
120118 | 2021-05-03 10:53 | 21.3293 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4459 | μmol/L | 30.0537 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.382 | 135894.1291 | 270818.6703 | 33.25 | 75.7
120128 | 2021-05-03 10:53 | 21.6621 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4838 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.384 | 135921.0954 | 270808.5936 | 33.25 | 75.7
120138 | 2021-05-03 10:54 | 21.9959 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.2074 | μmol/L | 30.0721 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.389 | 135932.3011 | 270804.2256 | 33.25 | 75.7
120148 | 2021-05-03 10:54 | 22.3294 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.2635 | μmol/L | 30.0598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.39 | 135954.5311 | 270786.3711 | 33.25 | 75.7
120158 | 2021-05-03 10:54 | 22.6624 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8926 | μmol/L | 30.1214 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.39 | 135926.6367 | 270775.0491 | 33.25 | 75.7
120168 | 2021-05-03 10:55 | 22.9961 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9132 | μmol/L | 30.1029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.395 | 135953.466 | 270758.2195 | 33.25 | 75.7
120178 | 2021-05-03 10:55 | 23.329 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6728 | μmol/L | 30.1398 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.396 | 135970.9171 | 270735.8219 | 33.25 | 75.7
120188 | 2021-05-03 10:55 | 23.6628 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.6736 | μmol/L | 30.1337 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.398 | 135969.8756 | 270738.6329 | 33.25 | 75.7