## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:57

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119479 | 2021-05-03 10:32 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.9324 | μmol/L | 29.5571 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.456 | 116106.7671 | 295239.8629 | 59.9307 | 38.1
119489 | 2021-05-03 10:32 | 0.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 202.2522 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.481 | 116310.4689 | 295228.5733 | 59.9307 | 38.1
119499 | 2021-05-03 10:32 | 0.66898 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.5589 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.517 | 116500.7937 | 295201.0227 | 59.9307 | 38.1
119509 | 2021-05-03 10:33 | 1.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 201.2686 | μmol/L | 29.5939 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.535 | 116630.5767 | 295186.7069 | 59.9307 | 38.1
119519 | 2021-05-03 10:33 | 1.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.7231 | μmol/L | 29.6122 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.559 | 116749.3421 | 295156.6415 | 59.9307 | 38.1
119529 | 2021-05-03 10:33 | 1.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.5404 | μmol/L | 29.6306 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.563 | 116778.4582 | 295148.4503 | 59.9307 | 38.1
119539 | 2021-05-03 10:34 | 2.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3947 | μmol/L | 29.6429 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.567 | 116808.9591 | 295124.5206 | 59.9307 | 38.1
119549 | 2021-05-03 10:34 | 2.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.3062 | μmol/L | 29.6245 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.578 | 116860.4091 | 295111.0371 | 59.9307 | 38.1
119559 | 2021-05-03 10:34 | 2.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1251 | μmol/L | 29.6306 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.586 | 116881.5283 | 295078.5378 | 59.9307 | 38.1
119569 | 2021-05-03 10:35 | 3.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9803 | μmol/L | 29.6367 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.592 | 116894.7285 | 295068.8722 | 59.9307 | 38.1
119579 | 2021-05-03 10:35 | 3.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7816 | μmol/L | 29.6429 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.601 | 116912.4288 | 295040.8444 | 59.9307 | 38.1
119589 | 2021-05-03 10:35 | 3.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.9083 | μmol/L | 29.6367 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.596 | 116888.66 | 295031.2975 | 59.9307 | 38.1
119599 | 2021-05-03 10:36 | 4.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7611 | μmol/L | 29.6674 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.594 | 116860.2036 | 295016.358 | 59.9307 | 38.1
119609 | 2021-05-03 10:36 | 4.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5267 | μmol/L | 29.6735 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.605 | 116892.8678 | 294979.4672 | 59.9307 | 38.1
119619 | 2021-05-03 10:36 | 4.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.4721 | μmol/L | 29.6796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.606 | 116874.9516 | 294964.2563 | 59.9307 | 38.1
119629 | 2021-05-03 10:37 | 5.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.3996 | μmol/L | 29.6858 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.608 | 116891.1686 | 294942.209 | 59.9307 | 38.1
119639 | 2021-05-03 10:37 | 5.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.526 | μmol/L | 29.6796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.603 | 116839.8847 | 294912.1 | 59.9307 | 38.1
119649 | 2021-05-03 10:37 | 5.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.5254 | μmol/L | 29.6858 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.601 | 116793.0967 | 294885.5301 | 59.9307 | 38.1
119659 | 2021-05-03 10:38 | 6.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.365 | μmol/L | 29.6735 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.614 | 116874.0379 | 294875.5356 | 59.9307 | 38.1
119669 | 2021-05-03 10:38 | 6.3353 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1623 | μmol/L | 29.7225 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.609 | 116818.3782 | 294862.636 | 59.9307 | 38.1
119679 | 2021-05-03 10:38 | 6.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0202 | μmol/L | 29.7103 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.621 | 116858.7236 | 294853.4365 | 59.9307 | 38.1
119689 | 2021-05-03 10:39 | 7.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9479 | μmol/L | 29.7164 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.623 | 116865.3914 | 294814.2124 | 59.9307 | 38.1
119699 | 2021-05-03 10:39 | 7.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0016 | μmol/L | 29.7164 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.62 | 116842.3185 | 294798.2322 | 59.9307 | 38.1
119709 | 2021-05-03 10:39 | 7.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0382 | μmol/L | 29.7103 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.62 | 116810.4038 | 294767.4121 | 59.9307 | 38.1
119719 | 2021-05-03 10:40 | 8.002 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0899 | μmol/L | 29.7286 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.611 | 116753.2166 | 294763.2758 | 59.9307 | 38.1
119729 | 2021-05-03 10:40 | 8.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.981 | μmol/L | 29.7409 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.613 | 116753.499 | 294752.1374 | 59.9307 | 38.1
119739 | 2021-05-03 10:40 | 8.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0202 | μmol/L | 29.7103 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.621 | 116785.8487 | 294731.2186 | 59.9307 | 38.1
119749 | 2021-05-03 10:41 | 9.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9293 | μmol/L | 29.7225 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.622 | 116768.7737 | 294703.0682 | 59.9307 | 38.1
119759 | 2021-05-03 10:41 | 9.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.9465 | μmol/L | 29.7286 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.619 | 116740.0985 | 294690.2235 | 59.9307 | 38.1
119769 | 2021-05-03 10:41 | 9.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.7668 | μmol/L | 29.7348 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.627 | 116784.8841 | 294676.983 | 59.9307 | 38.1
119779 | 2021-05-03 10:42 | 10.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5866 | μmol/L | 29.747 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.633 | 116795.7523 | 294659.4965 | 59.9307 | 38.1
119789 | 2021-05-03 10:42 | 10.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.8563 | μmol/L | 29.7348 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.622 | 116732.5253 | 294638.837 | 59.9307 | 38.1
119799 | 2021-05-03 10:42 | 10.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5329 | μmol/L | 29.747 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.636 | 116799.0029 | 294622.9168 | 59.9307 | 38.1
119809 | 2021-05-03 10:43 | 11.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4258 | μmol/L | 29.747 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.642 | 116829.3163 | 294601.86 | 59.9307 | 38.1
119819 | 2021-05-03 10:43 | 11.3358 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0676 | μmol/L | 29.7593 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.658 | 116892.2767 | 294598.635 | 59.9307 | 38.1
119829 | 2021-05-03 10:43 | 11.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.4793 | μmol/L | 29.747 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.639 | 116768.9863 | 294579.7969 | 59.9307 | 38.1
119839 | 2021-05-03 10:44 | 12.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2287 | μmol/L | 29.7532 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.651 | 116823.7234 | 294553.177 | 59.9307 | 38.1
119849 | 2021-05-03 10:44 | 12.3357 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2644 | μmol/L | 29.7532 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.649 | 116801.962 | 294534.3758 | 59.9307 | 38.1
119859 | 2021-05-03 10:44 | 12.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2659 | μmol/L | 29.7409 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.653 | 116834.5379 | 294512.5966 | 59.9307 | 38.1
119869 | 2021-05-03 10:45 | 13.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0483 | μmol/L | 29.7715 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.655 | 116832.8913 | 294503.9046 | 59.9307 | 38.1
119879 | 2021-05-03 10:45 | 13.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7487 | μmol/L | 29.747 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.68 | 116964.3747 | 294487.2744 | 59.9307 | 38.1
119889 | 2021-05-03 10:45 | 13.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.104 | μmol/L | 29.7532 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.658 | 116831.8591 | 294479.7294 | 59.9307 | 38.1
119899 | 2021-05-03 10:46 | 14.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.2102 | μmol/L | 29.7593 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.65 | 116785.8521 | 294453.7995 | 59.9307 | 38.1
119909 | 2021-05-03 10:46 | 14.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0854 | μmol/L | 29.7593 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.657 | 116812.6466 | 294437.5968 | 59.9307 | 38.1
119919 | 2021-05-03 10:46 | 14.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8509 | μmol/L | 29.7838 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.662 | 116819.112 | 294434.29 | 59.9307 | 38.1
119929 | 2021-05-03 10:47 | 15.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7813 | μmol/L | 29.7715 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.67 | 116817.5591 | 294402.0097 | 59.9307 | 38.1
119939 | 2021-05-03 10:47 | 15.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.9422 | μmol/L | 29.7654 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.663 | 116786.829 | 294388.254 | 59.9307 | 38.1
119949 | 2021-05-03 10:47 | 15.6689 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8561 | μmol/L | 29.7409 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.676 | 116837.0756 | 294357.6836 | 59.9307 | 38.1
119959 | 2021-05-03 10:48 | 16.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7086 | μmol/L | 29.7838 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.67 | 116811.3696 | 294364.7208 | 59.9307 | 38.1
119969 | 2021-05-03 10:48 | 16.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5132 | μmol/L | 29.7838 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.681 | 116838.434 | 294353.2016 | 59.9307 | 38.1
119979 | 2021-05-03 10:48 | 16.6686 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7427 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.664 | 116764.696 | 294333.9841 | 59.9307 | 38.1
119989 | 2021-05-03 10:49 | 17.0024 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6893 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.667 | 116786.7597 | 294301.4681 | 59.9307 | 38.1
119999 | 2021-05-03 10:49 | 17.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7427 | μmol/L | 29.796 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.664 | 116761.8432 | 294303.2509 | 59.9307 | 38.1
120009 | 2021-05-03 10:49 | 17.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5619 | μmol/L | 29.8205 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 116768.572 | 294281.3003 | 59.9307 | 38.1
120019 | 2021-05-03 10:50 | 18.0022 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7953 | μmol/L | 29.8022 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.659 | 116728.2583 | 294280.9507 | 59.9307 | 38.1
120029 | 2021-05-03 10:50 | 18.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.5279 | μmol/L | 29.8083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.672 | 116784.0626 | 294258.3885 | 59.9307 | 38.1
120039 | 2021-05-03 10:50 | 18.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7226 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.659 | 116702.0352 | 294233.1657 | 59.9307 | 38.1
120049 | 2021-05-03 10:51 | 19.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.6693 | μmol/L | 29.8144 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.662 | 116688.53 | 294215.1269 | 59.9307 | 38.1
120059 | 2021-05-03 10:51 | 19.3355 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4877 | μmol/L | 29.845 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.662 | 116700.8373 | 294216.3219 | 59.9307 | 38.1
120069 | 2021-05-03 10:51 | 19.6687 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4893 | μmol/L | 29.8328 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 116701.5903 | 294192.5976 | 59.9307 | 38.1
120079 | 2021-05-03 10:52 | 20.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4005 | μmol/L | 29.8328 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.671 | 116710.4294 | 294177.4917 | 59.9307 | 38.1
120089 | 2021-05-03 10:52 | 20.3354 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.3457 | μmol/L | 29.845 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.67 | 116694.9853 | 294166.6806 | 59.9307 | 38.1
120099 | 2021-05-03 10:52 | 20.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1998 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.668 | 116693.7447 | 294163.801 | 59.9307 | 38.1
120109 | 2021-05-03 10:53 | 21.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2175 | μmol/L | 29.8757 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.667 | 116690.2718 | 294144.2968 | 59.9307 | 38.1
120119 | 2021-05-03 10:53 | 21.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0588 | μmol/L | 29.8696 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.678 | 116705.4985 | 294120.9259 | 59.9307 | 38.1
120129 | 2021-05-03 10:53 | 21.669 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.1852 | μmol/L | 29.8512 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.677 | 116690.722 | 294097.0362 | 59.9307 | 38.1
120139 | 2021-05-03 10:54 | 22.0021 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0902 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 116624.3253 | 294098.7272 | 59.9307 | 38.1
120149 | 2021-05-03 10:54 | 22.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.037 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.669 | 116646.543 | 294088.6804 | 59.9307 | 38.1
120159 | 2021-05-03 10:54 | 22.6688 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9468 | μmol/L | 29.9124 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.67 | 116639.2065 | 294063.4341 | 59.9307 | 38.1
120169 | 2021-05-03 10:55 | 23.0019 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9815 | μmol/L | 29.9186 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 116603.1445 | 294051.4705 | 59.9307 | 38.1
120179 | 2021-05-03 10:55 | 23.3356 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.9654 | μmol/L | 29.9063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.671 | 116620.1292 | 294042.6967 | 59.9307 | 38.1
120189 | 2021-05-03 10:55 | 23.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.913 | μmol/L | 29.9002 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.676 | 116620.2708 | 294024.9156 | 59.9307 | 38.1