## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119483 | 2021-05-03 10:32 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.8947 | μmol/L | 29.3228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.741 | 94815.2956 | 295130.5131 | 30.45 | 114.2
119493 | 2021-05-03 10:32 | 0.33859 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.9648 | μmol/L | 29.4522 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.75 | 94870.0931 | 295116.2443 | 30.45 | 114.2
119503 | 2021-05-03 10:33 | 0.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.2044 | μmol/L | 29.5385 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.764 | 94953.4948 | 295096.9616 | 30.45 | 114.2
119513 | 2021-05-03 10:33 | 1.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7926 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.779 | 95023.0732 | 295070.7094 | 30.45 | 114.2
119523 | 2021-05-03 10:33 | 1.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4377 | μmol/L | 29.5693 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.797 | 95114.6324 | 295056.3319 | 30.45 | 114.2
119533 | 2021-05-03 10:34 | 1.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0069 | μmol/L | 29.6125 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.807 | 95187.3655 | 295036.5854 | 30.45 | 114.2
119543 | 2021-05-03 10:34 | 2.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.0118 | μmol/L | 29.6741 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.843 | 95385.9562 | 295006.9655 | 30.45 | 114.2
119553 | 2021-05-03 10:34 | 2.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.4496 | μmol/L | 29.6864 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.871 | 95507.1103 | 294980.4528 | 30.45 | 114.2
119563 | 2021-05-03 10:35 | 2.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3612 | μmol/L | 29.6926 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.874 | 95503.4619 | 294947.6892 | 30.45 | 114.2
119573 | 2021-05-03 10:35 | 3.0051 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1299 | μmol/L | 29.7172 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.879 | 95537.4043 | 294925.9944 | 30.45 | 114.2
119583 | 2021-05-03 10:35 | 3.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.1006 | μmol/L | 29.6864 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.891 | 95581.0588 | 294920.7073 | 30.45 | 114.2
119593 | 2021-05-03 10:36 | 3.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.4629 | μmol/L | 29.7481 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.907 | 95632.9756 | 294891.9803 | 30.45 | 114.2
119603 | 2021-05-03 10:36 | 4.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5347 | μmol/L | 29.7357 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.907 | 95625.258 | 294870.8788 | 30.45 | 114.2
119613 | 2021-05-03 10:36 | 4.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8 | μmol/L | 29.7111 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.9 | 95589.302 | 294847.5791 | 30.45 | 114.2
119623 | 2021-05-03 10:37 | 4.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.6563 | μmol/L | 29.7357 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.9 | 95540.1365 | 294820.4883 | 30.45 | 114.2
119633 | 2021-05-03 10:37 | 5.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1609 | μmol/L | 29.785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.912 | 95635.9909 | 294806.5656 | 30.45 | 114.2
119643 | 2021-05-03 10:37 | 5.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1968 | μmol/L | 29.7789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.912 | 95599.9583 | 294783.4528 | 30.45 | 114.2
119653 | 2021-05-03 10:38 | 5.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7984 | μmol/L | 29.7789 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.935 | 95668.5189 | 294768.4818 | 30.45 | 114.2
119663 | 2021-05-03 10:38 | 6.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.1436 | μmol/L | 29.785 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.913 | 95595.5888 | 294749.6768 | 30.45 | 114.2
119673 | 2021-05-03 10:38 | 6.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9462 | μmol/L | 29.7296 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.943 | 95689.5687 | 294708.6912 | 30.45 | 114.2
119683 | 2021-05-03 10:39 | 6.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.0293 | μmol/L | 29.7481 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 95663.6036 | 294711.0594 | 30.45 | 114.2
119693 | 2021-05-03 10:39 | 7.0058 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8688 | μmol/L | 29.7727 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.933 | 95574.8507 | 294691.8758 | 30.45 | 114.2
119703 | 2021-05-03 10:39 | 7.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7555 | μmol/L | 29.822 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.923 | 95555.4491 | 294658.0857 | 30.45 | 114.2
119713 | 2021-05-03 10:40 | 7.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.811 | μmol/L | 29.8035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.926 | 95559.3519 | 294631.9737 | 30.45 | 114.2
119723 | 2021-05-03 10:40 | 8.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.931 | μmol/L | 29.8097 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.917 | 95500.9317 | 294615.8012 | 30.45 | 114.2
119733 | 2021-05-03 10:40 | 8.3386 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.968 | μmol/L | 29.7974 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.919 | 95475.0576 | 294609.3046 | 30.45 | 114.2
119743 | 2021-05-03 10:41 | 8.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8802 | μmol/L | 29.8035 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.922 | 95485.5769 | 294584.5411 | 30.45 | 114.2
119753 | 2021-05-03 10:41 | 9.0054 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7531 | μmol/L | 29.8344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.919 | 95441.5327 | 294565.7882 | 30.45 | 114.2
119763 | 2021-05-03 10:41 | 9.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8743 | μmol/L | 29.8344 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.912 | 95388.3822 | 294538.3483 | 30.45 | 114.2
119773 | 2021-05-03 10:42 | 9.6724 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7507 | μmol/L | 29.8467 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.915 | 95370.6933 | 294522.4744 | 30.45 | 114.2
119783 | 2021-05-03 10:42 | 10.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8731 | μmol/L | 29.8405 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.91 | 95384.1248 | 294508.1436 | 30.45 | 114.2
119793 | 2021-05-03 10:42 | 10.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6112 | μmol/L | 29.8528 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.921 | 95399.4343 | 294478.4824 | 30.45 | 114.2
119803 | 2021-05-03 10:43 | 10.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8361 | μmol/L | 29.8528 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.908 | 95351.5997 | 294457.4344 | 30.45 | 114.2
119813 | 2021-05-03 10:43 | 11.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.7829 | μmol/L | 29.859 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.909 | 95319.0644 | 294456.5874 | 30.45 | 114.2
119823 | 2021-05-03 10:43 | 11.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.5492 | μmol/L | 29.8159 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.937 | 95454.1293 | 294442.4063 | 30.45 | 114.2
119833 | 2021-05-03 10:44 | 11.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.6678 | μmol/L | 29.8282 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.926 | 95378.4106 | 294413.99 | 30.45 | 114.2
119843 | 2021-05-03 10:44 | 12.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.3151 | μmol/L | 29.8652 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.934 | 95409.6933 | 294404.4284 | 30.45 | 114.2
119853 | 2021-05-03 10:44 | 12.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2609 | μmol/L | 29.8775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.933 | 95404.8523 | 294374.2131 | 30.45 | 114.2
119863 | 2021-05-03 10:45 | 12.6718 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2264 | μmol/L | 29.8775 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.935 | 95389.0396 | 294367.3455 | 30.45 | 114.2
119873 | 2021-05-03 10:45 | 13.0055 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.362 | μmol/L | 29.8898 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.923 | 95319.7129 | 294339.3518 | 30.45 | 114.2
119883 | 2021-05-03 10:45 | 13.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.0971 | μmol/L | 29.9206 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.928 | 95302.6676 | 294329.0713 | 30.45 | 114.2
119893 | 2021-05-03 10:46 | 13.6721 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2424 | μmol/L | 29.8837 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 95317.3901 | 294304.2628 | 30.45 | 114.2
119903 | 2021-05-03 10:46 | 14.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2733 | μmol/L | 29.9022 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.924 | 95278.1528 | 294281.4727 | 30.45 | 114.2
119913 | 2021-05-03 10:46 | 14.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.24 | μmol/L | 29.896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.928 | 95300.4406 | 294266.9803 | 30.45 | 114.2
119923 | 2021-05-03 10:47 | 14.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1537 | μmol/L | 29.896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.933 | 95295.533 | 294249.8523 | 30.45 | 114.2
119933 | 2021-05-03 10:47 | 15.0056 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4126 | μmol/L | 29.896 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.918 | 95225.2039 | 294239.4801 | 30.45 | 114.2
119943 | 2021-05-03 10:47 | 15.3393 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9924 | μmol/L | 29.9268 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 95257.7948 | 294226.3768 | 30.45 | 114.2
119953 | 2021-05-03 10:48 | 15.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9912 | μmol/L | 29.933 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.93 | 95257.2584 | 294199.4563 | 30.45 | 114.2
119963 | 2021-05-03 10:48 | 16.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1488 | μmol/L | 29.9206 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.925 | 95212.8569 | 294190.0539 | 30.45 | 114.2
119973 | 2021-05-03 10:48 | 16.3392 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7783 | μmol/L | 29.9638 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.932 | 95247.4499 | 294175.2408 | 30.45 | 114.2
119983 | 2021-05-03 10:49 | 16.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.8891 | μmol/L | 29.9268 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.938 | 95249.1015 | 294152.4024 | 30.45 | 114.2
119993 | 2021-05-03 10:49 | 17.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3989 | μmol/L | 29.97 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.952 | 95319.6399 | 294135.7812 | 30.45 | 114.2
120003 | 2021-05-03 10:49 | 17.3387 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5942 | μmol/L | 29.9391 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.951 | 95322.6394 | 294124.4866 | 30.45 | 114.2
120013 | 2021-05-03 10:50 | 17.6723 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7967 | μmol/L | 29.9576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.933 | 95227.8802 | 294119.0255 | 30.45 | 114.2
120023 | 2021-05-03 10:50 | 18.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.4701 | μmol/L | 29.9576 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.952 | 95293.0275 | 294098.727 | 30.45 | 114.2
120033 | 2021-05-03 10:50 | 18.3389 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2749 | μmol/L | 29.9884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.953 | 95250.6397 | 294073.9982 | 30.45 | 114.2
120043 | 2021-05-03 10:51 | 18.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.7228 | μmol/L | 29.9823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.929 | 95159.4938 | 294066.3602 | 30.45 | 114.2
120053 | 2021-05-03 10:51 | 19.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.292 | μmol/L | 29.9884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.952 | 95255.2292 | 294053.2191 | 30.45 | 114.2
120063 | 2021-05-03 10:51 | 19.3385 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3607 | μmol/L | 29.9884 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.948 | 95238.1124 | 294013.7268 | 30.45 | 114.2
120073 | 2021-05-03 10:52 | 19.6722 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.362 | μmol/L | 29.9823 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.95 | 95215.8745 | 294012.5796 | 30.45 | 114.2
120083 | 2021-05-03 10:52 | 20.0052 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1153 | μmol/L | 30.0131 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.954 | 95231.897 | 294015.1525 | 30.45 | 114.2
120093 | 2021-05-03 10:52 | 20.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.1972 | μmol/L | 30.0316 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.943 | 95196.7039 | 293992.2941 | 30.45 | 114.2
120103 | 2021-05-03 10:53 | 20.672 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.2169 | μmol/L | 30.0193 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.946 | 95194.9807 | 293967.3908 | 30.45 | 114.2
120113 | 2021-05-03 10:53 | 21.0059 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.3134 | μmol/L | 30.0501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.93 | 95129.2952 | 293941.9291 | 30.45 | 114.2
120123 | 2021-05-03 10:53 | 21.339 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9559 | μmol/L | 30.0378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.955 | 95205.1057 | 293933.0193 | 30.45 | 114.2
120133 | 2021-05-03 10:54 | 21.6719 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.147 | μmol/L | 30.0254 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.948 | 95195.9732 | 293919.3553 | 30.45 | 114.2
120143 | 2021-05-03 10:54 | 22.0057 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.0416 | μmol/L | 30.0378 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.95 | 95203.7779 | 293907.7893 | 30.45 | 114.2
120153 | 2021-05-03 10:54 | 22.3388 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.9019 | μmol/L | 30.0501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.954 | 95204.8443 | 293889.9443 | 30.45 | 114.2
120163 | 2021-05-03 10:55 | 22.6726 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6557 | μmol/L | 30.0809 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.958 | 95219.0805 | 293888.0651 | 30.45 | 114.2
120173 | 2021-05-03 10:55 | 23.0053 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7465 | μmol/L | 30.0562 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.961 | 95245.5698 | 293868.6805 | 30.45 | 114.2
120183 | 2021-05-03 10:55 | 23.3391 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5032 | μmol/L | 30.0747 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.969 | 95254.5116 | 293854.132 | 30.45 | 114.2
120193 | 2021-05-03 10:56 | 23.6725 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7308 | μmol/L | 30.0501 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.964 | 95247.5595 | 293837.9955 | 30.45 | 114.2