## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119484 | 2021-05-03 10:32 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.0268 | μmol/L | 29.4673 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.396 | 128466.1635 | 291944.844 | 59.9307 | 49.4
119494 | 2021-05-03 10:32 | 0.33075 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2943 | μmol/L | 29.5292 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.415 | 129393.5125 | 291910.9994 | 59.9307 | 49.4
119504 | 2021-05-03 10:33 | 0.66367 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.2421 | μmol/L | 29.5044 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.426 | 129612.549 | 291879.0288 | 59.9307 | 49.4
119514 | 2021-05-03 10:33 | 0.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.0586 | μmol/L | 29.4921 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.44 | 129691.1065 | 291856.4531 | 59.9307 | 49.4
119524 | 2021-05-03 10:33 | 1.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.704 | μmol/L | 29.5168 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.451 | 129702.2937 | 291825.1047 | 59.9307 | 49.4
119534 | 2021-05-03 10:34 | 1.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.4633 | μmol/L | 29.523 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.462 | 129741.255 | 291822.5195 | 59.9307 | 49.4
119544 | 2021-05-03 10:34 | 1.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.9948 | μmol/L | 29.5787 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.469 | 129787.5802 | 291807.6574 | 59.9307 | 49.4
119554 | 2021-05-03 10:34 | 2.3308 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.6072 | μmol/L | 29.5911 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.486 | 129847.5675 | 291786.3771 | 59.9307 | 49.4
119564 | 2021-05-03 10:35 | 2.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.2908 | μmol/L | 29.6221 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.493 | 129887.6733 | 291756.133 | 59.9307 | 49.4
119574 | 2021-05-03 10:35 | 2.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.795 | μmol/L | 29.6344 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.516 | 129988.2823 | 291744.6259 | 59.9307 | 49.4
119584 | 2021-05-03 10:35 | 3.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9258 | μmol/L | 29.6159 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.515 | 130004.4504 | 291731.2408 | 59.9307 | 49.4
119594 | 2021-05-03 10:36 | 3.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.6287 | μmol/L | 29.6468 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.521 | 130029.0548 | 291708.2754 | 59.9307 | 49.4
119604 | 2021-05-03 10:36 | 3.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.4049 | μmol/L | 29.6778 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.523 | 130093.6351 | 291696.1909 | 59.9307 | 49.4
119614 | 2021-05-03 10:36 | 4.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.1489 | μmol/L | 29.684 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.535 | 130140.3051 | 291699.3887 | 59.9307 | 49.4
119624 | 2021-05-03 10:37 | 4.6641 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.2187 | μmol/L | 29.7025 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.525 | 130340.3464 | 291657.3314 | 59.9307 | 49.4
119634 | 2021-05-03 10:37 | 4.9971 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.635 | μmol/L | 29.7149 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.553 | 130193.9632 | 291656.9028 | 59.9307 | 49.4
119644 | 2021-05-03 10:37 | 5.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.5976 | μmol/L | 29.7211 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.553 | 130300.205 | 291639.1603 | 59.9307 | 49.4
119654 | 2021-05-03 10:38 | 5.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.666 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.541 | 130448.0349 | 291614.4968 | 59.9307 | 49.4
119664 | 2021-05-03 10:38 | 5.9972 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.232 | μmol/L | 29.7397 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.567 | 130378.5739 | 291604.8033 | 59.9307 | 49.4
119674 | 2021-05-03 10:38 | 6.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.395 | μmol/L | 29.7397 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.558 | 130556.2158 | 291590.2154 | 59.9307 | 49.4
119684 | 2021-05-03 10:39 | 6.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.2704 | μmol/L | 29.7273 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.569 | 130673.0911 | 291576.2672 | 59.9307 | 49.4
119694 | 2021-05-03 10:39 | 6.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.2821 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.556 | 130601.7942 | 291551.1083 | 59.9307 | 49.4
119704 | 2021-05-03 10:39 | 7.3309 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.049 | μmol/L | 29.7521 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.573 | 130810.403 | 291561.9047 | 59.9307 | 49.4
119714 | 2021-05-03 10:40 | 7.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.2022 | μmol/L | 29.7025 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.581 | 130852.3416 | 291553.0116 | 59.9307 | 49.4
119724 | 2021-05-03 10:40 | 7.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.1086 | μmol/L | 29.7211 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.58 | 130859.1041 | 291530.0073 | 59.9307 | 49.4
119734 | 2021-05-03 10:40 | 8.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.165 | μmol/L | 29.7087 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.581 | 130613.7351 | 291508.837 | 59.9307 | 49.4
119744 | 2021-05-03 10:41 | 8.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.778 | μmol/L | 29.7521 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.588 | 130745.4556 | 291493.1579 | 59.9307 | 49.4
119754 | 2021-05-03 10:41 | 8.9972 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.3059 | μmol/L | 29.7706 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.608 | 130893.401 | 291466.2061 | 59.9307 | 49.4
119764 | 2021-05-03 10:41 | 9.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.4364 | μmol/L | 29.7459 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.609 | 130962.6737 | 291464.893 | 59.9307 | 49.4
119774 | 2021-05-03 10:42 | 9.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.4342 | μmol/L | 29.7583 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.605 | 130937.1179 | 291439.1932 | 59.9307 | 49.4
119784 | 2021-05-03 10:42 | 9.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.5434 | μmol/L | 29.7521 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.601 | 130782.2352 | 291427.9977 | 59.9307 | 49.4
119794 | 2021-05-03 10:42 | 10.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.3655 | μmol/L | 29.7397 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.615 | 130954.3578 | 291419.0853 | 59.9307 | 49.4
119804 | 2021-05-03 10:43 | 10.6642 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0339 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.619 | 130968.0653 | 291418.1937 | 59.9307 | 49.4
119814 | 2021-05-03 10:43 | 10.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9227 | μmol/L | 29.8016 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.619 | 130863.6612 | 291401.4369 | 59.9307 | 49.4
119824 | 2021-05-03 10:43 | 11.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9598 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.619 | 130854.6787 | 291392.1558 | 59.9307 | 49.4
119834 | 2021-05-03 10:44 | 11.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0575 | μmol/L | 29.7521 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.628 | 130964.0107 | 291368.0154 | 59.9307 | 49.4
119844 | 2021-05-03 10:44 | 11.9968 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.9216 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.617 | 130376.5313 | 291355.8412 | 59.9307 | 49.4
119854 | 2021-05-03 10:44 | 12.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7542 | μmol/L | 29.8387 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.616 | 130433.5166 | 291344.6175 | 59.9307 | 49.4
119864 | 2021-05-03 10:45 | 12.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7756 | μmol/L | 29.8202 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.621 | 130317.2691 | 291333.9923 | 59.9307 | 49.4
119874 | 2021-05-03 10:45 | 12.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5176 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.623 | 130468.0342 | 291314.8722 | 59.9307 | 49.4
119884 | 2021-05-03 10:45 | 13.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3372 | μmol/L | 29.8635 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.631 | 130849.5512 | 291290.511 | 59.9307 | 49.4
119894 | 2021-05-03 10:46 | 13.6638 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.2871 | μmol/L | 29.8449 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.64 | 130805.3738 | 291278.9043 | 59.9307 | 49.4
119904 | 2021-05-03 10:46 | 13.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3587 | μmol/L | 29.8449 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.636 | 130648.1482 | 291280.0314 | 59.9307 | 49.4
119914 | 2021-05-03 10:46 | 14.3307 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5089 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.64 | 130545.1907 | 291262.8398 | 59.9307 | 49.4
119924 | 2021-05-03 10:47 | 14.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3299 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.65 | 130878.1226 | 291246.5534 | 59.9307 | 49.4
119934 | 2021-05-03 10:47 | 14.9974 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0891 | μmol/L | 29.8511 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.649 | 130663.3172 | 291227.7432 | 59.9307 | 49.4
119944 | 2021-05-03 10:47 | 15.3302 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4922 | μmol/L | 29.8016 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.643 | 130225.3481 | 291213.6931 | 59.9307 | 49.4
119954 | 2021-05-03 10:48 | 15.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1833 | μmol/L | 29.8264 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.652 | 130468.2897 | 291204.0956 | 59.9307 | 49.4
119964 | 2021-05-03 10:48 | 15.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4957 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.649 | 129997.8599 | 291184.171 | 59.9307 | 49.4
119974 | 2021-05-03 10:48 | 16.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.1689 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.659 | 130413.1922 | 291173.1797 | 59.9307 | 49.4
119984 | 2021-05-03 10:49 | 16.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.4552 | μmol/L | 29.8078 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.643 | 129509.0099 | 291194.6719 | 59.9307 | 49.4
119994 | 2021-05-03 10:49 | 16.9972 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6227 | μmol/L | 29.8635 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.671 | 130776.1718 | 291168.4685 | 59.9307 | 49.4
120004 | 2021-05-03 10:49 | 17.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.0224 | μmol/L | 29.8264 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.661 | 129976.0753 | 291140.8 | 59.9307 | 49.4
120014 | 2021-05-03 10:50 | 17.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.8938 | μmol/L | 29.8449 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.662 | 130028.4769 | 291130.8826 | 59.9307 | 49.4
120024 | 2021-05-03 10:50 | 17.997 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.436 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.667 | 129909.9144 | 291120.9835 | 59.9307 | 49.4
120034 | 2021-05-03 10:50 | 18.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5761 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.655 | 129354.9654 | 291103.5554 | 59.9307 | 49.4
120044 | 2021-05-03 10:51 | 18.6637 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7212 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.651 | 128531.9016 | 291098.7813 | 59.9307 | 49.4
120054 | 2021-05-03 10:51 | 18.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.7747 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.648 | 128420.3999 | 291089.4048 | 59.9307 | 49.4
120064 | 2021-05-03 10:51 | 19.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.6831 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.649 | 128341.7734 | 291065.3294 | 59.9307 | 49.4
120074 | 2021-05-03 10:52 | 19.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2456 | μmol/L | 29.9688 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.657 | 128412.1527 | 291059.0144 | 59.9307 | 49.4
120084 | 2021-05-03 10:52 | 19.9976 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3396 | μmol/L | 29.944 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.66 | 128444.9211 | 291059.2145 | 59.9307 | 49.4
120094 | 2021-05-03 10:52 | 20.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.4133 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.66 | 128342.3504 | 291031.6159 | 59.9307 | 49.4
120104 | 2021-05-03 10:53 | 20.6636 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.0665 | μmol/L | 29.9749 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.665 | 128412.9836 | 291021.7865 | 59.9307 | 49.4
120114 | 2021-05-03 10:53 | 20.9969 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1223 | μmol/L | 29.9626 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 128280.7947 | 290993.8723 | 59.9307 | 49.4
120124 | 2021-05-03 10:53 | 21.3306 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.3064 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.666 | 128334.4809 | 290986.3555 | 59.9307 | 49.4
120134 | 2021-05-03 10:54 | 21.6635 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.1058 | μmol/L | 29.9564 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.669 | 128292.1995 | 290966.7726 | 59.9307 | 49.4
120144 | 2021-05-03 10:54 | 21.9973 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.088 | μmol/L | 29.9564 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.67 | 128281.5283 | 290961.9973 | 59.9307 | 49.4
120154 | 2021-05-03 10:54 | 22.3303 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.342 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.664 | 128382.2987 | 290945.5211 | 59.9307 | 49.4
120164 | 2021-05-03 10:55 | 22.6639 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9941 | μmol/L | 29.9811 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.667 | 128236.508 | 290943.3024 | 59.9307 | 49.4
120174 | 2021-05-03 10:55 | 22.9975 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.4922 | μmol/L | 30.0059 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.687 | 128436.7064 | 290933.5965 | 59.9307 | 49.4
120184 | 2021-05-03 10:55 | 23.3305 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.653 | μmol/L | 29.9997 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.68 | 128302.8712 | 290924.4894 | 59.9307 | 49.4
120194 | 2021-05-03 10:56 | 23.664 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.3644 | μmol/L | 30.0245 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.688 | 128346.4211 | 290928.0461 | 59.9307 | 49.4