## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119485 | 2021-05-03 10:32 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.5021 | μmol/L | 29.561 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.507 | 132449.4625 | 303643.9924 | 33.25 | 68.6
119495 | 2021-05-03 10:32 | 0.34086 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.1535 | μmol/L | 29.6159 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.508 | 132448.3349 | 303656.179 | 33.25 | 68.6
119505 | 2021-05-03 10:33 | 0.67378 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.7421 | μmol/L | 29.6586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.517 | 132538.3873 | 303637.7993 | 33.25 | 68.6
119515 | 2021-05-03 10:33 | 1.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.8302 | μmol/L | 29.6525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.514 | 132505.7712 | 303610.6018 | 33.25 | 68.6
119525 | 2021-05-03 10:33 | 1.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.8542 | μmol/L | 29.622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.582 | 132965.8473 | 303569.8 | 33.25 | 68.6
119535 | 2021-05-03 10:34 | 1.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.5984 | μmol/L | 29.6647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.582 | 132933.6919 | 303543.3024 | 33.25 | 68.6
119545 | 2021-05-03 10:34 | 2.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3063 | μmol/L | 29.7136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.582 | 132930.5963 | 303522.8112 | 33.25 | 68.6
119555 | 2021-05-03 10:34 | 2.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9456 | μmol/L | 29.7258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.599 | 133068.5572 | 303508.0356 | 33.25 | 68.6
119565 | 2021-05-03 10:35 | 2.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6336 | μmol/L | 29.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.611 | 133094.0363 | 303458.891 | 33.25 | 68.6
119575 | 2021-05-03 10:35 | 3.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9403 | μmol/L | 29.738 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.595 | 132995.6517 | 303449.0448 | 33.25 | 68.6
119585 | 2021-05-03 10:35 | 3.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7297 | μmol/L | 29.7563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.601 | 133030.1571 | 303445.142 | 33.25 | 68.6
119595 | 2021-05-03 10:36 | 3.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.727 | μmol/L | 29.7624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.599 | 132984.8547 | 303404.7283 | 33.25 | 68.6
119605 | 2021-05-03 10:36 | 4.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.9689 | μmol/L | 29.7502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.589 | 132939.0333 | 303389.9271 | 33.25 | 68.6
119615 | 2021-05-03 10:36 | 4.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.0978 | μmol/L | 29.7258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.59 | 132912.821 | 303361.4699 | 33.25 | 68.6
119625 | 2021-05-03 10:37 | 4.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7386 | μmol/L | 29.7746 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132913.2089 | 303346.5263 | 33.25 | 68.6
119635 | 2021-05-03 10:37 | 5.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7449 | μmol/L | 29.799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.585 | 132878.2152 | 303310.014 | 33.25 | 68.6
119645 | 2021-05-03 10:37 | 5.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7423 | μmol/L | 29.8052 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.583 | 132848.147 | 303288.621 | 33.25 | 68.6
119655 | 2021-05-03 10:38 | 5.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6214 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.588 | 132862.9001 | 303277.5117 | 33.25 | 68.6
119665 | 2021-05-03 10:38 | 6.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5655 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.587 | 132832.8793 | 303241.206 | 33.25 | 68.6
119675 | 2021-05-03 10:38 | 6.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.577 | μmol/L | 29.8357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.582 | 132802.7751 | 303228.4043 | 33.25 | 68.6
119685 | 2021-05-03 10:39 | 6.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.7396 | μmol/L | 29.8113 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.581 | 132765.2659 | 303209.6705 | 33.25 | 68.6
119695 | 2021-05-03 10:39 | 7.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5655 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.587 | 132788.3774 | 303186.0098 | 33.25 | 68.6
119705 | 2021-05-03 10:39 | 7.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5264 | μmol/L | 29.8357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.585 | 132776.7291 | 303159.0733 | 33.25 | 68.6
119715 | 2021-05-03 10:40 | 7.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.5966 | μmol/L | 29.8296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.583 | 132747.6176 | 303136.4461 | 33.25 | 68.6
119725 | 2021-05-03 10:40 | 8.0075 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.434 | μmol/L | 29.854 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.584 | 132753.0679 | 303095.3587 | 33.25 | 68.6
119735 | 2021-05-03 10:40 | 8.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2574 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.588 | 132760.0288 | 303104.1118 | 33.25 | 68.6
119745 | 2021-05-03 10:41 | 8.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.12 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132790.2564 | 303082.7583 | 33.25 | 68.6
119755 | 2021-05-03 10:41 | 9.0071 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2716 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.585 | 132721.8896 | 303054.2019 | 33.25 | 68.6
119765 | 2021-05-03 10:41 | 9.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.529 | μmol/L | 29.8296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.587 | 132718.8013 | 303037.9474 | 33.25 | 68.6
119775 | 2021-05-03 10:42 | 9.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.403 | μmol/L | 29.8479 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.588 | 132698.618 | 303023.0788 | 33.25 | 68.6
119785 | 2021-05-03 10:42 | 10.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3781 | μmol/L | 29.8662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.583 | 132666.6098 | 302992.7 | 33.25 | 68.6
119795 | 2021-05-03 10:42 | 10.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3754 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.581 | 132620.1941 | 302962.0145 | 33.25 | 68.6
119805 | 2021-05-03 10:43 | 10.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3585 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.582 | 132607.8336 | 302959.582 | 33.25 | 68.6
119815 | 2021-05-03 10:43 | 11.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3106 | μmol/L | 29.8662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.587 | 132623.0086 | 302936.6528 | 33.25 | 68.6
119825 | 2021-05-03 10:43 | 11.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2547 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.586 | 132605.5805 | 302909.7422 | 33.25 | 68.6
119835 | 2021-05-03 10:44 | 11.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2237 | μmol/L | 29.8723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.59 | 132625.9984 | 302906.8306 | 33.25 | 68.6
119845 | 2021-05-03 10:44 | 12.0076 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0277 | μmol/L | 29.8967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.593 | 132641.3817 | 302880.8936 | 33.25 | 68.6
119855 | 2021-05-03 10:44 | 12.3407 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9127 | μmol/L | 29.8906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.602 | 132682.3398 | 302862.9577 | 33.25 | 68.6
119865 | 2021-05-03 10:45 | 12.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1031 | μmol/L | 29.8784 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.595 | 132646.25 | 302850.2392 | 33.25 | 68.6
119875 | 2021-05-03 10:45 | 13.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0809 | μmol/L | 29.8906 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132610.9687 | 302838.732 | 33.25 | 68.6
119885 | 2021-05-03 10:45 | 13.3408 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.8514 | μmol/L | 29.915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.597 | 132625.6977 | 302809.6552 | 33.25 | 68.6
119895 | 2021-05-03 10:46 | 13.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5106 | μmol/L | 29.9639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.6 | 132631.6249 | 302794.4648 | 33.25 | 68.6
119905 | 2021-05-03 10:46 | 14.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.5469 | μmol/L | 29.9578 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.6 | 132618.8779 | 302775.8196 | 33.25 | 68.6
119915 | 2021-05-03 10:46 | 14.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7479 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132610.0233 | 302759.3149 | 33.25 | 68.6
119925 | 2021-05-03 10:47 | 14.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4571 | μmol/L | 29.9334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.614 | 132647.3692 | 302745.5153 | 33.25 | 68.6
119935 | 2021-05-03 10:47 | 15.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6975 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.604 | 132617.7393 | 302711.3957 | 33.25 | 68.6
119945 | 2021-05-03 10:47 | 15.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6948 | μmol/L | 29.9272 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.602 | 132587.5956 | 302703.2619 | 33.25 | 68.6
119955 | 2021-05-03 10:48 | 15.6737 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6639 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.606 | 132588.4352 | 302686.2637 | 33.25 | 68.6
119965 | 2021-05-03 10:48 | 16.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7896 | μmol/L | 29.9028 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.605 | 132557.5023 | 302662.2002 | 33.25 | 68.6
119975 | 2021-05-03 10:48 | 16.3404 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.6894 | μmol/L | 29.9395 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 132523.5862 | 302653.3958 | 33.25 | 68.6
119985 | 2021-05-03 10:49 | 16.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.4829 | μmol/L | 29.9883 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.593 | 132456.857 | 302633.2069 | 33.25 | 68.6
119995 | 2021-05-03 10:49 | 17.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1369 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132450.3396 | 302620.3911 | 33.25 | 68.6
120005 | 2021-05-03 10:49 | 17.3406 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.268 | μmol/L | 30.0188 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.595 | 132442.1608 | 302605.5234 | 33.25 | 68.6
120015 | 2021-05-03 10:50 | 17.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1759 | μmol/L | 30.0371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132418.4577 | 302580.5987 | 33.25 | 68.6
120025 | 2021-05-03 10:50 | 18.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1814 | μmol/L | 30.0249 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 132437.4624 | 302551.2974 | 33.25 | 68.6
120035 | 2021-05-03 10:50 | 18.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3015 | μmol/L | 30.0188 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.593 | 132409.2388 | 302543.6073 | 33.25 | 68.6
120045 | 2021-05-03 10:51 | 18.6738 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.2122 | μmol/L | 30.031 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132412.324 | 302531.5013 | 33.25 | 68.6
120055 | 2021-05-03 10:51 | 19.0074 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0644 | μmol/L | 30.0616 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.592 | 132368.147 | 302514.8674 | 33.25 | 68.6
120065 | 2021-05-03 10:51 | 19.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0254 | μmol/L | 30.0738 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.59 | 132362.3883 | 302510.3158 | 33.25 | 68.6
120075 | 2021-05-03 10:52 | 19.674 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8135 | μmol/L | 30.0982 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.594 | 132360.6334 | 302488.5163 | 33.25 | 68.6
120085 | 2021-05-03 10:52 | 20.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6993 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.603 | 132395.7691 | 302489.7641 | 33.25 | 68.6
120095 | 2021-05-03 10:52 | 20.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.5322 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.613 | 132456.9764 | 302445.9702 | 33.25 | 68.6
120105 | 2021-05-03 10:53 | 20.6741 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6213 | μmol/L | 30.0799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.612 | 132462.8538 | 302441.0328 | 33.25 | 68.6
120115 | 2021-05-03 10:53 | 21.0073 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.7132 | μmol/L | 30.0982 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.6 | 132372.408 | 302434.2773 | 33.25 | 68.6
120125 | 2021-05-03 10:53 | 21.3409 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6603 | μmol/L | 30.1043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132368.8597 | 302419.5839 | 33.25 | 68.6
120135 | 2021-05-03 10:54 | 21.6739 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6742 | μmol/L | 30.1104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 132313.7054 | 302397.3164 | 33.25 | 68.6
120145 | 2021-05-03 10:54 | 22.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6352 | μmol/L | 30.1226 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.596 | 132312.6945 | 302362.8384 | 33.25 | 68.6
120155 | 2021-05-03 10:54 | 22.3405 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6742 | μmol/L | 30.1104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.598 | 132304.8332 | 302360.2222 | 33.25 | 68.6
120165 | 2021-05-03 10:55 | 22.6742 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6074 | μmol/L | 30.1104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.602 | 132312.7746 | 302352.7793 | 33.25 | 68.6
120175 | 2021-05-03 10:55 | 23.0072 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.407 | μmol/L | 30.147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.601 | 132313.2356 | 302353.1312 | 33.25 | 68.6
120185 | 2021-05-03 10:55 | 23.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4488 | μmol/L | 30.1287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.605 | 132323.4998 | 302322.5998 | 33.25 | 68.6
120195 | 2021-05-03 10:56 | 23.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1152 | μmol/L | 30.1654 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.612 | 132363.5587 | 302297.452 | 33.25 | 68.6