## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119486 | 2021-05-03 10:32 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.7486 | μmol/L | 29.4379 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.567 | 121478.3379 | 267552.729 | 26.25 | 74
119496 | 2021-05-03 10:32 | 0.33248 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 205.252 | μmol/L | 29.4318 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.596 | 121758.9005 | 267541.4593 | 26.25 | 74
119506 | 2021-05-03 10:33 | 0.66529 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.6622 | μmol/L | 29.4563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.62 | 122000.8316 | 267507.5001 | 26.25 | 74
119516 | 2021-05-03 10:33 | 0.99881 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 204.4438 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.636 | 122237.2965 | 267497.3981 | 26.25 | 74
119526 | 2021-05-03 10:33 | 1.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.9669 | μmol/L | 29.4624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.656 | 122438.5094 | 267485.1231 | 26.25 | 74
119536 | 2021-05-03 10:34 | 1.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.6018 | μmol/L | 29.4685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.674 | 122593.8858 | 267445.978 | 26.25 | 74
119546 | 2021-05-03 10:34 | 1.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.9775 | μmol/L | 29.5235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.69 | 122742.4215 | 267430.3694 | 26.25 | 74
119556 | 2021-05-03 10:34 | 2.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.5185 | μmol/L | 29.5724 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.699 | 122856.4168 | 267409.4568 | 26.25 | 74
119566 | 2021-05-03 10:35 | 2.6658 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.0989 | μmol/L | 29.6029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.712 | 122966.6447 | 267387.9723 | 26.25 | 74
119576 | 2021-05-03 10:35 | 2.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1022 | μmol/L | 29.5785 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.72 | 123070.3793 | 267376.5409 | 26.25 | 74
119586 | 2021-05-03 10:35 | 3.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.1799 | μmol/L | 29.5357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.73 | 123155.2905 | 267350.877 | 26.25 | 74
119596 | 2021-05-03 10:36 | 3.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.177 | μmol/L | 29.6335 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.753 | 123359.3311 | 267339.6695 | 26.25 | 74
119606 | 2021-05-03 10:36 | 3.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.8329 | μmol/L | 29.6579 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.764 | 123471.049 | 267307.3323 | 26.25 | 74
119616 | 2021-05-03 10:36 | 4.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.5054 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.77 | 123497.1625 | 267298.5393 | 26.25 | 74
119626 | 2021-05-03 10:37 | 4.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.3034 | μmol/L | 29.7313 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.769 | 123530.004 | 267275.5083 | 26.25 | 74
119636 | 2021-05-03 10:37 | 4.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.017 | μmol/L | 29.7374 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.783 | 123632.1285 | 267258.0422 | 26.25 | 74
119646 | 2021-05-03 10:37 | 5.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6363 | μmol/L | 29.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.79 | 123709.8934 | 267230.2861 | 26.25 | 74
119656 | 2021-05-03 10:38 | 5.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5681 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 123800.1217 | 267213.3177 | 26.25 | 74
119666 | 2021-05-03 10:38 | 5.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5306 | μmol/L | 29.7741 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.798 | 123838.0124 | 267208.1729 | 26.25 | 74
119676 | 2021-05-03 10:38 | 6.332 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.3865 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.802 | 123847.0828 | 267171.0205 | 26.25 | 74
119686 | 2021-05-03 10:39 | 6.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.4081 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.809 | 123919.5709 | 267159.5132 | 26.25 | 74
119696 | 2021-05-03 10:39 | 6.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.9381 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.817 | 123973.6289 | 267132.6672 | 26.25 | 74
119706 | 2021-05-03 10:39 | 7.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8318 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.823 | 124019.2888 | 267120.7449 | 26.25 | 74
119716 | 2021-05-03 10:40 | 7.6657 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8545 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.832 | 124092.8532 | 267099.1874 | 26.25 | 74
119726 | 2021-05-03 10:40 | 7.9986 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8368 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.833 | 124156.4162 | 267088.0293 | 26.25 | 74
119736 | 2021-05-03 10:40 | 8.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.5519 | μmol/L | 29.7985 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.845 | 124214.9763 | 267072.7533 | 26.25 | 74
119746 | 2021-05-03 10:41 | 8.6653 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8428 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.845 | 124224.1087 | 267048.3286 | 26.25 | 74
119756 | 2021-05-03 10:41 | 8.9991 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4438 | μmol/L | 29.8107 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.847 | 124262.5858 | 267035.1166 | 26.25 | 74
119766 | 2021-05-03 10:41 | 9.3321 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.0474 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.854 | 124302.5789 | 267024.8215 | 26.25 | 74
119776 | 2021-05-03 10:42 | 9.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8841 | μmol/L | 29.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.855 | 124325.0875 | 267001.9393 | 26.25 | 74
119786 | 2021-05-03 10:42 | 9.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6866 | μmol/L | 29.7313 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.86 | 124366.0166 | 266986.4409 | 26.25 | 74
119796 | 2021-05-03 10:42 | 10.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.8694 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.862 | 124392.7247 | 266959.1499 | 26.25 | 74
119806 | 2021-05-03 10:43 | 10.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1616 | μmol/L | 29.8107 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.863 | 124404.6307 | 266958.0709 | 26.25 | 74
119816 | 2021-05-03 10:43 | 10.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.3057 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.861 | 124407.348 | 266936.9455 | 26.25 | 74
119826 | 2021-05-03 10:43 | 11.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2704 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.863 | 124435.1908 | 266918.546 | 26.25 | 74
119836 | 2021-05-03 10:44 | 11.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4031 | μmol/L | 29.7374 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.874 | 124487.8454 | 266900.0767 | 26.25 | 74
119846 | 2021-05-03 10:44 | 11.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2725 | μmol/L | 29.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.867 | 124479.7167 | 266874.5684 | 26.25 | 74
119856 | 2021-05-03 10:44 | 12.3324 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1844 | μmol/L | 29.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.872 | 124519.6686 | 266870.2096 | 26.25 | 74
119866 | 2021-05-03 10:45 | 12.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7898 | μmol/L | 29.823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.88 | 124572.6837 | 266855.1706 | 26.25 | 74
119876 | 2021-05-03 10:45 | 12.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7184 | μmol/L | 29.8291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.882 | 124597.4789 | 266823.9079 | 26.25 | 74
119886 | 2021-05-03 10:45 | 13.3326 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.7908 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.882 | 124597.0181 | 266821.5149 | 26.25 | 74
119896 | 2021-05-03 10:46 | 13.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.737 | μmol/L | 29.823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.883 | 124634.56 | 266788.4379 | 26.25 | 74
119906 | 2021-05-03 10:46 | 13.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.6864 | μmol/L | 29.8107 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.89 | 124694.5008 | 266776.1536 | 26.25 | 74
119916 | 2021-05-03 10:46 | 14.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4549 | μmol/L | 29.8291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.897 | 124706.874 | 266767.669 | 26.25 | 74
119926 | 2021-05-03 10:47 | 14.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.4012 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.898 | 124748.8364 | 266745.1264 | 26.25 | 74
119936 | 2021-05-03 10:47 | 14.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1307 | μmol/L | 29.878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.899 | 124783.798 | 266750.2021 | 26.25 | 74
119946 | 2021-05-03 10:47 | 15.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2051 | μmol/L | 29.8535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.903 | 124798.9076 | 266729.3774 | 26.25 | 74
119956 | 2021-05-03 10:48 | 15.6655 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0792 | μmol/L | 29.8719 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.904 | 124813.8013 | 266703.9501 | 26.25 | 74
119966 | 2021-05-03 10:48 | 15.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.0628 | μmol/L | 29.8658 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.907 | 124826.2077 | 266693.8015 | 26.25 | 74
119976 | 2021-05-03 10:48 | 16.3323 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.9534 | μmol/L | 29.8902 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.905 | 124802.9359 | 266673.9374 | 26.25 | 74
119986 | 2021-05-03 10:49 | 16.6651 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.7881 | μmol/L | 29.933 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.9 | 124804.362 | 266666.1219 | 26.25 | 74
119996 | 2021-05-03 10:49 | 16.9989 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.6646 | μmol/L | 29.9391 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.905 | 124819.7883 | 266642.9853 | 26.25 | 74
120006 | 2021-05-03 10:49 | 17.3319 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5936 | μmol/L | 29.9452 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.907 | 124833.509 | 266633.2965 | 26.25 | 74
120016 | 2021-05-03 10:50 | 17.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4505 | μmol/L | 29.9635 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.909 | 124859.2592 | 266619.3575 | 26.25 | 74
120026 | 2021-05-03 10:50 | 17.9985 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1645 | μmol/L | 30.0002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.913 | 124885.9886 | 266598.0238 | 26.25 | 74
120036 | 2021-05-03 10:50 | 18.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5237 | μmol/L | 29.9452 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.911 | 124868.9047 | 266588.7883 | 26.25 | 74
120046 | 2021-05-03 10:51 | 18.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2156 | μmol/L | 30.0063 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.908 | 124868.3769 | 266563.1094 | 26.25 | 74
120056 | 2021-05-03 10:51 | 18.999 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9137 | μmol/L | 30.0369 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.915 | 124911.1059 | 266551.0062 | 26.25 | 74
120066 | 2021-05-03 10:51 | 19.3317 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.383 | μmol/L | 29.9513 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.917 | 124924.9323 | 266541.1381 | 26.25 | 74
120076 | 2021-05-03 10:52 | 19.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2586 | μmol/L | 29.9635 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.92 | 124943.042 | 266518.6417 | 26.25 | 74
120086 | 2021-05-03 10:52 | 19.9987 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.06 | μmol/L | 30.0002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.919 | 124967.7254 | 266526.788 | 26.25 | 74
120096 | 2021-05-03 10:52 | 20.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1169 | μmol/L | 29.9758 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.924 | 124959.2238 | 266502.9143 | 26.25 | 74
120106 | 2021-05-03 10:53 | 20.6656 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.9915 | μmol/L | 29.9941 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.925 | 124997.849 | 266503.2885 | 26.25 | 74
120116 | 2021-05-03 10:53 | 20.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8152 | μmol/L | 30.0063 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.931 | 125010.018 | 266466.3267 | 26.25 | 74
120126 | 2021-05-03 10:53 | 21.3318 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5648 | μmol/L | 30.043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.933 | 125024.4446 | 266453.4194 | 26.25 | 74
120136 | 2021-05-03 10:54 | 21.6654 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6738 | μmol/L | 30.0186 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.935 | 125051.9741 | 266446.4829 | 26.25 | 74
120146 | 2021-05-03 10:54 | 21.9992 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3158 | μmol/L | 30.0736 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.937 | 125064.9864 | 266438.753 | 26.25 | 74
120156 | 2021-05-03 10:54 | 22.3322 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2799 | μmol/L | 30.0797 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.937 | 125072.617 | 266438.2142 | 26.25 | 74
120166 | 2021-05-03 10:55 | 22.6659 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.3739 | μmol/L | 30.043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.944 | 125089.8985 | 266411.4426 | 26.25 | 74
120176 | 2021-05-03 10:55 | 22.9988 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9805 | μmol/L | 30.1041 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.946 | 125123.2869 | 266400.3071 | 26.25 | 74
120186 | 2021-05-03 10:55 | 23.3325 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7359 | μmol/L | 30.1164 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.956 | 125157.2231 | 266389.7194 | 26.25 | 74
120196 | 2021-05-03 10:56 | 23.6652 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9681 | μmol/L | 30.0797 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.955 | 125169.929 | 266378.9713 | 26.25 | 74