## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 10:58

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
119487 | 2021-05-03 10:32 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.0966 | μmol/L | 29.4222 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.331 | 121532.4466 | 269552.0278 | 32.55 | 27.7
119497 | 2021-05-03 10:32 | 0.33994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 206.0066 | μmol/L | 29.5204 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.357 | 121722.0127 | 269495.9905 | 32.55 | 27.7
119507 | 2021-05-03 10:33 | 0.67347 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.6501 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.364 | 121835.5155 | 269471.2509 | 32.55 | 27.7
119517 | 2021-05-03 10:33 | 1.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.0155 | μmol/L | 29.6063 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.382 | 121907.843 | 269450.5092 | 32.55 | 27.7
119527 | 2021-05-03 10:33 | 1.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.9587 | μmol/L | 29.6186 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.381 | 121875.3198 | 269430.7127 | 32.55 | 27.7
119537 | 2021-05-03 10:34 | 1.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.8643 | μmol/L | 29.637 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.38 | 121859.4215 | 269403.8578 | 32.55 | 27.7
119547 | 2021-05-03 10:34 | 2.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4557 | μmol/L | 29.6615 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.394 | 121909.3973 | 269384.9624 | 32.55 | 27.7
119557 | 2021-05-03 10:34 | 2.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.2724 | μmol/L | 29.6554 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.406 | 121990.644 | 269371.3491 | 32.55 | 27.7
119567 | 2021-05-03 10:35 | 2.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.0863 | μmol/L | 29.6738 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.41 | 122024.4073 | 269348.9921 | 32.55 | 27.7
119577 | 2021-05-03 10:35 | 3.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.5711 | μmol/L | 29.686 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.434 | 122198.5288 | 269329.4564 | 32.55 | 27.7
119587 | 2021-05-03 10:35 | 3.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.2009 | μmol/L | 29.7044 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.503 | 122670.3262 | 269316.7092 | 32.55 | 27.7
119597 | 2021-05-03 10:36 | 3.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.4194 | μmol/L | 29.7229 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.54 | 122904.0918 | 269294.7916 | 32.55 | 27.7
119607 | 2021-05-03 10:36 | 4.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.274 | μmol/L | 29.729 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.546 | 122956.5857 | 269282.2996 | 32.55 | 27.7
119617 | 2021-05-03 10:36 | 4.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5696 | μmol/L | 29.7413 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.581 | 123187.2472 | 269264.8737 | 32.55 | 27.7
119627 | 2021-05-03 10:37 | 4.6739 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5276 | μmol/L | 29.7597 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.633 | 123580.5162 | 269267.3657 | 32.55 | 27.7
119637 | 2021-05-03 10:37 | 5.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9196 | μmol/L | 29.7719 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.663 | 123765.6694 | 269228.5116 | 32.55 | 27.7
119647 | 2021-05-03 10:37 | 5.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.6708 | μmol/L | 29.7719 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.677 | 123823.7863 | 269218.2182 | 32.55 | 27.7
119657 | 2021-05-03 10:38 | 5.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4181 | μmol/L | 29.7965 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.683 | 123897.16 | 269213.0651 | 32.55 | 27.7
119667 | 2021-05-03 10:38 | 6.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2242 | μmol/L | 29.7903 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.696 | 123959.2818 | 269191.733 | 32.55 | 27.7
119677 | 2021-05-03 10:38 | 6.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0804 | μmol/L | 29.8026 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.7 | 123953.4654 | 269180.3426 | 32.55 | 27.7
119687 | 2021-05-03 10:39 | 6.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0616 | μmol/L | 29.8088 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.699 | 123964.4592 | 269170.9868 | 32.55 | 27.7
119697 | 2021-05-03 10:39 | 7.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3146 | μmol/L | 29.8394 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.731 | 124188.5375 | 269148.6993 | 32.55 | 27.7
119707 | 2021-05-03 10:39 | 7.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6012 | μmol/L | 29.8149 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.723 | 124142.4085 | 269146.7431 | 32.55 | 27.7
119717 | 2021-05-03 10:40 | 7.674 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9617 | μmol/L | 29.8456 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.749 | 124282.7337 | 269120.3915 | 32.55 | 27.7
119727 | 2021-05-03 10:40 | 8.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.8364 | μmol/L | 29.8578 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.752 | 124292.598 | 269118.5113 | 32.55 | 27.7
119737 | 2021-05-03 10:40 | 8.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6819 | μmol/L | 29.8394 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.767 | 124357.0322 | 269104.8535 | 32.55 | 27.7
119747 | 2021-05-03 10:41 | 8.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6469 | μmol/L | 29.8394 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.769 | 124385.3593 | 269106.3943 | 32.55 | 27.7
119757 | 2021-05-03 10:41 | 9.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5954 | μmol/L | 29.8333 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.774 | 124414.0439 | 269076.7353 | 32.55 | 27.7
119767 | 2021-05-03 10:41 | 9.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.7685 | μmol/L | 29.8456 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.76 | 124296.9006 | 269069.4824 | 32.55 | 27.7
119777 | 2021-05-03 10:42 | 9.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5206 | μmol/L | 29.8578 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.77 | 124397.485 | 269051.2298 | 32.55 | 27.7
119787 | 2021-05-03 10:42 | 10.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9609 | μmol/L | 29.8578 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.802 | 124568.645 | 269031.3161 | 32.55 | 27.7
119797 | 2021-05-03 10:42 | 10.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7118 | μmol/L | 29.8824 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.808 | 124620.5609 | 269029.8503 | 32.55 | 27.7
119807 | 2021-05-03 10:43 | 10.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1646 | μmol/L | 29.8885 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.78 | 124420.972 | 269006.9155 | 32.55 | 27.7
119817 | 2021-05-03 10:43 | 11.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.784 | μmol/L | 29.8701 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.808 | 124595.3262 | 268990.6522 | 32.55 | 27.7
119827 | 2021-05-03 10:43 | 11.3402 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.0645 | μmol/L | 29.864 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.794 | 124511.4193 | 269002.7992 | 32.55 | 27.7
119837 | 2021-05-03 10:44 | 11.6741 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.9573 | μmol/L | 29.8762 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.796 | 124462.4311 | 268993.7398 | 32.55 | 27.7
119847 | 2021-05-03 10:44 | 12.007 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5464 | μmol/L | 29.8149 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.783 | 124358.253 | 268981.3701 | 32.55 | 27.7
119857 | 2021-05-03 10:44 | 12.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4191 | μmol/L | 29.8394 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.782 | 124341.9232 | 268956.9594 | 32.55 | 27.7
119867 | 2021-05-03 10:45 | 12.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1833 | μmol/L | 29.8824 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.781 | 124311.8018 | 268955.0216 | 32.55 | 27.7
119877 | 2021-05-03 10:45 | 13.0074 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.2158 | μmol/L | 29.8946 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.775 | 124295.3467 | 268948.0611 | 32.55 | 27.7
119887 | 2021-05-03 10:45 | 13.3404 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1073 | μmol/L | 29.9131 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.775 | 124278.8219 | 268922.2075 | 32.55 | 27.7
119897 | 2021-05-03 10:46 | 13.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8079 | μmol/L | 29.9253 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.788 | 124354.3135 | 268912.0132 | 32.55 | 27.7
119907 | 2021-05-03 10:46 | 14.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6123 | μmol/L | 29.9437 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.793 | 124426.2538 | 268907.9836 | 32.55 | 27.7
119917 | 2021-05-03 10:46 | 14.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1933 | μmol/L | 29.9499 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.815 | 124548.4563 | 268901.6703 | 32.55 | 27.7
119927 | 2021-05-03 10:47 | 14.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2306 | μmol/L | 29.9376 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.817 | 124552.0642 | 268881.7268 | 32.55 | 27.7
119937 | 2021-05-03 10:47 | 15.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1212 | μmol/L | 29.9621 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.815 | 124535.4959 | 268863.7952 | 32.55 | 27.7
119947 | 2021-05-03 10:47 | 15.3407 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0318 | μmol/L | 29.9744 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.816 | 124531.9575 | 268854.7293 | 32.55 | 27.7
119957 | 2021-05-03 10:48 | 15.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.981 | μmol/L | 29.9683 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.821 | 124549.3578 | 268848.0458 | 32.55 | 27.7
119967 | 2021-05-03 10:48 | 16.0069 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9424 | μmol/L | 29.9867 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.817 | 124511.573 | 268835.0988 | 32.55 | 27.7
119977 | 2021-05-03 10:48 | 16.3406 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.577 | μmol/L | 29.9928 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.836 | 124632.559 | 268816.2756 | 32.55 | 27.7
119987 | 2021-05-03 10:49 | 16.6734 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.2084 | μmol/L | 30.0174 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.849 | 124754.7655 | 268823.0042 | 32.55 | 27.7
119997 | 2021-05-03 10:49 | 17.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.1605 | μmol/L | 29.999 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.858 | 124802.9612 | 268789.1073 | 32.55 | 27.7
120007 | 2021-05-03 10:49 | 17.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8564 | μmol/L | 30.048 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.859 | 124788.8431 | 268785.5074 | 32.55 | 27.7
120017 | 2021-05-03 10:50 | 17.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8605 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.865 | 124806.5791 | 268775.9047 | 32.55 | 27.7
120027 | 2021-05-03 10:50 | 18.0067 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.215 | μmol/L | 29.9867 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.859 | 124775.2552 | 268766.566 | 32.55 | 27.7
120037 | 2021-05-03 10:50 | 18.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.871 | μmol/L | 30.0603 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.854 | 124732.7365 | 268765.2008 | 32.55 | 27.7
120047 | 2021-05-03 10:51 | 18.6735 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.9945 | μmol/L | 30.048 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.851 | 124702.0079 | 268756.6522 | 32.55 | 27.7
120057 | 2021-05-03 10:51 | 19.0072 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.8737 | μmol/L | 30.048 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.858 | 124757.149 | 268742.5218 | 32.55 | 27.7
120067 | 2021-05-03 10:51 | 19.3401 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.7026 | μmol/L | 30.0419 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.87 | 124851.0582 | 268728.0225 | 32.55 | 27.7
120077 | 2021-05-03 10:52 | 19.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.3317 | μmol/L | 30.0849 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.877 | 124902.2192 | 268725.9959 | 32.55 | 27.7
120087 | 2021-05-03 10:52 | 20.0066 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.1056 | μmol/L | 30.0971 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.886 | 124939.006 | 268716.7494 | 32.55 | 27.7
120097 | 2021-05-03 10:52 | 20.3405 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 193.2341 | μmol/L | 30.0603 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.891 | 124965.1928 | 268691.9594 | 32.55 | 27.7
120107 | 2021-05-03 10:53 | 20.6736 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.8497 | μmol/L | 30.091 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.903 | 125036.3277 | 268688.0798 | 32.55 | 27.7
120117 | 2021-05-03 10:53 | 21.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6242 | μmol/L | 30.1033 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.912 | 125092.5839 | 268682.4603 | 32.55 | 27.7
120127 | 2021-05-03 10:53 | 21.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.6613 | μmol/L | 30.091 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.914 | 125104.862 | 268661.2627 | 32.55 | 27.7
120137 | 2021-05-03 10:54 | 21.6733 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.7169 | μmol/L | 30.0726 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.917 | 125088.7871 | 268645.5717 | 32.55 | 27.7
120147 | 2021-05-03 10:54 | 22.0071 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.3165 | μmol/L | 30.1033 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.93 | 125207.7018 | 268656.8048 | 32.55 | 27.7
120157 | 2021-05-03 10:54 | 22.34 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.1687 | μmol/L | 30.0787 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.947 | 125306.8709 | 268646.1474 | 32.55 | 27.7
120167 | 2021-05-03 10:55 | 22.6737 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.8688 | μmol/L | 30.1217 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.95 | 125301.4545 | 268631.3006 | 32.55 | 27.7
120177 | 2021-05-03 10:55 | 23.0073 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 191.7778 | μmol/L | 30.1462 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.947 | 125285.8867 | 268617.2095 | 32.55 | 27.7
120187 | 2021-05-03 10:55 | 23.3403 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.0308 | μmol/L | 30.0849 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.953 | 125305.7997 | 268608.0106 | 32.55 | 27.7
120197 | 2021-05-03 10:56 | 23.6738 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 192.382 | μmol/L | 30.0419 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.947 | 125263.7255 | 268595.5059 | 32.55 | 27.7