## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH1 | O2 | 129211289 | PSt7-10 | 000000-000 | 0000-00 | 2021-04-19 09:39

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | 55.56 | 20 | °C | 22.25 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120198 | 2021-05-03 11:04 | 0 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.663 | μmol/L | 29.0754 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.157 | 134714.6433 | 270518.8629 | 33.25 | 75.7
120208 | 2021-05-03 11:05 | 0.32603 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 211.2607 | μmol/L | 29.0447 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.188 | 135021.4977 | 270519.6601 | 33.25 | 75.7
120218 | 2021-05-03 11:05 | 0.65913 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 210.2657 | μmol/L | 29.1123 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.218 | 135264.9424 | 270508.5542 | 33.25 | 75.7
120228 | 2021-05-03 11:05 | 0.99278 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.5229 | μmol/L | 29.1554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.243 | 135436.8278 | 270495.2997 | 33.25 | 75.7
120238 | 2021-05-03 11:06 | 1.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 209.0115 | μmol/L | 29.1554 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.27 | 135661.2808 | 270493.4928 | 33.25 | 75.7
120248 | 2021-05-03 11:06 | 1.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.7656 | μmol/L | 29.1615 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.281 | 135768.2222 | 270479.6676 | 33.25 | 75.7
120258 | 2021-05-03 11:06 | 1.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 208.1786 | μmol/L | 29.2169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.294 | 135855.282 | 270474.5241 | 33.25 | 75.7
120268 | 2021-05-03 11:07 | 2.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.8959 | μmol/L | 29.2292 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.305 | 135965.4868 | 270466.4719 | 33.25 | 75.7
120278 | 2021-05-03 11:07 | 2.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.8784 | μmol/L | 29.2046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.314 | 136023.7034 | 270456.4344 | 33.25 | 75.7
120288 | 2021-05-03 11:07 | 2.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.2932 | μmol/L | 29.2723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.323 | 136057.9254 | 270442.8065 | 33.25 | 75.7
120298 | 2021-05-03 11:08 | 3.3253 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.4073 | μmol/L | 29.2415 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.327 | 136126.7583 | 270435.6966 | 33.25 | 75.7
120308 | 2021-05-03 11:08 | 3.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 207.3328 | μmol/L | 29.2354 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.333 | 136163.4915 | 270430.2675 | 33.25 | 75.7
120318 | 2021-05-03 11:08 | 3.992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6549 | μmol/L | 29.3153 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.343 | 136214.738 | 270416.0695 | 33.25 | 75.7
120328 | 2021-05-03 11:09 | 4.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.8249 | μmol/L | 29.2846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.344 | 136243.5471 | 270397.535 | 33.25 | 75.7
120338 | 2021-05-03 11:09 | 4.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6942 | μmol/L | 29.2846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.351 | 136267.6253 | 270396.8279 | 33.25 | 75.7
120348 | 2021-05-03 11:09 | 4.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.6569 | μmol/L | 29.2846 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.353 | 136293.392 | 270375.7257 | 33.25 | 75.7
120358 | 2021-05-03 11:10 | 5.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3186 | μmol/L | 29.3276 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 136310.3886 | 270368.9617 | 33.25 | 75.7
120368 | 2021-05-03 11:10 | 5.6595 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.3571 | μmol/L | 29.3092 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.361 | 136331.2213 | 270353.1941 | 33.25 | 75.7
120378 | 2021-05-03 11:10 | 5.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9426 | μmol/L | 29.383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 136340.8189 | 270357.5495 | 33.25 | 75.7
120388 | 2021-05-03 11:11 | 6.3253 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.8868 | μmol/L | 29.383 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.362 | 136356.8934 | 270351.2288 | 33.25 | 75.7
120398 | 2021-05-03 11:11 | 6.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.9058 | μmol/L | 29.3769 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 136358.0025 | 270337.4678 | 33.25 | 75.7
120408 | 2021-05-03 11:11 | 6.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 206.0563 | μmol/L | 29.3523 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 136375.0878 | 270322.9557 | 33.25 | 75.7
120418 | 2021-05-03 11:12 | 7.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.7369 | μmol/L | 29.4015 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 136359.4514 | 270305.2534 | 33.25 | 75.7
120428 | 2021-05-03 11:12 | 7.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.6612 | μmol/L | 29.4199 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.362 | 136351.6196 | 270312.3059 | 33.25 | 75.7
120438 | 2021-05-03 11:12 | 7.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.4172 | μmol/L | 29.4568 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 136326.6442 | 270309.7957 | 33.25 | 75.7
120448 | 2021-05-03 11:13 | 8.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.3782 | μmol/L | 29.4814 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 136309.9762 | 270275.9848 | 33.25 | 75.7
120458 | 2021-05-03 11:13 | 8.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.2655 | μmol/L | 29.4999 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.357 | 136300.5512 | 270276.9878 | 33.25 | 75.7
120468 | 2021-05-03 11:13 | 8.992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9482 | μmol/L | 29.5307 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 136336.8507 | 270269.037 | 33.25 | 75.7
120478 | 2021-05-03 11:14 | 9.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.9863 | μmol/L | 29.5184 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.366 | 136361.1631 | 270252.6473 | 33.25 | 75.7
120488 | 2021-05-03 11:14 | 9.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0413 | μmol/L | 29.5245 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.361 | 136344.6213 | 270254.979 | 33.25 | 75.7
120498 | 2021-05-03 11:14 | 9.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 205.0032 | μmol/L | 29.5368 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.359 | 136315.9796 | 270239.6613 | 33.25 | 75.7
120508 | 2021-05-03 11:15 | 10.3253 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.6857 | μmol/L | 29.5737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 136327.2069 | 270234.4072 | 33.25 | 75.7
120518 | 2021-05-03 11:15 | 10.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.3681 | μmol/L | 29.6168 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.367 | 136388.4466 | 270222.9663 | 33.25 | 75.7
120528 | 2021-05-03 11:15 | 10.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 204.2212 | μmol/L | 29.6106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.377 | 136439.1306 | 270220.6105 | 33.25 | 75.7
120538 | 2021-05-03 11:16 | 11.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9232 | μmol/L | 29.6476 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 136473.8319 | 270202.7603 | 33.25 | 75.7
120548 | 2021-05-03 11:16 | 11.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9606 | μmol/L | 29.6414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 136476.3578 | 270200.5821 | 33.25 | 75.7
120558 | 2021-05-03 11:16 | 11.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.9214 | μmol/L | 29.666 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.375 | 136430.9873 | 270197.1727 | 33.25 | 75.7
120568 | 2021-05-03 11:17 | 12.3256 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7363 | μmol/L | 29.6783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 136450.9382 | 270181.5041 | 33.25 | 75.7
120578 | 2021-05-03 11:17 | 12.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.7173 | μmol/L | 29.6845 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.38 | 136458.581 | 270170.8569 | 33.25 | 75.7
120588 | 2021-05-03 11:17 | 12.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.5685 | μmol/L | 29.7029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.382 | 136458.4249 | 270165.9615 | 33.25 | 75.7
120598 | 2021-05-03 11:18 | 13.3259 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6977 | μmol/L | 29.6968 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.377 | 136440.601 | 270162.9496 | 33.25 | 75.7
120608 | 2021-05-03 11:18 | 13.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.6408 | μmol/L | 29.7152 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.374 | 136422.2612 | 270148.8801 | 33.25 | 75.7
120618 | 2021-05-03 11:18 | 13.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.397 | μmol/L | 29.7645 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.371 | 136400.2224 | 270137.3276 | 33.25 | 75.7
120628 | 2021-05-03 11:19 | 14.3254 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.2856 | μmol/L | 29.7768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.373 | 136393.0674 | 270125.7555 | 33.25 | 75.7
120638 | 2021-05-03 11:19 | 14.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3217 | μmol/L | 29.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.369 | 136386.3977 | 270131.085 | 33.25 | 75.7
120648 | 2021-05-03 11:19 | 14.992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.3217 | μmol/L | 29.7829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.369 | 136387.6531 | 270132.2654 | 33.25 | 75.7
120658 | 2021-05-03 11:20 | 15.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.118 | μmol/L | 29.8014 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.374 | 136411.7187 | 270117.5959 | 33.25 | 75.7
120668 | 2021-05-03 11:20 | 15.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.1187 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.376 | 136421.9236 | 270113.6403 | 33.25 | 75.7
120678 | 2021-05-03 11:20 | 15.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 203.082 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.378 | 136430.1763 | 270110.2276 | 33.25 | 75.7
120688 | 2021-05-03 11:21 | 16.3254 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9701 | μmol/L | 29.8137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.378 | 136421.9379 | 270090.8183 | 33.25 | 75.7
120698 | 2021-05-03 11:21 | 16.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.9525 | μmol/L | 29.8075 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.381 | 136466.4121 | 270106.6893 | 33.25 | 75.7
120708 | 2021-05-03 11:21 | 16.992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.7106 | μmol/L | 29.8445 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.382 | 136466.7249 | 270096.0898 | 33.25 | 75.7
120718 | 2021-05-03 11:22 | 17.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.6361 | μmol/L | 29.8568 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.382 | 136466.2937 | 270085.7145 | 33.25 | 75.7
120728 | 2021-05-03 11:22 | 17.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.5257 | μmol/L | 29.8629 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.386 | 136486.6854 | 270083.5833 | 33.25 | 75.7
120738 | 2021-05-03 11:22 | 17.9926 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.5257 | μmol/L | 29.8629 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.386 | 136501.1393 | 270060.9698 | 33.25 | 75.7
120748 | 2021-05-03 11:23 | 18.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 202.3038 | μmol/L | 29.8875 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.39 | 136521.5882 | 270058.2404 | 33.25 | 75.7
120758 | 2021-05-03 11:23 | 18.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.9706 | μmol/L | 29.9306 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.394 | 136531.7078 | 270058.4397 | 33.25 | 75.7
120768 | 2021-05-03 11:23 | 18.9923 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.8963 | μmol/L | 29.9429 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.394 | 136547.7161 | 270052.4823 | 33.25 | 75.7
120778 | 2021-05-03 11:24 | 19.3261 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.7863 | μmol/L | 29.9491 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.398 | 136573.975 | 270046.1906 | 33.25 | 75.7
120788 | 2021-05-03 11:24 | 19.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6037 | μmol/L | 29.9552 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.406 | 136614.0929 | 270043.4435 | 33.25 | 75.7
120798 | 2021-05-03 11:24 | 19.9927 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.587 | μmol/L | 29.9429 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.411 | 136652.4534 | 270044.9824 | 33.25 | 75.7
120808 | 2021-05-03 11:25 | 20.3257 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.6984 | μmol/L | 29.9244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.411 | 136679.5093 | 270041.6991 | 33.25 | 75.7
120818 | 2021-05-03 11:25 | 20.6593 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.4197 | μmol/L | 29.9737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.41 | 136687.4905 | 270025.8857 | 33.25 | 75.7
120828 | 2021-05-03 11:25 | 20.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.5507 | μmol/L | 29.9429 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.413 | 136704.0136 | 270022.6573 | 33.25 | 75.7
120838 | 2021-05-03 11:26 | 21.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 201.1634 | μmol/L | 29.9921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.418 | 136759.8163 | 270022.6537 | 33.25 | 75.7
120848 | 2021-05-03 11:26 | 21.6589 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8711 | μmol/L | 30.0106 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.428 | 136821.9161 | 270007.0274 | 33.25 | 75.7
120858 | 2021-05-03 11:26 | 21.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9476 | μmol/L | 29.9798 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.434 | 136848.8414 | 270003.9447 | 33.25 | 75.7
120868 | 2021-05-03 11:27 | 22.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.9846 | μmol/L | 29.9737 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.434 | 136875.2297 | 270002.4639 | 33.25 | 75.7
120878 | 2021-05-03 11:27 | 22.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8004 | μmol/L | 29.9983 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.436 | 136874.1161 | 269999.7837 | 33.25 | 75.7
120888 | 2021-05-03 11:27 | 22.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.8563 | μmol/L | 29.986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.437 | 136874.2607 | 270003.1045 | 33.25 | 75.7
120898 | 2021-05-03 11:28 | 23.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.7273 | μmol/L | 30.0044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.438 | 136899.0306 | 269994.5424 | 33.25 | 75.7
120908 | 2021-05-03 11:28 | 23.6587 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4152 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.443 | 136934.6718 | 269991.2093 | 33.25 | 75.7
120918 | 2021-05-03 11:28 | 23.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3061 | μmol/L | 30.0475 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.447 | 136942.2249 | 269984.6362 | 33.25 | 75.7
120928 | 2021-05-03 11:29 | 24.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.3438 | μmol/L | 30.0352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.449 | 136958.0502 | 269998.9797 | 33.25 | 75.7
120938 | 2021-05-03 11:29 | 24.6594 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4907 | μmol/L | 30.0167 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.447 | 136960.7666 | 269985.2263 | 33.25 | 75.7
120948 | 2021-05-03 11:29 | 24.9924 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.4743 | μmol/L | 30.0044 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.452 | 136974.2263 | 270002.374 | 33.25 | 75.7
120958 | 2021-05-03 11:30 | 25.3253 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2742 | μmol/L | 30.0167 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.459 | 137013.8344 | 270012.4492 | 33.25 | 75.7
120968 | 2021-05-03 11:30 | 25.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.2013 | μmol/L | 30.0229 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.461 | 137034.1326 | 270014.4306 | 33.25 | 75.7
120978 | 2021-05-03 11:30 | 25.9922 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.034 | μmol/L | 30.0598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.458 | 137051.0976 | 270015.9679 | 33.25 | 75.7
120988 | 2021-05-03 11:31 | 26.326 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 200.0726 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.462 | 137056.4393 | 270017.9026 | 33.25 | 75.7
120998 | 2021-05-03 11:31 | 26.6591 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.944 | μmol/L | 30.0598 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.463 | 137095.5679 | 270008.688 | 33.25 | 75.7
121008 | 2021-05-03 11:31 | 26.9928 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7426 | μmol/L | 30.0844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.466 | 137122.1876 | 270023.9598 | 33.25 | 75.7
121018 | 2021-05-03 11:32 | 27.3254 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.7255 | μmol/L | 30.0783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.469 | 137154.2535 | 270010.0202 | 33.25 | 75.7
121028 | 2021-05-03 11:32 | 27.659 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.9286 | μmol/L | 30.0414 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.47 | 137191.7635 | 270004.7064 | 33.25 | 75.7
121038 | 2021-05-03 11:32 | 27.992 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.6177 | μmol/L | 30.0783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.475 | 137223.1131 | 270011.972 | 33.25 | 75.7
121048 | 2021-05-03 11:33 | 28.3258 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.4176 | μmol/L | 30.0967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.48 | 137239.7018 | 269997.1532 | 33.25 | 75.7
121058 | 2021-05-03 11:33 | 28.6588 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2543 | μmol/L | 30.109 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.485 | 137259.0691 | 269985.8356 | 33.25 | 75.7
121068 | 2021-05-03 11:33 | 28.9925 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.2552 | μmol/L | 30.1029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.487 | 137278.3997 | 269993.6124 | 33.25 | 75.7
121078 | 2021-05-03 11:34 | 29.3255 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3655 | μmol/L | 30.0844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.487 | 137277.4738 | 269987.092 | 33.25 | 75.7
121088 | 2021-05-03 11:34 | 29.6592 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3476 | μmol/L | 30.0844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.488 | 137288.0959 | 269984.0133 | 33.25 | 75.7
121098 | 2021-05-03 11:34 | 29.9921 | OXY_CH1 (PSt7-10) | 2021-04-19 09:39 | default | 199.3835 | μmol/L | 30.0844 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.486 | 137282.609 | 269973.1544 | 33.25 | 75.7