## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120199 | 2021-05-03 11:04 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.6093 | μmol/L | 29.0548 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.75 | 118706.8554 | 293815.4077 | 59.9307 | 38.1
120209 | 2021-05-03 11:05 | 0.33468 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 200.1024 | μmol/L | 29.0977 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.764 | 118820.2471 | 293799.3619 | 59.9307 | 38.1
120219 | 2021-05-03 11:05 | 0.66847 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.7253 | μmol/L | 29.1038 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.783 | 118929.8678 | 293784.1819 | 59.9307 | 38.1
120229 | 2021-05-03 11:05 | 1.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.439 | μmol/L | 29.1038 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.799 | 119032.3136 | 293771.7313 | 59.9307 | 38.1
120239 | 2021-05-03 11:06 | 1.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.0081 | μmol/L | 29.1283 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.815 | 119140.6286 | 293783.0531 | 59.9307 | 38.1
120249 | 2021-05-03 11:06 | 1.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0449 | μmol/L | 29.1589 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.859 | 119401.1775 | 293760.934 | 59.9307 | 38.1
120259 | 2021-05-03 11:06 | 2.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4053 | μmol/L | 29.1834 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.887 | 119609.1375 | 293758.8413 | 59.9307 | 38.1
120269 | 2021-05-03 11:07 | 2.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.7688 | μmol/L | 29.2018 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 119812.507 | 293727.3731 | 59.9307 | 38.1
120279 | 2021-05-03 11:07 | 2.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.9412 | μmol/L | 29.2263 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.956 | 120047.1617 | 293713.569 | 59.9307 | 38.1
120289 | 2021-05-03 11:07 | 3.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1938 | μmol/L | 29.2753 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.982 | 120191.7387 | 293711.7064 | 59.9307 | 38.1
120299 | 2021-05-03 11:08 | 3.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0473 | μmol/L | 29.2569 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.997 | 120282.8808 | 293690.0185 | 59.9307 | 38.1
120309 | 2021-05-03 11:08 | 3.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7792 | μmol/L | 29.2508 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.014 | 120385.8502 | 293699.397 | 59.9307 | 38.1
120319 | 2021-05-03 11:08 | 4.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4195 | μmol/L | 29.2753 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.027 | 120493.5436 | 293679.0452 | 59.9307 | 38.1
120329 | 2021-05-03 11:09 | 4.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.4368 | μmol/L | 29.2753 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.026 | 120489.8501 | 293662.3949 | 59.9307 | 38.1
120339 | 2021-05-03 11:09 | 4.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1382 | μmol/L | 29.3059 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.033 | 120507.6259 | 293662.774 | 59.9307 | 38.1
120349 | 2021-05-03 11:09 | 5.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0319 | μmol/L | 29.3243 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.033 | 120530.1399 | 293650.1213 | 59.9307 | 38.1
120359 | 2021-05-03 11:10 | 5.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1704 | μmol/L | 29.3243 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.025 | 120485.0644 | 293632.3385 | 59.9307 | 38.1
120369 | 2021-05-03 11:10 | 5.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.789 | μmol/L | 29.3304 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.045 | 120607.828 | 293625.4059 | 59.9307 | 38.1
120379 | 2021-05-03 11:10 | 6.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4741 | μmol/L | 29.3611 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.053 | 120678.6047 | 293607.1916 | 59.9307 | 38.1
120389 | 2021-05-03 11:11 | 6.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0675 | μmol/L | 29.3795 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.07 | 120748.8327 | 293608.3026 | 59.9307 | 38.1
120399 | 2021-05-03 11:11 | 6.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0159 | μmol/L | 29.3795 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.073 | 120775.6787 | 293615.3587 | 59.9307 | 38.1
120409 | 2021-05-03 11:11 | 7.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.1045 | μmol/L | 29.3611 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.074 | 120772.687 | 293600.5724 | 59.9307 | 38.1
120419 | 2021-05-03 11:12 | 7.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2224 | μmol/L | 29.3795 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.061 | 120722.0664 | 293599.5391 | 59.9307 | 38.1
120429 | 2021-05-03 11:12 | 7.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2361 | μmol/L | 29.404 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.052 | 120649.9348 | 293587.7673 | 59.9307 | 38.1
120439 | 2021-05-03 11:12 | 8.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2507 | μmol/L | 29.4223 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.045 | 120617.3175 | 293579.1088 | 59.9307 | 38.1
120449 | 2021-05-03 11:13 | 8.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7998 | μmol/L | 29.4468 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.063 | 120715.3369 | 293546.5372 | 59.9307 | 38.1
120459 | 2021-05-03 11:13 | 8.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.9029 | μmol/L | 29.4468 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.057 | 120679.9948 | 293536.4564 | 59.9307 | 38.1
120469 | 2021-05-03 11:13 | 9.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7618 | μmol/L | 29.4713 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.057 | 120665.087 | 293522.3584 | 59.9307 | 38.1
120479 | 2021-05-03 11:14 | 9.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6931 | μmol/L | 29.4713 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.061 | 120670.9658 | 293515.1447 | 59.9307 | 38.1
120489 | 2021-05-03 11:14 | 9.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6759 | μmol/L | 29.4713 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.062 | 120685.9711 | 293509.5349 | 59.9307 | 38.1
120499 | 2021-05-03 11:14 | 10.0015 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.1551 | μmol/L | 29.5142 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.078 | 120755.4476 | 293500.0343 | 59.9307 | 38.1
120509 | 2021-05-03 11:15 | 10.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.9669 | μmol/L | 29.5142 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.089 | 120845.676 | 293487.6567 | 59.9307 | 38.1
120519 | 2021-05-03 11:15 | 10.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.965 | μmol/L | 29.5265 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.085 | 120815.5185 | 293483.9777 | 59.9307 | 38.1
120529 | 2021-05-03 11:15 | 11.0011 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.6015 | μmol/L | 29.5571 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.096 | 120872.3134 | 293479.6919 | 59.9307 | 38.1
120539 | 2021-05-03 11:16 | 11.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2937 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.112 | 120961.8613 | 293466.3205 | 59.9307 | 38.1
120549 | 2021-05-03 11:16 | 11.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1886 | μmol/L | 29.5816 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.112 | 120964.0326 | 293465.7964 | 59.9307 | 38.1
120559 | 2021-05-03 11:16 | 12.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3789 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.107 | 120933.2597 | 293453.3382 | 59.9307 | 38.1
120569 | 2021-05-03 11:17 | 12.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.2006 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.101 | 120903.8125 | 293452.3129 | 59.9307 | 38.1
120579 | 2021-05-03 11:17 | 12.6685 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.3018 | μmol/L | 29.6184 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.093 | 120899.6427 | 293441.3647 | 59.9307 | 38.1
120589 | 2021-05-03 11:17 | 13.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.1155 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.106 | 120918.9598 | 293425.8615 | 59.9307 | 38.1
120599 | 2021-05-03 11:18 | 13.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0454 | μmol/L | 29.6245 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.106 | 120943.2952 | 293427.2758 | 59.9307 | 38.1
120609 | 2021-05-03 11:18 | 13.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0424 | μmol/L | 29.6429 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.1 | 120902.0487 | 293408.6784 | 59.9307 | 38.1
120619 | 2021-05-03 11:18 | 14.0015 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 191.0053 | μmol/L | 29.6613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.096 | 120891.3263 | 293402.332 | 59.9307 | 38.1
120629 | 2021-05-03 11:19 | 14.3344 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.8333 | μmol/L | 29.6735 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.102 | 120934.2622 | 293398.7314 | 59.9307 | 38.1
120639 | 2021-05-03 11:19 | 14.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5236 | μmol/L | 29.698 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.112 | 120982.5906 | 293391.9091 | 59.9307 | 38.1
120649 | 2021-05-03 11:19 | 15.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.5436 | μmol/L | 29.6796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.117 | 121010.0913 | 293381.0332 | 59.9307 | 38.1
120659 | 2021-05-03 11:20 | 15.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.4727 | μmol/L | 29.698 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.115 | 121012.6807 | 293369.4497 | 59.9307 | 38.1
120669 | 2021-05-03 11:20 | 15.6682 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2641 | μmol/L | 29.7286 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.117 | 121007.3337 | 293376.9011 | 59.9307 | 38.1
120679 | 2021-05-03 11:20 | 16.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1741 | μmol/L | 29.7593 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.112 | 121000.5509 | 293377.7631 | 59.9307 | 38.1
120689 | 2021-05-03 11:21 | 16.3352 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.2429 | μmol/L | 29.7532 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.11 | 120975.9827 | 293353.8057 | 59.9307 | 38.1
120699 | 2021-05-03 11:21 | 16.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0365 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.116 | 121006.9867 | 293369.1597 | 59.9307 | 38.1
120709 | 2021-05-03 11:21 | 17.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.1582 | μmol/L | 29.7532 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.115 | 120988.6237 | 293343.8623 | 59.9307 | 38.1
120719 | 2021-05-03 11:22 | 17.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 190.0704 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.114 | 120995.5534 | 293342.3493 | 59.9307 | 38.1
120729 | 2021-05-03 11:22 | 17.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.8674 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.126 | 121046.319 | 293334.3087 | 59.9307 | 38.1
120739 | 2021-05-03 11:22 | 18.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.7122 | μmol/L | 29.7899 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.129 | 121064.662 | 293326.9587 | 59.9307 | 38.1
120749 | 2021-05-03 11:23 | 18.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.5603 | μmol/L | 29.7899 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.138 | 121102.7798 | 293331.3124 | 59.9307 | 38.1
120759 | 2021-05-03 11:23 | 18.6682 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 189.3356 | μmol/L | 29.8205 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.141 | 121146.5484 | 293320.5763 | 59.9307 | 38.1
120769 | 2021-05-03 11:23 | 19.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7651 | μmol/L | 29.8144 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.177 | 121358.5665 | 293311.4853 | 59.9307 | 38.1
120779 | 2021-05-03 11:24 | 19.3349 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.7338 | μmol/L | 29.8022 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.183 | 121387.013 | 293305.2701 | 59.9307 | 38.1
120789 | 2021-05-03 11:24 | 19.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5627 | μmol/L | 29.8205 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.187 | 121418.7724 | 293303.5721 | 59.9307 | 38.1
120799 | 2021-05-03 11:24 | 20.0016 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5997 | μmol/L | 29.8022 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.191 | 121447.5651 | 293296.5571 | 59.9307 | 38.1
120809 | 2021-05-03 11:25 | 20.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4455 | μmol/L | 29.8205 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.194 | 121469.2256 | 293300.7758 | 59.9307 | 38.1
120819 | 2021-05-03 11:25 | 20.6683 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.4778 | μmol/L | 29.8267 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.19 | 121448.3929 | 293297.0958 | 59.9307 | 38.1
120829 | 2021-05-03 11:25 | 21.0013 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.5662 | μmol/L | 29.8022 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.193 | 121452.9971 | 293287.2639 | 59.9307 | 38.1
120839 | 2021-05-03 11:26 | 21.335 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3225 | μmol/L | 29.8512 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.191 | 121436.6761 | 293282.4439 | 59.9307 | 38.1
120849 | 2021-05-03 11:26 | 21.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 188.3404 | μmol/L | 29.845 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.192 | 121443.7039 | 293282.8039 | 59.9307 | 38.1
120859 | 2021-05-03 11:26 | 22.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.919 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.211 | 121525.9709 | 293266.6825 | 59.9307 | 38.1
120869 | 2021-05-03 11:27 | 22.3345 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.919 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.211 | 121571.1016 | 293260.4959 | 59.9307 | 38.1
120879 | 2021-05-03 11:27 | 22.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9225 | μmol/L | 29.845 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.217 | 121572.6068 | 293254.2365 | 59.9307 | 38.1
120889 | 2021-05-03 11:27 | 23.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.9105 | μmol/L | 29.8205 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.226 | 121636.6224 | 293266.4329 | 59.9307 | 38.1
120899 | 2021-05-03 11:28 | 23.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.7521 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.221 | 121612.1132 | 293245.9468 | 59.9307 | 38.1
120909 | 2021-05-03 11:28 | 23.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.6176 | μmol/L | 29.8696 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.227 | 121649.1731 | 293250.4424 | 59.9307 | 38.1
120919 | 2021-05-03 11:28 | 24.001 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4166 | μmol/L | 29.8757 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.237 | 121694.5517 | 293260.5905 | 59.9307 | 38.1
120929 | 2021-05-03 11:29 | 24.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2325 | μmol/L | 29.8818 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.246 | 121730.9595 | 293261.2573 | 59.9307 | 38.1
120939 | 2021-05-03 11:29 | 24.668 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5046 | μmol/L | 29.8512 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.24 | 121703.6499 | 293269.6513 | 59.9307 | 38.1
120949 | 2021-05-03 11:29 | 25.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5249 | μmol/L | 29.8328 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.245 | 121714.4467 | 293265.293 | 59.9307 | 38.1
120959 | 2021-05-03 11:30 | 25.3348 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4 | μmol/L | 29.8757 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.238 | 121670.8197 | 293270.3058 | 59.9307 | 38.1
120969 | 2021-05-03 11:30 | 25.6678 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4308 | μmol/L | 29.8879 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.232 | 121624.3841 | 293266.6298 | 59.9307 | 38.1
120979 | 2021-05-03 11:30 | 26.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.5319 | μmol/L | 29.8818 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.228 | 121640.549 | 293282.248 | 59.9307 | 38.1
120989 | 2021-05-03 11:31 | 26.3346 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.2146 | μmol/L | 29.8879 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.245 | 121737.2176 | 293275.8965 | 59.9307 | 38.1
120999 | 2021-05-03 11:31 | 26.6684 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 187.4178 | μmol/L | 29.8696 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.239 | 121719.6124 | 293276.9426 | 59.9307 | 38.1
121009 | 2021-05-03 11:31 | 27.0012 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6722 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.286 | 122029.1974 | 293259.4475 | 59.9307 | 38.1
121019 | 2021-05-03 11:32 | 27.3349 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.4331 | μmol/L | 29.9002 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.288 | 122051.6643 | 293280.9886 | 59.9307 | 38.1
121029 | 2021-05-03 11:32 | 27.6679 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.2323 | μmol/L | 29.9124 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.296 | 122081.6228 | 293268.2653 | 59.9307 | 38.1
121039 | 2021-05-03 11:32 | 28.0018 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3022 | μmol/L | 29.8941 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.298 | 122084.3655 | 293271.0996 | 59.9307 | 38.1
121049 | 2021-05-03 11:33 | 28.3347 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.6035 | μmol/L | 29.8757 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.286 | 122041.5832 | 293267.6306 | 59.9307 | 38.1
121059 | 2021-05-03 11:33 | 28.6677 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.5564 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.293 | 122060.9582 | 293255.4982 | 59.9307 | 38.1
121069 | 2021-05-03 11:33 | 29.0014 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3873 | μmol/L | 29.8818 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.297 | 122082.6112 | 293262.0159 | 59.9307 | 38.1
121079 | 2021-05-03 11:34 | 29.3351 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.3199 | μmol/L | 29.8879 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.299 | 122099.5089 | 293229.7063 | 59.9307 | 38.1
121089 | 2021-05-03 11:34 | 29.6681 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.2018 | μmol/L | 29.9002 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.302 | 122097.3558 | 293241.6927 | 59.9307 | 38.1
121099 | 2021-05-03 11:34 | 30.0017 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 186.2018 | μmol/L | 29.9002 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 21.302 | 122100.9819 | 293232.209 | 59.9307 | 38.1