## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH4 | O2 | 184180963 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:08

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | 55.55 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120201 | 2021-05-03 11:04 | 0 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 204.684 | μmol/L | 29.002 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.581 | 86329.1239 | 290464.3276 | 28.7 | 67.6
120211 | 2021-05-03 11:05 | 0.33726 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.8367 | μmol/L | 29.0386 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.615 | 86506.6183 | 290463.1941 | 28.7 | 67.6
120221 | 2021-05-03 11:05 | 0.67025 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 203.0127 | μmol/L | 29.0508 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.656 | 86692.9738 | 290445.4169 | 28.7 | 67.6
120231 | 2021-05-03 11:05 | 1.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 202.1185 | μmol/L | 29.0935 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.691 | 86843.7599 | 290451.4182 | 28.7 | 67.6
120241 | 2021-05-03 11:06 | 1.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.7373 | μmol/L | 29.0996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.71 | 86950.9638 | 290454.5381 | 28.7 | 67.6
120251 | 2021-05-03 11:06 | 1.6703 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 201.4112 | μmol/L | 29.1057 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.726 | 87028.4704 | 290432.7124 | 28.7 | 67.6
120261 | 2021-05-03 11:06 | 2.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.9022 | μmol/L | 29.1606 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.736 | 87102.6716 | 290437.3919 | 28.7 | 67.6
120271 | 2021-05-03 11:07 | 2.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.6504 | μmol/L | 29.1545 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.752 | 87140.4317 | 290418.5006 | 28.7 | 67.6
120281 | 2021-05-03 11:07 | 2.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.4889 | μmol/L | 29.1484 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.763 | 87185.1507 | 290402.022 | 28.7 | 67.6
120291 | 2021-05-03 11:07 | 3.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.3806 | μmol/L | 29.1545 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.767 | 87231.5461 | 290390.8459 | 28.7 | 67.6
120301 | 2021-05-03 11:08 | 3.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0189 | μmol/L | 29.1911 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.775 | 87237.6433 | 290374.7701 | 28.7 | 67.6
120311 | 2021-05-03 11:08 | 3.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 200.0553 | μmol/L | 29.185 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.775 | 87250.3153 | 290365.5267 | 28.7 | 67.6
120321 | 2021-05-03 11:08 | 4.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.7115 | μmol/L | 29.2277 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.78 | 87286.5222 | 290364.8112 | 28.7 | 67.6
120331 | 2021-05-03 11:09 | 4.3365 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.8921 | μmol/L | 29.2094 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.776 | 87268.8701 | 290332.6636 | 28.7 | 67.6
120341 | 2021-05-03 11:09 | 4.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.4591 | μmol/L | 29.2521 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.786 | 87306.8969 | 290334.4086 | 28.7 | 67.6
120351 | 2021-05-03 11:09 | 5.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.4079 | μmol/L | 29.2216 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.799 | 87332.25 | 290317.9766 | 28.7 | 67.6
120361 | 2021-05-03 11:10 | 5.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 199.1356 | μmol/L | 29.2766 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.796 | 87351.7416 | 290319.7049 | 28.7 | 67.6
120371 | 2021-05-03 11:10 | 5.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7748 | μmol/L | 29.3254 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.8 | 87350.4561 | 290319.3073 | 28.7 | 67.6
120381 | 2021-05-03 11:10 | 6.0031 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.6863 | μmol/L | 29.3193 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.807 | 87367.3693 | 290297.6573 | 28.7 | 67.6
120391 | 2021-05-03 11:11 | 6.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.489 | μmol/L | 29.3376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.812 | 87372.5575 | 290281.0448 | 28.7 | 67.6
120401 | 2021-05-03 11:11 | 6.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.7198 | μmol/L | 29.3437 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.797 | 87342.0562 | 290285.8272 | 28.7 | 67.6
120411 | 2021-05-03 11:11 | 7.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2169 | μmol/L | 29.3986 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.807 | 87367.8789 | 290268.6065 | 28.7 | 67.6
120421 | 2021-05-03 11:12 | 7.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.3601 | μmol/L | 29.3864 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.803 | 87348.8933 | 290269.4874 | 28.7 | 67.6
120431 | 2021-05-03 11:12 | 7.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.0914 | μmol/L | 29.4108 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.81 | 87367.1686 | 290249.8959 | 28.7 | 67.6
120441 | 2021-05-03 11:12 | 8.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.108 | μmol/L | 29.423 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.805 | 87346.3558 | 290239.6396 | 28.7 | 67.6
120451 | 2021-05-03 11:13 | 8.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.2146 | μmol/L | 29.423 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.799 | 87307.1914 | 290235.8259 | 28.7 | 67.6
120461 | 2021-05-03 11:13 | 8.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1761 | μmol/L | 29.4535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 87282.8646 | 290215.0966 | 28.7 | 67.6
120471 | 2021-05-03 11:13 | 9.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.14 | μmol/L | 29.4596 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 87274.2092 | 290210.2428 | 28.7 | 67.6
120481 | 2021-05-03 11:14 | 9.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.7993 | μmol/L | 29.4962 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.798 | 87289.4941 | 290195.1727 | 28.7 | 67.6
120491 | 2021-05-03 11:14 | 9.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.9962 | μmol/L | 29.4779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.793 | 87285.4576 | 290179.1272 | 28.7 | 67.6
120501 | 2021-05-03 11:14 | 10.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 198.1738 | μmol/L | 29.4779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.783 | 87249.6041 | 290163.3582 | 28.7 | 67.6
120511 | 2021-05-03 11:15 | 10.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6691 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.785 | 87253.4084 | 290169.5887 | 28.7 | 67.6
120521 | 2021-05-03 11:15 | 10.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.4907 | μmol/L | 29.5694 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 87253.1158 | 290155.8513 | 28.7 | 67.6
120531 | 2021-05-03 11:15 | 11.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.6545 | μmol/L | 29.5267 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.796 | 87288.1102 | 290150.3423 | 28.7 | 67.6
120541 | 2021-05-03 11:16 | 11.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.3637 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.788 | 87265.826 | 290146.6041 | 28.7 | 67.6
120551 | 2021-05-03 11:16 | 11.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1338 | μmol/L | 29.6 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.801 | 87286.8071 | 290140.3927 | 28.7 | 67.6
120561 | 2021-05-03 11:16 | 12.0038 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.884 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.807 | 87313.9804 | 290115.0026 | 28.7 | 67.6
120571 | 2021-05-03 11:17 | 12.337 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.1135 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.794 | 87269.9111 | 290099.5637 | 28.7 | 67.6
120581 | 2021-05-03 11:17 | 12.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.0782 | μmol/L | 29.6244 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.796 | 87274.9481 | 290108.9662 | 28.7 | 67.6
120591 | 2021-05-03 11:17 | 13.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 197.2543 | μmol/L | 29.6305 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.784 | 87222.8143 | 290090.0968 | 28.7 | 67.6
120601 | 2021-05-03 11:18 | 13.3373 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.9343 | μmol/L | 29.6488 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.796 | 87271.1414 | 290096.5062 | 28.7 | 67.6
120611 | 2021-05-03 11:18 | 13.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7354 | μmol/L | 29.6915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.793 | 87263.7151 | 290067.7734 | 28.7 | 67.6
120621 | 2021-05-03 11:18 | 14.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.9105 | μmol/L | 29.7037 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.779 | 87223.759 | 290072.5941 | 28.7 | 67.6
120631 | 2021-05-03 11:19 | 14.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.8053 | μmol/L | 29.6976 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.787 | 87241.5305 | 290058.536 | 28.7 | 67.6
120641 | 2021-05-03 11:19 | 14.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.641 | μmol/L | 29.7464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.78 | 87215.5757 | 290048.6532 | 28.7 | 67.6
120651 | 2021-05-03 11:19 | 15.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.6219 | μmol/L | 29.7586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.777 | 87184.5954 | 290040.6988 | 28.7 | 67.6
120661 | 2021-05-03 11:20 | 15.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7637 | μmol/L | 29.7525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.771 | 87168.9293 | 290042.4611 | 28.7 | 67.6
120671 | 2021-05-03 11:20 | 15.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4626 | μmol/L | 29.7647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.784 | 87219.415 | 290011.5874 | 28.7 | 67.6
120681 | 2021-05-03 11:20 | 16.0032 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.7115 | μmol/L | 29.7464 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.776 | 87195.6738 | 290021.2239 | 28.7 | 67.6
120691 | 2021-05-03 11:21 | 16.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.3753 | μmol/L | 29.7586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 87227.4947 | 290009.76 | 28.7 | 67.6
120701 | 2021-05-03 11:21 | 16.67 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9818 | μmol/L | 29.8136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.795 | 87247.64 | 290003.6591 | 28.7 | 67.6
120711 | 2021-05-03 11:21 | 17.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.4414 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.775 | 87168.3657 | 290001.0346 | 28.7 | 67.6
120721 | 2021-05-03 11:22 | 17.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.2111 | μmol/L | 29.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.784 | 87205.8713 | 290001.4531 | 28.7 | 67.6
120731 | 2021-05-03 11:22 | 17.6706 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.9444 | μmol/L | 29.8319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.791 | 87229.8735 | 289998.4534 | 28.7 | 67.6
120741 | 2021-05-03 11:22 | 18.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6636 | μmol/L | 29.8319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.807 | 87290.3235 | 289980.6971 | 28.7 | 67.6
120751 | 2021-05-03 11:23 | 18.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8925 | μmol/L | 29.8258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.796 | 87240.1745 | 289974.851 | 28.7 | 67.6
120761 | 2021-05-03 11:23 | 18.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.0872 | μmol/L | 29.8136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.789 | 87220.7507 | 289976.302 | 28.7 | 67.6
120771 | 2021-05-03 11:23 | 19.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.1744 | μmol/L | 29.8197 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.782 | 87190.2244 | 289965.7019 | 28.7 | 67.6
120781 | 2021-05-03 11:24 | 19.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.39 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.782 | 87199.007 | 289958.0817 | 28.7 | 67.6
120791 | 2021-05-03 11:24 | 19.6699 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8704 | μmol/L | 29.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.785 | 87164.6181 | 289961.3195 | 28.7 | 67.6
120801 | 2021-05-03 11:24 | 20.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8505 | μmol/L | 29.8807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.78 | 87181.7977 | 289941.8171 | 28.7 | 67.6
120811 | 2021-05-03 11:25 | 20.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5363 | μmol/L | 29.8685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.802 | 87246.8579 | 289958.5795 | 28.7 | 67.6
120821 | 2021-05-03 11:25 | 20.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6347 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.825 | 87332.5955 | 289947.6489 | 28.7 | 67.6
120831 | 2021-05-03 11:25 | 21.0035 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.5791 | μmol/L | 29.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.82 | 87324.6209 | 289947.155 | 28.7 | 67.6
120841 | 2021-05-03 11:26 | 21.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.6095 | μmol/L | 29.8441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.806 | 87269.258 | 289932.8147 | 28.7 | 67.6
120851 | 2021-05-03 11:26 | 21.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 196.159 | μmol/L | 29.8013 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.789 | 87217.5538 | 289922.307 | 28.7 | 67.6
120861 | 2021-05-03 11:26 | 22.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.8055 | μmol/L | 29.8197 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.803 | 87250.6941 | 289913.1897 | 28.7 | 67.6
120871 | 2021-05-03 11:27 | 22.3371 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2951 | μmol/L | 29.838 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.826 | 87336.5112 | 289914.1745 | 28.7 | 67.6
120881 | 2021-05-03 11:27 | 22.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2085 | μmol/L | 29.8319 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.833 | 87358.2043 | 289926.2392 | 28.7 | 67.6
120891 | 2021-05-03 11:27 | 23.004 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.0488 | μmol/L | 29.8502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.836 | 87385.4896 | 289920.9812 | 28.7 | 67.6
120901 | 2021-05-03 11:28 | 23.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.2147 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.849 | 87434.2885 | 289911.281 | 28.7 | 67.6
120911 | 2021-05-03 11:28 | 23.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.8949 | μmol/L | 29.8258 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.853 | 87449.4079 | 289896.8418 | 28.7 | 67.6
120921 | 2021-05-03 11:28 | 24.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.578 | μmol/L | 29.8502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.863 | 87479.9989 | 289899.6882 | 28.7 | 67.6
120931 | 2021-05-03 11:29 | 24.3369 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3327 | μmol/L | 29.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.873 | 87508.3867 | 289911.5346 | 28.7 | 67.6
120941 | 2021-05-03 11:29 | 24.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.578 | μmol/L | 29.8502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.863 | 87483.3772 | 289915.1783 | 28.7 | 67.6
120951 | 2021-05-03 11:29 | 25.0037 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6318 | μmol/L | 29.838 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.864 | 87495.1058 | 289925.301 | 28.7 | 67.6
120961 | 2021-05-03 11:30 | 25.3367 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.5663 | μmol/L | 29.8074 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.878 | 87544.8253 | 289949.1901 | 28.7 | 67.6
120971 | 2021-05-03 11:30 | 25.6698 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2127 | μmol/L | 29.8502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.884 | 87568.2675 | 289960.5308 | 28.7 | 67.6
120981 | 2021-05-03 11:30 | 26.0036 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 195.1996 | μmol/L | 29.7647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.856 | 87493.9018 | 289958.0088 | 28.7 | 67.6
120991 | 2021-05-03 11:31 | 26.3366 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.461 | μmol/L | 29.8136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.882 | 87574.5137 | 289956.2429 | 28.7 | 67.6
121001 | 2021-05-03 11:31 | 26.6704 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.9308 | μmol/L | 29.8807 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.89 | 87638.7286 | 289964.4851 | 28.7 | 67.6
121011 | 2021-05-03 11:31 | 27.0039 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8259 | μmol/L | 29.8868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.894 | 87652.9607 | 289964.195 | 28.7 | 67.6
121021 | 2021-05-03 11:32 | 27.3368 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.6067 | μmol/L | 29.7647 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.89 | 87655.803 | 289959.8712 | 28.7 | 67.6
121031 | 2021-05-03 11:32 | 27.6705 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 193.8085 | μmol/L | 29.8868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.895 | 87656.2248 | 289952.7344 | 28.7 | 67.6
121041 | 2021-05-03 11:32 | 28.0034 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1656 | μmol/L | 29.8136 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.899 | 87668.9204 | 289936.9976 | 28.7 | 67.6
121051 | 2021-05-03 11:33 | 28.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2343 | μmol/L | 29.8197 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.893 | 87668.6748 | 289923.7503 | 28.7 | 67.6
121061 | 2021-05-03 11:33 | 28.6701 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.2549 | μmol/L | 29.7952 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.9 | 87684.4995 | 289923.0083 | 28.7 | 67.6
121071 | 2021-05-03 11:33 | 29.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.0044 | μmol/L | 29.8502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.896 | 87670.4437 | 289906.0892 | 28.7 | 67.6
121081 | 2021-05-03 11:34 | 29.3372 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.3327 | μmol/L | 29.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.873 | 87589.973 | 289901.3098 | 28.7 | 67.6
121091 | 2021-05-03 11:34 | 29.6702 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.211 | μmol/L | 29.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.88 | 87614.6003 | 289901.9356 | 28.7 | 67.6
121101 | 2021-05-03 11:34 | 30.0033 | OXY_CH4 (PSt7-10) | 2021-02-16 12:08 | default | 194.1589 | μmol/L | 29.8624 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.883 | 87618.1297 | 289900.2694 | 28.7 | 67.6