## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH5 | O2 | 46829 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:10

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | 55.57 | 20 | °C | 22.74 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120202 | 2021-05-03 11:04 | 0 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 223.3698 | μmol/L | 28.9573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.235 | 115669.3855 | 267559.1458 | 36.4 | 83.1
120212 | 2021-05-03 11:05 | 0.32689 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 222.6304 | μmol/L | 28.9573 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.272 | 115885.181 | 267552.9069 | 36.4 | 83.1
120222 | 2021-05-03 11:05 | 0.66067 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.986 | μmol/L | 28.988 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.294 | 116036.0583 | 267534.7427 | 36.4 | 83.1
120232 | 2021-05-03 11:05 | 0.99424 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.6714 | μmol/L | 28.9758 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.314 | 116153.2484 | 267518.5602 | 36.4 | 83.1
120242 | 2021-05-03 11:06 | 1.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 221.3087 | μmol/L | 29.0003 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.324 | 116237.1872 | 267522.0363 | 36.4 | 83.1
120252 | 2021-05-03 11:06 | 1.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.7066 | μmol/L | 29.0372 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.342 | 116307.6489 | 267502.0308 | 36.4 | 83.1
120262 | 2021-05-03 11:06 | 1.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.1802 | μmol/L | 29.0925 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.35 | 116362.7571 | 267495.192 | 36.4 | 83.1
120272 | 2021-05-03 11:07 | 2.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 220.2456 | μmol/L | 29.0679 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.355 | 116404.2014 | 267487.8858 | 36.4 | 83.1
120282 | 2021-05-03 11:07 | 2.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.9655 | μmol/L | 29.0863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.363 | 116411.4793 | 267483.4913 | 36.4 | 83.1
120292 | 2021-05-03 11:07 | 2.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.8083 | μmol/L | 29.0863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.371 | 116390.9369 | 267465.466 | 36.4 | 83.1
120302 | 2021-05-03 11:08 | 3.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 219.1779 | μmol/L | 29.1723 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.374 | 116376.3637 | 267460.2739 | 36.4 | 83.1
120312 | 2021-05-03 11:08 | 3.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.974 | μmol/L | 29.2031 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.374 | 116356.9066 | 267437.8044 | 36.4 | 83.1
120322 | 2021-05-03 11:08 | 3.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8909 | μmol/L | 29.2215 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.372 | 116327.6269 | 267428.4828 | 36.4 | 83.1
120332 | 2021-05-03 11:09 | 4.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.6888 | μmol/L | 29.2461 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.374 | 116294.4348 | 267432.1837 | 36.4 | 83.1
120342 | 2021-05-03 11:09 | 4.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.8435 | μmol/L | 29.2522 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.364 | 116219.0724 | 267414.9601 | 36.4 | 83.1
120352 | 2021-05-03 11:09 | 4.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 218.5454 | μmol/L | 29.2706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.373 | 116253.246 | 267413.9504 | 36.4 | 83.1
120362 | 2021-05-03 11:10 | 5.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.9907 | μmol/L | 29.2706 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.453 | 116723.7394 | 267408.6751 | 36.4 | 83.1
120372 | 2021-05-03 11:10 | 5.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 217.0768 | μmol/L | 29.2399 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.459 | 116738.8478 | 267392.6467 | 36.4 | 83.1
120382 | 2021-05-03 11:10 | 5.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.434 | μmol/L | 29.3259 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.463 | 116712.1212 | 267386.7096 | 36.4 | 83.1
120392 | 2021-05-03 11:11 | 6.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3218 | μmol/L | 29.3137 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.473 | 116724.1495 | 267377.0881 | 36.4 | 83.1
120402 | 2021-05-03 11:11 | 6.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.4129 | μmol/L | 29.3321 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.462 | 116634.7734 | 267362.6681 | 36.4 | 83.1
120412 | 2021-05-03 11:11 | 6.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.5691 | μmol/L | 29.3259 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.456 | 116565.3514 | 267345.5321 | 36.4 | 83.1
120422 | 2021-05-03 11:12 | 7.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.2162 | μmol/L | 29.412 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.445 | 116484.6377 | 267338.9138 | 36.4 | 83.1
120432 | 2021-05-03 11:12 | 7.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3705 | μmol/L | 29.412 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.437 | 116438.1912 | 267343.3269 | 36.4 | 83.1
120442 | 2021-05-03 11:12 | 7.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.604 | μmol/L | 29.4058 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.427 | 116367.6197 | 267341.9419 | 36.4 | 83.1
120452 | 2021-05-03 11:13 | 8.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.7921 | μmol/L | 29.3567 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.434 | 116425.2339 | 267317.8275 | 36.4 | 83.1
120462 | 2021-05-03 11:13 | 8.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3916 | μmol/L | 29.4058 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.438 | 116416.058 | 267313.2538 | 36.4 | 83.1
120472 | 2021-05-03 11:13 | 8.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3687 | μmol/L | 29.4181 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.435 | 116381.4293 | 267294.1332 | 36.4 | 83.1
120482 | 2021-05-03 11:14 | 9.3276 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.3651 | μmol/L | 29.4304 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.431 | 116367.2388 | 267284.0265 | 36.4 | 83.1
120492 | 2021-05-03 11:14 | 9.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.9174 | μmol/L | 29.5103 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.427 | 116328.6123 | 267291.8474 | 36.4 | 83.1
120502 | 2021-05-03 11:14 | 9.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 216.0632 | μmol/L | 29.4734 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.432 | 116361.7733 | 267280.1299 | 36.4 | 83.1
120512 | 2021-05-03 11:15 | 10.3275 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.8615 | μmol/L | 29.5041 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.432 | 116359.182 | 267286.5779 | 36.4 | 83.1
120522 | 2021-05-03 11:15 | 10.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8002 | μmol/L | 29.5226 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.481 | 116666.6516 | 267264.7944 | 36.4 | 83.1
120532 | 2021-05-03 11:15 | 10.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1947 | μmol/L | 29.5656 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.498 | 116732.7034 | 267264.0594 | 36.4 | 83.1
120542 | 2021-05-03 11:16 | 11.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1146 | μmol/L | 29.5779 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.498 | 116721.3538 | 267246.4271 | 36.4 | 83.1
120552 | 2021-05-03 11:16 | 11.6601 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.0707 | μmol/L | 29.5963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.494 | 116682.7908 | 267247.3333 | 36.4 | 83.1
120562 | 2021-05-03 11:16 | 11.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.897 | μmol/L | 29.6639 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.48 | 116615.45 | 267243.6693 | 36.4 | 83.1
120572 | 2021-05-03 11:17 | 12.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.0648 | μmol/L | 29.6762 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.467 | 116519.1407 | 267231.0126 | 36.4 | 83.1
120582 | 2021-05-03 11:17 | 12.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.2537 | μmol/L | 29.6823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.455 | 116450.8244 | 267228.8159 | 36.4 | 83.1
120592 | 2021-05-03 11:17 | 12.9934 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3435 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.444 | 116359.2855 | 267201.9243 | 36.4 | 83.1
120602 | 2021-05-03 11:18 | 13.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3568 | μmol/L | 29.7192 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.437 | 116276.5677 | 267191.3202 | 36.4 | 83.1
120612 | 2021-05-03 11:18 | 13.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7454 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.423 | 116200.6286 | 267194.2875 | 36.4 | 83.1
120622 | 2021-05-03 11:18 | 13.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8623 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.419 | 116153.4203 | 267175.4361 | 36.4 | 83.1
120632 | 2021-05-03 11:19 | 14.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3395 | μmol/L | 29.7745 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.419 | 116139.7938 | 267171.5257 | 36.4 | 83.1
120642 | 2021-05-03 11:19 | 14.6606 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.5922 | μmol/L | 29.7622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.41 | 116096.7263 | 267153.0921 | 36.4 | 83.1
120652 | 2021-05-03 11:19 | 14.9943 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.8106 | μmol/L | 29.7376 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.407 | 116058.2216 | 267162.0537 | 36.4 | 83.1
120662 | 2021-05-03 11:20 | 15.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.642 | μmol/L | 29.7868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.399 | 116007.2349 | 267159.5678 | 36.4 | 83.1
120672 | 2021-05-03 11:20 | 15.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7647 | μmol/L | 29.7622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.401 | 115992.0772 | 267157.7771 | 36.4 | 83.1
120682 | 2021-05-03 11:20 | 15.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7876 | μmol/L | 29.7499 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.404 | 115985.5626 | 267161.6938 | 36.4 | 83.1
120692 | 2021-05-03 11:21 | 16.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.7455 | μmol/L | 29.7622 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.402 | 115964.613 | 267140.0383 | 36.4 | 83.1
120702 | 2021-05-03 11:21 | 16.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 215.158 | μmol/L | 29.7315 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.391 | 115902.4268 | 267134.9194 | 36.4 | 83.1
120712 | 2021-05-03 11:21 | 16.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.3949 | μmol/L | 29.7806 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.414 | 116017.3949 | 267115.7853 | 36.4 | 83.1
120722 | 2021-05-03 11:22 | 17.3268 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 214.1253 | μmol/L | 29.7868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.426 | 116070.2192 | 267127.9207 | 36.4 | 83.1
120732 | 2021-05-03 11:22 | 17.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.862 | μmol/L | 29.7745 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.444 | 116165.643 | 267123.3592 | 36.4 | 83.1
120742 | 2021-05-03 11:22 | 17.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.6826 | μmol/L | 29.7991 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.445 | 116160.2486 | 267106.849 | 36.4 | 83.1
120752 | 2021-05-03 11:23 | 18.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1039 | μmol/L | 29.8236 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.467 | 116264.7269 | 267096.4846 | 36.4 | 83.1
120762 | 2021-05-03 11:23 | 18.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0409 | μmol/L | 29.8421 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.464 | 116255.4492 | 267082.6873 | 36.4 | 83.1
120772 | 2021-05-03 11:23 | 18.9942 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.0159 | μmol/L | 29.8605 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.459 | 116201.5385 | 267081.6996 | 36.4 | 83.1
120782 | 2021-05-03 11:24 | 19.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 213.1169 | μmol/L | 29.8421 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.46 | 116178.3558 | 267066.6137 | 36.4 | 83.1
120792 | 2021-05-03 11:24 | 19.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.923 | μmol/L | 29.8544 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.466 | 116224.238 | 267074.7953 | 36.4 | 83.1
120802 | 2021-05-03 11:24 | 19.9936 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.8681 | μmol/L | 29.8482 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.471 | 116260.6005 | 267070.8419 | 36.4 | 83.1
120812 | 2021-05-03 11:25 | 20.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6264 | μmol/L | 29.8912 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.469 | 116225.2974 | 267065.7 | 36.4 | 83.1
120822 | 2021-05-03 11:25 | 20.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6623 | μmol/L | 29.8974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.465 | 116191.551 | 267075.1489 | 36.4 | 83.1
120832 | 2021-05-03 11:25 | 20.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4836 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.466 | 116173.9785 | 267071.2447 | 36.4 | 83.1
120842 | 2021-05-03 11:26 | 21.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.4836 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.466 | 116147.4939 | 267061.6357 | 36.4 | 83.1
120852 | 2021-05-03 11:26 | 21.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3951 | μmol/L | 29.9035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.477 | 116224.8531 | 267058.5584 | 36.4 | 83.1
120862 | 2021-05-03 11:26 | 21.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3951 | μmol/L | 29.9035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.477 | 116187.1676 | 267044.1299 | 36.4 | 83.1
120872 | 2021-05-03 11:27 | 22.3274 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.3971 | μmol/L | 29.8974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.479 | 116205.0817 | 267048.093 | 36.4 | 83.1
120882 | 2021-05-03 11:27 | 22.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 212.6325 | μmol/L | 29.8728 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.475 | 116189.9636 | 267041.0134 | 36.4 | 83.1
120892 | 2021-05-03 11:27 | 22.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8955 | μmol/L | 29.9281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.495 | 116323.9153 | 267040.7403 | 36.4 | 83.1
120902 | 2021-05-03 11:28 | 23.327 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.5896 | μmol/L | 29.9404 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.507 | 116369.724 | 267043.0431 | 36.4 | 83.1
120912 | 2021-05-03 11:28 | 23.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.6482 | μmol/L | 29.9343 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.506 | 116362.6187 | 267040.6708 | 36.4 | 83.1
120922 | 2021-05-03 11:28 | 23.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7069 | μmol/L | 29.9281 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.505 | 116351.5676 | 267050.7575 | 36.4 | 83.1
120932 | 2021-05-03 11:29 | 24.3273 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.7299 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.508 | 116343.5604 | 267048.3699 | 36.4 | 83.1
120942 | 2021-05-03 11:29 | 24.6603 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8996 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.499 | 116307.4514 | 267057.4588 | 36.4 | 83.1
120952 | 2021-05-03 11:29 | 24.9941 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.8053 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.504 | 116327.3467 | 267045.2394 | 36.4 | 83.1
120962 | 2021-05-03 11:30 | 25.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.843 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.502 | 116286.6831 | 267062.2259 | 36.4 | 83.1
120972 | 2021-05-03 11:30 | 25.6602 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.9058 | μmol/L | 29.8974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.505 | 116335.6396 | 267065.9231 | 36.4 | 83.1
120982 | 2021-05-03 11:30 | 25.994 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 211.0505 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.542 | 116586.7772 | 267067.8989 | 36.4 | 83.1
120992 | 2021-05-03 11:31 | 26.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8066 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.555 | 116637.0469 | 267074.5216 | 36.4 | 83.1
121002 | 2021-05-03 11:31 | 26.6608 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.8463 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.555 | 116671.4623 | 267079.5696 | 36.4 | 83.1
121012 | 2021-05-03 11:31 | 26.9938 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6525 | μmol/L | 29.9343 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.559 | 116678.9504 | 267073.1554 | 36.4 | 83.1
121022 | 2021-05-03 11:32 | 27.3269 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.7129 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.56 | 116686.6059 | 267075.1806 | 36.4 | 83.1
121032 | 2021-05-03 11:32 | 27.6605 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5921 | μmol/L | 29.9465 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.558 | 116674.9676 | 267056.3864 | 36.4 | 83.1
121042 | 2021-05-03 11:32 | 27.9935 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6482 | μmol/L | 29.9465 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.555 | 116641.4514 | 267052.3051 | 36.4 | 83.1
121052 | 2021-05-03 11:33 | 28.3272 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6878 | μmol/L | 29.9404 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.555 | 116613.7948 | 267050.3615 | 36.4 | 83.1
121062 | 2021-05-03 11:33 | 28.6609 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6776 | μmol/L | 29.9158 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.564 | 116653.2495 | 267042.5272 | 36.4 | 83.1
121072 | 2021-05-03 11:33 | 28.9939 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.6257 | μmol/L | 29.9035 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.571 | 116701.8105 | 267031.3176 | 36.4 | 83.1
121082 | 2021-05-03 11:34 | 29.3271 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5819 | μmol/L | 29.922 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.567 | 116694.7011 | 267028.367 | 36.4 | 83.1
121092 | 2021-05-03 11:34 | 29.6607 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.5674 | μmol/L | 29.9097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.572 | 116694.2081 | 267023.8862 | 36.4 | 83.1
121102 | 2021-05-03 11:34 | 29.9937 | OXY_CH5 (PSt7-10) | 2021-02-16 12:10 | default | 210.4925 | μmol/L | 29.9097 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.576 | 116714.5389 | 267019.8632 | 36.4 | 83.1