## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH6 | O2 | 135500067 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:12

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | 55.63 | 20 | °C | 22.17 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120203 | 2021-05-03 11:04 | 0 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 199.4479 | μmol/L | 28.9161 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.901 | 94209.6932 | 293553.0392 | 30.45 | 114.2
120213 | 2021-05-03 11:05 | 0.33744 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.9216 | μmol/L | 28.9962 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.904 | 94371.5483 | 293549.1775 | 30.45 | 114.2
120223 | 2021-05-03 11:05 | 0.67117 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.3659 | μmol/L | 29.0393 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.921 | 94402.0681 | 293529.4043 | 30.45 | 114.2
120233 | 2021-05-03 11:05 | 1.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.1755 | μmol/L | 29.0085 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.942 | 94477.3836 | 293527.7171 | 30.45 | 114.2
120243 | 2021-05-03 11:06 | 1.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 198.0173 | μmol/L | 29.0024 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.953 | 94526.5624 | 293518.7309 | 30.45 | 114.2
120253 | 2021-05-03 11:06 | 1.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.7323 | μmol/L | 29.0209 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.963 | 94595.0343 | 293523.4864 | 30.45 | 114.2
120263 | 2021-05-03 11:06 | 2.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.4107 | μmol/L | 29.0517 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.971 | 94641.7283 | 293503.3781 | 30.45 | 114.2
120273 | 2021-05-03 11:07 | 2.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.3615 | μmol/L | 29.027 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.982 | 94672.2776 | 293479.4813 | 30.45 | 114.2
120283 | 2021-05-03 11:07 | 2.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.2357 | μmol/L | 29.0455 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.983 | 94683.5015 | 293483.5641 | 30.45 | 114.2
120293 | 2021-05-03 11:07 | 3.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 197.0905 | μmol/L | 29.0763 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.981 | 94685.0707 | 293463.8802 | 30.45 | 114.2
120303 | 2021-05-03 11:08 | 3.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.7634 | μmol/L | 29.1503 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.975 | 94688.0171 | 293451.1519 | 30.45 | 114.2
120313 | 2021-05-03 11:08 | 3.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.6942 | μmol/L | 29.1441 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.981 | 94715.9508 | 293441.5579 | 30.45 | 114.2
120323 | 2021-05-03 11:08 | 4.0039 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.4422 | μmol/L | 29.1872 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.981 | 94718.0683 | 293433.1302 | 30.45 | 114.2
120333 | 2021-05-03 11:09 | 4.3377 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.3012 | μmol/L | 29.1934 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.987 | 94723.7541 | 293411.2337 | 30.45 | 114.2
120343 | 2021-05-03 11:09 | 4.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 196.2339 | μmol/L | 29.2365 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.976 | 94720.532 | 293405.1835 | 30.45 | 114.2
120353 | 2021-05-03 11:09 | 5.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7386 | μmol/L | 29.3228 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.976 | 94710.819 | 293394.7975 | 30.45 | 114.2
120363 | 2021-05-03 11:10 | 5.3374 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.6853 | μmol/L | 29.329 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.977 | 94715.1842 | 293381.8223 | 30.45 | 114.2
120373 | 2021-05-03 11:10 | 5.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.7605 | μmol/L | 29.3536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.964 | 94705.2037 | 293382.1629 | 30.45 | 114.2
120383 | 2021-05-03 11:10 | 6.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2076 | μmol/L | 29.3721 | °C | 1022 | hPa | Humid | 28 | 0 | 0 | 20.99 | 94787.1056 | 293354.9608 | 30.45 | 114.2
120393 | 2021-05-03 11:11 | 6.3372 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.3246 | μmol/L | 29.3536 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.989 | 94785.6341 | 293344.2277 | 30.45 | 114.2
120403 | 2021-05-03 11:11 | 6.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 195.2487 | μmol/L | 29.3906 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.981 | 94771.0436 | 293338.4286 | 30.45 | 114.2
120413 | 2021-05-03 11:11 | 7.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.8793 | μmol/L | 29.4153 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.994 | 94817.8572 | 293329.2605 | 30.45 | 114.2
120423 | 2021-05-03 11:12 | 7.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.9151 | μmol/L | 29.4091 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.994 | 94818.561 | 293326.7556 | 30.45 | 114.2
120433 | 2021-05-03 11:12 | 7.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.5605 | μmol/L | 29.4522 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21 | 94836.3954 | 293306.0627 | 30.45 | 114.2
120443 | 2021-05-03 11:12 | 8.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 194.3979 | μmol/L | 29.4892 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 20.997 | 94822.321 | 293297.6706 | 30.45 | 114.2
120453 | 2021-05-03 11:13 | 8.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9966 | μmol/L | 29.5077 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.014 | 94895.9977 | 293278.8292 | 30.45 | 114.2
120463 | 2021-05-03 11:13 | 8.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.733 | μmol/L | 29.5324 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.021 | 94894.4732 | 293285.5923 | 30.45 | 114.2
120473 | 2021-05-03 11:13 | 9.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.8722 | μmol/L | 29.5262 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.015 | 94881.9241 | 293261.9428 | 30.45 | 114.2
120483 | 2021-05-03 11:14 | 9.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.9079 | μmol/L | 29.52 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.015 | 94863.0284 | 293250.3845 | 30.45 | 114.2
120493 | 2021-05-03 11:14 | 9.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.71 | μmol/L | 29.5632 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.012 | 94840.6973 | 293248.7564 | 30.45 | 114.2
120503 | 2021-05-03 11:14 | 10.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4146 | μmol/L | 29.5755 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.025 | 94854.0802 | 293228.9078 | 30.45 | 114.2
120513 | 2021-05-03 11:15 | 10.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4295 | μmol/L | 29.5878 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.02 | 94844.2292 | 293212.9251 | 30.45 | 114.2
120523 | 2021-05-03 11:15 | 10.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.4295 | μmol/L | 29.5878 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.02 | 94812.176 | 293210.7641 | 30.45 | 114.2
120533 | 2021-05-03 11:15 | 11.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.2561 | μmol/L | 29.594 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.028 | 94852.6204 | 293209.521 | 30.45 | 114.2
120543 | 2021-05-03 11:16 | 11.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.061 | μmol/L | 29.6248 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.029 | 94843.016 | 293192.7711 | 30.45 | 114.2
120553 | 2021-05-03 11:16 | 11.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 193.1286 | μmol/L | 29.631 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.023 | 94865.2839 | 293186.8106 | 30.45 | 114.2
120563 | 2021-05-03 11:16 | 12.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5535 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.042 | 94892.6689 | 293178.6374 | 30.45 | 114.2
120573 | 2021-05-03 11:17 | 12.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.9176 | μmol/L | 29.6556 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.027 | 94859.0375 | 293159.1384 | 30.45 | 114.2
120583 | 2021-05-03 11:17 | 12.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 192.5707 | μmol/L | 29.6741 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.041 | 94907.0855 | 293167.4492 | 30.45 | 114.2
120593 | 2021-05-03 11:17 | 13.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6886 | μmol/L | 29.7234 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.076 | 95049.5673 | 293155.8772 | 30.45 | 114.2
120603 | 2021-05-03 11:18 | 13.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7032 | μmol/L | 29.7357 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.071 | 95040.7107 | 293145.8464 | 30.45 | 114.2
120613 | 2021-05-03 11:18 | 13.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.5617 | μmol/L | 29.7604 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.071 | 95037.8885 | 293148.6663 | 30.45 | 114.2
120623 | 2021-05-03 11:18 | 14.0044 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.7955 | μmol/L | 29.785 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.049 | 94995.6603 | 293129.0928 | 30.45 | 114.2
120633 | 2021-05-03 11:19 | 14.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.6014 | μmol/L | 29.8159 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.05 | 95017.9351 | 293126.3297 | 30.45 | 114.2
120643 | 2021-05-03 11:19 | 14.6712 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4113 | μmol/L | 29.8282 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.057 | 95034.4145 | 293120.852 | 30.45 | 114.2
120653 | 2021-05-03 11:19 | 15.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 191.4151 | μmol/L | 29.8097 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.063 | 95056.6953 | 293120.2305 | 30.45 | 114.2
120663 | 2021-05-03 11:20 | 15.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4574 | μmol/L | 29.8405 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.109 | 95212.3027 | 293109.5468 | 30.45 | 114.2
120673 | 2021-05-03 11:20 | 15.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.6623 | μmol/L | 29.8467 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.154 | 95452.4107 | 293091.6702 | 30.45 | 114.2
120683 | 2021-05-03 11:20 | 16.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.3964 | μmol/L | 29.8097 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.123 | 95277.9614 | 293070.8321 | 30.45 | 114.2
120693 | 2021-05-03 11:21 | 16.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4405 | μmol/L | 29.8405 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.11 | 95247.0398 | 293083.8672 | 30.45 | 114.2
120703 | 2021-05-03 11:21 | 16.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4574 | μmol/L | 29.8405 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.109 | 95263.2576 | 293057.2157 | 30.45 | 114.2
120713 | 2021-05-03 11:21 | 17.0047 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 190.4196 | μmol/L | 29.859 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.105 | 95258.2044 | 293053.5352 | 30.45 | 114.2
120723 | 2021-05-03 11:22 | 17.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4548 | μmol/L | 29.8713 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.158 | 95422.1944 | 293049.0223 | 30.45 | 114.2
120733 | 2021-05-03 11:22 | 17.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 189.4167 | μmol/L | 29.8159 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.179 | 95547.2548 | 293046.9007 | 30.45 | 114.2
120743 | 2021-05-03 11:22 | 18.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.6436 | μmol/L | 29.896 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.198 | 95636.8052 | 293032.1961 | 30.45 | 114.2
120753 | 2021-05-03 11:23 | 18.3373 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7637 | μmol/L | 29.8837 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.195 | 95643.8885 | 293034.4708 | 30.45 | 114.2
120763 | 2021-05-03 11:23 | 18.6711 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.2367 | μmol/L | 29.9206 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.214 | 95691.2323 | 293024.7072 | 30.45 | 114.2
120773 | 2021-05-03 11:23 | 19.004 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.7414 | μmol/L | 29.8344 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.213 | 95699.6275 | 293019.0788 | 30.45 | 114.2
120783 | 2021-05-03 11:24 | 19.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.3775 | μmol/L | 29.8898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.216 | 95688.8097 | 293013.983 | 30.45 | 114.2
120793 | 2021-05-03 11:24 | 19.6707 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.44 | μmol/L | 29.9083 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.206 | 95625.1952 | 292980.2577 | 30.45 | 114.2
120803 | 2021-05-03 11:24 | 20.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 188.846 | μmol/L | 29.8898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.188 | 95569.4812 | 292995.1055 | 30.45 | 114.2
120813 | 2021-05-03 11:25 | 20.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.7915 | μmol/L | 29.97 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.224 | 95688.548 | 292990.5988 | 30.45 | 114.2
120823 | 2021-05-03 11:25 | 20.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6671 | μmol/L | 29.933 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.244 | 95815.4989 | 292989.2694 | 30.45 | 114.2
120833 | 2021-05-03 11:25 | 21.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8546 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.239 | 95804.2141 | 292980.2688 | 30.45 | 114.2
120843 | 2021-05-03 11:26 | 21.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9422 | μmol/L | 29.896 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.24 | 95774.9146 | 292972.6372 | 30.45 | 114.2
120853 | 2021-05-03 11:26 | 21.6713 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.6657 | μmol/L | 29.9391 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.242 | 95785.8701 | 292958.9916 | 30.45 | 114.2
120863 | 2021-05-03 11:26 | 22.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.9879 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.231 | 95751.9047 | 292963.0792 | 30.45 | 114.2
120873 | 2021-05-03 11:27 | 22.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8227 | μmol/L | 29.9083 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.243 | 95768.427 | 292965.1971 | 30.45 | 114.2
120883 | 2021-05-03 11:27 | 22.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.8408 | μmol/L | 29.9022 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.244 | 95822.5754 | 292944.839 | 30.45 | 114.2
120893 | 2021-05-03 11:27 | 23.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.4754 | μmol/L | 29.97 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.243 | 95804.8521 | 292950.3815 | 30.45 | 114.2
120903 | 2021-05-03 11:28 | 23.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3576 | μmol/L | 29.9761 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.248 | 95830.3713 | 292947.2697 | 30.45 | 114.2
120913 | 2021-05-03 11:28 | 23.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.3816 | μmol/L | 29.9453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.257 | 95867.2845 | 292951.3417 | 30.45 | 114.2
120923 | 2021-05-03 11:28 | 24.0045 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.1508 | μmol/L | 29.9391 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.273 | 95934.3872 | 292935.9696 | 30.45 | 114.2
120933 | 2021-05-03 11:29 | 24.3375 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 187.2562 | μmol/L | 29.9145 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.275 | 95957.4493 | 292945.3171 | 30.45 | 114.2
120943 | 2021-05-03 11:29 | 24.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.4544 | μmol/L | 30.0131 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.29 | 95989.7105 | 292950.0185 | 30.45 | 114.2
120953 | 2021-05-03 11:29 | 25.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.7039 | μmol/L | 29.9391 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.3 | 96053.1938 | 292973.185 | 30.45 | 114.2
120963 | 2021-05-03 11:30 | 25.3378 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.6212 | μmol/L | 29.9391 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.305 | 96091.8473 | 292984.9468 | 30.45 | 114.2
120973 | 2021-05-03 11:30 | 25.6708 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.279 | μmol/L | 29.9884 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.309 | 96103.5601 | 292983.4853 | 30.45 | 114.2
120983 | 2021-05-03 11:30 | 26.0046 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.1096 | μmol/L | 30.0069 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.313 | 96134.7183 | 292988.1905 | 30.45 | 114.2
120993 | 2021-05-03 11:31 | 26.3376 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0874 | μmol/L | 29.9638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.329 | 96186.9909 | 292977.6608 | 30.45 | 114.2
121003 | 2021-05-03 11:31 | 26.6706 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.8838 | μmol/L | 29.9884 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.333 | 96242.8341 | 292992.6812 | 30.45 | 114.2
121013 | 2021-05-03 11:31 | 27.0043 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9454 | μmol/L | 29.9391 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.346 | 96339.476 | 292987.5574 | 30.45 | 114.2
121023 | 2021-05-03 11:32 | 27.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.7569 | μmol/L | 29.97 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.347 | 96386.0271 | 292977.3101 | 30.45 | 114.2
121033 | 2021-05-03 11:32 | 27.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 186.0411 | μmol/L | 29.9515 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.336 | 96364.3273 | 292970.6533 | 30.45 | 114.2
121043 | 2021-05-03 11:32 | 28.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.9722 | μmol/L | 29.9638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.336 | 96361.9122 | 292960.3773 | 30.45 | 114.2
121053 | 2021-05-03 11:33 | 28.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.6943 | μmol/L | 29.9576 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.355 | 96390.9643 | 292963.1317 | 30.45 | 114.2
121063 | 2021-05-03 11:33 | 28.671 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.865 | μmol/L | 29.8652 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.376 | 96482.4172 | 292947.5443 | 30.45 | 114.2
121073 | 2021-05-03 11:33 | 29.0041 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.0911 | μmol/L | 29.9453 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.396 | 96603.1236 | 292952.3739 | 30.45 | 114.2
121083 | 2021-05-03 11:34 | 29.338 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.5143 | μmol/L | 29.8898 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.389 | 96572.7142 | 292933.3906 | 30.45 | 114.2
121093 | 2021-05-03 11:34 | 29.6709 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 185.2492 | μmol/L | 29.9022 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.401 | 96630.4488 | 292929.8032 | 30.45 | 114.2
121103 | 2021-05-03 11:34 | 30.0042 | OXY_CH6 (PSt7-10) | 2021-02-16 12:12 | default | 184.6781 | μmol/L | 29.9638 | °C | 1021 | hPa | Humid | 28 | 0 | 0 | 21.415 | 96676.4356 | 292920.108 | 30.45 | 114.2