## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH7 | O2 | 137830555 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:13

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | 55.7 | 20 | °C | 22.21 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120204 | 2021-05-03 11:04 | 0 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 208.1306 | μmol/L | 28.8731 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.479 | 128003.9871 | 290740.8564 | 59.9307 | 49.4
120214 | 2021-05-03 11:05 | 0.32959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 206.7568 | μmol/L | 28.9659 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.522 | 129877.5887 | 290737.1591 | 59.9307 | 49.4
120224 | 2021-05-03 11:05 | 0.66249 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.9568 | μmol/L | 28.9783 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.561 | 130926.552 | 290721.5312 | 59.9307 | 49.4
120234 | 2021-05-03 11:05 | 0.99617 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 205.4182 | μmol/L | 28.9968 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.584 | 131610.5656 | 290707.0878 | 59.9307 | 49.4
120244 | 2021-05-03 11:06 | 1.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.6189 | μmol/L | 29.0525 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.609 | 131924.385 | 290682.7676 | 59.9307 | 49.4
120254 | 2021-05-03 11:06 | 1.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 204.2684 | μmol/L | 29.0649 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.624 | 132091.1212 | 290686.0326 | 59.9307 | 49.4
120264 | 2021-05-03 11:06 | 1.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 203.6764 | μmol/L | 29.1083 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.642 | 131862.4597 | 290674.1845 | 59.9307 | 49.4
120274 | 2021-05-03 11:07 | 2.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.9214 | μmol/L | 29.1578 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.667 | 131751.8102 | 290660.9062 | 59.9307 | 49.4
120284 | 2021-05-03 11:07 | 2.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 202.3896 | μmol/L | 29.1887 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.686 | 131584.7268 | 290642.0179 | 59.9307 | 49.4
120294 | 2021-05-03 11:07 | 2.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 201.3525 | μmol/L | 29.2259 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.731 | 131621.5288 | 290623.8705 | 59.9307 | 49.4
120304 | 2021-05-03 11:08 | 3.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.942 | μmol/L | 29.2011 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.762 | 131402.6826 | 290639.7741 | 59.9307 | 49.4
120314 | 2021-05-03 11:08 | 3.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.3393 | μmol/L | 29.263 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.775 | 130974.2921 | 290606.0336 | 59.9307 | 49.4
120324 | 2021-05-03 11:08 | 3.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 200.0685 | μmol/L | 29.2754 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.786 | 130384.0937 | 290603.2929 | 59.9307 | 49.4
120334 | 2021-05-03 11:09 | 4.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.7592 | μmol/L | 29.3063 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.793 | 130199.0838 | 290584.3276 | 59.9307 | 49.4
120344 | 2021-05-03 11:09 | 4.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.5617 | μmol/L | 29.3125 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.802 | 130166.3855 | 290580.3874 | 59.9307 | 49.4
120354 | 2021-05-03 11:09 | 4.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.6384 | μmol/L | 29.2816 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.808 | 130125.4883 | 290600.5221 | 59.9307 | 49.4
120364 | 2021-05-03 11:10 | 5.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 199.3362 | μmol/L | 29.2754 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.827 | 130126.0441 | 290565.6647 | 59.9307 | 49.4
120374 | 2021-05-03 11:10 | 5.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.705 | μmol/L | 29.3249 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.846 | 130278.6269 | 290565.1679 | 59.9307 | 49.4
120384 | 2021-05-03 11:10 | 5.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.5275 | μmol/L | 29.3249 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.856 | 130499.871 | 290562.1902 | 59.9307 | 49.4
120394 | 2021-05-03 11:11 | 6.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 198.2407 | μmol/L | 29.3435 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.866 | 130744.8848 | 290552.382 | 59.9307 | 49.4
120404 | 2021-05-03 11:11 | 6.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.9907 | μmol/L | 29.3559 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.876 | 130916.6573 | 290539.3397 | 59.9307 | 49.4
120414 | 2021-05-03 11:11 | 6.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.6152 | μmol/L | 29.3806 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.889 | 131114.7462 | 290515.3697 | 59.9307 | 49.4
120424 | 2021-05-03 11:12 | 7.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2957 | μmol/L | 29.393 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.903 | 131420.4622 | 290517.3616 | 59.9307 | 49.4
120434 | 2021-05-03 11:12 | 7.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 197.2077 | μmol/L | 29.393 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.908 | 131903.7084 | 290500.6752 | 59.9307 | 49.4
120444 | 2021-05-03 11:12 | 7.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.9907 | μmol/L | 29.424 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.91 | 132036.0596 | 290485.5777 | 59.9307 | 49.4
120454 | 2021-05-03 11:13 | 8.3297 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.938 | μmol/L | 29.424 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.913 | 132229.376 | 290463.5318 | 59.9307 | 49.4
120464 | 2021-05-03 11:13 | 8.6629 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.5222 | μmol/L | 29.4859 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.916 | 132342.4364 | 290475.45 | 59.9307 | 49.4
120474 | 2021-05-03 11:13 | 8.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.4672 | μmol/L | 29.4982 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.915 | 132348.331 | 290475.333 | 59.9307 | 49.4
120484 | 2021-05-03 11:14 | 9.3298 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.3596 | μmol/L | 29.5106 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.917 | 132352.4848 | 290459.6391 | 59.9307 | 49.4
120494 | 2021-05-03 11:14 | 9.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.1946 | μmol/L | 29.5478 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.914 | 132330.9938 | 290453.0186 | 59.9307 | 49.4
120504 | 2021-05-03 11:14 | 9.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 196.0121 | μmol/L | 29.5849 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.912 | 132282.7483 | 290443.5203 | 59.9307 | 49.4
120514 | 2021-05-03 11:15 | 10.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9384 | μmol/L | 29.6035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.91 | 132252.0933 | 290431.8071 | 59.9307 | 49.4
120524 | 2021-05-03 11:15 | 10.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.9209 | μmol/L | 29.6035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.911 | 132272.4767 | 290434.1989 | 59.9307 | 49.4
120534 | 2021-05-03 11:15 | 10.996 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.7462 | μmol/L | 29.6035 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.921 | 132349.0433 | 290422.5494 | 59.9307 | 49.4
120544 | 2021-05-03 11:16 | 11.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.427 | μmol/L | 29.6282 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.931 | 132501.8073 | 290412.3952 | 59.9307 | 49.4
120554 | 2021-05-03 11:16 | 11.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.2541 | μmol/L | 29.6221 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.943 | 132651.236 | 290408.0504 | 59.9307 | 49.4
120564 | 2021-05-03 11:16 | 11.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 195.1309 | μmol/L | 29.6282 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.948 | 132845.7168 | 290400.6712 | 59.9307 | 49.4
120574 | 2021-05-03 11:17 | 12.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.8436 | μmol/L | 29.6716 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.95 | 132948.7726 | 290402.9204 | 59.9307 | 49.4
120584 | 2021-05-03 11:17 | 12.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.6647 | μmol/L | 29.6963 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.952 | 133075.9024 | 290380.0682 | 59.9307 | 49.4
120594 | 2021-05-03 11:17 | 12.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.5219 | μmol/L | 29.7149 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.954 | 133164.0014 | 290375.8132 | 59.9307 | 49.4
120604 | 2021-05-03 11:18 | 13.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.3645 | μmol/L | 29.7211 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.961 | 133236.0061 | 290378.0972 | 59.9307 | 49.4
120614 | 2021-05-03 11:18 | 13.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.2073 | μmol/L | 29.7273 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.968 | 133200.8344 | 290353.6116 | 59.9307 | 49.4
120624 | 2021-05-03 11:18 | 13.9957 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 194.0088 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.967 | 133153.7916 | 290348.7948 | 59.9307 | 49.4
120634 | 2021-05-03 11:19 | 14.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.9569 | μmol/L | 29.7644 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.97 | 133045.1667 | 290336.268 | 59.9307 | 49.4
120644 | 2021-05-03 11:19 | 14.6625 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.76 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.971 | 132859.7604 | 290328.345 | 59.9307 | 49.4
120654 | 2021-05-03 11:19 | 14.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.6923 | μmol/L | 29.7892 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.977 | 132774.7287 | 290337.6414 | 59.9307 | 49.4
120664 | 2021-05-03 11:20 | 15.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.3634 | μmol/L | 29.7954 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 20.994 | 132788.9882 | 290321.1874 | 59.9307 | 49.4
120674 | 2021-05-03 11:20 | 15.6628 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.2787 | μmol/L | 29.7892 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.001 | 132582.9218 | 290305.5729 | 59.9307 | 49.4
120684 | 2021-05-03 11:20 | 15.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 193.1941 | μmol/L | 29.783 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.008 | 132548.3557 | 290311.6042 | 59.9307 | 49.4
120694 | 2021-05-03 11:21 | 16.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.9663 | μmol/L | 29.8016 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.015 | 132040.9766 | 290293.4275 | 59.9307 | 49.4
120704 | 2021-05-03 11:21 | 16.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.6831 | μmol/L | 29.8387 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.019 | 131871.8172 | 290296.6499 | 59.9307 | 49.4
120714 | 2021-05-03 11:21 | 16.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.5601 | μmol/L | 29.8511 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.022 | 131756.4895 | 290282.216 | 59.9307 | 49.4
120724 | 2021-05-03 11:22 | 17.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.383 | μmol/L | 29.8759 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.024 | 131662.7832 | 290285.1722 | 59.9307 | 49.4
120734 | 2021-05-03 11:22 | 17.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 192.1932 | μmol/L | 29.8821 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.033 | 131520.0439 | 290285.0637 | 59.9307 | 49.4
120744 | 2021-05-03 11:22 | 17.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.9852 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.041 | 131365.8552 | 290277.8996 | 59.9307 | 49.4
120754 | 2021-05-03 11:23 | 18.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5061 | μmol/L | 29.9007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.067 | 131497.5865 | 290273.3887 | 59.9307 | 49.4
120764 | 2021-05-03 11:23 | 18.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4535 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.068 | 131421.1312 | 290266.6259 | 59.9307 | 49.4
120774 | 2021-05-03 11:23 | 18.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.4675 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.063 | 131260.9131 | 290282.572 | 59.9307 | 49.4
120784 | 2021-05-03 11:24 | 19.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.5141 | μmol/L | 29.9378 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.054 | 131202.4854 | 290274.4842 | 59.9307 | 49.4
120794 | 2021-05-03 11:24 | 19.6627 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.2217 | μmol/L | 29.9502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.067 | 131212.5489 | 290255.6508 | 59.9307 | 49.4
120804 | 2021-05-03 11:24 | 19.9958 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.1692 | μmol/L | 29.9564 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.068 | 131216.625 | 290255.3588 | 59.9307 | 49.4
120814 | 2021-05-03 11:25 | 20.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0734 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.082 | 131330.7121 | 290249.075 | 59.9307 | 49.4
120824 | 2021-05-03 11:25 | 20.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.6955 | μmol/L | 29.9502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.098 | 131444.5168 | 290255.0929 | 59.9307 | 49.4
120834 | 2021-05-03 11:25 | 20.9963 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9514 | μmol/L | 29.944 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.085 | 131405.2642 | 290240.288 | 59.9307 | 49.4
120844 | 2021-05-03 11:26 | 21.3295 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9838 | μmol/L | 29.9502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.081 | 131265.306 | 290250.3111 | 59.9307 | 49.4
120854 | 2021-05-03 11:26 | 21.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.0209 | μmol/L | 29.9378 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.083 | 131311.8889 | 290219.9481 | 59.9307 | 49.4
120864 | 2021-05-03 11:26 | 21.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.9576 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.093 | 131372.4302 | 290235.3014 | 59.9307 | 49.4
120874 | 2021-05-03 11:27 | 22.3294 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8157 | μmol/L | 29.944 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.093 | 131406.4068 | 290240.6347 | 59.9307 | 49.4
120884 | 2021-05-03 11:27 | 22.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5907 | μmol/L | 29.9626 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.1 | 131424.3652 | 290237.0418 | 59.9307 | 49.4
120894 | 2021-05-03 11:27 | 22.9962 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.7294 | μmol/L | 29.9502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.096 | 131546.1681 | 290223.3245 | 59.9307 | 49.4
120904 | 2021-05-03 11:28 | 23.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8943 | μmol/L | 29.9007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.103 | 131519.7307 | 290240.3879 | 59.9307 | 49.4
120914 | 2021-05-03 11:28 | 23.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5092 | μmol/L | 29.9502 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.109 | 131434.1876 | 290242.3411 | 59.9307 | 49.4
120924 | 2021-05-03 11:28 | 23.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8712 | μmol/L | 29.9254 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.096 | 131446.4806 | 290232.9034 | 59.9307 | 49.4
120934 | 2021-05-03 11:29 | 24.329 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 191.115 | μmol/L | 29.9007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.09 | 131827.6479 | 290218.5035 | 59.9307 | 49.4
120944 | 2021-05-03 11:29 | 24.6632 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.734 | μmol/L | 29.9316 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.102 | 131601.0546 | 290227.4156 | 59.9307 | 49.4
120954 | 2021-05-03 11:29 | 24.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.8958 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.105 | 132169.9411 | 290226.2865 | 59.9307 | 49.4
120964 | 2021-05-03 11:30 | 25.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.5401 | μmol/L | 29.8945 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.126 | 132180.8504 | 290244.5085 | 59.9307 | 49.4
120974 | 2021-05-03 11:30 | 25.6631 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1652 | μmol/L | 29.9068 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.144 | 131966.107 | 290237.1752 | 59.9307 | 49.4
120984 | 2021-05-03 11:30 | 25.9961 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3126 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.152 | 131869.5062 | 290254.4882 | 59.9307 | 49.4
120994 | 2021-05-03 11:31 | 26.3291 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.0255 | μmol/L | 29.9254 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.146 | 131797.2317 | 290253.6529 | 59.9307 | 49.4
121004 | 2021-05-03 11:31 | 26.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.027 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.148 | 131838.8206 | 290252.9826 | 59.9307 | 49.4
121014 | 2021-05-03 11:31 | 26.9964 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.0961 | μmol/L | 29.913 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.146 | 131913.2755 | 290242.5287 | 59.9307 | 49.4
121024 | 2021-05-03 11:32 | 27.3292 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3065 | μmol/L | 29.8821 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.144 | 132204.6768 | 290252.2893 | 59.9307 | 49.4
121034 | 2021-05-03 11:32 | 27.663 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9764 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.151 | 132222.5796 | 290247.4274 | 59.9307 | 49.4
121044 | 2021-05-03 11:32 | 27.9959 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.978 | μmol/L | 29.913 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.153 | 132035.8009 | 290239.9797 | 59.9307 | 49.4
121054 | 2021-05-03 11:33 | 28.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.3295 | μmol/L | 29.8573 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.151 | 132139.9443 | 290231.0359 | 59.9307 | 49.4
121064 | 2021-05-03 11:33 | 28.6626 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.9811 | μmol/L | 29.9007 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.157 | 131984.8172 | 290217.792 | 59.9307 | 49.4
121074 | 2021-05-03 11:33 | 28.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.5059 | μmol/L | 29.9811 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.158 | 132015.3208 | 290207.5464 | 59.9307 | 49.4
121084 | 2021-05-03 11:34 | 29.3296 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.1114 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.143 | 132415.9719 | 290207.8739 | 59.9307 | 49.4
121094 | 2021-05-03 11:34 | 29.6624 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 189.8906 | μmol/L | 29.9254 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.154 | 132096.2997 | 290199.6191 | 59.9307 | 49.4
121104 | 2021-05-03 11:34 | 29.9965 | OXY_CH7 (PSt7-10) | 2021-02-16 12:13 | default | 190.2051 | μmol/L | 29.8821 | °C | 1023 | hPa | Humid | 28 | 1 | 0 | 21.15 | 132397.017 | 290200.0581 | 59.9307 | 49.4