## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH8 | O2 | 403144567 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:15

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | 55.51 | 20 | °C | 22.84 | 20 | °C | 985 | hPa | 100 | %a.s. | Humid | 0.857 | 12.4 | 0.000374 | 0 | -0.01834 | -9e-05 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120205 | 2021-05-03 11:04 | 0 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 200.3128 | μmol/L | 28.9628 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.554 | 133206.8075 | 301997.4272 | 33.25 | 68.6
120215 | 2021-05-03 11:05 | 0.34018 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 198.2042 | μmol/L | 29.0971 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.629 | 133778.6672 | 302009.6181 | 33.25 | 68.6
120225 | 2021-05-03 11:05 | 0.67319 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 197.0576 | μmol/L | 29.1398 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.681 | 134107.5534 | 301986.0756 | 33.25 | 68.6
120235 | 2021-05-03 11:05 | 1.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 196.5468 | μmol/L | 29.1398 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.711 | 134316.7712 | 301988.7209 | 33.25 | 68.6
120245 | 2021-05-03 11:06 | 1.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.926 | μmol/L | 29.1642 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.739 | 134511.7116 | 301976.4489 | 33.25 | 68.6
120255 | 2021-05-03 11:06 | 1.6728 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.3673 | μmol/L | 29.2069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.757 | 134647.7022 | 301965.8453 | 33.25 | 68.6
120265 | 2021-05-03 11:06 | 2.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 195.1312 | μmol/L | 29.2069 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.771 | 134751.7863 | 301952.3291 | 33.25 | 68.6
120275 | 2021-05-03 11:07 | 2.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.6976 | μmol/L | 29.2375 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.786 | 134829.1046 | 301943.258 | 33.25 | 68.6
120285 | 2021-05-03 11:07 | 2.6734 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.58 | μmol/L | 29.2375 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.793 | 134897.5254 | 301930.5429 | 33.25 | 68.6
120295 | 2021-05-03 11:07 | 3.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.3102 | μmol/L | 29.2802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.794 | 134943.8338 | 301909.8619 | 33.25 | 68.6
120305 | 2021-05-03 11:08 | 3.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.2354 | μmol/L | 29.2985 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.792 | 134926.6707 | 301910.9838 | 33.25 | 68.6
120315 | 2021-05-03 11:08 | 3.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.1902 | μmol/L | 29.2863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.799 | 134947.9331 | 301888.7297 | 33.25 | 68.6
120325 | 2021-05-03 11:08 | 4.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 194.0678 | μmol/L | 29.2985 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.802 | 134956.6148 | 301860.5994 | 33.25 | 68.6
120335 | 2021-05-03 11:09 | 4.3396 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.9015 | μmol/L | 29.3351 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.799 | 134936.946 | 301869.955 | 33.25 | 68.6
120345 | 2021-05-03 11:09 | 4.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.7316 | μmol/L | 29.3412 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.807 | 135008.5245 | 301858.9475 | 33.25 | 68.6
120355 | 2021-05-03 11:09 | 5.0067 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.3652 | μmol/L | 29.3778 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.816 | 135048.4308 | 301827.7108 | 33.25 | 68.6
120365 | 2021-05-03 11:10 | 5.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.1967 | μmol/L | 29.4206 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 135012.1059 | 301820.016 | 33.25 | 68.6
120375 | 2021-05-03 11:10 | 5.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 193.0774 | μmol/L | 29.4267 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.816 | 135028.5589 | 301812.0941 | 33.25 | 68.6
120385 | 2021-05-03 11:10 | 6.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9476 | μmol/L | 29.4572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.813 | 135021.9777 | 301787.9541 | 33.25 | 68.6
120395 | 2021-05-03 11:11 | 6.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8976 | μmol/L | 29.4572 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.816 | 135035.8284 | 301793.7019 | 33.25 | 68.6
120405 | 2021-05-03 11:11 | 6.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.8424 | μmol/L | 29.4694 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.815 | 135021.9531 | 301771.689 | 33.25 | 68.6
120415 | 2021-05-03 11:11 | 7.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6215 | μmol/L | 29.5182 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 134995.3872 | 301759.4455 | 33.25 | 68.6
120425 | 2021-05-03 11:12 | 7.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.9597 | μmol/L | 29.506 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.795 | 134910.031 | 301748.9184 | 33.25 | 68.6
120435 | 2021-05-03 11:12 | 7.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.6022 | μmol/L | 29.5243 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.81 | 134962.1267 | 301738.061 | 33.25 | 68.6
120445 | 2021-05-03 11:12 | 8.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.4393 | μmol/L | 29.5549 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.809 | 134982.9548 | 301733.5013 | 33.25 | 68.6
120455 | 2021-05-03 11:13 | 8.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1908 | μmol/L | 29.5915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 134997.3849 | 301719.373 | 33.25 | 68.6
120465 | 2021-05-03 11:13 | 8.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 192.1908 | μmol/L | 29.5915 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.811 | 135014.5759 | 301701.6849 | 33.25 | 68.6
120475 | 2021-05-03 11:13 | 9.0063 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.9368 | μmol/L | 29.6037 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.822 | 135099.9978 | 301684.7659 | 33.25 | 68.6
120485 | 2021-05-03 11:14 | 9.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5235 | μmol/L | 29.6403 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.834 | 135143.3823 | 301693.3178 | 33.25 | 68.6
120495 | 2021-05-03 11:14 | 9.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6145 | μmol/L | 29.6586 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.822 | 135064.8193 | 301676.2168 | 33.25 | 68.6
120505 | 2021-05-03 11:14 | 10.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.7827 | μmol/L | 29.6525 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.814 | 135035.7421 | 301669.3209 | 33.25 | 68.6
120515 | 2021-05-03 11:15 | 10.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.6394 | μmol/L | 29.677 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.814 | 135018.1884 | 301655.5893 | 33.25 | 68.6
120525 | 2021-05-03 11:15 | 10.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.5678 | μmol/L | 29.6892 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.814 | 134991.8386 | 301652.5447 | 33.25 | 68.6
120535 | 2021-05-03 11:15 | 11.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4109 | μmol/L | 29.7441 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.804 | 134941.2788 | 301646.0231 | 33.25 | 68.6
120545 | 2021-05-03 11:16 | 11.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4412 | μmol/L | 29.7502 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.8 | 134893.3633 | 301627.4565 | 33.25 | 68.6
120555 | 2021-05-03 11:16 | 11.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.4165 | μmol/L | 29.7685 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.795 | 134883.8286 | 301618.5658 | 33.25 | 68.6
120565 | 2021-05-03 11:16 | 12.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 191.1054 | μmol/L | 29.799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.803 | 134921.5921 | 301615.4866 | 33.25 | 68.6
120575 | 2021-05-03 11:17 | 12.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8636 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.809 | 134967.0237 | 301596.799 | 33.25 | 68.6
120585 | 2021-05-03 11:17 | 12.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8114 | μmol/L | 29.8296 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.81 | 134983.4593 | 301595.4387 | 33.25 | 68.6
120595 | 2021-05-03 11:17 | 13.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.8636 | μmol/L | 29.8235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.809 | 134971.7747 | 301596.4858 | 33.25 | 68.6
120605 | 2021-05-03 11:18 | 13.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6576 | μmol/L | 29.8418 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.815 | 135003.7071 | 301566.1938 | 33.25 | 68.6
120615 | 2021-05-03 11:18 | 13.6733 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.6136 | μmol/L | 29.8662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.809 | 134991.0997 | 301556.9064 | 33.25 | 68.6
120625 | 2021-05-03 11:18 | 14.0061 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4082 | μmol/L | 29.8479 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.828 | 135081.776 | 301552.9925 | 33.25 | 68.6
120635 | 2021-05-03 11:19 | 14.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.2849 | μmol/L | 29.8662 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.829 | 135122.921 | 301563.394 | 33.25 | 68.6
120645 | 2021-05-03 11:19 | 14.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0411 | μmol/L | 29.8967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.833 | 135120.3419 | 301543.56 | 33.25 | 68.6
120655 | 2021-05-03 11:19 | 15.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.079 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.822 | 135058.3427 | 301529.3669 | 33.25 | 68.6
120665 | 2021-05-03 11:20 | 15.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.468 | μmol/L | 29.8967 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.807 | 134942.3642 | 301523.9534 | 33.25 | 68.6
120675 | 2021-05-03 11:20 | 15.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.4018 | μmol/L | 29.9334 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.798 | 134898.157 | 301516.3637 | 33.25 | 68.6
120685 | 2021-05-03 11:20 | 16.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.5554 | μmol/L | 29.9211 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.793 | 134833.9985 | 301508.492 | 33.25 | 68.6
120695 | 2021-05-03 11:21 | 16.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.3571 | μmol/L | 29.9944 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.779 | 134781.6061 | 301514.2306 | 33.25 | 68.6
120705 | 2021-05-03 11:21 | 16.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0999 | μmol/L | 29.9822 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.799 | 134902.552 | 301492.1615 | 33.25 | 68.6
120715 | 2021-05-03 11:21 | 17.0068 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 190.0649 | μmol/L | 29.9517 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.812 | 134976.4163 | 301490.912 | 33.25 | 68.6
120725 | 2021-05-03 11:22 | 17.3397 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.8376 | μmol/L | 29.9822 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.815 | 135016.8939 | 301469.2705 | 33.25 | 68.6
120735 | 2021-05-03 11:22 | 17.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6468 | μmol/L | 29.97 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.831 | 135093.8533 | 301459.7467 | 33.25 | 68.6
120745 | 2021-05-03 11:22 | 18.0064 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5017 | μmol/L | 30.0005 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.829 | 135069.5718 | 301456.262 | 33.25 | 68.6
120755 | 2021-05-03 11:23 | 18.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5835 | μmol/L | 30.0005 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.824 | 135033.4675 | 301450.5861 | 33.25 | 68.6
120765 | 2021-05-03 11:23 | 18.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6403 | μmol/L | 30.0188 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.814 | 134988.6436 | 301450.0887 | 33.25 | 68.6
120775 | 2021-05-03 11:23 | 19.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.6624 | μmol/L | 30.0066 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.817 | 134994.8291 | 301427.8765 | 33.25 | 68.6
120785 | 2021-05-03 11:24 | 19.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.5565 | μmol/L | 29.9883 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.83 | 135089.01 | 301413.8571 | 33.25 | 68.6
120795 | 2021-05-03 11:24 | 19.6736 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 189.4604 | μmol/L | 30.0188 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.825 | 135054.9299 | 301405.6901 | 33.25 | 68.6
120805 | 2021-05-03 11:24 | 20.0066 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.9947 | μmol/L | 30.0371 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.847 | 135204.2523 | 301417.3218 | 33.25 | 68.6
120815 | 2021-05-03 11:25 | 20.3395 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.8452 | μmol/L | 30.0432 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.854 | 135242.6959 | 301412.5732 | 33.25 | 68.6
120825 | 2021-05-03 11:25 | 20.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.6709 | μmol/L | 30.0677 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.856 | 135263.9856 | 301414.4357 | 33.25 | 68.6
120835 | 2021-05-03 11:25 | 21.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7609 | μmol/L | 30.0494 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.857 | 135246.5844 | 301383.3777 | 33.25 | 68.6
120845 | 2021-05-03 11:26 | 21.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.7877 | μmol/L | 30.0616 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.851 | 135216.753 | 301382.7181 | 33.25 | 68.6
120855 | 2021-05-03 11:26 | 21.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 188.303 | μmol/L | 30.0555 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.883 | 135438.9511 | 301374.1526 | 33.25 | 68.6
120865 | 2021-05-03 11:26 | 22.007 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9185 | μmol/L | 30.0799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.898 | 135525.9882 | 301365.2423 | 33.25 | 68.6
120875 | 2021-05-03 11:27 | 22.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.8156 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.9 | 135500.3905 | 301367.358 | 33.25 | 68.6
120885 | 2021-05-03 11:27 | 22.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9422 | μmol/L | 30.0982 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.89 | 135419.5847 | 301365.2014 | 33.25 | 68.6
120895 | 2021-05-03 11:27 | 23.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9907 | μmol/L | 30.0982 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.887 | 135414.7174 | 301346.305 | 33.25 | 68.6
120905 | 2021-05-03 11:28 | 23.3402 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9289 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.893 | 135453.1537 | 301354.6735 | 33.25 | 68.6
120915 | 2021-05-03 11:28 | 23.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7583 | μmol/L | 30.1104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.897 | 135488.2387 | 301350.2902 | 33.25 | 68.6
120925 | 2021-05-03 11:28 | 24.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7612 | μmol/L | 30.1043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.899 | 135475.5964 | 301354.2898 | 33.25 | 68.6
120935 | 2021-05-03 11:29 | 24.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.9053 | μmol/L | 30.0738 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.901 | 135476.3166 | 301346.5005 | 33.25 | 68.6
120945 | 2021-05-03 11:29 | 24.6731 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7347 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.905 | 135489.4458 | 301359.4219 | 33.25 | 68.6
120955 | 2021-05-03 11:29 | 25.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6715 | μmol/L | 30.1226 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.898 | 135473.1908 | 301361.0466 | 33.25 | 68.6
120965 | 2021-05-03 11:30 | 25.34 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.7509 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.904 | 135517.2825 | 301377.2927 | 33.25 | 68.6
120975 | 2021-05-03 11:30 | 25.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.6642 | μmol/L | 30.1043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.905 | 135516.4484 | 301385.9926 | 33.25 | 68.6
120985 | 2021-05-03 11:30 | 26.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 187.3837 | μmol/L | 30.1165 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.918 | 135647.5181 | 301390.2722 | 33.25 | 68.6
120995 | 2021-05-03 11:31 | 26.3401 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9691 | μmol/L | 30.1409 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.935 | 135716.721 | 301382.8491 | 33.25 | 68.6
121005 | 2021-05-03 11:31 | 26.673 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8433 | μmol/L | 30.1348 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.945 | 135811.0776 | 301410.6018 | 33.25 | 68.6
121015 | 2021-05-03 11:31 | 27.0065 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.9123 | μmol/L | 30.0921 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.956 | 135893.9993 | 301396.2298 | 33.25 | 68.6
121025 | 2021-05-03 11:32 | 27.3403 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.7093 | μmol/L | 30.0799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.973 | 136006.0945 | 301390.8583 | 33.25 | 68.6
121035 | 2021-05-03 11:32 | 27.6732 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.518 | μmol/L | 30.1104 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.974 | 136040.8374 | 301380.6122 | 33.25 | 68.6
121045 | 2021-05-03 11:32 | 28.0062 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3867 | μmol/L | 30.1165 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.98 | 136046.9039 | 301370.4958 | 33.25 | 68.6
121055 | 2021-05-03 11:33 | 28.3399 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.8598 | μmol/L | 30.0677 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.968 | 135994.0512 | 301370.9918 | 33.25 | 68.6
121065 | 2021-05-03 11:33 | 28.6729 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.613 | μmol/L | 30.0799 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.979 | 136066.3745 | 301364.0399 | 33.25 | 68.6
121075 | 2021-05-03 11:33 | 29.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2045 | μmol/L | 30.1287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.987 | 136098.8382 | 301331.4454 | 33.25 | 68.6
121085 | 2021-05-03 11:34 | 29.3398 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.2206 | μmol/L | 30.1287 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.986 | 136123.0478 | 301347.5384 | 33.25 | 68.6
121095 | 2021-05-03 11:34 | 29.6735 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 186.3055 | μmol/L | 30.086 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.996 | 136188.3676 | 301340.1268 | 33.25 | 68.6
121105 | 2021-05-03 11:34 | 30.0069 | OXY_CH8 (PSt7-10) | 2021-02-16 12:15 | default | 185.9286 | μmol/L | 30.1043 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 22.013 | 136269.3081 | 301329.9577 | 33.25 | 68.6