## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH9 | O2 | 169735377 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:16

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | 55.69 | 20 | °C | 22.49 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120206 | 2021-05-03 11:04 | 0 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.7373 | μmol/L | 29.0713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.799 | 122148.2539 | 266112.65 | 26.25 | 74
120216 | 2021-05-03 11:05 | 0.34086 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 203.303 | μmol/L | 29.0651 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.825 | 122369.1112 | 266094.4826 | 26.25 | 74
120226 | 2021-05-03 11:05 | 0.67382 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.945 | μmol/L | 29.0346 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.855 | 122576.3059 | 266097.3262 | 26.25 | 74
120236 | 2021-05-03 11:05 | 1.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 202.3662 | μmol/L | 29.0529 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.881 | 122768.4854 | 266104.8291 | 26.25 | 74
120246 | 2021-05-03 11:06 | 1.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.678 | μmol/L | 29.1018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.903 | 122918.3071 | 266080.6861 | 26.25 | 74
120256 | 2021-05-03 11:06 | 1.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.632 | μmol/L | 29.0407 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.926 | 123060.5421 | 266066.1273 | 26.25 | 74
120266 | 2021-05-03 11:06 | 2.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 201.6 | μmol/L | 29.0101 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.938 | 123175.9297 | 266060.3313 | 26.25 | 74
120276 | 2021-05-03 11:07 | 2.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.682 | μmol/L | 29.0713 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.969 | 123369.1603 | 266039.6726 | 26.25 | 74
120286 | 2021-05-03 11:07 | 2.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 200.395 | μmol/L | 29.0896 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.979 | 123433.1001 | 266033.8106 | 26.25 | 74
120296 | 2021-05-03 11:07 | 3.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.5994 | μmol/L | 29.1996 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 20.987 | 123509.2969 | 266017.1961 | 26.25 | 74
120306 | 2021-05-03 11:08 | 3.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.6807 | μmol/L | 29.1263 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.007 | 123625.8573 | 266009.1586 | 26.25 | 74
120316 | 2021-05-03 11:08 | 3.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.7195 | μmol/L | 29.1018 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.013 | 123681.3277 | 266016.5729 | 26.25 | 74
120326 | 2021-05-03 11:08 | 4.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1789 | μmol/L | 29.1751 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.019 | 123716.4989 | 266006.0892 | 26.25 | 74
120336 | 2021-05-03 11:09 | 4.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 199.1771 | μmol/L | 29.1874 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.015 | 123716.955 | 265988.6901 | 26.25 | 74
120346 | 2021-05-03 11:09 | 4.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.834 | μmol/L | 29.2424 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.016 | 123735.7565 | 265977.4733 | 26.25 | 74
120356 | 2021-05-03 11:09 | 5.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.6033 | μmol/L | 29.2546 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.025 | 123778.8292 | 265971.513 | 26.25 | 74
120366 | 2021-05-03 11:10 | 5.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.4033 | μmol/L | 29.2974 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.022 | 123765.9929 | 265961.0021 | 26.25 | 74
120376 | 2021-05-03 11:10 | 5.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.9198 | μmol/L | 29.3585 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.029 | 123804.9169 | 265939.3345 | 26.25 | 74
120386 | 2021-05-03 11:10 | 6.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1858 | μmol/L | 29.3401 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.02 | 123773.7988 | 265929.6918 | 26.25 | 74
120396 | 2021-05-03 11:11 | 6.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.2063 | μmol/L | 29.3218 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.025 | 123813.0949 | 265920.895 | 26.25 | 74
120406 | 2021-05-03 11:11 | 6.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 198.1361 | μmol/L | 29.3218 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.029 | 123836.8362 | 265912.9583 | 26.25 | 74
120416 | 2021-05-03 11:11 | 7.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.8156 | μmol/L | 29.3524 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.037 | 123886.3346 | 265916.3157 | 26.25 | 74
120426 | 2021-05-03 11:12 | 7.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.3858 | μmol/L | 29.4135 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.041 | 123928.1926 | 265905.3318 | 26.25 | 74
120436 | 2021-05-03 11:12 | 7.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.5482 | μmol/L | 29.3829 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.042 | 123929.0025 | 265886.6806 | 26.25 | 74
120446 | 2021-05-03 11:12 | 8.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.2779 | μmol/L | 29.4318 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.041 | 123923.2625 | 265886.5853 | 26.25 | 74
120456 | 2021-05-03 11:13 | 8.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1711 | μmol/L | 29.444 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.043 | 123928.7184 | 265886.4833 | 26.25 | 74
120466 | 2021-05-03 11:13 | 8.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 197.1393 | μmol/L | 29.4257 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.051 | 123967.7154 | 265870.9883 | 26.25 | 74
120476 | 2021-05-03 11:13 | 9.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.89 | μmol/L | 29.4563 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.055 | 123997.8931 | 265856.2713 | 26.25 | 74
120486 | 2021-05-03 11:14 | 9.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5106 | μmol/L | 29.5357 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 123999.0796 | 265832.9819 | 26.25 | 74
120496 | 2021-05-03 11:14 | 9.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.8848 | μmol/L | 29.4868 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 123991.4933 | 265841.2453 | 26.25 | 74
120506 | 2021-05-03 11:14 | 10.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.5824 | μmol/L | 29.5235 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 123998.6622 | 265835.2035 | 26.25 | 74
120516 | 2021-05-03 11:15 | 10.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.4389 | μmol/L | 29.5479 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 124018.4559 | 265819.0731 | 26.25 | 74
120526 | 2021-05-03 11:15 | 10.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.263 | μmol/L | 29.5602 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.056 | 124027.8557 | 265814.9231 | 26.25 | 74
120536 | 2021-05-03 11:15 | 11.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.1913 | μmol/L | 29.5724 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.056 | 124057.0524 | 265809.9107 | 26.25 | 74
120546 | 2021-05-03 11:16 | 11.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.099 | μmol/L | 29.6029 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.051 | 124023.0012 | 265798.7687 | 26.25 | 74
120556 | 2021-05-03 11:16 | 11.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.2423 | μmol/L | 29.5785 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.051 | 124019.9332 | 265784.0975 | 26.25 | 74
120566 | 2021-05-03 11:16 | 12.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0056 | μmol/L | 29.6396 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.044 | 123983.8417 | 265782.5164 | 26.25 | 74
120576 | 2021-05-03 11:17 | 12.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0913 | μmol/L | 29.6457 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.037 | 123948.5837 | 265787.3297 | 26.25 | 74
120586 | 2021-05-03 11:17 | 12.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 196.0902 | μmol/L | 29.6518 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.035 | 123960.1972 | 265773.6549 | 26.25 | 74
120596 | 2021-05-03 11:17 | 13.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8277 | μmol/L | 29.6641 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.046 | 123991.4781 | 265763.0202 | 26.25 | 74
120606 | 2021-05-03 11:18 | 13.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.7539 | μmol/L | 29.6885 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.042 | 123998.7628 | 265742.7298 | 26.25 | 74
120616 | 2021-05-03 11:18 | 13.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.6107 | μmol/L | 29.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.042 | 123987.5354 | 265735.7789 | 26.25 | 74
120626 | 2021-05-03 11:18 | 14.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.523 | μmol/L | 29.7191 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 123996.9016 | 265731.4486 | 26.25 | 74
120636 | 2021-05-03 11:19 | 14.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.8266 | μmol/L | 29.6702 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.044 | 124021.972 | 265714.9351 | 26.25 | 74
120646 | 2021-05-03 11:19 | 14.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.5588 | μmol/L | 29.7129 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 124024.9988 | 265701.2697 | 26.25 | 74
120656 | 2021-05-03 11:19 | 15.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.793 | μmol/L | 29.6641 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.048 | 124045.0617 | 265711.8085 | 26.25 | 74
120666 | 2021-05-03 11:20 | 15.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4411 | μmol/L | 29.6946 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.058 | 124061.0558 | 265707.6539 | 26.25 | 74
120676 | 2021-05-03 11:20 | 15.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4399 | μmol/L | 29.7007 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.056 | 124067.4971 | 265694.3499 | 26.25 | 74
120686 | 2021-05-03 11:20 | 16.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.4157 | μmol/L | 29.7374 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 124003.649 | 265690.154 | 26.25 | 74
120696 | 2021-05-03 11:21 | 16.3403 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1851 | μmol/L | 29.768 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.048 | 124034.1065 | 265682.2033 | 26.25 | 74
120706 | 2021-05-03 11:21 | 16.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0941 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 124017.1733 | 265668.4034 | 26.25 | 74
120716 | 2021-05-03 11:21 | 17.0071 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1643 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.043 | 124012.8538 | 265665.6143 | 26.25 | 74
120726 | 2021-05-03 11:22 | 17.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.0595 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.047 | 124041.9497 | 265659.1823 | 26.25 | 74
120736 | 2021-05-03 11:22 | 17.6741 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.8007 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.062 | 124097.6436 | 265651.4509 | 26.25 | 74
120746 | 2021-05-03 11:22 | 18.007 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.2578 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 124043.6836 | 265642.7072 | 26.25 | 74
120756 | 2021-05-03 11:23 | 18.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 195.1714 | μmol/L | 29.7496 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.055 | 124070.0677 | 265636.6655 | 26.25 | 74
120766 | 2021-05-03 11:23 | 18.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9399 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.056 | 124090.0787 | 265634.4874 | 26.25 | 74
120776 | 2021-05-03 11:23 | 19.0075 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5167 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.064 | 124110.5554 | 265622.7939 | 26.25 | 74
120786 | 2021-05-03 11:24 | 19.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9339 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.046 | 124015.6183 | 265612.1269 | 26.25 | 74
120796 | 2021-05-03 11:24 | 19.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5943 | μmol/L | 29.878 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.045 | 123971.7077 | 265610.5408 | 26.25 | 74
120806 | 2021-05-03 11:24 | 20.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7579 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.05 | 124015.7005 | 265613.5631 | 26.25 | 74
120816 | 2021-05-03 11:25 | 20.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7442 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.057 | 124050.153 | 265609.0772 | 26.25 | 74
120826 | 2021-05-03 11:25 | 20.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3865 | μmol/L | 29.8841 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.055 | 124072.4667 | 265596.9073 | 26.25 | 74
120836 | 2021-05-03 11:25 | 21.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4786 | μmol/L | 29.8535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.06 | 124089.9081 | 265596.6948 | 26.25 | 74
120846 | 2021-05-03 11:26 | 21.3408 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.9399 | μmol/L | 29.7863 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.056 | 124081.8968 | 265578.5038 | 26.25 | 74
120856 | 2021-05-03 11:26 | 21.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.7835 | μmol/L | 29.7924 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.063 | 124102.8563 | 265588.7558 | 26.25 | 74
120866 | 2021-05-03 11:26 | 22.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4307 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.069 | 124144.7597 | 265572.6489 | 26.25 | 74
120876 | 2021-05-03 11:27 | 22.3402 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.4319 | μmol/L | 29.8291 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.071 | 124132.2717 | 265580.8702 | 26.25 | 74
120886 | 2021-05-03 11:27 | 22.674 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.5203 | μmol/L | 29.8169 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.07 | 124123.4717 | 265548.4782 | 26.25 | 74
120896 | 2021-05-03 11:27 | 23.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2538 | μmol/L | 29.8596 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.071 | 124143.0138 | 265573.0227 | 26.25 | 74
120906 | 2021-05-03 11:28 | 23.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1483 | μmol/L | 29.8719 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.073 | 124160.8678 | 265567.7393 | 26.25 | 74
120916 | 2021-05-03 11:28 | 23.6737 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1495 | μmol/L | 29.8658 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.075 | 124174.7301 | 265567.1854 | 26.25 | 74
120926 | 2021-05-03 11:28 | 24.0073 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.6653 | μmol/L | 29.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.074 | 124150.9766 | 265547.8447 | 26.25 | 74
120936 | 2021-05-03 11:29 | 24.3404 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1692 | μmol/L | 29.8535 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.078 | 124177.0455 | 265544.2654 | 26.25 | 74
120946 | 2021-05-03 11:29 | 24.6743 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8566 | μmol/L | 29.8719 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.09 | 124236.953 | 265562.0399 | 26.25 | 74
120956 | 2021-05-03 11:29 | 25.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.3508 | μmol/L | 29.8046 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.084 | 124220.5016 | 265570.9597 | 26.25 | 74
120966 | 2021-05-03 11:30 | 25.341 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8737 | μmol/L | 29.8719 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.089 | 124240.6635 | 265576.5256 | 26.25 | 74
120976 | 2021-05-03 11:30 | 25.6739 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.1238 | μmol/L | 29.823 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.091 | 124275.0292 | 265577.2201 | 26.25 | 74
120986 | 2021-05-03 11:30 | 26.0076 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.2746 | μmol/L | 29.7557 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.105 | 124354.8562 | 265586.558 | 26.25 | 74
120996 | 2021-05-03 11:31 | 26.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.8799 | μmol/L | 29.8413 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.099 | 124371.563 | 265583.4612 | 26.25 | 74
121006 | 2021-05-03 11:31 | 26.6735 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 194.239 | μmol/L | 29.7618 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.105 | 124388.9689 | 265579.9336 | 26.25 | 74
121016 | 2021-05-03 11:31 | 27.0074 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.9609 | μmol/L | 29.7802 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.115 | 124439.4524 | 265579.2403 | 26.25 | 74
121026 | 2021-05-03 11:32 | 27.3405 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.2868 | μmol/L | 29.8963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.115 | 124473.8716 | 265582.3327 | 26.25 | 74
121036 | 2021-05-03 11:32 | 27.6742 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.4533 | μmol/L | 29.8352 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.126 | 124545.1761 | 265575.3983 | 26.25 | 74
121046 | 2021-05-03 11:32 | 28.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.0479 | μmol/L | 29.8963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.129 | 124559.3469 | 265561.2164 | 26.25 | 74
121056 | 2021-05-03 11:33 | 28.3409 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8054 | μmol/L | 29.9147 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.137 | 124611.8898 | 265560.2255 | 26.25 | 74
121066 | 2021-05-03 11:33 | 28.6738 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 193.082 | μmol/L | 29.8963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.127 | 124573.9949 | 265559.6311 | 26.25 | 74
121076 | 2021-05-03 11:33 | 29.0077 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8722 | μmol/L | 29.9208 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.131 | 124569.3167 | 265555.6734 | 26.25 | 74
121086 | 2021-05-03 11:34 | 29.3406 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.9797 | μmol/L | 29.8963 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.133 | 124591.0072 | 265547.1221 | 26.25 | 74
121096 | 2021-05-03 11:34 | 29.6736 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8892 | μmol/L | 29.9208 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.13 | 124593.5401 | 265537.2971 | 26.25 | 74
121106 | 2021-05-03 11:34 | 30.0072 | OXY_CH9 (PSt7-10) | 2021-02-16 12:16 | default | 192.8957 | μmol/L | 29.8902 | °C | 1023 | hPa | Humid | 28 | 0 | 0 | 21.14 | 124634.7327 | 265543.5623 | 26.25 | 74