## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH10 | O2 | 112302664 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-16 12:17

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | 55.69 | 20 | °C | 22.38 | 20 | °C | 962 | hPa | 100 | %a.s. | Humid | 0.861 | 13.56 | 0.00035 | 0 | -0.02617 | 0 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 11:35

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
120207 | 2021-05-03 11:04 | 0 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 207.1897 | μmol/L | 28.9928 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.468 | 120530.9894 | 268536.7247 | 32.55 | 27.7
120217 | 2021-05-03 11:05 | 0.33319 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 205.8697 | μmol/L | 29.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.527 | 121102.5765 | 268531.1751 | 32.55 | 27.7
120227 | 2021-05-03 11:05 | 0.66609 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 204.4995 | μmol/L | 29.1155 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.573 | 121419.0701 | 268506.3103 | 32.55 | 27.7
120237 | 2021-05-03 11:05 | 0.99973 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.7646 | μmol/L | 29.1462 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.603 | 121676.8057 | 268486.7805 | 32.55 | 27.7
120247 | 2021-05-03 11:06 | 1.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.2349 | μmol/L | 29.1584 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.628 | 121852.6649 | 268481.8652 | 32.55 | 27.7
120257 | 2021-05-03 11:06 | 1.6665 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 203.0532 | μmol/L | 29.1584 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.638 | 121944.442 | 268470.2082 | 32.55 | 27.7
120267 | 2021-05-03 11:06 | 1.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.4691 | μmol/L | 29.1891 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.66 | 122088.8308 | 268455.4396 | 32.55 | 27.7
120277 | 2021-05-03 11:07 | 2.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 202.0485 | μmol/L | 29.2259 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.671 | 122168.4879 | 268445.5225 | 32.55 | 27.7
120287 | 2021-05-03 11:07 | 2.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.5927 | μmol/L | 29.2627 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.684 | 122256.7432 | 268416.766 | 32.55 | 27.7
120297 | 2021-05-03 11:07 | 2.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.524 | μmol/L | 29.2382 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.696 | 122320.5121 | 268397.1103 | 32.55 | 27.7
120307 | 2021-05-03 11:08 | 3.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.3587 | μmol/L | 29.2627 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.697 | 122367.6964 | 268401.7754 | 32.55 | 27.7
120317 | 2021-05-03 11:08 | 3.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 201.1405 | μmol/L | 29.2811 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.703 | 122392.4783 | 268388.623 | 32.55 | 27.7
120327 | 2021-05-03 11:08 | 3.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.9028 | μmol/L | 29.3118 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.706 | 122433.2216 | 268375.649 | 32.55 | 27.7
120337 | 2021-05-03 11:09 | 4.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.8096 | μmol/L | 29.3363 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.703 | 122445.2651 | 268375.4593 | 32.55 | 27.7
120347 | 2021-05-03 11:09 | 4.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.7917 | μmol/L | 29.3363 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.704 | 122480.2606 | 268368.0036 | 32.55 | 27.7
120357 | 2021-05-03 11:09 | 4.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.5005 | μmol/L | 29.367 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.71 | 122516.4133 | 268360.4158 | 32.55 | 27.7
120367 | 2021-05-03 11:10 | 5.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.3207 | μmol/L | 29.3732 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.718 | 122552.0607 | 268358.7258 | 32.55 | 27.7
120377 | 2021-05-03 11:10 | 5.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.2295 | μmol/L | 29.3854 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.719 | 122546.1741 | 268339.3316 | 32.55 | 27.7
120387 | 2021-05-03 11:10 | 5.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.1365 | μmol/L | 29.41 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.716 | 122528.8116 | 268312.8462 | 32.55 | 27.7
120397 | 2021-05-03 11:11 | 6.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0086 | μmol/L | 29.4284 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.717 | 122540.3824 | 268334.8994 | 32.55 | 27.7
120407 | 2021-05-03 11:11 | 6.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9711 | μmol/L | 29.4406 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.715 | 122530.0563 | 268308.3804 | 32.55 | 27.7
120417 | 2021-05-03 11:11 | 6.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 200.0237 | μmol/L | 29.4468 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.71 | 122530.3945 | 268292.5621 | 32.55 | 27.7
120427 | 2021-05-03 11:12 | 7.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.9485 | μmol/L | 29.4713 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.706 | 122505.0717 | 268292.3928 | 32.55 | 27.7
120437 | 2021-05-03 11:12 | 7.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7672 | μmol/L | 29.4897 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.71 | 122510.1877 | 268286.6437 | 32.55 | 27.7
120447 | 2021-05-03 11:12 | 7.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6563 | μmol/L | 29.5143 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.708 | 122511.5758 | 268279.806 | 32.55 | 27.7
120457 | 2021-05-03 11:13 | 8.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.7634 | μmol/L | 29.5143 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.702 | 122490.7557 | 268258.7683 | 32.55 | 27.7
120467 | 2021-05-03 11:13 | 8.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.6544 | μmol/L | 29.5265 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.704 | 122511.647 | 268272.2553 | 32.55 | 27.7
120477 | 2021-05-03 11:13 | 8.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.5069 | μmol/L | 29.5572 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.702 | 122492.6928 | 268255.3359 | 32.55 | 27.7
120487 | 2021-05-03 11:14 | 9.3331 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4129 | μmol/L | 29.5879 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.697 | 122454.5028 | 268244.3442 | 32.55 | 27.7
120497 | 2021-05-03 11:14 | 9.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.504 | μmol/L | 29.5756 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.696 | 122457.4691 | 268243.9262 | 32.55 | 27.7
120507 | 2021-05-03 11:14 | 9.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4664 | μmol/L | 29.5879 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.694 | 122446.1028 | 268230.3238 | 32.55 | 27.7
120517 | 2021-05-03 11:15 | 10.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.4278 | μmol/L | 29.6063 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.69 | 122436.4067 | 268227.0048 | 32.55 | 27.7
120527 | 2021-05-03 11:15 | 10.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.3525 | μmol/L | 29.6308 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.686 | 122432.7926 | 268219.4065 | 32.55 | 27.7
120537 | 2021-05-03 11:15 | 10.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2615 | μmol/L | 29.6431 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.687 | 122415.023 | 268206.7369 | 32.55 | 27.7
120547 | 2021-05-03 11:16 | 11.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.2228 | μmol/L | 29.6615 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.683 | 122394.3611 | 268205.3471 | 32.55 | 27.7
120557 | 2021-05-03 11:16 | 11.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.0576 | μmol/L | 29.6922 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.682 | 122390.0961 | 268206.0698 | 32.55 | 27.7
120567 | 2021-05-03 11:16 | 11.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9269 | μmol/L | 29.729 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.677 | 122380.7209 | 268192.6388 | 32.55 | 27.7
120577 | 2021-05-03 11:17 | 12.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 199.1089 | μmol/L | 29.7044 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.675 | 122360.3048 | 268180.6451 | 32.55 | 27.7
120587 | 2021-05-03 11:17 | 12.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.9091 | μmol/L | 29.729 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.678 | 122371.1898 | 268182.5556 | 32.55 | 27.7
120597 | 2021-05-03 11:17 | 12.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8171 | μmol/L | 29.7474 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.677 | 122354.1145 | 268158.8133 | 32.55 | 27.7
120607 | 2021-05-03 11:18 | 13.3332 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.8317 | μmol/L | 29.7658 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.67 | 122318.3308 | 268158.334 | 32.55 | 27.7
120617 | 2021-05-03 11:18 | 13.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.7408 | μmol/L | 29.7781 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.671 | 122312.2893 | 268148.8313 | 32.55 | 27.7
120627 | 2021-05-03 11:18 | 13.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.7763 | μmol/L | 29.7781 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.669 | 122307.3483 | 268149.1277 | 32.55 | 27.7
120637 | 2021-05-03 11:19 | 14.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5578 | μmol/L | 29.8088 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.671 | 122309.7953 | 268148.242 | 32.55 | 27.7
120647 | 2021-05-03 11:19 | 14.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.5014 | μmol/L | 29.8272 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.668 | 122299.5226 | 268136.9536 | 32.55 | 27.7
120657 | 2021-05-03 11:19 | 14.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3562 | μmol/L | 29.8456 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.67 | 122285.2831 | 268135.9602 | 32.55 | 27.7
120667 | 2021-05-03 11:20 | 15.3327 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3174 | μmol/L | 29.864 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.666 | 122281.2194 | 268138.371 | 32.55 | 27.7
120677 | 2021-05-03 11:20 | 15.6666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4793 | μmol/L | 29.8517 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.661 | 122283.6186 | 268120.9291 | 32.55 | 27.7
120687 | 2021-05-03 11:20 | 15.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.4438 | μmol/L | 29.8517 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.663 | 122270.791 | 268135.0242 | 32.55 | 27.7
120697 | 2021-05-03 11:21 | 16.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.3174 | μmol/L | 29.864 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.666 | 122283.6675 | 268123.4652 | 32.55 | 27.7
120707 | 2021-05-03 11:21 | 16.6661 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.2599 | μmol/L | 29.8885 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.661 | 122260.5754 | 268114.2611 | 32.55 | 27.7
120717 | 2021-05-03 11:21 | 16.9991 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.1867 | μmol/L | 29.9008 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.661 | 122257.1869 | 268098.8597 | 32.55 | 27.7
120727 | 2021-05-03 11:22 | 17.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0417 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.663 | 122261.725 | 268113.5471 | 32.55 | 27.7
120737 | 2021-05-03 11:22 | 17.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0605 | μmol/L | 29.9131 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.664 | 122270.5835 | 268102.1194 | 32.55 | 27.7
120747 | 2021-05-03 11:22 | 17.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.9343 | μmol/L | 29.9253 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.667 | 122266.0882 | 268094.0612 | 32.55 | 27.7
120757 | 2021-05-03 11:23 | 18.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 198.0594 | μmol/L | 29.9192 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.662 | 122244.0826 | 268089.3588 | 32.55 | 27.7
120767 | 2021-05-03 11:23 | 18.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.8779 | μmol/L | 29.9437 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.664 | 122248.9724 | 268083.5106 | 32.55 | 27.7
120777 | 2021-05-03 11:23 | 18.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7529 | μmol/L | 29.9499 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.669 | 122276.1783 | 268081.8613 | 32.55 | 27.7
120787 | 2021-05-03 11:24 | 19.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.7495 | μmol/L | 29.9683 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.663 | 122255.9523 | 268074.5642 | 32.55 | 27.7
120797 | 2021-05-03 11:24 | 19.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.6423 | μmol/L | 29.9744 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.667 | 122229.9447 | 268049.3652 | 32.55 | 27.7
120807 | 2021-05-03 11:24 | 19.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.3187 | μmol/L | 30.0051 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.675 | 122262.1303 | 268056.2274 | 32.55 | 27.7
120817 | 2021-05-03 11:25 | 20.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.4092 | μmol/L | 29.9928 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.674 | 122277.1955 | 268058.6571 | 32.55 | 27.7
120827 | 2021-05-03 11:25 | 20.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9147 | μmol/L | 29.999 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.7 | 122432.1711 | 268039.2463 | 32.55 | 27.7
120837 | 2021-05-03 11:25 | 20.9994 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.9007 | μmol/L | 29.9805 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.707 | 122487.5303 | 268051.8081 | 32.55 | 27.7
120847 | 2021-05-03 11:26 | 21.3324 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 197.0062 | μmol/L | 29.9805 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.701 | 122463.6835 | 268037.064 | 32.55 | 27.7
120857 | 2021-05-03 11:26 | 21.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.8232 | μmol/L | 30.0174 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.699 | 122406.1261 | 268033.9359 | 32.55 | 27.7
120867 | 2021-05-03 11:26 | 21.9992 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.6826 | μmol/L | 30.0174 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.707 | 122484.3748 | 268031.4713 | 32.55 | 27.7
120877 | 2021-05-03 11:27 | 22.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.5748 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.709 | 122452.8725 | 268012.5516 | 32.55 | 27.7
120887 | 2021-05-03 11:27 | 22.6662 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.4695 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.715 | 122505.8834 | 268024.6968 | 32.55 | 27.7
120897 | 2021-05-03 11:27 | 22.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3655 | μmol/L | 30.0235 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.723 | 122559.0078 | 268026.5603 | 32.55 | 27.7
120907 | 2021-05-03 11:28 | 23.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1927 | μmol/L | 30.0112 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.737 | 122621.6388 | 268015.0783 | 32.55 | 27.7
120917 | 2021-05-03 11:28 | 23.666 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.1565 | μmol/L | 30.0174 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.737 | 122668.5443 | 268013.1052 | 32.55 | 27.7
120927 | 2021-05-03 11:28 | 23.9997 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 196.3275 | μmol/L | 29.9499 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.75 | 122732.9897 | 268015.3408 | 32.55 | 27.7
120937 | 2021-05-03 11:29 | 24.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.8454 | μmol/L | 29.999 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.761 | 122787.9134 | 268011.9323 | 32.55 | 27.7
120947 | 2021-05-03 11:29 | 24.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.7531 | μmol/L | 30.0235 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.758 | 122790.117 | 268019.5089 | 32.55 | 27.7
120957 | 2021-05-03 11:29 | 24.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.6471 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.762 | 122813.8002 | 268020.789 | 32.55 | 27.7
120967 | 2021-05-03 11:30 | 25.3328 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.525 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.769 | 122844.6012 | 268013.4234 | 32.55 | 27.7
120977 | 2021-05-03 11:30 | 25.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2637 | μmol/L | 30.0296 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.784 | 122940.0844 | 268038.6189 | 32.55 | 27.7
120987 | 2021-05-03 11:30 | 25.9998 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1181 | μmol/L | 30.0603 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.782 | 122942.4505 | 268034.4208 | 32.55 | 27.7
120997 | 2021-05-03 11:31 | 26.3329 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.1059 | μmol/L | 30.0358 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.791 | 123018.3948 | 268026.9568 | 32.55 | 27.7
121007 | 2021-05-03 11:31 | 26.6658 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.2128 | μmol/L | 30.0235 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.789 | 123024.4118 | 268043.1092 | 32.55 | 27.7
121017 | 2021-05-03 11:31 | 26.9993 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.5426 | μmol/L | 29.9437 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.797 | 123075.511 | 268030.94 | 32.55 | 27.7
121027 | 2021-05-03 11:32 | 27.333 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9437 | μmol/L | 29.9805 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.819 | 123203.8008 | 268029.1384 | 32.55 | 27.7
121037 | 2021-05-03 11:32 | 27.6659 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.8556 | μmol/L | 29.9867 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.822 | 123218.6441 | 268010.3412 | 32.55 | 27.7
121047 | 2021-05-03 11:32 | 27.9996 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.9822 | μmol/L | 29.9621 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.823 | 123254.3345 | 268013.8516 | 32.55 | 27.7
121057 | 2021-05-03 11:33 | 28.3326 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 195.0941 | μmol/L | 29.9253 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.829 | 123268.602 | 268012.584 | 32.55 | 27.7
121067 | 2021-05-03 11:33 | 28.6664 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4838 | μmol/L | 30.0235 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.831 | 123297.7817 | 268008.5263 | 32.55 | 27.7
121077 | 2021-05-03 11:33 | 28.9995 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.376 | μmol/L | 30.0419 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.831 | 123287.4758 | 268000.0303 | 32.55 | 27.7
121087 | 2021-05-03 11:34 | 29.3325 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3933 | μmol/L | 30.0419 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.83 | 123286.3316 | 268001.5127 | 32.55 | 27.7
121097 | 2021-05-03 11:34 | 29.6663 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.3241 | μmol/L | 30.0419 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.834 | 123294.04 | 267986.4975 | 32.55 | 27.7
121107 | 2021-05-03 11:34 | 29.9999 | OXY_CH10 (PSt7-10) | 2021-02-16 12:17 | default | 194.4012 | μmol/L | 30.0051 | °C | 1023 | hPa | Humid | 29 | 0 | 0 | 20.842 | 123384.0271 | 267986.0473 | 32.55 | 27.7