## Devices
Name | Type | Serial | FW-Version | Channels
SABD0002000012 | OXY-10 ST | SABD0002000012 | AAV2.0.0.13 | 10

## Sensors
Name | Analyte | Sensor ID | Sensor Type | Batch ID | Lot Nr | Created on
OXY_CH2 | O2 | 612929305 | PSt7-10 | 000000-000 | 0000-00 | 2021-02-12 16:14

## Oxygen Calibrations
Sensor | Calibration Date | Cal0 [°] | T0 | T0 Unit | Cal2nd [°] | T2nd | T2nd Unit | pATM | pATM Unit | O2Cal2nd | O2Cal2nd Unit | Environment | f1 | m | dKSV1 | dKSV2 | dPhi1 | dPhi2 | Is PreSens Calibration
OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | 55.51 | 20 | °C | 22.13 | 20 | °C | 971 | hPa | 100 | %a.s. | Humid | 0.826 | 11.08 | 0.000401 | 0 | -0.01532 | -0.00012 | FALSE

## Annotations
Date | Delta T [min] | Device | Channel | User | Annotation

## Info
Software Version | 2.1.0.443
Exported at | 2021-05-03 12:11

## SABD0002000012, Ch 1
Id | Date | Delta T [min] | Sensor | Calibration | User | Oxygen | Oxygen Unit | Temperature | Temperature Unit | Pressure | Pressure Unit | Mode | Salinity [pmil] | User Signal Intensity | Error | Phase [°] | Amplitude [µV] | Reference Amplitude [µV] | Signal LED Current | Reference LED Current | Battery [V]
121109 | 2021-05-03 11:43 | 0 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.6698 | μmol/L | 29.2324 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.743 | 119829.5475 | 293094.4594 | 59.9307 | 38.1
121119 | 2021-05-03 11:44 | 0.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.363 | μmol/L | 29.2569 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.752 | 119919.476 | 293083.0723 | 59.9307 | 38.1
121129 | 2021-05-03 11:44 | 0.67225 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 199.1294 | μmol/L | 29.2692 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.761 | 119983.0518 | 293066.3024 | 59.9307 | 38.1
121139 | 2021-05-03 11:44 | 1.0052 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.786 | μmol/L | 29.3121 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.766 | 120051.8274 | 293046.915 | 59.9307 | 38.1
121149 | 2021-05-03 11:45 | 1.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.5721 | μmol/L | 29.3121 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.778 | 120104.6859 | 293045.8866 | 59.9307 | 38.1
121159 | 2021-05-03 11:45 | 1.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.3744 | μmol/L | 29.3304 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.783 | 120154.215 | 293030.4438 | 59.9307 | 38.1
121169 | 2021-05-03 11:45 | 2.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0512 | μmol/L | 29.3611 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.791 | 120207.1335 | 293034.1971 | 59.9307 | 38.1
121179 | 2021-05-03 11:46 | 2.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 198.0341 | μmol/L | 29.3549 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.794 | 120223.095 | 293023.1035 | 59.9307 | 38.1
121189 | 2021-05-03 11:46 | 2.6718 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.8191 | μmol/L | 29.3733 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.8 | 120254.705 | 293022.6702 | 59.9307 | 38.1
121199 | 2021-05-03 11:46 | 3.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.676 | μmol/L | 29.3856 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.804 | 120268.5227 | 293022.4262 | 59.9307 | 38.1
121209 | 2021-05-03 11:47 | 3.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.7305 | μmol/L | 29.3733 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.805 | 120290.7469 | 293022.244 | 59.9307 | 38.1
121219 | 2021-05-03 11:47 | 3.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.4607 | μmol/L | 29.4101 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.808 | 120293.9933 | 293006.1816 | 59.9307 | 38.1
121229 | 2021-05-03 11:47 | 4.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.2456 | μmol/L | 29.4346 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.812 | 120326.4985 | 293000.5287 | 59.9307 | 38.1
121239 | 2021-05-03 11:48 | 4.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 197.0138 | μmol/L | 29.453 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.819 | 120341.621 | 293000.218 | 59.9307 | 38.1
121249 | 2021-05-03 11:48 | 4.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.8352 | μmol/L | 29.4713 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.823 | 120371.7756 | 292982.1702 | 59.9307 | 38.1
121259 | 2021-05-03 11:48 | 5.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.5663 | μmol/L | 29.5081 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.826 | 120420.7143 | 292990.7209 | 59.9307 | 38.1
121269 | 2021-05-03 11:49 | 5.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.463 | μmol/L | 29.4897 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.838 | 120502.3951 | 292974.9808 | 59.9307 | 38.1
121279 | 2021-05-03 11:49 | 5.6719 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.2336 | μmol/L | 29.4958 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.849 | 120534.2632 | 292965.6207 | 59.9307 | 38.1
121289 | 2021-05-03 11:49 | 6.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0014 | μmol/L | 29.5265 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.852 | 120560.7254 | 292961.7249 | 59.9307 | 38.1
121299 | 2021-05-03 11:50 | 6.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 196.0182 | μmol/L | 29.5326 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.849 | 120577.1777 | 292943.716 | 59.9307 | 38.1
121309 | 2021-05-03 11:50 | 6.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.7886 | μmol/L | 29.5449 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.858 | 120610.1178 | 292938.8204 | 59.9307 | 38.1
121319 | 2021-05-03 11:50 | 7.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.646 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.86 | 120625.289 | 292929.0704 | 59.9307 | 38.1
121329 | 2021-05-03 11:51 | 7.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5393 | μmol/L | 29.5755 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120642.2081 | 292910.7266 | 59.9307 | 38.1
121339 | 2021-05-03 11:51 | 7.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.6285 | μmol/L | 29.5632 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120649.1574 | 292912.2502 | 59.9307 | 38.1
121349 | 2021-05-03 11:51 | 8.0058 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.5385 | μmol/L | 29.5816 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.86 | 120656.7772 | 292913.6783 | 59.9307 | 38.1
121359 | 2021-05-03 11:52 | 8.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.307 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.863 | 120660.2547 | 292893.2775 | 59.9307 | 38.1
121369 | 2021-05-03 11:52 | 8.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.4136 | μmol/L | 29.6 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120672.9965 | 292896.2531 | 59.9307 | 38.1
121379 | 2021-05-03 11:52 | 9.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3419 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120670.7888 | 292881.2125 | 59.9307 | 38.1
121389 | 2021-05-03 11:53 | 9.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3419 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120685.3806 | 292866.4298 | 59.9307 | 38.1
121399 | 2021-05-03 11:53 | 9.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2346 | μmol/L | 29.6306 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120694.7926 | 292866.8443 | 59.9307 | 38.1
121409 | 2021-05-03 11:53 | 10.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1472 | μmol/L | 29.6306 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.866 | 120694.3898 | 292854.7875 | 59.9307 | 38.1
121419 | 2021-05-03 11:54 | 10.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8637 | μmol/L | 29.6613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.872 | 120728.5815 | 292845.9575 | 59.9307 | 38.1
121429 | 2021-05-03 11:54 | 10.672 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0765 | μmol/L | 29.6367 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.868 | 120697.4777 | 292842.4467 | 59.9307 | 38.1
121439 | 2021-05-03 11:54 | 11.0051 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1821 | μmol/L | 29.6306 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.864 | 120666.6734 | 292838.855 | 59.9307 | 38.1
121449 | 2021-05-03 11:55 | 11.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.1263 | μmol/L | 29.6551 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 120666.99 | 292834.1238 | 59.9307 | 38.1
121459 | 2021-05-03 11:55 | 11.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.3245 | μmol/L | 29.6122 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120661.3114 | 292814.5508 | 59.9307 | 38.1
121469 | 2021-05-03 11:55 | 12.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.2529 | μmol/L | 29.6245 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120661.77 | 292811.4212 | 59.9307 | 38.1
121479 | 2021-05-03 11:56 | 12.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8253 | μmol/L | 29.6858 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.866 | 120678.3675 | 292816.4755 | 59.9307 | 38.1
121489 | 2021-05-03 11:56 | 12.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9168 | μmol/L | 29.6551 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.871 | 120701.6975 | 292815.3867 | 59.9307 | 38.1
121499 | 2021-05-03 11:56 | 13.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0914 | μmol/L | 29.6551 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120657.6892 | 292798.0134 | 59.9307 | 38.1
121509 | 2021-05-03 11:57 | 13.3385 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9317 | μmol/L | 29.6735 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.864 | 120640.4956 | 292777.0858 | 59.9307 | 38.1
121519 | 2021-05-03 11:57 | 13.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9509 | μmol/L | 29.6613 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.867 | 120650.7723 | 292761.7531 | 59.9307 | 38.1
121529 | 2021-05-03 11:57 | 14.0053 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8768 | μmol/L | 29.6919 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120627.7182 | 292756.6554 | 59.9307 | 38.1
121539 | 2021-05-03 11:58 | 14.339 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9666 | μmol/L | 29.6735 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120606.2952 | 292747.7207 | 59.9307 | 38.1
121549 | 2021-05-03 11:58 | 14.6727 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.678 | μmol/L | 29.7409 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.856 | 120571.1426 | 292743.2235 | 59.9307 | 38.1
121559 | 2021-05-03 11:58 | 15.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.9824 | μmol/L | 29.6858 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.857 | 120579.8837 | 292743.6541 | 59.9307 | 38.1
121569 | 2021-05-03 11:59 | 15.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 195.0356 | μmol/L | 29.6796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.856 | 120552.5304 | 292745.317 | 59.9307 | 38.1
121579 | 2021-05-03 11:59 | 15.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.7486 | μmol/L | 29.7348 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.854 | 120562.2919 | 292722.5157 | 59.9307 | 38.1
121589 | 2021-05-03 11:59 | 16.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.8385 | μmol/L | 29.7164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.855 | 120563.1006 | 292707.3612 | 59.9307 | 38.1
121599 | 2021-05-03 12:00 | 16.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6641 | μmol/L | 29.7164 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.865 | 120607.1109 | 292705.7093 | 59.9307 | 38.1
121609 | 2021-05-03 12:00 | 16.6722 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3949 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120596.4978 | 292709.2081 | 59.9307 | 38.1
121619 | 2021-05-03 12:00 | 17.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.6475 | μmol/L | 29.7103 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.868 | 120607.1796 | 292698.359 | 59.9307 | 38.1
121629 | 2021-05-03 12:01 | 17.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1505 | μmol/L | 29.7777 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.874 | 120624.31 | 292694.3681 | 59.9307 | 38.1
121639 | 2021-05-03 12:01 | 17.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1478 | μmol/L | 29.796 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.868 | 120579.3972 | 292689.0789 | 59.9307 | 38.1
121649 | 2021-05-03 12:01 | 18.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3967 | μmol/L | 29.7593 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.866 | 120561.567 | 292678.7702 | 59.9307 | 38.1
121659 | 2021-05-03 12:02 | 18.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2731 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.869 | 120582.8135 | 292675.1408 | 59.9307 | 38.1
121669 | 2021-05-03 12:02 | 18.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.1807 | μmol/L | 29.8083 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.862 | 120583.3196 | 292677.0262 | 59.9307 | 38.1
121679 | 2021-05-03 12:02 | 19.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.059 | μmol/L | 29.8083 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.869 | 120596.209 | 292672.04 | 59.9307 | 38.1
121689 | 2021-05-03 12:03 | 19.3392 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.3088 | μmol/L | 29.7654 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.869 | 120578.2302 | 292658.6207 | 59.9307 | 38.1
121699 | 2021-05-03 12:03 | 19.6721 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.2905 | μmol/L | 29.7715 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.868 | 120569.8549 | 292651.2889 | 59.9307 | 38.1
121709 | 2021-05-03 12:03 | 20.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.877 | μmol/L | 29.8634 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120526.2209 | 292643.9139 | 59.9307 | 38.1
121719 | 2021-05-03 12:04 | 20.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6332 | μmol/L | 29.8696 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.873 | 120580.075 | 292640.4935 | 59.9307 | 38.1
121729 | 2021-05-03 12:04 | 20.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9657 | μmol/L | 29.8512 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.86 | 120547.9033 | 292627.6742 | 59.9307 | 38.1
121739 | 2021-05-03 12:04 | 21.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 194.0883 | μmol/L | 29.845 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.855 | 120525.6868 | 292627.0858 | 59.9307 | 38.1
121749 | 2021-05-03 12:05 | 21.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.9831 | μmol/L | 29.8512 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 120525.1822 | 292606.9876 | 59.9307 | 38.1
121759 | 2021-05-03 12:05 | 21.6724 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.7865 | μmol/L | 29.8879 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.858 | 120517.3351 | 292596.0397 | 59.9307 | 38.1
121769 | 2021-05-03 12:05 | 22.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5726 | μmol/L | 29.9247 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.858 | 120520.2855 | 292607.1788 | 59.9307 | 38.1
121779 | 2021-05-03 12:06 | 22.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.6959 | μmol/L | 29.9124 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.855 | 120518.2889 | 292613.2275 | 59.9307 | 38.1
121789 | 2021-05-03 12:06 | 22.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5909 | μmol/L | 29.9186 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 120514.4716 | 292579.7065 | 59.9307 | 38.1
121799 | 2021-05-03 12:06 | 23.0056 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.5765 | μmol/L | 29.9002 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.866 | 120539.168 | 292573.6877 | 59.9307 | 38.1
121809 | 2021-05-03 12:07 | 23.3386 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4301 | μmol/L | 29.9492 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.858 | 120526.3024 | 292569.383 | 59.9307 | 38.1
121819 | 2021-05-03 12:07 | 23.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.3425 | μmol/L | 29.9553 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120530.9353 | 292549.6637 | 59.9307 | 38.1
121829 | 2021-05-03 12:07 | 24.0057 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2367 | μmol/L | 29.9676 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.863 | 120529.5099 | 292555.7249 | 59.9307 | 38.1
121839 | 2021-05-03 12:08 | 24.3389 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.2174 | μmol/L | 29.9798 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.86 | 120542.5018 | 292553.7205 | 59.9307 | 38.1
121849 | 2021-05-03 12:08 | 24.6725 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.0568 | μmol/L | 30.0105 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 120523.2878 | 292555.0713 | 59.9307 | 38.1
121859 | 2021-05-03 12:08 | 25.0054 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.589 | μmol/L | 29.9308 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.855 | 120509.9811 | 292545.2206 | 59.9307 | 38.1
121869 | 2021-05-03 12:09 | 25.3393 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4108 | μmol/L | 29.9615 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.855 | 120505.4333 | 292531.3894 | 59.9307 | 38.1
121879 | 2021-05-03 12:09 | 25.6723 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.128 | μmol/L | 29.9982 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.859 | 120540.7769 | 292527.7727 | 59.9307 | 38.1
121889 | 2021-05-03 12:09 | 26.0059 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 193.4147 | μmol/L | 29.937 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.863 | 120544.0413 | 292527.8697 | 59.9307 | 38.1
121899 | 2021-05-03 12:10 | 26.3388 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.8464 | μmol/L | 30.0289 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.865 | 120556.3868 | 292502.0448 | 59.9307 | 38.1
121909 | 2021-05-03 12:10 | 26.6726 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.6698 | μmol/L | 30.0534 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.867 | 120545.9793 | 292518.4249 | 59.9307 | 38.1
121919 | 2021-05-03 12:10 | 27.0055 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.7743 | μmol/L | 30.0472 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.863 | 120528.8354 | 292520.3288 | 59.9307 | 38.1
121929 | 2021-05-03 12:11 | 27.3387 | OXY_CH2 (PSt7-10) | 2021-02-12 16:14 | default | 192.88 | μmol/L | 30.035 | °C | 1022 | hPa | Humid | 28 | 1 | 0 | 20.861 | 120510.5038 | 292488.0621 | 59.9307 | 38.1